| Supplementary Table 2. Magnetic resonance imaging parameters for T1 mapping |  |
| --- | --- |
| Parameters | Values |
| Flip angle (degree,°) | 35 |
| Echo time (ms) | 1.6 |
| Repetition time (ms) | 3.7 |
| Inversion time (ms) | 186 |
| Slice thickness (mm) | 8 |
| Matrix | 160x148 |
| Number of excitation | 1 |
| Field of view (mm2) | 500x360 |