|  | T2-WI | T1-WI In-Phase | T1-WI Opposed-Phase | DWI | DCE | HBP |
| --- | --- | --- | --- | --- | --- | --- |
| Imaging Planes | Axial | Axial | Axial | Axial | Axial-Coronal | Axial-Coronal |
| Sequence | TSE | DIXON | DIXON | EPI | 3D VIBE | 3D VIBE |
| TR (ms) | 1000 | 6,96 | 6,96 | 6200 | 4,77 | 4,77 |
| TE (ms) | 95 | 2,39 | 4,77 | 68 | 2,21 | 2,21 |
| FLIP angle (degree) | 160 | 10 | 10 | 90 | 10 | 10 |
| Fat Saturation | - | - | - | - | Fat-Sat | Fat-Sat |
| Slice Thickness (mm) | 6 | 6 | 6 | 6 | 6 | 6 |
| FOV (cm) | 40 | 40 | 40 | 40 | 40 | 40 |
| Matrix Size | 576x576 | 576x576 | 576x576 | 576x576 | 576x576 | 576x576 |
| Number of Acqusitions | 1 | 1 | 1 | 1 | 1 | 1 |
| Parallel Acquisition Technique | 2 | 4 | 4 | 2 | 4 | 4 |
| b value (s/mm2 ) | - | - | - | 50, 500, 1000 | - | - |