Metabolomics analyses

Sample Preparation: Samples were prepared using the automated MicroLab STAR® system from Hamilton Company. A recovery standard was added prior to the first step in the extraction process for QC purposes. To remove protein, dissociate small molecules bound to protein or trapped in the precipitated protein matrix, and to recover chemically diverse metabolites, proteins were precipitated with methanol under vigorous shaking for 2 min (Glen Mills GenoGrinder 2000) followed by centrifugation. The resulting extract was divided into five fractions: one for analysis by UPLC-MS/MS with positive ion mode electrospray ionization, one for analysis by UPLC-MS/MS with negative ion mode electrospray ionization, one for LC polar platform, one for analysis by GC-MS, and one sample was reserved for backup. Samples were placed briefly on a TurboVap® (Zymark) to remove the organic solvent. For LC, the samples were stored overnight under liquid nitrogen before preparation for analysis. For GC, each sample was dried under vacuum overnight before prepared for analysis.

QA/QC: Several types of controls were analyzed in concert with the experimental samples: a pooled matrix sample generated by taking a small volume of each experimental sample (or alternatively, use of a pool of well-characterized human plasma) served as a technical replicate throughout the data set; extracted water samples served as process blanks; and a cocktail of QC standards that were carefully chosen not to interfere with the measurement of endogenous compounds were spiked into every analyzed sample to allow instrument performance monitoring and aid in chromatographic alignment. Instrument variability was determined by calculating the median relative standard deviation (RSD) for the standards that were added to each sample prior to injection into the mass spectrometers. Overall process variability was determined by calculating the median RSD for all endogenous metabolites (i.e., non-instrument standards) present in 100% of the pooled matrix samples. Experimental samples were randomized across the platform run with QC samples spaced evenly among the injections.

Liquid Chromatography-Tandem Mass Spectrometry (LC-MS/MS): The LC-MS portion of the platform was based on a Waters ACQUITY ultra-performance liquid chromatography (UPLC) and a Thermo-Finnigan LTQ mass spectrometer operated at nominal mass resolution, which consisted of an electrospray ionization (ESI) source and linear ion-trap (LIT) mass analyzer. The sample extract was dried then reconstituted in acidic or basic LC-compatible solvents, each of which contained 12 or more injection standards at fixed concentrations. One aliquot was analyzed using acidic positive ion-optimized conditions and the other using basic negative ion optimized conditions in two independent injections using separate dedicated columns (Waters UPLC BEH C18-2.1×100 mm, 1.7 μm). Extracts reconstituted in acidic conditions were gradient eluted using water and methanol containing 0.1% formic acid, while the basic extracts, which also used water/methanol, contained 6.5 mM ammonium bicarbonate. The MS analysis alternated between MS and data-dependent MS/MS scans using dynamic exclusion and the scan range was from 80-1000 m/z. Raw data files are archived and extracted as described below.

Gas Chromatography-Mass Spectroscopy (GC-MS): The samples destined for analysis by GCMS were dried under vacuum for a minimum of 18 h prior to being derivatized under dried nitrogen using bis-trimethyl-silyl-trifluoroacetamide. Derivatized samples were separated on a 5% diphenyl / 95% dimethyl poly siloxane fused silica column (20 m x 0.18 mm ID; 0.18 um film thickness) with helium as carrier gas and a temperature ramp from 60° to 340°C in a 17.5 min period. Samples were analyzed on a Thermo-Finnigan Trace DSQ fast-scanning single quadrupole mass spectrometer using electron impact ionization (EI) and operated at unit mass resolving power. The scan range was from 50–750 m/z. Raw data files are archived and extracted as described below.

The mass spectra data were pre-processed by Compound Discovere software, including peak identification, peak alignment, baseline correction, peak area normalization, retention time calibration, feature matching and standardization and so on, in order to perform comprehensive molecular feature extraction. Exclude metabolites with concentration values that are more than 20% below the lower limit of quantitation or above the upper limit of quantitation. The processed data was imported into Metabo Analyst software in .CSV format for pattern recognition analysis, and performed pattern recognition analysis. The present dataset comprises a total of 311 compounds of known identity (named biochemicals). Following log transformation and imputation of missing values, if any, with the minimum observed value for each compound, ANOVA contrasts were used to identify biochemicals that differed significantly between experimental groups. A summary of the numbers of biochemicals that achieved VIP>1, and statistical significance (p≤0.05) or those approaching significance (0.05<p<0.10).

Western Blot analyses

The concentration of proteins were then measured using bicinchoninic acid protein assay kit (Thermo Scientific, Waltham, MA, USA), after which the proteins were denatured in 5× SEMS sample loading buffer. Each protein (40 µg) was separated by 10% SEMS-PAGE gels according to the manufacturer's instructions. Membranes were blocked with 5% non-fat milk at room temperature before being incubated with primary antibodies overnight at 4℃. All antibodies used were as follows: rabbit monoclonal anti-HPGD (ab187161; 1:200; Abcam, Cambridge, UK), rabbit monoclonal anti-COX-2 (12375-1-AP, 1:1000, Proteintech, Chicago, USA ), rabbit monoclonal anti-IRAK3 (ab189128; 1:1000; Abcam, Cambridge, UK), rabbit monoclonal anti-ILIR1 (ab106278; 1:1000; Abcam, Cambridge, UK), rabbit monoclonal anti-p65 antibody (8242S, 1:1000, Cell Signaling Techenology, Boston, MA, USA ), rabbit monoclonal anti-pIкB (2859S, 1:1000, Cell Signaling Techenology, Boston, MA, USA ), mouse monoclonal anti-IкB (4814S, 1:1000, Cell Signaling Techenology, Boston, MA, USA ), mouse monoclonal anti-β-actin (sc-47778; 1:1000, Santa Cruz, Dallas, TX, USA), rabbit monoclonal anti-tubulin (ab18207; 1:1000; Abcam, Cambridge, UK), monoclonal rabbit anti-Lamin B1 (R1508-1, 1:1000, Huabio, Hangzhou, China). The membranes were washed 3 times with 1 × PBS containing Tween-20 (5%), and incubated for 1 h at room temperature with fluorescent secondary antibodies (926-68020; 1:10000; 926-32211; 1:10000; LI-COR; Lincoln, Nebraska, USA). The positive bands were visualized with Odyssey Licor and analyzed by Image Studio Software. Protein expression was normalized to β-actin, β-Tubulin and Lamin B1.

Quantitative Real-time PCR Analysis

TRIzol reagent (Takara, Japan) was used to extract total RNA of GCs following the manufacturer's protocol. The RNA was then reverse transcribed into cDNA using the PrimeScript RT Master Mix System (Takara, Japan). As input 500 ng of primary granulosa cell RNA was used. RNA concentrations were measured using NanoDrop 2000c spectrophotometer (Thermo Fisher Scientific, Dreieich, Germany). The quality of all RNA samples analyzed on Affymetrix microarray was evaluated using the Agilent 2100 Bioanalyzer system (Agilent Technologies, Waldbronn, Germany). All RNA samples were of high quality, with the RNA Integrity Number values between 9.2–9.8.

Primers used for RT-qPCR assay are shown in the following table (Supplementary Table 2).The reaction mixtures for PCR included 2.3 mL cDNA samples, 0.1 mL forward primer, 0.1 mL reverse primer, and 2.5 mL SYBR Premix Ex Taq II (Takara, Japan). Glyceraldehyde 3-phosphate dehydrogenase (GAPDH) was included in each run as an internal control. The PCR process was performed on a Roche Light Cycler (Roche, Mannheim, Germany) at 95℃ for 30 seconds, followed by 45 cycles at 95℃ for 5 seconds and 60℃ for 20 seconds. Each sample was run in triplicates on a 384-well plate up to 40 amplification cycles. The relative RNA expression was quantified by normalizing the cycle threshold (Ct) values of target genes compared with GAPDH.

Supplementary Table 2. Primers used for RT-qPCR assays

| IL1R1 Forward | 5’-ATGAAATTGATGTTCGTCCCTGT-3’ |
| --- | --- |
| IL1R1 Reverse | 5’-ACCACGCAATAGTAATGTCCTG-3’ |
| IRAK3 Forward | 5’-CAGCCAGTCTGAGGTTATGTTT-3’ |
| IRAK3 Reverse | 5’-TTGGGAACCAACTTTCTTCACA-3’ |
| MAP3K1 Forward | 5’-CATCAGGTCGCACAGTGAAAT-3’ |
| MAP3K1 Reverse | 5’-TCAGGGCTATATGGTGAGAAGC-3’ |
| PRG Forward | 5’-TTATGGTGTCCTTACCTGTGGG-3’ |
| PRG Reverse | 5’-GCGGATTTTATCAACGATGCAG-3’ |
| PRGMC1 Forward | 5’-AAAGGCCGCAAATTCTACGG-3’ |
| PRGMC1 Reverse | 5’-CCCAGTCACTCAGAGTCTCCT-3’ |
| PRGMC2 Forward | 5’-CTCTGCCTCGCATGAAGAAG-3’ |
| PRGMC2 Reverse | 5’-CTTTGGTCACGTCGAAGACTTT-3’ |
| HPGD Forward | 5’-AGCAGCCGGTTTATTGTGCTT-3’ |
| HPGD Reverse | 5’-GCGTGTGAATCCAACTATGCC-3’ |
| COX-2 Forward | 5’-CCCACCCATGTCAAAACCGA-3’ |
| COX-2 Reverse | 5’-CCGGGTACAATCGCACTTATACT-3’ |

Immunofluorescence

Cells were washed 3 times with PBS, and incubated with 4% paraformaldehyde (Biosharp, China) for 20 minutes at room temperature. After being washed 3 times with PBS, the cells were permeabilized with 0.5% Triton (Hyclone, USA) for 20 minutes and incubated with 5% bovine serum albumin after being washed with PBS to block unspecific binding. Then the cells were incubated with rabbit monoclonal anti-p65 (8242S, 1:400, Cell Signaling Technology, Boston, MA, USA) overnight at 4 ℃ and incubated for 2 h at room temperature with secondary antibody (711-585-152; 1:100, Jackson ImmunoResearch, PA, USA) in a 1:100 dilution after being washed with PBS. Finally, DAPI was used to stain the cell nuclear. The fluorescence intensity of p65 was observed by Light microscopy (OLYMPUS BX61, Japan) and analyzed using the Application Program Image Pro-Plus (version 6.0). The nucleus localization of p65 was determined by quantifying the ratio of nucleus p65 fluorescence intensity to cytoplasm p65 fluorescence intensity. The area of the whole cell and nucleus was determined by the area of p65 staining and the area of DAPI staining, respectively. Firstly, the fluorescence intensity of the whole cell and the nucleus p65 fluorescence intensity was calculated by Image J; secondly, fluorescence intensity of the cytoplasm was calculated (cytoplasmic p65 fluorescence intensity = whole cell p65 fluorescence intensity ₋ nuclear p65 fluorescence intensity); finally, proportion of nuclear p65 protein were determined (proportion of nuclear p65 protein = nuclear p65 fluorescence intensity / cytoplasmic p65 fluorescence intensity).