Supplementary Materials

Tap water fluoride exposure and non-carcinogenic risk among children and women in Adama city

Supplementary table S1: Fluoride concentration at the Awash Koka water treatment plant and Adama water supply

| Sampling site |  | X Coordinate | Y Coordinate | Elevation | Fluoridation concentration (mg/L) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Wet season | Dry season | Annual average |
| Koka Plant | After to screening | 8.4815639 | 39.1799209 | 1570 | 1.01 | 0.71 | 0.86 |
| Koka plant | After treatment | 8.4813642 | 39.1807488 | 1565 | 0.91 | 0.87 | 0.89 |
| Reservoirs | Malika Adama | 8.5399818 | 39.2359728 | 1757 | 0.9 | 0.54 | 0.72 |
|  | Poiner Tank | 8.569962 | 39.2916627 | 1724 | 0.91 | 0.94 | 0.92 |
|  | Dhaka Adi | 8.5594868 | 39.2751084 | 1658 | 0.91 | 0.70 | 0.80 |
|  | Kebele 02 | 8.5105199 | 39.2645949 | 1687 | 0.84 | 0.50 | 0.67 |
|  | Lugo | 8.4849255 | 39.2831939 | 1718 | 0.77 | 0.87 | 0.82 |
| Public Tap | Tap one | 8.5367646 | 39.2936204 | 1613 | 0.99 | 0.88 | 0.94 |
|  | Tap two | 8.5600222 | 39.2721503 | 1650 | 0.92 | 0.87 | 0.89 |
|  | Tap three | 8.5570345 | 39.2712162 | 1643 | 0.99 | 0.45 | 0.72 |
|  | Tap four | 8.5435728 | 39.277272 | 1624 | 0.75 | 0.43 | 0.59 |

Supplementary table S2: Spearman's rho correlations between water samples location and fluoride concentration Adama city

| Spearman's rho Correlations |  | X coordinate | Y coordinate | Elevation | Wet season concentration | Dry season concentration | Annual concentration |
| --- | --- | --- | --- | --- | --- | --- | --- |
| X coordinate | Correlation Coefficient | 1 |  |  |  |  |  |
|  | Sig. (2-tailed) | . |  |  |  |  |  |
| Y Coordinate | Correlation coefficient | .255 | 1 |  |  |  |  |
|  | Sig. (2-tailed) | .107 | . |  |  |  |  |
| Elevation | Correlation Coefficient | .493** | -.099 | 1 |  |  |  |
|  | Sig. (2-tailed) | .001 | .537 | . |  |  |  |
| Wet season concentration | Correlation Coefficient | -.382* | -.170 | -.295 | 1 |  |  |
|  | Sig. (2-tailed) | .014 | .289 | .061 | . |  |  |
| Dry season concentration | Correlation Coefficient | -.169 | .000 | .035 | .139 | 1 |  |
|  | Sig. (2-tailed) | .291 | .999 | .830 | .386 | . |  |
| Annual concentration | Correlation Coefficient | -.311* | -.039 | -.158 | .776** | .632** | 1 |
|  | Sig. (2-tailed) | .048 | .809 | .325 | .000 | .000 | .000 |
|  |  | **. Correlation is significant at the 0.01 level (2-tailed). *. Correlation is significant at the 0.05 level (2-tailed). |  |  |  |  |  |

Supplementary table S3: Mean values of DAD of drinking water fluoride in Adama city

| Exposure group | Season | Min | Max | Mean | Percentiles |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 25 | 50 | 75 |
| Children four years old | Wet | .0003 | .0003 | .0003 | .0003 | .0003 | .0003 |
|  | Dry | .000299 | .000299 | .000299 | .000299 | .000299 | .000299 |
| Children five years old | Wet | .000288 | .000288 | .000288 | .000288 | .000288 | .000288 |
|  | Dry | .000288 | .000288 | .000288 | .000288 | .000288 | .000288 |
| Children six years old | Wet | .00026 | .00026 | .00026 | .00026 | .00026 | .00026 |
|  | Dry | .00026 | .00026 | .00026 | .00026 | .00026 | .00026 |
| Women | Wet | .00011 | .00011 | .00011 | .00011 | .00011 | .00011 |
|  | Dry | .00011 | .00011 | .00011 | .00011 | .00011 | .00011 |

Supplementary table S4: Mean values of HQoral, HQder and THI of drinking water fluoride in Adama city

| Exposure groups | Seasons | HQoral |  |  | HQder |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Min | Max | Mean | Min | max |
| Children four years old | Wet | 0.91 | 5.33 | 2.45±0.26 | 0.005 | 0.005 |
|  | Dry | 2.32 | 13.59 | 3.74±0.36 | 0.030 | 0.030 |
| Children five years old | Wet | 0.86 | 5.02 | 2.23±0.24 | 0.005 | 0.005 |
|  | Dry | 2.16 | 12.77 | 3.47±0.34 | 0.005 | 0.005 |
| Children six years old | Wet | 0.81 | 4.76 | 2.18±0.23 | 0.026 | 0.026 |
|  | Dry | 2.05 | 12.09 | 3.28±0.32 | 0.030 | 0.026 |
| Women | Wet | 0.10 | 0.06 | 0.28±0.03 | 0.002 | 0.002 |
|  | Dry | 0.26 | 1.55 | 0.42±0.04 | 0.002 | 0.002 |