## Microplate End point
User: USER
Path: C:\Program Files (x86)\BMG\Omega\User\Data
Test ID: 2215
Test Name: BCA
Date: 20.11.2024
Time: 14:45:33
Absorbance |  |  | Absorbance values are displayed as OD
1. Raw Data (480)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.326 | 1.447 | 0.981 | 0.772 | 0.714 | 0.577 | 0.53 | 0.463 | 0.455
B | 0.753 | 0.605 | 0.571 | 0.572 | 0.55 | 0.596 | 0.547 | 0.573
C
D
E
F
G
H
2. Concentration
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.708 | 1.946 | 1.025 | 0.612 | 0.497 | 0.226 | 0.134 | 0.002
B | 0.574 | 0.282 | 0.214 | 0.216 | 0.174 | 0.264 | 0.168 | 0.22
C
D
E
F
G
H
3. Blank corrected based on Raw Data (480)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Average of all blanks used
A | 0.871 | 0.992 | 0.526 | 0.317 | 0.258 | 0.121 | 0.074 | 0.008
B | 0.298 | 0.149 | 0.115 | 0.116 | 0.095 | 0.14 | 0.092 | 0.118 |  |  |  |  | Used correction value(s):
C | [12 empty] | Blank 0,4553
D
E
F
G
H

## Table End point
User: USER
Path: C:\Program Files (x86)\BMG\Omega\User\Data
Test ID: 2215
Test Name: BCA
Date: 20.11.2024
Time: 14:45:33
Absorbance |  |  | Absorbance values are displayed as OD
| R² | 0.91787 | 0.99127 | 0.99249
Well | Content | Concentration | Concentration | Concentration
A01 | Standard S1 | 1.708 | 1.916 | 1.957
A02 | Standard S2 | 1.946 | 1.51 | 1.461
A03 | Standard S3 | 1.025 | 1.116 | 1.14
A04 | Standard S4 | 0.612 | 0.794 | 0.754
A05 | Standard S5 | 0.497 | 0.515 | 0.512
A06 | Standard S6 | 0.226 | 0.263 | 0.244
A07 | Standard S7 | 0.134 | 0.085 | 0.103
A08 | Standard S8 | 0.002 | -0.049 | -0.022
A09 | Blank B |  |  |  | Average | x50 | For 35ug | For 50ug | For 50ug*2.5 | LB + bMe | dH2O | Total
B01 | P4/20 | 0.574 | 0.457 | 0.435 | 0.446 | 22.3 | 1.5695 | 2.2422 | 5.6054 | 6.25 | 13.1446 | 25
B02 | p9/15 | 0.282 | 0.257 | 0.241 | 0.249 | 12.45 | 2.8112 | 4.0161 | 10.0402 | 6.25 | 8.7098 | 25
B03 | p17/16 | 0.214 | 0.259 | 0.243 | 0.251 | 12.55 | 2.7888 | 3.9841 | 9.9602 | 6.25 | 8.7898 | 25
B04 | p24/17 | 0.216 | 0.363 | 0.352 | 0.3575 | 17.875 | 1.958 | 2.7972 | 6.993 | 6.25 | 11.757 | 25
B05 | p32/02 | 0.174 | 0.247 | 0.263 | 0.255 | 12.75 | 2.7451 | 3.9216 | 9.8039 | 6.25 | 8.9461 | 25
B06 | p40/17 | 0.264 | 0.337 | 0.304 | 0.3205 | 16.025 | 2.1841 | 3.1201 | 7.8003 | 6.25 | 10.9497 | 25
B07 | p50/18 | 0.168 | 0.278 | 0.255 | 0.2665 | 13.325 | 2.6266 | 3.7523 | 9.3809 | 6.25 | 9.3691 | 25
B08 | p67/10 | 0.22 | 0.33 | 0.333 | 0.3315 | 16.575 | 2.1116 | 3.0166 | 7.5415 | 6.25 | 11.2085 | 25
[9 empty] | 0 | 50
[9 empty] | Prepare 55 | Add %10 bMe | 5.5

## Antibodies
Antibodies | Concentration | Storage | Catalog No | Company | Clonality | Host | Reactivity | Size | Applications
Topo II beta | 50 µg at 250 µg/ml | .-20° C | 611492 | BD | Monoclonal | Mouse | H | 180 kDa | WB, IF
Nurr1 | 400ul at 2 mg/mL | .-20° C | PA513416 | Invitrogen | Polyclonal | Rabbit | H, M | 70 kDa | WB, IHC (P), ICC/IF | WB 1:1000, IHC (P) 1:50-1:100, ICC/IF 1:10-1:50
NF-κB p65 XP® |  | .-20° C | 8242 | Cell Signaling | Monoclonal | Rabbit | H, M, R | 65 kDa | WB, IP, IHC-P, IF-IC, Flow, ChIP, ChIP-seq, Cut&Run
Phospho-NF-κB p65 (Ser536) |  | .-20° C | 3033 | Cell Signaling | Monoclonal | Rabbit | H, M, R | 65 kDa | WB, IP, IF, Flow
NeuN XP® |  | .-20° C | 24307 | Cell Signaling | Monoclonal | Rabbit | H, M, R | 46-55 kDa | WB, IHC, IF
Actin | 100ul | .-20° C | M01263 | Boster | Monoclonal | Rabbit | H, M, R | 42 kDa | WB, IF, IHC, ICC
GAPDH |  | .-20° C | M00227-7 | Boster | Monoclonal | Mouse | H, M, R | 37 kDa | WB, IF, IHC, ICC, Flow Cytometry, IP | WB 1:5000-1:20000, IHC 1:100-1:500, ICC/IF 1:100-1:250, IP 1:50, FC 1:50
Phospho-α-Synuclein (Ser129) |  | .-20° C | 23706 | Cell Signaling | Monoclonal | Rabbit | H, M, R | 18 kDa | WB, IP, IF

## Linear regression fit
User: USER
Path: C:\Program Files (x86)\BMG\Omega\User\Data
Test ID: 2215
Test Name: BCA
Date: 20.11.2024
Time: 14:45:33
Absorbance |  |  | Absorbance values are displayed as OD
Formula: | Y = Slope * x + Offset
Wavelength: | Slope | 0.50591
Concentration | Offset | 0.0069603
| R | 0.95806
| R² | 0.91787

## Protocol Information
User: USER
Path: C:\Program Files (x86)\BMG\Omega\User\Data
Test ID: 2215
Test Name: BCA
Date: 20.11.2024
Time: 14:45:33
Absorbance
Basic settings
Measurement type: | Absorbance
Microplate name: | SBS STANDARD 96
Endpoint settings
No. of flashes per well: | 22
Optic settings
Excitation: | 480
Shaking settings
Shaking 1
Shake: | before plate reading
Movement: | double orbital
Frequency [rpm]: | 300
Time [s]: | 15
General settings
Top optic used
Measurement head: | - (Spectrometer)
Settling time [s]: | 0.5
Reading direction: | bidirectional, horizontal left to right, top to bottom
Target temperature [°C]: | set off
Comment
Endpoint concentration measurement of protein dyed with bicinchoninic acid - measure at 562