Table 1 Gradient program for nicotine elution

| Time (min) | Flow rate | Buffer % (A) | Methanol % (B) |
| --- | --- | --- | --- |
| 0 .00 | 200 | 100 | 0 |
| 3 | 200 | 100 | 0 |
| 3.1 | 200 | 99.9 | 0.1 |
| 5 | 200 | 40 | 60 |
| 11 | 200 | 40 | 60 |
| 11.1 | 200 | 100 | 0 |
| 15 | 200 | 100 | 0 |

Table 2 recovery data for different extraction solvent from Mushroom

| Extraction solvent (mushroom) | Spike recovery (n=3) |
| --- | --- |
| Methanol (1% formic acid) | 99.25% |
| Methanol (5% formic acid) | 95% |
| Methanol | 96.80% |
| Methanol (1% ammonium hydroxide) | Not calculated |
| Methanol (5% ammonium hydroxide) | 99.10% |

Table 3 Recoveries, means, STD and CV% for Mushroom Spiked samples at 0.01, 0.05 and 0.1 mg/kg.

| Spiking level (mg/kg) | Recovery % (n=5) |  |  |  |  | Mean | STD | CV% |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.01 | 103% | 101% | 92% | 105% | 105% | 101 | 5 | 5 |
| 0.05 | 85% | 85% | 98% | 91% | 91% | 89 | 5 | 6 |
| 0.1 | 90% | 90% | 87% | 86% | 90% | 89 | 2 | 2 |