- Thaw cells and culture them in 10 ml of DMEM Advanced supplemented with 5% FBS (1x105 cells/mL) in a 25 cm2 flask. Incubate at 37°C in a humidified atmosphere with 5% CO2. Replace the medium every 48 hours and continue until the cells reach 100% confluency.

- Detach the cells from flask with the Trypsin-EDTA solution (0.25% trypsin and 0.02% EDTA) and pipette them into a 15-ml sterile conical tube. Centrifuge the cells in the conical tube 5 minutes at 300g.

- Discard the supernatant and resuspend the pellet in fresh DMEM Advanced with 5%FBS. Plate 100 µL containing 20,000 cells into each well of a 96-well plate from the 15-ml sterile conical tube.

- Place the 96-well plate in a humidified 5% CO2 incubator at 37°C and grow the cells until reaching 100% confluency.

- Remove the medium and wash each well with 100 µL of PBS. Add 100 µL of DMEM Advance to untreated control wells, and 100 µL DMEM Advanced containing the test compound at the desired concentration to treatment samples. Incubate for 24 hours.

- After 24 hours, aspirate the supernatant and add 100 µL of Trypsin-EDTA solution into each well. Incubate for 5 minutes.

- Add 100 µL of PBS to each well, resuspend the cells (at this moment there are 100 µL of Trypsin-EDTA solution and 100 µL of PBS in each well), and transfer the cells with the Trypsin and PBS into a rounded Eppendorf previously filled with 300 µL PBS.

- Centrifuge for 5 minutes at 330g. Add 100 µL of Propidium Iodide (PI) to the pellet and incubate at 37 C.

- Wash the cells with 300 µL of PBS. Centrifuge again 5 minutes at 330g and discard the supernatant.

- Add 100 µL of Vybrant dye (1:1000 final dilution with PBS) and incubate for 30 minutes.

- Excite PI and Vybrant with a 488 nm laser set to 40 mW. Collect emissions in Channel II (Vybrant) and Channel IV(PI) and Channel IX (Brightfield) in the ISX.

- Gate single cells in the ISX using FSC/SSC parameters and a brightfield object size of 200–800 in Channel IX. A total of 5,000 gated events were acquired per sample.