### Key Highlights of the Study

- Study Area & Importance

  - Qaroun Lake is a closed, saline lake in Fayoum, Egypt, with high ecological and socio-economic value (fisheries, wildlife, local communities).

  - The lake has no outlet and depends mainly on agricultural and domestic drainage inflows, making it highly sensitive to changes in water quantity and quality.

- Methodology

  - A comprehensive hydrodynamic and water quality assessment was conducted using MIKE 21, MIKE 3, ECO Lab, and Transport modules.

  - The model successfully simulated flow dynamics and spatial–seasonal variability of key parameters: salinity, temperature, BOD, and DO.

  - Model results were validated using field measurements.

- Current (Normal) Conditions

  - Salinity and water quality parameters already exceed environmentally acceptable limits in several lake zones, especially near drainage inflows.

  - BOD levels reached about 7.6 mg/L, indicating significant organic pollution.

  - Dissolved Oxygen (DO) remains relatively stable (~7 mg/L) but is vulnerable to thermal and salinity stress.

- Maximum (Worst-Case) Contamination Scenario

  - Continued reuse of untreated drainage water combined with high summer temperatures and evaporation leads to severe degradation.

  - BOD increases to critical levels (12–14 mg/L).

  - DO drops sharply to 2–5 mg/L, posing serious risks to fish and aquatic life.

  - Salinity exceeds 40 PSU, reflecting long-term evaporation and lack of freshwater renewal.

- Key Drivers of Degradation

  - The reuse of untreated agricultural drainage water is the primary cause of declining water quality.

  - Climate change acts as a strong amplifying factor by increasing evaporation, salinity buildup, and oxygen depletion.

- Environmental Impacts

  - Degraded water quality threatens aquatic ecosystems, fish productivity, aquaculture activities, and the lake’s status as a natural reserve.

- Management Implications

  - There is an urgent need for an integrated lake basin management plan.

  - Recommended measures include:

    - Improved treatment of drainage water

    - Controlled freshwater inflows

    - Climate-adaptive management strategies

- Scientific Contribution

  - The developed modeling framework serves as a robust decision-support tool for evaluating future scenarios.

  - The study provides evidence-based guidance for restoring and sustaining Qaroun Lake’s ecological balance and long-term socio-economic value.