Methods for soil selection

An upland rice cultivar, namely, Kinandang Patong was used in this study. Kinandang Patong was sown in a pot of diameter 16 cm filled with five different soil substrates, namely, calcined clay (Profile® Greens GradeTM, PROFILE Products, Buffalo, Illinois, USA), volcanic ash soil (collection site was unknown; sieved), andosol (Ikubyo-Shibaueyoudo, Shidara Corporation, Kanuma, Tochigi, Japan), alluvial soil (collected from a paddy field, Ibaraki, Japan; 36°02'39'' N and 140°10'65'' E; not sieved), and river sand (Kawasuna, Keiyo Corporation, Chiba, Japan). The soil volume was 3 L, and that of river sand was 2 L. The soils were saturated with Kimura B hydroponic solution [1] (0.91 mM NO3-, 0.73 mM NH4+, 0.18 mM H2PO4-, 1.00 mM SO42-, 0.55 mM K+, 0.55 mM Mg2+, 0.37 mM Ca2+, and 8.9 μM Fe3+; pH 5.5) before rice sowing. Kinandang Patong was grown in a greenhouse under natural daylight conditions, i.e., air temperature and humidity were controlled (average air temperature: 30 ℃/26 ℃ at day/night; average relative humidity: 50%). Further, tap water was supplied at the bottom of the pots during cultivation.

After 23 days from sowing, each pot was scanned by an X-ray CT system (inspeXio SMX-225CT FPD HR, Shimadzu Corporation, Nakagyo-ku, Kyoto, Japan). Each scan digitally obtained 1200 projections using a signal averaging of two frames over 360° without binning (pixel detector resolution: 3000 × 3000) at 4.0 fps. Finally, 788 horizontal slices of pixel resolution 1024 × 1024 were computed. The final spatial resolution was 210 μm, which corresponds to a total volume of 21.5 × 21.5 × 16.55 cm3. A tube voltage of 200 kV and a tube current of 200 μA were used. The source-detector distance and the source-rotation axis distance were 800 mm and 427 mm, respectively. Further, no metal filters were used to harden the X-ray beam. Furthermore, beam hardening was approximately corrected using an operation software with a correction table calculated with metal material.

The CT images were visualized using the VG Studio MAX 3.1 software (Volume Graphics, Heidelberg, Germany). To roughly flush the noises of CT images, a minimum intensity of CT slice of depth 120 mm was calculated using the “thick slab option” in VG Studio MAX.

References

- Yoshida S, Douglas AF, James HC, Gomez KA. Laboratory Manual for Physiological Studies of Rice. 3rd ed. Manila: International Rice Research Institute; 1976.