🧪 Standard Operating Procedure: Experimental Validation of Microscopic Onsager Violation in 2D Materials

Version: 1.0
Date: March 13, 2026
Author: 2D Materials Characterization Laboratory
Purpose: To provide a complete, reproducible protocol for measuring the microscopic antisymmetric transport coefficients predicted by the entropy-weighted ensemble theory.

📋 Table of Contents

- Purpose and Scientific Background

- Theoretical Foundation (What We Are Testing)

- Materials and Sample Preparation

- Instrumentation Specifications

- Pre-Measurement Calibration

- Measurement Protocol: Four Independent Probes

  - 6.1 DC Transport (Zero-Frequency Baseline)

  - 6.2 Finite-Frequency AC Response (The Smoking Gun)

  - 6.3 Noise Correlations (Cross-Correlation Spectroscopy)

  - 6.4 Thermal Cycling Hysteresis (Macroscopic Consistency)

- Data Analysis Algorithms

- Complete Python Analysis Code

- Quality Control and Acceptance Criteria

- Expected Results and Interpretation

- Troubleshooting Guide

- Data Archive Requirements

- References

1. Purpose and Scientific Background

1.1 Objective

To experimentally measure the antisymmetric part of the microscopic transport matrix LijW-LjiW predicted by entropy-weighted ensemble theory, and to verify that this antisymmetry vanishes at DC but appears at finite frequency.

1.2 Scientific Hypothesis

The entropy-weighted microscopic proof (Theorem 1 in main paper) predicts:

LijW-εiεjLjiW=0∞⟨(1-χ)Ji(0)Jj(t)⟩Wdt

For observables of opposite time parity (εiεj=-1), this implies:

LijW+LjiW=0∞⟨(1-χ)Ji(0)Jj(t)⟩Wdt

Key experimental predictions:

- DC limit (ω→0): The antisymmetric part vanishes due to fluctuation-dissipation theorem → Onsager symmetry appears.

- Finite frequency (ω≠0): The antisymmetric part reappears as a reactive (dispersive) component in the cross-response.

- Temperature dependence: The magnitude scales with Cp-Cv∝Tα2/κT.

- Material dependence: Strongest in materials with large thermal expansion and anisotropic coupling.

1.3 Target Observables

For a 2D material (graphene, hBN, transition metal dichalcogenide), measure cross-correlation between:

| Observable A | Parity εA | Flux JA | Parity εJ |
| --- | --- | --- | --- |
| Carrier density n | +1 (even) | Current density j | -1 (odd) |
| Temperature T | +1 (even) | Heat current jq | -1 (odd) |
| Strain ϵxx | +1 (even) | Stress rate σxx | -1 (odd) |

The smoking gun: Cross-correlation Sn,jq(ω) between density and heat current should be purely imaginary and odd in frequency at finite ω.

2. Theoretical Foundation (What We Are Testing)

2.1 The Microscopic Prediction

From the weighted Green-Kubo relation:

LijW(ω)=0∞eiωt⟨Ji(0)Jj(t)⟩Wdt

The symmetry relation becomes:

LijW(ω)=εiεjLjiW(-ω)*

For opposite parity observables (εiεj=-1):

LijW(ω)=-LjiW(-ω)*

At ω=0, if Lij is real, this forces Lij(0)=-Lji(0) — antisymmetric DC transport.

But the fluctuation-dissipation theorem requires:

Sij(ω)=2kBTωImLij(ω)(classical)

For the antisymmetric part to be physical, it must be purely reactive (imaginary) at finite frequency, and vanish at DC.

2.2 What We Actually Measure

We measure the cross-power spectral density:

SAB(ω)=-∞∞eiωt⟨δA(t)δB(0)⟩dt

The microscopic prediction:

SAB(ω)=SABsym(ω)+iSABasym(ω)

where SABasym(ω) is odd in frequency and vanishes at ω=0.

3. Materials and Sample Preparation

3.1 Sample Specifications

| Parameter | Specification |
| --- | --- |
| Material | Monolayer graphene (CVD or exfoliated) |
| Alternative 1 | Bilayer graphene (for enhanced asymmetry) |
| Alternative 2 | hBN (low disorder, high thermal conductivity) |
| Alternative 3 | MoS₂ (strong spin-orbit, different parity structure) |
| Substrate | 300 nm SiO₂/Si (for optical identification) |
| Electrode material | Cr/Au (5 nm / 50 nm) |
| Electrode geometry | Hall bar (for simultaneous density and current measurement) |
| Heater material | Pt (for local temperature gradient) |
| Thermometer | Graphene itself (Raman or resistance thermometry) |

3.2 Device Geometry

Hall bar specifications:

- Channel width: 2 μm

- Channel length: 10 μm

- Voltage probe spacing: 2 μm

- Heater distance from channel: 1 μm

- Thermometer distance: 0.5 μm

Contact pad arrangement:

text

[Heater]    [Heater]

|           |

----┴----┌─────┴----

|        │        |

└───V₁───┘   └───V₂───┘ (thermometers)

|        │        |

====I_in============I_out=== (current)

|        │        |

└───V₃───┘   └───V₄───┘ (density probes)

|        │        |

----┬----└─────┬----

|           |

[Heater]    [Heater]

3.3 Sample Preparation Protocol

Step 1: Substrate cleaning

- Sonicate in acetone (10 min, 25°C)

- Rinse with isopropanol (30 s)

- Sonicate in isopropanol (10 min, 25°C)

- Dry with N₂ (99.999% purity)

- UV-ozone treatment (15 min)

Step 2: Electrode fabrication

- Spin-coat PMMA A4 950K (3000 rpm, 60 s)

- Bake (150°C, 5 min)

- E-beam lithography for Hall bar pattern

- Develop in MIBK:IPA 1:3 (60 s)

- Deposit Cr/Au (5 nm/50 nm) by e-beam evaporation

- Lift-off in acetone (12 hours)

Step 3: Graphene transfer

- Mechanical exfoliation of graphite onto PDMS

- Identify monolayer by optical contrast

- Dry-transfer onto prepatterned Hall bar

- Anneal in Ar/H₂ (300°C, 2 hours)

Step 4: Final contact annealing

- Anneal in vacuum (200°C, 12 hours)

- Measure contact resistance (should be < 1 kΩ)

4. Instrumentation Specifications

4.1 Core Instruments

| Instrument | Model (example) | Purpose |
| --- | --- | --- |
| Lock-in amplifier | Zurich Instruments MFLI | AC transport, cross-correlation |
| Lock-in amplifier 2 | Stanford Research SR860 | Second frequency channel |
| Low-noise current source | Keithley 6221 | DC biasing |
| Voltage preamplifier | Stanford Research SR560 | Signal conditioning |
| Cryostat | Montana Instruments Cryostation s50 | Temperature control (4-500 K) |
| Vector network analyzer | Keysight P9375A | High-frequency response |
| Spectrum analyzer | Rohde & Schwarz FSW | Noise correlation |
| Temperature controller | Lakeshore 336 | Heater control |
| Raman spectrometer | Horiba LabRAM HR | Optical temperature calibration |

4.2 Measurement Configuration

For DC transport:

- Current source: 100 nA - 10 µA

- Voltage measurement: 4-probe

- Lock-in frequency: 17.777 Hz (odd, avoids line noise)

- Time constant: 300 ms

- Sensitivity: 100 nV - 1 µV

For AC response (10 Hz - 100 kHz):

- AC drive: 10 mV - 100 mV

- Two lock-ins at different frequencies

- Measure in-phase (X) and quadrature (Y) simultaneously

For noise correlation (100 kHz - 10 MHz):

- Cross-correlation mode

- Two channels simultaneously

- Bandwidth: 1 MHz

- Averaging time: 1 hour per temperature

For thermal transport:

- Heater power: 10 µW - 1 mW

- Thermometer: Graphene resistance (4-probe)

- Calibration: dR/dT at each temperature

4.3 Required Consumables

| Item | Specification | Supplier |
| --- | --- | --- |
| Silver paste | High conductivity, fast curing | Ted Pella |
| Gold wire | 25 µm diameter | Alfa Aesar |
| Copper tape | Conductive, 5 mm width | 3M |
| Kapton tape | High temperature resistant | DuPont |
| Liquid helium | 99.999% purity | Local supplier |
| Liquid nitrogen | 99.999% purity | Local supplier |

5. Pre-Measurement Calibration

5.1 Contact Resistance Check

| Step | Action | Acceptance |
| --- | --- | --- |
| 1 | Measure 2-probe resistance | < 10 kΩ |
| 2 | Measure 4-probe resistance | < 1 kΩ |
| 3 | Check linear I-V (sweep -10 µA to +10 µA) | R² > 0.999 |
| 4 | Check symmetry (I+ vs I-) | Difference < 1% |

5.2 Thermometer Calibration

- Cool to base temperature (4 K)

- Warm in steps (10 K intervals) to 500 K

- At each step, stabilize 10 min

- Measure 4-probe resistance

- Fit to:

R(T)=R0+αT+βT2

Acceptance: Fit residual < 0.1% over range.

5.3 Heater Calibration

- Apply DC power to heater (0 to 1 mW in 0.1 mW steps)

- Measure thermometer resistance at each step

- Convert to temperature using calibration

- Fit T=T0+γP

- Extract thermal resistance Rth=1/γ

5.4 Noise Floor Measurement

- Disconnect sample (short input)

- Measure voltage noise spectrum 10 Hz - 10 MHz

- Measure current noise spectrum

- Calculate equivalent input noise

Acceptance:

- Voltage noise < 1 nV/√Hz at 1 kHz

- Current noise < 100 fA/√Hz at 1 kHz

5.5 Cross-Correlation Channel Matching

- Split same signal into both channels

- Measure cross-correlation

- Adjust phase offsets until:

  - Real part = auto-correlation

  - Imaginary part = 0

6. Measurement Protocol: Four Independent Probes

6.1 DC Transport (Zero-Frequency Baseline)

Purpose: Establish Onsager-symmetric baseline at DC.

Procedure:

For each temperature (300, 350, 400, 450, 500 K):

- Stabilize temperature (±0.1 K, 10 min)

- Measure longitudinal resistance Rxx

- Measure Hall resistance Rxy (B = ±1 T)

- Extract carrier density n=-B/(eRxy)

- Measure thermopower S=-ΔV/ΔT (heater on/off)

- Measure thermal conductivity κ (2-heater method)

Expected result:

- Lnn(0) (conductivity) symmetric

- LnT(0) (thermopower) symmetric within uncertainty

- No antisymmetric component detectable

6.2 Finite-Frequency AC Response (The Smoking Gun)

Purpose: Measure the antisymmetric cross-correlation Sn,jq(ω).

Configuration:

- Apply AC current I(ω1) to heater

- Measure voltage response at two thermometers V1(ω1), V2(ω1)

- Apply AC voltage Vg(ω2) to gate (modulates density)

- Measure current response I(ω2)

- Use two lock-ins at different frequencies to separate channels

For each temperature and frequency:

- Set frequency f=10,30,100,300,1k,3k,10k,30k,100k Hz

- Acquire for t=300 s (to resolve 0.1 nV)

- Record:

  - X11,Y11 (in-phase, quadrature at ω1)

  - X22,Y22 (in-phase, quadrature at ω2)

  - X12,Y12 (cross-correlation amplitude and phase)

Calculate cross-spectral density:

Sn,jq(ω)=⟨δn(ω)δjq(ω)*⟩Δf

Expected signature:

- Re[Sn,jq(ω)] = 0 (pure imaginary)

- Im[Sn,jq(ω)] odd in frequency

- Sn,jq(ω)∝ω at low frequencies

- Vanishes at ω→0

6.3 Noise Correlation Spectroscopy

Purpose: Measure equilibrium fluctuations that give rise to transport asymmetry.

Configuration:

- No applied drive (sample in equilibrium at temperature T)

- Measure voltage noise at two contacts simultaneously

- Compute cross-spectrum SV1V2(ω)

For each temperature:

- Acquire time traces (10⁶ points, 10 MS/s)

- Compute FFT with Hanning window

- Average 1000 spectra

- Extract:

  - Auto-spectra SV1V1(ω), SV2V2(ω)

  - Cross-spectrum SV1V2(ω)

Relation to transport:

SV1V2(ω)=2kBTωIm[L12(ω)-L21(ω)]Z1Z2

where Z1,Z2 are contact impedances.

Expected signature:

- Cross-spectrum purely imaginary

- Odd in frequency

- Scales as ω at low frequencies

6.4 Thermal Cycling Hysteresis (Macroscopic Consistency)

Purpose: Connect to your Raman measurements.

Procedure:

- Set temperature to 300 K

- Measure Rxx,Rxy,S,κ

- Heat to 500 K at 10 K/min, measuring continuously

- Hold at 500 K for 60 min

- Cool to 300 K at 10 K/min, measuring continuously

Calculate hysteresis:

ΔX(T)=Xheat(T)-Xcool(T)

for each observable X.

Loop area:

AX=300500∣ΔX(T)∣dT

Expected correlation:

- AX should scale with Cp-Cv of material

- AX should correlate with Im[Sn,jq(ω)] integrated over frequency

7. Data Analysis Algorithms

7.1 Lock-in Demodulation

python

def demodulate(signal, ref_freq, fs, t_meas):

"""

Demodulate signal at reference frequency

Parameters:

signal : array - measured time series

ref_freq : float - reference frequency (Hz)

fs : float - sampling rate (Hz)

t_meas : float - measurement time (s)

Returns:

X, Y : in-phase and quadrature components

"""

t = np.arange(len(signal)) / fs

# Generate reference

cos_ref = np.cos(2*np.pi*ref_freq*t)

sin_ref = np.sin(2*np.pi*ref_freq*t)

# Mix

I = signal * cos_ref

Q = signal * sin_ref

# Low-pass filter (integrate over measurement time)

X = 2 * np.mean(I)

Y = 2 * np.mean(Q)

return X, Y

7.2 Cross-Spectral Density

python

def cross_spectral_density(signal1, signal2, fs, n_avg=100):

"""

Compute cross-spectral density using Welch's method

Parameters:

signal1, signal2 : arrays - time series

fs : float - sampling rate

n_avg : int - number of averages

Returns:

f : frequency array

S12 : complex cross-spectral density

"""

from scipy import signal

# Window parameters

nperseg = len(signal1) // n_avg

# Compute cross-spectral density

f, S12 = signal.csd(

signal1, signal2,

fs=fs,

nperseg=nperseg,

noverlap=nperseg//2,

scaling='density',

return_onesided=False

)

# Shift to center frequency

f = np.fft.fftshift(f)

S12 = np.fft.fftshift(S12)

return f, S12

7.3 Extracting Antisymmetric Transport

python

def extract_antisymmetric_part(f, S12, Z1, Z2, T):

"""

Extract antisymmetric transport coefficient from cross-spectrum

Parameters:

f : array - frequency (Hz)

S12 : complex array - cross-spectral density (V²/Hz)

Z1, Z2 : float - contact impedances (Ω)

T : float - temperature (K)

Returns:

L_asym : array - antisymmetric transport coefficient

"""

k_B = 1.380649e-23  # J/K

# Convert voltage noise to current noise

S_I = S12 / (Z1 * Z2)

# Extract imaginary part (should be dominant)

ImS = np.imag(S_I)

# Use fluctuation-dissipation relation

omega = 2 * np.pi * f

L_asym = np.zeros_like(omega, dtype=complex)

# Avoid division by zero at DC

nonzero = omega > 0

L_asym[nonzero] = 1j * ImS[nonzero] * omega[nonzero] / (2 * k_B * T)

return L_asym

7.4 Temperature-Dependent Hysteresis Analysis

python

def analyze_hysteresis(T_heat, X_heat, T_cool, X_cool):

"""

Analyze hysteresis between heating and cooling cycles

Parameters:

T_heat, X_heat : heating cycle data

T_cool, X_cool : cooling cycle data

Returns:

hysteresis_df : DataFrame with differences

area : hysteresis loop area

"""

# Interpolate to common temperatures

T_common = np.linspace(

max(min(T_heat), min(T_cool)),

min(max(T_heat), max(T_cool)),

100

)

X_heat_interp = np.interp(T_common, T_heat, X_heat)

X_cool_interp = np.interp(T_common, T_cool, X_cool)

# Difference

delta_X = X_heat_interp - X_cool_interp

# Loop area (absolute value)

area = np.trapz(np.abs(delta_X), T_common)

# Create DataFrame

df = pd.DataFrame({

'T': T_common,

'X_heat': X_heat_interp,

'X_cool': X_cool_interp,

'delta_X': delta_X,

'abs_delta': np.abs(delta_X)

})

return df, area

7.5 Scaling with Cp-Cv

python

def test_cp_cv_scaling(materials_data):

"""

Test whether antisymmetric magnitude scales with Cp - Cv

Parameters:

materials_data : list of dicts with keys:

'material', 'Cp', 'Cv', 'L_asym_integrated'

Returns:

correlation : dict with r, p, R²

"""

import scipy.stats as stats

# Extract data

cp_cv_diff = [d['Cp'] - d['Cv'] for d in materials_data]

asym = [d['L_asym_integrated'] for d in materials_data]

# Linear regression

slope, intercept, r_value, p_value, std_err = stats.linregress(

cp_cv_diff, asym

)

return {

'slope': slope,

'intercept': intercept,

'r': r_value,

'r_squared': r_value**2,

'p_value': p_value,

'std_err': std_err

}

8. Complete Python Analysis Code

(Full code would be ~1000 lines. Here's the structure.)

Text

microscopic_onsager_analysis/

├── __init__.py

├── config/

│   └── experiment_config.yaml

├── calibration/

│   ├── thermometer.py

│   ├── heater.py

│   └── noise_floor.py

├── measurement/

│   ├── dc_transport.py

│   ├── ac_response.py

│   ├── noise_correlation.py

│   └── thermal_cycling.py

├── analysis/

│   ├── demodulation.py

│   ├── cross_spectrum.py

│   ├── antisymmetric.py

│   └── hysteresis.py

├── validation/

│   ├── cp_cv_scaling.py

│   ├── parity_test.py

│   └── null_test.py

├── plotting/

│   ├── frequency_dependence.py

│   ├── temperature_dependence.py

│   └── hysteresis_plots.py

├── utils/

│   ├── constants.py

│   ├── file_io.py

│   └── statistics.py

├── requirements.txt

├── environment.yml

└── run_full_analysis.py

Key files:

run_full_analysis.py:

python

#!/usr/bin/env python3

"""

Complete analysis pipeline for microscopic Onsager violation experiment

"""

import numpy as np

import pandas as pd

import matplotlib.pyplot as plt

from pathlib import Path

from calibration.thermometer import ThermometerCalibration

from measurement.dc_transport import DCTransport

from measurement.ac_response import ACResponse

from measurement.noise_correlation import NoiseCorrelation

from measurement.thermal_cycling import ThermalCycling

from analysis.antisymmetric import AntisymmetricExtractor

from analysis.hysteresis import HysteresisAnalyzer

from validation.cp_cv_scaling import CpCvScalingTest

from plotting.frequency_dependence import FrequencyPlotter

def main():

# Load configuration

config = load_config('config/experiment_config.yaml')

# Initialize analyzers

thermo_cal = ThermometerCalibration(config)

dc = DCTransport(config)

ac = ACResponse(config)

noise = NoiseCorrelation(config)

cycling = ThermalCycling(config)

# Process each temperature

results = []

for T in config['temperatures']:

print(f"\n=== Processing T = {T} K ===")

# DC transport

dc_data = dc.analyze(T)

# AC response

ac_data = ac.analyze(T, frequencies=config['frequencies'])

# Noise correlation

noise_data = noise.analyze(T)

# Combine

results.append({

'T': T,

'dc': dc_data,

'ac': ac_data,

'noise': noise_data

})

# Extract antisymmetric part

extractor = AntisymmetricExtractor()

asym = extractor.compute(results)

# Thermal cycling hysteresis

cycling_data = cycling.analyze()

hysteresis_analyzer = HysteresisAnalyzer()

hysteresis = hysteresis_analyzer.compute(cycling_data)

# Test Cp - Cv scaling

scaling_test = CpCvScalingTest()

scaling = scaling_test.test(asym, hysteresis)

# Generate plots

plotter = FrequencyPlotter()

plotter.plot_all(asym, hysteresis, scaling)

# Save results

save_results(results, asym, hysteresis, scaling)

print("\n=== Analysis Complete ===")

print(f"Antisymmetric magnitude: {asym['magnitude']:.3e}")

print(f"p-value (null hypothesis): {asym['p_value']:.3e}")

print(f"Cp-Cv correlation R²: {scaling['r_squared']:.3f}")

if __name__ == "__main__":

main()

9. Quality Control and Acceptance Criteria

9.1 Quantitative Acceptance Criteria

| Test | Criterion | If Failed |
| --- | --- | --- |
| Contact resistance | < 1 kΩ | Redeposit contacts |
| I-V linearity | R² > 0.999 | Check for Schottky barriers |
| Noise floor | < 1 nV/√Hz at 1 kHz | Check shielding, grounding |
| Thermometer calibration | Fit residual < 0.1% | Recalibrate |
| Channel matching | Phase error < 1° | Adjust cables |
| DC Onsager symmetry | L12(0)-L21(0)<2σ | Check measurement |
| Finite-frequency signal | SNR > 10 at peak | Increase averaging time |
| Odd frequency dependence | S(-ω)=-S(ω)* within 3σ | Check phase calibration |
| Vanishing at DC | ( | S(0) | < 3\sigma ) | Acceptable if true |

9.2 Null Tests

| Test | Procedure | Expected | Interpretation |
| --- | --- | --- | --- |
| Same parity observables | Measure Snn(ω) | Real, even | Control |
| Zero temperature | Cool to 4 K | Signal vanishes | Thermal origin |
| Different material | Measure hBN | Different magnitude | Material-specific |
| Shorted sample | Short inputs | Zero cross-correlation | System noise floor |

10. Expected Results and Interpretation

10.1 Predicted Signatures

| Observable | Prediction |
| --- | --- |
| Re[Sn,jq(ω)] | 0 (within noise) |
| Im[Sn,jq(ω)] | Odd in frequency |
| Low-frequency scaling | ∝ω |
| Temperature scaling | ∝Cp-Cv |
| DC limit | Vanishes |

10.2 Interpretation Guidelines

| Observation | Interpretation |
| --- | --- |
| Imaginary, odd, vanishes at DC | Confirms microscopic prediction |
| Real part nonzero | Phase calibration error or different mechanism |
| Not odd in frequency | Wrong observable parity |
| Doesn't vanish at DC | Equilibrium symmetry broken — new physics |
| Scales with Cp-Cv | Supports entropy-weighted origin |
| No signal | Weighting factor χ=1 in this material |

10.3 Expected Values (Graphene)

| Quantity | Expected Value |
| --- | --- |
| Im[Sn,jq] peak | 10-18-10-17 V²/Hz |
| Frequency of peak | 1 - 10 kHz |
| Temperature coefficient | ≈10-20 V²/Hz/K |
| Hysteresis area | 500 - 1000 cm⁻¹·K |
| Cp-Cv scaling factor | ≈0.1 (normalized) |

11. Troubleshooting Guide

| Problem | Likely Cause | Solution |
| --- | --- | --- |
| No cross-correlation | Channels not matched | Check phase calibration |
| Real part too large | Capacitive coupling | Add shielding, check grounding |
| Signal not odd in frequency | Wrong parity assignment | Check observable definitions |
| Signal at DC | Thermal drift | Increase stabilization time |
| No temperature dependence | Heater not coupled | Check thermal contact |
| High noise floor | Ground loops | Single-point ground |
| Phase drift | Temperature fluctuation | Stabilize longer |
| Signal varies with contact | Bad contact | Redeposit |

12. Data Archive Requirements

12.1 Folder Structure

text

experiment_YYYYMMDD_microscopic_onsager/

├── raw_data/

│   ├── dc_transport/

│   ├── ac_response/

│   ├── noise_correlation/

│   └── thermal_cycling/

├── calibration/

│   ├── thermometer/

│   ├── heater/

│   └── noise_floor/

├── analysis/

│   ├── processed_data/

│   ├── figures/

│   └── results/

├── code/

│   ├── python/

│   ├── notebooks/

│   └── requirements.txt

├── metadata/

│   ├── sample_info.pdf

│   ├── instrument_config.pdf

│   └── experiment_log.pdf

└── README.md

12.2 README Template

markdown

# Microscopic Onsager Violation Experiment

## Experiment Information

- Date: YYYY-MM-DD

- Operator: [Name]

- Sample ID: [ID]

- Material: [graphene/hBN/MoS₂]

## Sample Description

- Preparation method: [exfoliation/CVD]

- Substrate: [300 nm SiO₂/Si]

- Electrodes: [Cr/Au 5/50 nm]

- Contact resistance: [value] kΩ

## Instrument Configuration

- Lock-in amplifier: [model], [settings]

- Cryostat: [model], [temperature range]

- Measurement modes: [DC/AC/noise/thermal]

## Temperature Protocol

- Range: [300-500] K

- Steps: [50] K intervals

- Stabilization: [10] min

- Ramp rate: [10] K/min

## Key Results

- DC Onsager symmetry: [passed/failed]

- Finite-frequency antisymmetry: [detected/not detected]

- Peak frequency: [value] Hz

- Magnitude: [value] V²/Hz

- Cp-Cv correlation R²: [value]

## Data Files

- raw_data/: All raw measurement files

- calibration/: Calibration data

- analysis/: Processed results

- code/: Analysis scripts

## Reproduction

1. Install dependencies: pip install -r code/requirements.txt

2. Run analysis: python code/run_full_analysis.py

3. Check results: analysis/results/summary.pdf

12.3 Figshare Upload Structure

text

Figshare record: "Microscopic Onsager Violation in Graphene - Raw Data and Analysis"

Files:

1. raw_data.zip (all raw measurement files)

2. analysis_code.zip (complete Python package)

3. processed_data.csv (all extracted quantities)

4. figures.zip (publication-ready plots)

5. SOP_microscopic_onsager.pdf (this document)

6. README.md (reproduction guide)

7. environment.yml (conda environment)