STANDARD OPERATING PROCEDURE #8: Ferroelectric Polarization Hysteresis

Entropy-Weighted Polarization Switching in Ferroelectrics

Version: 1.0
Date: March 14, 2026
Purpose: To measure the λ-dependent asymmetry in ferroelectric polarization switching predicted by entropy-weighted ensemble theory, demonstrating that hysteresis area scales with material's thermodynamic asymmetry parameter $(C_p - C_v)$.

📋 Table of Contents

- Purpose and Scientific Background

- Theoretical Foundation (What We Are Testing)

- Materials and Sample Preparation

- Instrumentation Specifications

- Pre-Measurement Calibration

- Measurement Protocol: Four Independent Probes

  - 6.1. P-E Hysteresis Loops (Classical Baseline)

  - 6.2. Switching Current Analysis (Dynamic Response)

  - 6.3. Temperature-Dependent Hysteresis (The λ Scan)

  - 6.4. Fatigue and Retention (Memory Validation)

- Data Analysis Algorithms

- Complete Python Analysis Code

- Quality Control and Acceptance Criteria

- Expected Results and Interpretation

- Connection to λ-Framework Theory

- Troubleshooting Guide

- Data Archive Requirements

- References

1. Purpose and Scientific Background

1.1 Objective

To experimentally measure the λ-dependent asymmetry in ferroelectric polarization switching predicted by the entropy-weighted ensemble theory, and to verify that:

- Hysteresis loop area $A = \oint P , dE$ scales with the material's thermodynamic asymmetry parameter $(C_p - C_v)$

- Switching time asymmetry appears between positive-to-negative and negative-to-positive switching

- Retention loss follows entropy-governed decay, not simple activation

- Curvature $\Omega = d\omega$ manifests as non-identical switching paths

1.2 Scientific Hypothesis

The entropy-weighted microscopic proof predicts:

LijW-εiεjLjiW=0∞⟨(1-χ)Ji(0)Jj(t)⟩W dt

For ferroelectric switching, this translates to:

Pup→down(t)≠Pdown→up(t)

and the hysteresis loop area:

A=∮P dE∝(Cp-Cv)⋅f(λ)

where $\lambda$ is the entropy-weighting parameter controlled by temperature and electric field history.

1.3 Target Observables

| Observable | Symbol | Units | Expected Asymmetry |
| --- | --- | --- | --- |
| Remanent polarization | $P_r$ | μC/cm² | $\Delta P_r = P_r^+ - P_r^- \neq 0$ |
| Coercive field | $E_c$ | kV/cm | $\Delta E_c = E_c^+ - E_c^- \neq 0$ |
| Loop area | $A$ | μC·kV/cm³ | $A \propto (C_p - C_v)$ |
| Switching time | $t_s$ | μs | $t_s^{\uparrow\downarrow} \neq t_s^{\downarrow\uparrow}$ |
| Retention loss | $P(t)$ | μC/cm² | Logarithmic with λ-dependent slope |

2. Theoretical Foundation (What We Are Testing)

2.1 The λ-Framework Prediction

From your main paper, the accessibility 1-form:

ω=λp dp+λv dv

For ferroelectrics, the thermodynamic conjugate pairs become:

- Electric field $E$ ↔ Polarization $P$ (instead of pressure-volume)

- Temperature $T$ ↔ Entropy $S$ (unchanged)

The entropy-weighted response coordinates become:

λE=-STCE,λP=-STCP

where:

- $C_E$ = heat capacity at constant electric field

- $C_P$ = heat capacity at constant polarization

The thermo-curvature:

Ω=∂λP∂E∂λE∂PdE∧dP

2.2 Prediction for Hysteresis

The hysteresis loop area is the integral of this curvature:

A=∮P dE=∬Ω dE dP

This predicts:

A∝(CE-CP)∝TαE2κT

where $\alpha_E$ is the pyroelectric coefficient and $\kappa_T$ is the dielectric susceptibility.

2.3 Material Selection Criteria

Choose materials spanning a range of $(C_p - C_v)$:

| Material | $T_c$ (°C) | $P_r$ (μC/cm²) | $E_c$ (kV/cm) | $(C_p - C_v)$ (J/mol·K) | λ Range |
| --- | --- | --- | --- | --- | --- |
| PZT (PbZrTiO₃) | 350-450 | 20-40 | 50-100 | 10-30 | High |
| BTO (BaTiO₃) | 120 | 10-20 | 5-15 | 5-15 | Medium |
| P(VDF-TrFE) | 100-140 | 5-10 | 50-100 | 2-8 | Low |
| HfO₂ (doped) | 800-1000 | 10-20 | 10-20 | 15-25 | High |

3. Materials and Sample Preparation

3.1 Sample Specifications

Preferred Material: PZT (PbZr₀.₅₂Ti₀.₄₈O₃) - maximum asymmetry

Alternative 1: BaTiO₃ single crystal - well-studied, lower asymmetry
Alternative 2: P(VDF-TrFE) copolymer - flexible, organic ferroelectric
Alternative 3: HfO₂ thin film - CMOS compatible, high temperature

3.2 Sample Geometry

Thin Film Configuration:

text

┌─────────────────────────────────┐

│   Top Electrode (Pt/Au, 100 nm) │

├─────────────────────────────────┤

│   Ferroelectric Layer (200 nm)   │

├─────────────────────────────────┤

│   Bottom Electrode (Pt/SRO, 100 nm)│

├─────────────────────────────────┤

│   Substrate (Si/SiO₂ or STO)     │

└─────────────────────────────────┘

Electrode Pattern:

text

┌─────┐      ┌─────┐

│  A  │      │  B  │   Top electrodes (100×100 μm²)

└─────┘      └─────┘

┌─────────────────┐

│  Bottom electrode │   Ground plane

└─────────────────┘

3.3 Sample Preparation Protocol

Step 1: Substrate Preparation

- Clean Si/SiO₂ substrate (acetone → IPA → DI water → N₂ dry)

- Deposit bottom electrode (Pt 100 nm by sputtering, 300°C)

- Anneal at 600°C for 30 min in O₂ (to improve adhesion)

Step 2: Ferroelectric Deposition (PZT)

Chemical Solution Deposition (CSD) method:

- Prepare precursor: 0.4 M PZT solution (Zr:Ti = 52:48)

- Spin-coat at 3000 rpm for 30 s (target thickness ~50 nm per layer)

- Pyrolysis at 350°C for 5 min (hot plate)

- Repeat for 4 layers (total thickness ~200 nm)

- Final crystallization anneal: 650°C for 30 min in O₂

Step 3: Top Electrode Deposition

- Photolithography for electrode patterning

- Deposit Pt (100 nm) by sputtering

- Lift-off in acetone

- Rapid thermal anneal at 500°C for 1 min (to improve interface)

Step 4: Contacting

- Wire-bond to Au-coated PCB using Al wire bonds

- Encapsulate with epoxy (protect from moisture)

4. Instrumentation Specifications

4.1 Core Instruments

| Instrument | Model (example) | Purpose |
| --- | --- | --- |
| Ferroelectric tester | Radiant Precision LC II | P-E hysteresis loops |
| Alternative | aixACCT TF Analyzer 2000 | High-precision ferroelectric testing |
| Temperature stage | Linkam HFS600E-PB4 | -196°C to 600°C |
| Function generator | Keysight 33500B | Switching pulse generation |
| Oscilloscope | Tektronix MDO3104 | Switching current measurement |
| LCR meter | Keysight E4980A | Small-signal capacitance |
| Source meter | Keithley 2636B | DC leakage measurement |
| Cryostat | Montana Instruments | Low-temperature (4-500 K) |

4.2 Measurement Configurations

For P-E Hysteresis:

- Voltage range: ±10 V (for 200 nm film → ±500 kV/cm)

- Frequency: 1 Hz - 10 kHz

- Measurement mode: Dynamic (virtual ground) or Sawyer-Tower

- Compensation: Built-in or external capacitor compensation

For Switching Current:

- Pulse amplitude: ±5-10 V

- Pulse width: 100 ns - 1 ms

- Rise time: <10 ns

- Sampling rate: 1 GS/s

For Temperature Dependence:

- Range: 25°C to 600°C (or to Curie temperature)

- Ramp rate: 5°C/min

- Stabilization: 5 min at each temperature

- Atmosphere: Air or N₂ (to prevent oxidation)

4.3 Required Consumables

| Item | Specification | Supplier |
| --- | --- | --- |
| Silver paste | High conductivity | Ted Pella |
| Gold wire | 25 μm diameter | Alfa Aesar |
| Pt sputtering target | 99.99% | Kurt J. Lesker |
| PZT solution | 0.4 M, Zr/Ti 52/48 | Mitsubishi Materials |
| Si substrates | p-type, <0.005 Ω·cm | University Wafer |

5. Pre-Measurement Calibration

5.1 Leakage Current Check

Before measuring hysteresis, ensure leakage is negligible:

Procedure:

- Apply DC voltage from -5 V to +5 V in 0.1 V steps

- Measure current after 1 s stabilization

- Calculate leakage current density

Acceptance: $J_{\text{leak}} < 10^{-6}$ A/cm² at ±5 V

5.2 Parasitic Compensation

For dynamic hysteresis measurements, parasitic capacitance must be compensated:

Procedure:

- Measure empty structure (no ferroelectric)

- Record hysteresis loop (should be straight line)

- Calculate parasitic capacitance $C_{\text{parasitic}}$

- Enable instrument's compensation or subtract in software

Acceptance: Residual loop area < 1% of typical ferroelectric loop

5.3 Temperature Sensor Calibration

- Mount thermocouple directly on sample surface

- Ramp temperature from 25°C to 600°C at 10°C/min

- Record actual vs set temperature

- Create calibration curve $T_{\text{actual}} = a \cdot T_{\text{set}} + b$

5.4 Reference Sample Measurement

Measure a standard ferroelectric (e.g., PZT from commercial source) to verify system:

| Parameter | Expected | Tolerance |
| --- | --- | --- |
| $P_r$ (μC/cm²) | 25 ± 5 | ±20% |
| $E_c$ (kV/cm) | 60 ± 10 | ±20% |
| Squareness | 1.5 ± 0.3 | ±30% |

6. Measurement Protocol: Four Independent Probes

6.1 P-E Hysteresis Loops (Classical Baseline)

Purpose: Establish baseline hysteresis parameters and measure classical loop area.

Procedure:

For each temperature (25, 50, 100, 150, 200, 250, 300, 350, 400°C):

- Stabilize temperature (±0.5°C, 5 min)

- Set measurement frequency (1 Hz, 10 Hz, 100 Hz, 1 kHz)

- Apply triangular waveform, ±10 V

- Measure 5 consecutive loops (first loop discarded for stabilization)

- Average loops 2-5

- Extract:

  - Positive remanent polarization $P_r^+$

  - Negative remanent polarization $P_r^-$

  - Positive coercive field $E_c^+$

  - Negative coercive field $E_c^-$

  - Loop area $A = \oint P , dE$

Data to Record:

- $P$ vs $E$ arrays for each temperature/frequency

- Extracted parameters with uncertainties

- Temperature and frequency metadata

Expected Baseline:

- At low T: Symmetric loops ($P_r^+ \approx P_r^-$, $E_c^+ \approx E_c^-$)

- At high T: Asymmetry emerges as $(C_p - C_v)$ increases

6.2 Switching Current Analysis (Dynamic Response)

Purpose: Measure switching time asymmetry between positive and negative pulses.

Configuration:

text

Function Generator ──┬── Sample ──┬── Oscilloscope (CH1)

│             │

└── 50 Ω ─────┘

Procedure:

For each temperature and field amplitude:

- Apply positive pulse: 0 → +V → 0 (pulse width 1 μs)

- Record switching current $I(t)$ on oscilloscope

- Integrate to get switched polarization: $P_{\text{sw}} = \int I(t) , dt / A$

- Apply negative pulse: 0 → -V → 0

- Record switching current and integrated polarization

- Extract switching time $t_s$ (time to reach 90% of switched charge)

For each condition, measure:

- $t_s^{\uparrow}$ (switching time from negative to positive)

- $t_s^{\downarrow}$ (switching time from positive to negative)

- Asymmetry ratio $t_s^{\uparrow} / t_s^{\downarrow}$

Expected Signature:

- $t_s^{\uparrow} \neq t_s^{\downarrow}$ when $(C_p - C_v) \neq 0$

- Asymmetry increases with temperature

- Asymmetry vanishes at $T \to 0$ (symmetric switching)

6.3 Temperature-Dependent Hysteresis (The λ Scan)

Purpose: Measure how hysteresis parameters scale with temperature, and thus with $(C_p - C_v)$.

Procedure:

- Set temperature to 25°C

- Measure full P-E loop at 1 kHz (5 cycles, average last 3)

- Increase temperature by 25°C steps to 400°C

- At each step:

  - Stabilize for 5 min

  - Measure P-E loop

  - Measure switching currents (± pulses)

  - Record temperature from sensor

- Cool back to 25°C at same rate, repeating measurements

Calculate λ from temperature:

λ(T)=T-T0T0⋅Cp(T)-Cv(T)Cp(T0)-Cv(T0)

where $T_0$ is reference temperature (25°C).

Extract for each T:

- $P_r^+(T)$, $P_r^-(T)$

- $E_c^+(T)$, $E_c^-(T)$

- $A(T)$ (loop area)

- $\Delta P_r(T) = P_r^+ - P_r^-$

- $\Delta E_c(T) = E_c^+ - E_c^-$

6.4 Fatigue and Retention (Memory Validation)

Purpose: Demonstrate that memory loss follows entropy-governed decay, not simple activation.

Fatigue Protocol (Loss of switchable polarization with cycling):

- Apply bipolar square waves (±5 V, 1 MHz) to sample

- Interrupt at logarithmic intervals: $10^0, 10^1, 10^2, 10^3, 10^4, 10^5, 10^6, 10^7$ cycles

- At each interruption, measure:

  - Full P-E loop (1 kHz, 3 cycles)

  - Switching currents (± pulses)

- Continue until $P_{\text{sw}} < 0.5 P_{\text{sw}}^0$

Retention Protocol (Loss of stored polarization with time):

- Write polarization (apply +5 V pulse, 1 μs)

- Wait for retention time $t = 1, 10, 100, 10^3, 10^4, 10^5$ s

- Read remaining polarization (apply small read pulse)

- Repeat for negative polarization state

Expected behavior:

- Fatigue follows $P(N) = P_0 \cdot \exp[-\lambda \cdot \ln(N)]$ (power law, not exponential)

- Retention follows $P(t) = P_0 - \lambda \cdot \ln(t)$ (logarithmic decay)

- Decay rate $\lambda$ scales with $(C_p - C_v)$

7. Data Analysis Algorithms

7.1 P-E Loop Parameter Extraction

python

import numpy as np

import pandas as pd

from scipy.integrate import trapz

from scipy.optimize import curve_fit

def extract_hysteresis_parameters(E, P):

"""

Extract key parameters from P-E hysteresis loop

Parameters:

E: electric field array (kV/cm)

P: polarization array (μC/cm²)

Returns:

dict with Pr+, Pr-, Ec+, Ec-, loop area

"""

# Find positive and negative branches

E_pos = E[E >= 0]

P_pos = P[E >= 0]

E_neg = E[E <= 0]

P_neg = P[E <= 0]

# Remanent polarization (at E=0)

idx_zero_pos = np.argmin(np.abs(E_pos))

idx_zero_neg = np.argmin(np.abs(E_neg))

Pr_pos = P_pos[idx_zero_pos]

Pr_neg = P_neg[idx_zero_neg]

# Coercive field (at P=0)

idx_pzero_pos = np.argmin(np.abs(P_pos))

idx_pzero_neg = np.argmin(np.abs(P_neg))

Ec_pos = np.abs(E_pos[idx_pzero_pos])

Ec_neg = np.abs(E_neg[idx_pzero_neg])

# Loop area (trapezoidal integration)

area = trapz(P, E)

return {

'Pr_pos': Pr_pos,

'Pr_neg': Pr_neg,

'Ec_pos': Ec_pos,

'Ec_neg': Ec_neg,

'loop_area': area,

'delta_Pr': Pr_pos - Pr_neg,

'delta_Ec': Ec_pos - Ec_neg

}

7.2 Switching Current Analysis

python

def analyze_switching_current(t, I, area, pulse_amplitude):

"""

Analyze switching current transient

Parameters:

t: time array (s)

I: current array (A)

area: electrode area (cm²)

pulse_amplitude: applied voltage (V)

Returns:

dict with switched polarization, switching time

"""

# Baseline subtraction

I_baseline = np.mean(I[:10])  # First 10 points as baseline

I_sw = I - I_baseline

# Integrate current to get charge

Q = trapz(I_sw, t)  # Coulombs

# Convert to polarization (μC/cm²)

P_sw = Q / area * 1e6  # μC/cm²

# Find switching time (time to 90% of total charge)

cumulative = np.cumsum(I_sw) * (t[1] - t[0])

target = 0.9 * cumulative[-1]

idx_90 = np.argmin(np.abs(cumulative - target))

t_switch = t[idx_90]

return {

'P_sw': P_sw,

't_switch': t_switch * 1e6,  # μs

'I_peak': np.max(np.abs(I_sw))

}

7.3 Temperature-Dependent Asymmetry

python

def analyze_temperature_dependence(df_temp):

"""

Analyze how asymmetry scales with temperature

Parameters:

df_temp: DataFrame with columns:

T, Pr_pos, Pr_neg, Ec_pos, Ec_neg, Cp, Cv

Returns:

dict with scaling exponents, correlation with Cp-Cv

"""

results = []

for _, row in df_temp.iterrows():

T = row['T']

delta_Pr = row['Pr_pos'] - row['Pr_neg']

delta_Ec = row['Ec_pos'] - row['Ec_neg']

Cp_minus_Cv = row['Cp'] - row['Cv']

# Normalized asymmetry

norm_Pr = delta_Pr / np.mean([row['Pr_pos'], row['Pr_neg']])

norm_Ec = delta_Ec / np.mean([row['Ec_pos'], row['Ec_neg']])

results.append({

'T': T,

'Cp_minus_Cv': Cp_minus_Cv,

'delta_Pr': delta_Pr,

'delta_Ec': delta_Ec,

'norm_Pr': norm_Pr,

'norm_Ec': norm_Ec

})

df_asym = pd.DataFrame(results)

# Correlation with Cp-Cv

corr_Pr = np.corrcoef(df_asym['Cp_minus_Cv'], df_asym['norm_Pr'])[0,1]

corr_Ec = np.corrcoef(df_asym['Cp_minus_Cv'], df_asym['norm_Ec'])[0,1]

return {

'df_asym': df_asym,

'correlation_Pr': corr_Pr,

'correlation_Ec': corr_Ec,

'scaling_Pr': np.polyfit(df_asym['Cp_minus_Cv'], df_asym['norm_Pr'], 1)[0],

'scaling_Ec': np.polyfit(df_asym['Cp_minus_Cv'], df_asym['norm_Ec'], 1)[0]

}

7.4 Fatigue and Retention Analysis

python

def analyze_fatigue(cycles, P_sw):

"""

Analyze fatigue data (loss of switchable polarization with cycles)

Predicted: P(N) = P0 * N^(-λ)

"""

def power_law(N, P0, lambda_):

return P0 * N ** (-lambda_)

popt, pcov = curve_fit(power_law, cycles, P_sw, p0=[P_sw[0], 0.1])

P0, lambda_fatigue = popt

return {

'P0': P0,

'lambda_fatigue': lambda_fatigue,

'lambda_err': np.sqrt(pcov[1,1])

}

def analyze_retention(time, P_rem):

"""

Analyze retention data (loss of stored polarization with time)

Predicted: P(t) = P0 - λ * ln(t)

"""

def logarithmic(t, P0, lambda_ret):

return P0 - lambda_ret * np.log(t)

popt, pcov = curve_fit(logarithmic, time, P_rem, p0=[P_rem[0], 0.1])

P0, lambda_ret = popt

return {

'P0': P0,

'lambda_retention': lambda_ret,

'lambda_err': np.sqrt(pcov[1,1])

}

7.5 λ-Framework Parameter Extraction

python

def extract_lambda_parameters(temp_data, material_params):

"""

Extract λ from experimental data using thermodynamic relations

Parameters:

temp_data: DataFrame with T, Cp, Cv, thermal_expansion, compressibility

material_params: dict with reference temperature T0

Returns:

DataFrame with λ for each temperature

"""

T0 = material_params['T0']

Cp0 = material_params['Cp0']

Cv0 = material_params['Cv0']

results = []

for _, row in temp_data.iterrows():

T = row['T']

Cp = row['Cp']

Cv = row['Cv']

# λ from temperature scaling (Equation from theory)

lambda_T = (T - T0) / T0 * (Cp - Cv) / (Cp0 - Cv0)

# λ from hysteresis asymmetry

lambda_hyst = row['delta_Pr'] / row['Pr_pos']  # Normalized asymmetry

results.append({

'T': T,

'lambda_theory': lambda_T,

'lambda_hysteresis': lambda_hyst,

'Cp_minus_Cv': Cp - Cv

})

return pd.DataFrame(results)

7.6 Complete Analysis Pipeline

python

class FerroelectricLambdaAnalyzer:

"""

Complete analyzer for ferroelectric λ-framework experiments

"""

def __init__(self, electrode_area_cm2):

self.area = electrode_area_cm2

self.raw_data = {}

self.results = {}

def load_hysteresis_data(self, filename):

"""Load P-E loop data"""

data = np.loadtxt(filename)

return {'E': data[:,0], 'P': data[:,1]}

def load_switching_data(self, filename):

"""Load switching current transient"""

data = np.loadtxt(filename)

return {'t': data[:,0], 'I': data[:,1]}

def analyze_measurement(self, temp, frequency,

hysteresis_file, switching_pos_file, switching_neg_file):

"""Complete analysis for one temperature/frequency condition"""

# Load data

hyst = self.load_hysteresis_data(hysteresis_file)

sw_pos = self.load_switching_data(switching_pos_file)

sw_neg = self.load_switching_data(switching_neg_file)

# Extract hysteresis parameters

hyst_params = extract_hysteresis_parameters(hyst['E'], hyst['P'])

# Analyze switching currents

sw_pos_params = analyze_switching_current(

sw_pos['t'], sw_pos['I'], self.area, pulse_amplitude=5

)

sw_neg_params = analyze_switching_current(

sw_neg['t'], sw_neg['I'], self.area, pulse_amplitude=-5

)

# Calculate asymmetry

t_switch_asymmetry = sw_pos_params['t_switch'] / sw_neg_params['t_switch']

P_sw_asymmetry = sw_pos_params['P_sw'] / sw_neg_params['P_sw']

return {

'temperature': temp,

'frequency': frequency,

'hysteresis': hyst_params,

'switching_pos': sw_pos_params,

'switching_neg': sw_neg_params,

't_switch_asymmetry': t_switch_asymmetry,

'P_sw_asymmetry': P_sw_asymmetry,

'delta_Pr': hyst_params['delta_Pr'],

'delta_Ec': hyst_params['delta_Ec']

}

def analyze_temperature_series(self, file_list):

"""Analyze complete temperature series"""

results = []

for item in file_list:

result = self.analyze_measurement(

item['temp'],

item['freq'],

item['hysteresis'],

item['switching_pos'],

item['switching_neg']

)

results.append(result)

self.results = pd.DataFrame(results)

return self.results

def test_lambda_scaling(self, material_params):

"""Test whether asymmetry scales with λ"""

# Calculate λ from theory

lambda_df = extract_lambda_parameters(self.results, material_params)

# Merge with results

combined = pd.merge(self.results, lambda_df, on='temperature')

# Test correlations

corr_hyst = np.corrcoef(

combined['lambda_theory'],

combined['delta_Pr']

)[0,1]

corr_switch = np.corrcoef(

combined['lambda_theory'],

combined['t_switch_asymmetry']

)[0,1]

return {

'combined': combined,

'correlation_hysteresis': corr_hyst,

'correlation_switching': corr_switch,

'scaling_hysteresis': np.polyfit(

combined['lambda_theory'],

combined['delta_Pr'], 1

)[0],

'scaling_switching': np.polyfit(

combined['lambda_theory'],

combined['t_switch_asymmetry'], 1

)[0]

}

8. Complete Python Analysis Code

8.1 Full Analysis Package Structure

text

ferroelectric_lambda_analysis/

├── __init__.py

├── config/

│   └── material_params.yaml

├── data_loading/

│   ├── hysteresis_loader.py

│   └── switching_loader.py

├── analysis/

│   ├── hysteresis.py

│   ├── switching.py

│   ├── temperature_dependence.py

│   └── fatigue_retention.py

├── lambda_framework/

│   ├── lambda_extraction.py

│   └── scaling_tests.py

├── plotting/

│   ├── hysteresis_plots.py

│   ├── switching_plots.py

│   └── lambda_dependence.py

├── utils/

│   ├── constants.py

│   └── file_io.py

├── notebooks/

│   └── demo_analysis.ipynb

├── requirements.txt

└── run_full_analysis.py

8.2 Main Execution Script

python

#!/usr/bin/env python3

"""

run_full_analysis.py - Complete ferroelectric λ-framework analysis

"""

import numpy as np

import pandas as pd

import matplotlib.pyplot as plt

import yaml

from pathlib import Path

# Import custom modules

from analysis.hysteresis import HysteresisAnalyzer

from analysis.switching import SwitchingAnalyzer

from analysis.temperature_dependence import TemperatureAnalyzer

from analysis.fatigue_retention import FatigueAnalyzer

from lambda_framework.lambda_extraction import LambdaExtractor

from lambda_framework.scaling_tests import ScalingTester

from plotting.lambda_dependence import LambdaPlotter

def main():

# Load configuration

with open('config/material_params.yaml', 'r') as f:

config = yaml.safe_load(f)

material = config['material']

print(f"\n{'='*60}")

print(f"FERROELECTRIC λ-FRAMEWORK ANALYSIS: {material}")

print(f"{'='*60}\n")

# Initialize analyzers

hyst_analyzer = HysteresisAnalyzer()

switch_analyzer = SwitchingAnalyzer()

temp_analyzer = TemperatureAnalyzer()

fatigue_analyzer = FatigueAnalyzer()

lambda_extractor = LambdaExtractor(config)

scaling_tester = ScalingTester()

plotter = LambdaPlotter()

# Load and process data

data_dir = Path(f"./data/{material}")

print("1. Analyzing P-E hysteresis loops...")

hyst_results = hyst_analyzer.analyze_all(data_dir / 'hysteresis')

print("2. Analyzing switching currents...")

switch_results = switch_analyzer.analyze_all(data_dir / 'switching')

print("3. Analyzing temperature dependence...")

temp_results = temp_analyzer.analyze(hyst_results, switch_results)

print("4. Extracting λ parameters...")

lambda_results = lambda_extractor.extract(temp_results)

print("5. Testing λ scaling predictions...")

scaling = scaling_tester.test_all(lambda_results)

# Generate plots

print("\n6. Generating plots...")

plotter.plot_hysteresis_asymmetry(hyst_results)

plotter.plot_switching_asymmetry(switch_results)

plotter.plot_lambda_dependence(lambda_results, scaling)

plotter.plot_fatigue_retention(fatigue_analyzer.results)

# Save results

print("\n7. Saving results...")

results_df = pd.DataFrame({

'temperature': temp_results['T'],

'Pr_pos': temp_results['Pr_pos'],

'Pr_neg': temp_results['Pr_neg'],

'Ec_pos': temp_results['Ec_pos'],

'Ec_neg': temp_results['Ec_neg'],

'delta_Pr': temp_results['delta_Pr'],

'delta_Ec': temp_results['delta_Ec'],

'lambda_theory': lambda_results['lambda_theory'],

'lambda_hysteresis': lambda_results['lambda_hysteresis']

})

results_df.to_csv(f'results_{material}.csv', index=False)

# Print summary

print("\n" + "="*60)

print("SUMMARY")

print("="*60)

print(f"\nMaterial: {material}")

print(f"Temperature range: {temp_results['T'].min():.0f}-{temp_results['T'].max():.0f} K")

print(f"Max asymmetry ΔPr: {temp_results['delta_Pr'].max():.3f} μC/cm²")

print(f"Max asymmetry ΔEc: {temp_results['delta_Ec'].max():.1f} kV/cm")

print(f"\nλ-HYSTERESIS CORRELATION: {scaling['correlation_hysteresis']:.3f}")

print(f"λ-SWITCHING CORRELATION: {scaling['correlation_switching']:.3f}")

if scaling['correlation_hysteresis'] > 0.8:

print("\n✅ STRONG CORRELATION: λ-framework validated!")

print("   Hysteresis asymmetry scales with Cp-Cv as predicted.")

elif scaling['correlation_hysteresis'] > 0.5:

print("\n⚠ MODERATE CORRELATION: Partial agreement.")

else:

print("\n❌ WEAK CORRELATION: Check measurement or material.")

print("\n" + "="*60)

if __name__ == "__main__":

main()

9. Quality Control and Acceptance Criteria

9.1 Quantitative Acceptance Criteria

| Test | Criterion | If Failed |
| --- | --- | --- |
| Leakage current | $<10^{-6}$ A/cm² at ±5V | Discard sample |
| Loop squareness | $(P_r/P_s) > 0.7$ | Poor film quality |
| Fatigue endurance | $P_{sw}/P_0 > 0.5$ at $10^6$ cycles | Interface issues |
| Temperature stability | Drift < 1% over 10 min | Improve thermal contact |
| Switching time SNR | Peak current > 10× noise | Increase pulse amplitude |
| Cp-Cv correlation | $R^2 > 0.8$ | Theory not supported |
| λ scaling | Slope > 0 (positive correlation) | Wrong sign (check definitions) |

9.2 Null Tests

| Test | Procedure | Expected | Interpretation |
| --- | --- | --- | --- |
| Zero field | Measure at $E=0$ | $P \approx 0$ | No built-in bias |
| Linear dielectric | Measure above $T_c$ | Linear $P-E$, no loop | Paraelectric reference |
| Symmetry check | Swap positive/negative | Same results | No measurement bias |
| Frequency independence | Vary frequency 1 Hz-10 kHz | Same asymmetry | Not an artifact |

9.3 Uncertainty Budget

| Source | Typical Uncertainty | Contribution to ΔPr |
| --- | --- | --- |
| Electrode area | ±5% | ±0.1 μC/cm² |
| Voltage calibration | ±1% | ±0.02 μC/cm² |
| Temperature | ±0.5°C | ±0.05 μC/cm² |
| Parasitic capacitance | ±2% | ±0.04 μC/cm² |
| Integration error | ±3% | ±0.06 μC/cm² |
| Total combined |  | ±0.15 μC/cm² |

10. Expected Results and Interpretation

10.1 Predicted Signatures

| Observable | Low T (λ≈0) | High T (λ>0) | Interpretation |
| --- | --- | --- | --- |
| $P_r^+$, $P_r^-$ | Equal | $P_r^+ \neq P_r^-$ | Asymmetric wells |
| $E_c^+$, $E_c^-$ | Equal | $E_c^+ \neq E_c^-$ | Asymmetric barriers |
| Loop area $A$ | Baseline $A_0$ | $A = A_0 + α·(C_p-C_v)$ | Curvature integral |
| $t_s^{\uparrow}$, $t_s^{\downarrow}$ | Equal | Different | Dynamic asymmetry |
| Fatigue rate | $λ_f$ | $λ_f ∝ (C_p-C_v)$ | Entropy-governed loss |

10.2 Expected Values (PZT at 200°C)

| Quantity | Expected Value |
| --- | --- |
| $P_r^+$ | 25.3 ± 0.2 μC/cm² |
| $P_r^-$ | 24.7 ± 0.2 μC/cm² |
| $\Delta P_r$ | 0.6 ± 0.3 μC/cm² |
| $E_c^+$ | 62 ± 2 kV/cm |
| $E_c^-$ | 58 ± 2 kV/cm |
| $\Delta E_c$ | 4 ± 3 kV/cm |
| Loop area $A$ | 850 ± 50 μC·kV/cm³ |
| $t_s^{\uparrow}$ | 85 ± 5 ns |
| $t_s^{\downarrow}$ | 75 ± 5 ns |
| Switching asymmetry | 1.13 ± 0.10 |

10.3 Interpretation Guidelines

| Observation | Interpretation |
| --- | --- |
| $\Delta P_r$, $\Delta E_c$ scale with $C_p-C_v$ | ✅ Confirms λ-framework prediction |
| Switching times asymmetric | ✅ Dynamic manifestation of curvature |
| Fatigue follows $P(N) ∝ N^{-λ}$ | ✅ Entropy-governed, not simple activation |
| Retention follows $P(t) = P_0 - λ·\ln(t)$ | ✅ Memory loss from entropy flow |
| Asymmetry vanishes at low T | ✅ λ → 0 limit recovers symmetry |
| Different materials scale differently | ✅ Material-specific $(C_p-C_v)$ matters |

11. Connection to λ-Framework Theory

11.1 Mapping to Theoretical Quantities

| Theoretical Concept | Experimental Observable |
| --- | --- |
| $\lambda_p$, $\lambda_v$ | $-\frac{ST}{C_E}$, $-\frac{ST}{C_P}$ |
| $\omega = \lambda_p dp + \lambda_v dv$ | $\omega = \lambda_E dE + \lambda_P dP$ |
| $\Omega = d\omega$ | $\left(\frac{\partial \lambda_P}{\partial E} - \frac{\partial \lambda_E}{\partial P}\right) dE \wedge dP$ |
| $\oint \omega = \iint \Omega$ | $A = \oint P , dE$ (hysteresis area) |
| Onsager symmetry | $\Delta P_r = 0$, $\Delta E_c = 0$ |
| Violation | $\Delta P_r \neq 0$, $\Delta E_c \neq 0$ |

11.2 Quantitative Predictions

Hysteresis area:

A(T)=A0+β⋅TαE2κT

where $\alpha_E = \frac{\partial P}{\partial T}$ (pyroelectric coefficient)

Switching time asymmetry:

ts↑ts↓=1+γ⋅Cp-CvCp+Cv

Fatigue exponent:

λfatigue=δ⋅Cp-CvCp+Cv

11.3 The λ-Calibration

For each material, calibrate:

λ(T)=Cp(T)-Cv(T)Cp(T0)-Cv(T0)⋅T-T0T0

Then test:

ΔPr(T)=κ⋅λ(T)
ΔEc(T)=η⋅λ(T)

12. Troubleshooting Guide

| Problem | Likely Cause | Solution |
| --- | --- | --- |
| No hysteresis loop | Leakage too high | Improve film quality, check contacts |
| Loop not closing | Dielectric breakdown | Reduce voltage, improve film |
| Asymmetry too large | Built-in field from electrodes | Use symmetric electrodes (Pt/Pt) |
| Asymmetry too small | Poor film crystallinity | Optimize annealing conditions |
| Switching current noisy | Poor contact | Re-bond, check wire bonds |
| Temperature drift | Poor thermal contact | Use thermal paste, improve mounting |
| Fatigue too fast | Oxygen vacancies | Optimize stoichiometry, anneal in O₂ |
| No λ correlation | Wrong material choice | Try PZT (higher asymmetry) |

13. Data Archive Requirements

13.1 Folder Structure

text

experiment_YYYYMMDD_ferroelectric_lambda/

├── raw_data/

│   ├── hysteresis/

│   │   ├── T025C_1Hz.txt

│   │   ├── T025C_10Hz.txt

│   │   └── ...

│   ├── switching/

│   │   ├── T025C_pos.txt

│   │   ├── T025C_neg.txt

│   │   └── ...

│   ├── temperature_ramp/

│   └── fatigue/

├── calibration/

│   ├── electrode_area.csv

│   ├── temperature_calibration.csv

│   └── parasitic_compensation.csv

├── material_parameters/

│   ├── Cp_vs_T.csv

│   ├── Cv_vs_T.csv

│   └── thermal_expansion.csv

├── analysis/

│   ├── processed_data/

│   ├── figures/

│   └── results.csv

├── code/

│   ├── ferroelectric_analysis/

│   └── requirements.txt

├── metadata/

│   ├── sample_preparation.pdf

│   ├── instrument_config.pdf

│   └── experiment_log.pdf

└── README.md

13.2 README Template

markdown

# Ferroelectric λ-Framework Experiment

## Experiment Information

- Date: YYYY-MM-DD

- Operator: [Name]

- Material: [PZT/BTO/P(VDF-TrFE)/HfO₂]

- Sample ID: [ID]

- Electrode area: [value] mm²

- Film thickness: [value] nm

## Sample Preparation

- Deposition method: [CSD/sputtering/PLD]

- Annealing: [temp]°C for [time] min in [atmosphere]

- Top electrode: [material] [thickness] nm

- Bottom electrode: [material] [thickness] nm

## Measurement Conditions

- Temperature range: [min]-[max] °C

- Frequency range: [min]-[max] Hz

- Voltage range: ±[value] V

- Pulse width: [value] ns

## Key Results

- Max ΔPr: [value] μC/cm² at [temp]°C

- Max ΔEc: [value] kV/cm at [temp]°C

- λ-hysteresis correlation R²: [value]

- λ-switching correlation R²: [value]

## File Guide

- raw_data/hysteresis/: P-E loops at each temperature

- raw_data/switching/: Switching current transients

- material_parameters/: Cp(T), Cv(T), α(T)

- analysis/results.csv: Compiled parameters

## Reproduction

1. Install: pip install -r code/requirements.txt

2. Run: python code/run_full_analysis.py

3. Check: analysis/figures/lambda_dependence.png

Monty Dabas