Assessment of Geometric Deviations in a Complex Concrete Dome Using UAV Photogrammetry and Integrated Geodetic Techniques

Fig.1 St. Mary& St. Joseph Church in Alexandria, Egypt

Fig.2 The instruments used (GTL-1003 Robotic Total Station and 3D Laser Scanner)

Fig.3 Using the DJI Air 3 Fly for observing the dome structure

Fig.4 Calibration grid 36 x 36 in2 with 4 CPs, 140 dots.

Fig.5 Digital photogrammetry parameters

Fig.6 Geometry of resection method in TLS

Fig.7 Geometry of determining the inclination of the Dome.

Fig.8 The procedures of the workflow

Fig.9 GCPS Layout and benchmark observations for TLS placement and network calibration

| ## Table1: TLS Benchmarks and Target Points Specification |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ## Points |  | ## type | ## Observations |  |  |
|  |  |  | ## X | ## Y | ## Z |
| ## 1 | ## BM1 | ## Target | ## 1000 | ## 1022.468 | ## 99.884 |
| ## 2 | ## BM2 | ## Target | ## 1000 | ## 1000 | ## 100 |
| ## 3 | ## BM3 | ## Target | ## 1015.64 | ## 999.765 | ## 99.939 |
| ## 4 | ## BM4 | ## Target | ## 1007.565 | ## 971.352 | ## 115.525 |
| ## 5 | ## ST2 | ## GCPs | ## 1009.165 | ## 997.901 | ## 101.721 |
| ## 6 | ## ST3 | ## GCPs | ## 1023.972 | ## 1035.886 | ## 119.644 |
| ## 7 | ## ST4 | ## GCPs | ## 980.289 | ## 1015.438 | ## 115.892 |

Fig.10Aerial photogrammetry uses dome imagery with various perspectives and numbered window
targets

Fig.11Shows Sectional comparison between the ideal dome model and observed structure using
Revit + Dynamo.

Fig.12 shows the geometric dimensions of the studied Dome outcoming resulting from geodetic
observations.

| Table 2 Geometrical dimensions based on the best-fit dome shape |  |  |
| --- | --- | --- |
| Base Diameter (m) | Constant height (m) | Dome height (m) |
| 9 (m) | 2.25 (m) | 4.75 (m) |

Fig.13 A photo of the site's geometric point presents the location and the counting of the observed points.

Fig.14TLS setup and points registration

| Table 3The TS Reference Observation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Z | Y | X | Points |
| 2.231 | 13.264 | -0.668 | 1 |
| 2.161 | 13.95 | -2.67 | 2 |
| 1.829 | 13.751 | -2.064 | 3 |
| 2.44 | 13.516 | -1.348 | 4 |
| 1.698 | 13.368 | -0.893 | 5 |
| 2.426 | 12.799 | 0.797 | 6 |
| 1.904 | 12.96 | 0.317 | 7 |
| 1.797 | 12.575 | 1.482 | 8 |
| 2.374 | 12.26 | 2.427 | 9 |
| 2.126 | 11.388 | 5.042 | 10 |
| 1.726 | 11.559 | 4.539 | 11 |
| 2.28 | 11.081 | 5.972 | 12 |
| 1.905 | 10.844 | 6.689 | 13 |
| 2.173 | 10.655 | 7.266 | 14 |
| 2.201 | 9.862 | 9.67 | 15 |
| 1.808 | 9.645 | 10.299 | 16 |
| 1.675 | 10.602 | 7.424 | 17 |

Fig.15 The differences between the accuracy and their distance from the actual point

Fig.16 shows the experimental setup, identified CPs, and calibration target (A0 sheet) for the DJI
Air 2S camera

Fig.17 Residual vector of each point (magnified 400 times in idealized calibration image)

Fig.18PhotoModeler DSM project creation.

| Table 4 Digital camera DJI Air 3 Fly calibration results |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Image No. | α in degrees | β in degrees | κ in degrees | Max. and Overall Residual error |  | Max. image distortion in pixels after camera idealization |  |
| 01 | 4.660729 | 27.546381 | 32.026672 | MRE: 1.036 ORE: 0.472 < 2.00 accepted |  | Y direction 5 Pixels X direction 5 Pixels |  |
| 02 | -21.960231 | 43.422341 | 76.683424 |  |  |  |  |
| 03 | -36.585044 | 43.986309 | 97.782567 |  |  |  |  |
| 04 | -63.474967 | 31.757878 | 140.525044 |  |  |  |  |
| 05 | -73.254089 | 13.625651 | 165.924165 |  |  |  |  |
| 06 | -62.416762 | -8.452096 | -165.928634 |  |  |  |  |
| 07 | -56.134359 | -20.834926 | -140.237398 |  |  |  |  |
| 08 | -45.660703 | -28.807402 | -118.093895 |  |  |  |  |
| 09 | -29.947907 | -31.965004 | -87.757676 |  |  |  |  |
| 10 | -7.672763 | -21.390097 | -40.996142 |  |  |  |  |
| 11 | 0.541911 | 0.478618 | -0.388213 |  |  |  |  |
| 12 | 0.184936 | 5.345525 | 7.652968 |  |  |  |  |
| Camera calibration parameters |  | Literatures of previous invstigations |  |  |  |  |  |
|  |  | FWZY[32] | Mark2020 | Current | [32] | Mark2020 | Current |
| Focal length ƒ |  | 3.708025 mm | 3.579417 mm | 8.73389 mm | 0.006 mm | 5.4e 04 mm | 0.006 mm |
| Xp - image principle point Co.X |  | 2.253131 mm | 2.264516 mm | 6.93081 mm | 0.003 mm | 3.5e 04 mm | 0.001 mm |
| Yp - image principal point Co.Y |  | 1.276118 mm | 1.285145 mm | 4.57091 mm | 0.001 mm | 3.0e 04 mm | 0.00 |
| Fx - format width |  | 4.544863 mm | 4.540593 mm | 13.7023 mm | 0.001 mm | 1.6e 04 mm | 0.003 mm |
| Fy - format height |  | 2.552578 mm | 2.552578 mm | 9.14182 mm | 0.00 | 0.00 | 0.00 |
| k1 - radial distortion 1 |  | 8.453e-003 | 1.044e-002 | 6.044e-004 | 3.1e-004 | 5.6e-005 | 3.6e-006 |
| k2 - radial distortion 2 |  | 1.785e-003 | 1.619e-003 | 0.00 | 6.7e-005 | 1.0e-005 | 0.00 |
| k2 - radial distortion 3 |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| P1 - tangential distortion 1 |  | 5.130e-004 | 7.526e-005 | 0.00 | 8.6e-005 | 1.1e-05 | 0.00 |
| P1 - tangential distortion 2 |  | 0.00 | 1.468e-004 | 0.00 | 0.00 | 9.7e-06 | 0.00 |

| Table 5: Detailed Results of TLS and Total Station Comparative Setups |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | TLS with 3.1 mm resolution |  |  | TLS with 6.3 mm resolution |  |  | TLS with 12.5 mm resolution |  |  |
| No. | 5.246 m | 10.311 m | 13.066 m | 5.246 m | 10.311 m | 13.066 m | 5.246 m | 10.311 m | 13.066 m |
| 1 | 0.030 | 0.066 | 0.064 | 0.127 | 0.149 | 0.127 | 0.126 | 0.193 | 0.194 |
| 2 | 0.035 | 0.072 | 0.158 | 0.137 | 0.181 | 0.116 | 0.130 | 0.226 | 0.239 |
| 3 | 0.030 | 0.077 | 0.125 | 0.125 | 0.215 | 0.115 | 0.130 | 0.227 | 0.229 |
| 4 | 0.027 | 0.036 | 0.098 | 0.128 | 0.205 | 0.117 | 0.125 | 0.236 | 0.241 |
| 5 | 0.022 | 0.026 | 0.029 | 0.023 | 0.085 | 0.120 | 0.123 | 0.171 | 0.185 |
| 6 | 0.034 | 0.087 | 0.055 | 0.135 | 0.162 | 0.117 | 0.132 | 0.228 | 0.231 |
| 7 | 0.036 | 0.077 | 0.065 | 0.135 | 0.179 | 0.138 | 0.131 | 0.220 | 0.254 |
| 8 | 0.035 | 0.044 | 0.079 | 0.137 | 0.180 | 0.126 | 0.133 | 0.221 | 0.239 |
| 9 | 0.033 | 0.043 | 0.067 | 0.135 | 0.153 | 0.110 | 0.132 | 0.214 | 0.228 |
| 10 | 0.038 | 0.047 | 0.047 | 0.156 | 0.122 | 0.120 | 0.155 | 0.204 | 0.211 |
| 11 | 0.025 | 0.030 | 0.052 | 0.140 | 0.136 | 0.130 | 0.136 | 0.203 | 0.204 |
| 12 | 0.049 | 0.062 | 0.070 | 0.174 | 0.220 | 0.107 | 0.174 | 0.183 | 0.242 |
| 13 | 0.052 | 0.065 | 0.049 | 0.146 | 0.158 | 0.114 | 0.144 | 0.161 | 0.211 |
| 14 | 0.038 | 0.063 | 0.056 | 0.184 | 0.121 | 0.106 | 0.181 | 0.175 | 0.216 |
| 15 | 0.023 | 0.033 | 0.065 | 0.198 | 0.080 | 0.104 | 0.199 | 0.221 | 0.261 |
| 16 | 0.033 | 0.035 | 0.081 | 0.188 | 0.114 | 0.098 | 0.169 | 0.181 | 0.312 |

Fig.20 Results of the dome at 2.25 meters using the DCRP approach

Fig.21 The dome's 3.50 and 4.50 m DCRP technique results

Fig. 22 The center of the dome-cross section deviation

Fig.23 Curvature analysis of the vertical sector division of the dome.

| Table 6 Structure deviation details |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dome cross-section | Radius and its accuracy |  | Center coordinates and its accuracy |  |  |  |
|  | ract., m | σr, mm | X, m | σX, mm | Y, m | σY, mm |
| At height = 0.25 m | 4.5754 | 2.3 | 7.2397 | 2.5 | 19.6818 | 3.3 |
| At height = 0.50 m | 4.5751 | 2.2 | 7.2389 | 2.7 | 19.6798 | 2.6 |
| At height = 0.75 m | 4.5745 | 2.9 | 7.2372 | 2.8 | 19.6786 | 2.9 |
| At height = 1.00 m | 4.5685 | 2.2 | 7.2368 | 2.0 | 19.6779 | 3.3 |
| At height = 1.25 m | 4.5645 | 2.0 | 7.2332 | 2.7 | 19.6735 | 3.4 |
| At height = 1.50 m | 4.5745 | 1.6 | 7.2351 | 3.3 | 19.676 | 2.0 |
| At height = 1.75 m | 4.5482 | 1.7 | 7.236 | 2.7 | 19.6771 | 2.9 |
| At height = 2.00 m | 4.5414 | 2.0 | 7.2382 | 2.8 | 19.6793 | 3.0 |
| At height = 2.25 m | 4.5390 | 2.2 | 7.2427 | 2.6 | 19.6777 | 3.3 |
| At height = 2.50 m | 4.5313 | 2.4 | 7.246 | 2.0 | 19.6736 | 3.7 |
| At height = 2.75 m | 4.5085 | 2.5 | 7.2449 | 3.2 | 19.6749 | 2.9 |
| At height = 3.00 m | 4.4935 | 1.6 | 7.2491 | 2.8 | 19.6937 | 4.0 |
| At height = 3.25 m | 4.4130 | 1.5 | 7.2506 | 1.6 | 19.6964 | 2.8 |
| At height = 3.50 m | 4.4265 | 1.3 | 7.2522 | 3.4 | 19.6977 | 2.0 |
| At height = 3.75 m | 4.3435 | 2.0 | 7.2493 | 3.3 | 19.6937 | 3.3 |
| At height = 4.00 m | 4.2744 | 2.4 | 7.253 | 2.3 | 19.699 | 3.6 |
| At height = 4.25 m | 4.1946 | 2.5 | 7.2611 | 2.4 | 19.7096 | 2.0 |
| At height = 4.50 m | 4.0761 | 1.8 | 7.2521 | 2.0 | 19.6977 | 2.6 |
| At height = 4.75 m | 3.9535 | 1.7 | 7.2492 | 2.6 | 19.6937 | 2.9 |
| At height = 5.00 m | 3.7995 | 1.9 | 7.2459 | 3.6 | 19.6898 | 3.8 |
| At height = 5.25 m | 3.6142 | 0.9 | 7.2486 | 3.3 | 19.6937 | 2.2 |
| At height = 5.50 m | 3.4105 | 1.9 | 7.2478 | 2.9 | 19.6924 | 4.2 |
| At height = 5.75 m | 3.1873 | 2.0 | 7.2457 | 3.0 | 19.6898 | 2.0 |
| At height = 6.00 m | 2.8282 | 2.2 | 7.2449 | 3.3 | 19.6884 | 3.4 |
| At height = 6.25 m | 2.5917 | 2.5 | 7.238 | 1.7 | 19.6852 | 2.7 |
| At height = 6.50 m | 2.1895 | 1.8 | 7.2332 | 1.9 | 19.6936 | 2.9 |
| At height = 6.75 m | 1.6905 | 2.3 | 7.2324 | 2.3 | 19.6953 | 2.7 |
| At height = 7.00 m | 0.9605 | 2.2 | 7.2341 | 2.8 | 19.6919 | 3.0 |
| At height = 7.25 m | 0.5725 | 2.3 | 7.2371 | 2.8 | 19.6818 | 2.8 |

Fig.19 TLS comparisons of the observed results of the experimental points