Table 2: Results from Radiology Readers

| Variable | Rapid MRI | Traditional MRI | P Value |
| --- | --- | --- | --- |
|  | (%); (μ, S.D.) | (%); (μ, S.D.) |  |
| Is there an infection? Sensitivity (TP, FN) Specificity (TN, FP) Is there osteomyelitis? Sensitivity (TP, FN) Specificity (TN, FP) Is there an abscess? Sensitivity (TP, FN) Specificity (TN, FP) Is there pathologic joint effusion? Sensitivity (TP, FN) Specificity (TN, FP) Confidence in infection decision? Confidence in osteomyelitis decision? Confidence in soft tissue decision? Confidence in subperiosteal decision? Confidence in intraosseous decision? Confidence in joint effusion decision? | 98.9% (92, 1) 100.0% (12, 0) 96.3% (78, 3) 87.5% (21, 3) 93.3% (42, 3) 83.3% (50, 10) 84.8% (28, 5) 90.3% (65, 7) 2.83 (0.47) 2.80 (0.51) 2.67 (0.57) 2.74 (0.52) 2.70 (0.54) 2.69 (0.56) | 98.9% (92, 1) 75.0% (9, 3) 97.3% (73, 2) 90.0% (27, 3) 95.8% (46, 2) 74.1% (40, 14) 85.2% (23, 4) 85.9% (67, 11) 2.87 (0.39) 2.78 (0.54) 2.71 (0.54) 2.77 (0.47) 2.73 (0.54) 2.75 (0.50) | 1.00 N/A 0.713 0.771 0.593 0.226 0.971 0.410 0.436 0.771 0.642 0.700 0.702 0.433 |

Table 3: Results from Orthopaedic Attendings

| Variable | Rapid MRI | Traditional MRI | P Value |
| --- | --- | --- | --- |
|  | (%); (μ, S.D.) | (%); (μ, S.D.) |  |
| Is there an infection? Sensitivity (TP, FN) Specificity (TN, FP) Is there osteomyelitis? Sensitivity (TP, FN) Specificity (TN, FP) Is there an abscess? Sensitivity (TP, FN) Specificity (TN, FP) Is there pathologic joint effusion? Sensitivity (TP, FN) Specificity (TN, FP) Confidence in infection decision? Confidence in osteomyelitis decision? Confidence in soft tissue decision? Confidence in subperiosteal decision? Confidence in intraosseous decision? Confidence in joint effusion decision? | 94.6% (88, 5) 100.0% (12, 0) 87.7% (71, 10) 100.0% (24, 0) 97.6% (41, 1) 70.0% (42, 18) 75.8% (25, 8) 79.2% (57, 15) 2.64 (0.48) 2.54 (0.62) 2.52 (0.50) 2.54 (0.54) 2.66 (0.48) 2.53 (0.50) | 97.8% (91, 2) 75.0% (9, 3) 92.0% (69, 6) 93.3% (28, 2) 97.8% (47, 1) 62.5% (35, 21) 85.2% (22, 5) 85.9% (66, 12) 2.69 (0.49) 2.66 (0.55) 2.49 (0.52) 2.64 (0.52) 2.67 (0.55) 2.63 (0.49) | 0.716 N/A 0.371 N/A 0.948 0.393 0.592 0.386 0.477 0.139 0.590 0.178 0.893 0.164 |