High Concentrations of Illicit Stimulants and Cutting Agents Cause False Positives on Fentanyl Test Strips

Authors: Tracy-Lynn E. Lockwood*, Alexandra Vervoordt, Marya Lieberman

Table of Contents

1.	Alprazolam, Gabapentin, and Naloxone Buprenorphine Fentanyl Test Strip Reactivity	2

2.	Fentanyl Test Strips in Cold (4oC), Room Temperature (25oC), and Warm (40cC) Conditions	2

# Alprazolam, Gabapentin, and Naloxone Buprenorphine Fentanyl Test Strip Reactivity

- Solutions were prepared following the procedure listed in the main text.

- FTS were dipped into solution for 12-15 seconds, set flat to dry, and photographed after 5 minutes following the manufacturer’s instructions.

# Fentanyl Test Strips in Cold (4oC), Room Temperature (25oC), and Warm (40cC) Conditions

- Solutions were prepared following the procedure listed in the main text.

- FTS were dipped into solution for 12-15 seconds in the specified temperature condition, set flat to dry, and allowed 5 minutes to process in specific temperature condition.