Appendix A.  Water Distribution Network Data Details

Table.1 shows the network details, the rows marked in bold are additional hydraulic parameters which are induced in the proposed network. Rest all the parameters are same in both the networks (real/observed and revised). Entire network is considered in the study area except the distance from Subarnarekha Reservoir (R-2) to Overhead Tank (Tank-4) is not considered.

Table A1: Water Distribution Network Details

| From | To | Diameter(inch) | Type | Hazen Williams | Length (m) |
| --- | --- | --- | --- | --- | --- |
| J-12 | J-13 | 4 | Ductile Iron | 140 | 28.975 |
| J-13 | J-14 | 4 | Ductile Iron | 140 | 57.95 |
| J-14 | J-17 | 4 | Ductile Iron | 140 | 274.195 |
| J-19 | J-20 | 4 | Ductile Iron | 140 | 129.015 |
| J-36 | J-37 | 4 | Ductile Iron | 140 | 219.295 |
| J-37 | J-38 | 4 | Ductile Iron | 140 | 41.175 |
| J-40 | J-41 | 4 | Ductile Iron | 140 | 31.11 |
| J-41 | J-42 | 4 | Ductile Iron | 140 | 95.16 |
| J-42 | J-43 | 4 | Ductile Iron | 140 | 25.01 |
| J-33 | J-44 | 4 | Ductile Iron | 140 | 68.93 |
| J-44 | J-45 | 4 | Ductile Iron | 140 | 75.03 |
| J-32 | J-48 | 4 | Ductile Iron | 140 | 78.08 |
| J-48 | J-49 | 4 | Ductile Iron | 140 | 57.95 |
| J-60 | J-61 | 4 | Ductile Iron | 140 | 57.95 |
| J-61 | J-62 | 4 | Ductile Iron | 140 | 163.175 |
| J-64 | J-65 | 4 | Ductile Iron | 140 | 145.18 |
| J-68 | J-69 | 4 | Ductile Iron | 140 | 18.91 |
| J-69 | J-70 | 4 | Ductile Iron | 140 | 28.975 |
| J-70 | J-71 | 4 | Ductile Iron | 140 | 45.14 |
| J-71 | J-72 | 4 | Ductile Iron | 140 | 38.125 |
| J-72 | J-73 | 4 | Ductile Iron | 140 | 29.89 |
| J-73 | J-74 | 4 | Ductile Iron | 140 | 32.025 |
| J-74 | J-75 | 4 | Ductile Iron | 140 | 17.995 |
| J-75 | J-76 | 4 | Ductile Iron | 140 | 21.045 |
| J-76 | J-77 | 4 | Ductile Iron | 140 | 14.945 |
| J-77 | J-78 | 4 | Ductile Iron | 140 | 14.945 |
| J-78 | J-79 | 4 | Ductile Iron | 140 | 200.08 |
| J-19 | J-93 | 4 | Ductile Iron | 140 | 6.1 |
| J-93 | J-94 | 4 | Ductile Iron | 140 | 73.2 |
| J-44 | J-106 | 4 | Ductile Iron | 140 | 92.11 |
| J-62 | J-108 | 4 | Ductile Iron | 140 | 35.075 |
| J-38 | J-40 | 4 | Ductile Iron | 140 | 367.22 |
| J-111 | J-41 | 4 | Ductile Iron | 140 | 71.98 |
| J-62 | J-64 | 4 | Ductile Iron | 140 | 547.475 |
| J-12 | J-19 | 4 | Ductile Iron | 140 | 570.35 |
| J-20 | J-84 | 4 | Ductile Iron | 140 | 391.315 |
| J-60 | J-67 | 4 | Ductile Iron | 140 | 235.155 |
| J-67 | J-68 | 4 | Ductile Iron | 140 | 285.175 |
| J-14 | AV-1 | 4 | Ductile Iron | 140 | 75.03 |
| AV-1 | J-15 | 4 | Ductile Iron | 140 | 159.21 |
| J-79 | AV-2 | 4 | Ductile Iron | 140 | 61 |
| AV-2 | PBV-2 | 4 | Ductile Iron | 140 | 13.42 |
| PBV-2 | J-113 | 4 | Ductile Iron | 140 | 92.415 |
| J-84 | J-143 | 4 | Ductile Iron | 140 | 78.995 |
| J-143 | J-144 | 4 | Ductile Iron | 140 | 61.915 |
| J-143 | J-145 | 4 | Ductile Iron | 140 | 54.9 |
| J-145 | J-146 | 4 | Ductile Iron | 140 | 82.96 |
| J-145 | J-147 | 4 | Ductile Iron | 140 | 11.895 |
| J-84 | J-148 | 4 | Ductile Iron | 140 | 75.03 |
| J-148 | J-149 | 4 | Ductile Iron | 140 | 70.15 |
| J-149 | J-150 | 4 | Ductile Iron | 140 | 155.245 |
| J-149 | J-151 | 4 | Ductile Iron | 140 | 254.98 |
| J-151 | J-152 | 4 | Ductile Iron | 140 | 214.11 |
| J-152 | J-156 | 4 | Ductile Iron | 140 | 150.975 |
| J-156 | J-157 | 4 | Ductile Iron | 140 | 246.135 |
| J-31 | J-32 | 6 | Ductile Iron | 140 | 191.235 |
| J-32 | J-33 | 6 | Ductile Iron | 140 | 125.05 |
| J-34 | J-35 | 6 | Ductile Iron | 140 | 60.085 |
| J-35 | J-36 | 6 | Ductile Iron | 140 | 75.03 |
| J-36 | J-12 | 6 | Ductile Iron | 140 | 213.195 |
| J-30 | J-31 | 6 | Ductile Iron | 140 | 654.53 |
| J-33 | J-34 | 6 | Ductile Iron | 140 | 455.06 |
| J-121 | J-122 | 8 | Ductile Iron | 140 | 54.9 |
| J-123 | J-124 | 8 | Ductile Iron | 140 | 41.175 |
| J-120 | J-121 | 8 | Ductile Iron | 140 | 117.12 |
| J-122 | J-123 | 8 | Ductile Iron | 140 | 47.885 |
| J-124 | J-30 | 8 | Ductile Iron | 140 | 484.34 |
| J-30 | OR-20 | 8 | Ductile Iron | 140 | 4.575 |
| OR-20 | J-60 | 8 | Ductile Iron | 140 | 9.15 |
| J-142 | PMP-59 | 12 | Ductile Iron | 140 | 34.77 |
| J-141 | J-120 | 12 | Ductile Iron | 140 | 155.245 |
| PMP-59 | J-141 | 12 | Ductile Iron | 140 | 43.31 |
| T-4 | J-142 | 18 | Ductile Iron | 140 | 78.08 |
| R-2 | T-4 | 28 | Ductile Iron | 140 | 13709.75 |

Table A2: Ground Elevation Details of the Entire Network

| Label | Elevation | Label | Elevation |
| --- | --- | --- | --- |
| J-12 | 158.75 | J-72 | 139.77 |
| J-13 | 159.02 | J-73 | 139.27 |
| J-14 | 159.05 | J-74 | 137.66 |
| J-15 | 156.98 | J-75 | 136.69 |
| J-17 | 157.4 | J-76 | 136.08 |
| J-19 | 153.14 | J-77 | 135.99 |
| J-20 | 149.58 | J-78 | 134.83 |
| J-30 | 144.02 | J-79 | 133.06 |
| J-31 | 138.5 | J-84 | 149.21 |
| J-32 | 144.49 | J-93 | 151.41 |
| J-33 | 147.12 | J-94 | 149.74 |
| J-34 | 145.51 | J-106 | 145.38 |
| J-35 | 151.32 | J-108 | 140.67 |
| J-36 | 156.51 | J-111 | 148.05 |
| J-37 | 156.34 | J-113 | 100 |
| J-38 | 156.18 | J-120 | 157.97 |
| J-40 | 148.1 | J-121 | 155.4 |
| J-41 | 147.82 | J-122 | 154.5 |
| J-42 | 146.13 | J-123 | 152.67 |
| J-43 | 145.86 | J-124 | 152.27 |
| J-44 | 147.55 | J-142 | 153.66 |
| J-45 | 148.17 | J-143 | 149.71 |
| J-48 | 143.51 | J-144 | 145.5 |
| J-49 | 143.19 | J-145 | 148.54 |
| J-60 | 143.67 | J-146 | 146.07 |
| J-61 | 142.8 | J-147 | 148.5 |
| J-62 | 140.86 | J-148 | 148.36 |
| J-64 | 130.87 | J-149 | 146.84 |
| J-65 | 135.39 | J-150 | 145.23 |
| J-67 | 143.04 | J-151 | 143.9 |
| J-68 | 142.47 | J-152 | 140.87 |
| J-69 | 141.82 | J-156 | 138.78 |
| J-70 | 141.11 | J-157 | 135.53 |
| PMP-59 | 154.94 | J-141 | 156.27 |
| AV-1 | 158.39 | PBV-2 | 118.31 |
| AV-2 | 120.99 | J-71 | 140.69 |
| OR-20 | 143.89 |  |  |