Proteomics and Metaproteomics

(a) Sample preparation for Proteomics and Meta-proteomics

After separation of albumin redox fractions from all study groups, they were subjected to protein quantification using the Bradford assay.

In-solution protein digestion

- Fifty micrograms of protein equivalent were vacuum dried and reconstituted in 200 μl of ammonium bicarbonate (ABC) buffer.

- To reduce disulfide bonds, 20 μl of 10 mM dithiothreitol (DTT) was added, followed by incubation at 60 °C for 1 hour in a water bath.

- After reduction, 15 μl of 10 mM iodoacetamide (IAA) was added and incubated for 30 minutes in the dark to achieve protein alkylation.

- Protein digestion was performed by adding 10 μl of modified sequencing-grade trypsin (0.1 μg/μl) and incubating at 37 °C for 20–24 hours in a water bath. Trypsin activity was terminated by adding 5 μl of concentrated formic acid.

C18 column-mediated desalting of peptides

The digested albumin peptides were purified using Thermo Scientific Pierce C18 Spin Columns (Catalog no. 89873), following the manufacturer’s protocol:

- Place a new Pierce C18 spin column in a 1.5 ml Eppendorf tube.

- Condition with 200 μl of 100% acetonitrile (ACN) for 5 minutes.

- Centrifuge for 2 minutes and discard the flow-through.

- Activate with 200 μl of wash buffer (50% ACN + 50% water) for 5 minutes.

- Centrifuge for 2 minutes and discard the flow-through.

- Equilibrate with 200 μl of equilibration buffer for 2 minutes, then discard the flow-through.

- Load 50 μg of digested protein onto the column and incubate for 5 minutes.

- Collect the follow-through and reload onto the column, repeating four times to ensure peptide binding.

- Centrifuge for 2 minutes and discard the flow-through.

- Wash with 200 μl equilibration buffer (5% ACN + 95% water) for 2 minutes.

- Centrifuge for 2 minutes and discard the flow-through.

- Elute with 30 μl elution buffer (90% ACN + 10% water) for 2 minutes.

- Repeat with an additional 30 μl elution buffer.

- Finally, add 40 μl elution buffer and centrifuge for 2 minutes.

- Collect the eluate and discard the used column.

- Lyophilize samples at 4 °C under 60 mbar until dry (avoiding overdrying to maintain solubility).

- Reconstitute in 40 μl of 0.1% formic acid.

- Centrifuge at 15,000 g and transfer 20 μl of the supernatant into an HPLC vial.

(b) Mass spectrometry analysis: Proteomics

Peptides were ionised by nano-electrospray and analysed via tandem mass spectrometry (MS/MS) using a Q-Exactive™ Plus (Thermo Fisher Scientific, San Jose, CA, United States). Peptides were first enriched on a trap column (75 μm × 2 cm, 3 μm, 100 Å, nanoViper C18 Acclaim PepMap™ 100) at 8 μl/min, then resolved on an analytical column (75 μm × 25 cm, 2 μm, 100 Å, nanoViper C18 Acclaim PepMap™ RSLC). Elution was achieved with a 3–95% gradient of buffer B (80% ACN in 0.1% formic acid) at 800 nl/min over ~70 minutes.

Peptides were analysed in collision-induced dissociation mode with an electrospray voltage of 2.3 kV. Orbitrap full MS scans were acquired at 70,000 resolution, m/z 350–1800. MS/MS spectra were processed in Proteome Discoverer (v2.0, Thermo Fisher Scientific) against the UniProt Homo sapiens database (UP000005640) using Mascot 2.4 (Matrix Science). Significant proteins were identified at p < 0.05 and q < 0.05, with a false discovery rate (FDR) of 0.01. Identified proteins were further analysed for statistical significance, pathways, and networks.

(c) Mass spectrometry analysis: Meta-proteomics

Proteins isolated from plasma samples of the study groups were reduced, alkylated, digested with trypsin, and analyzed via mass spectrometry as described for proteomics. MS/MS data were analyzed in Proteome Discoverer (v2.0) against bacterial and fungal sequence databases (UniprotSwP_20170609, 467,231 sequences; MG_BG_UPSP, 2,019,194 sequences). Mascot 2.4 (Matrix Science) was used for cross-validation across microbial species. Significant peptide groups were identified at p < 0.05 and q < 0.05 with an FDR of 0.01. Only rank-1 peptides with peptide sequence matches (PSMs) >3 were included in biodiversity and functional analyses using Unipept. Peptides mapping to eukaryotic, fungal, or viral databases were excluded, and only bacterial species-associated peptides were subjected to statistical, functional, and biodiversity analyses as described previously.

4.2.5 Lipidomics

(a) Sample preparation for Lipidomics

Total lipids were extracted from 100 μl of redox albumin fractions using the Folch method.

- Add chloroform/methanol (2:1, v/v) and incubate at −20 °C for 24 hours.

- Centrifuge at 13,000 rpm for 10 minutes.

- Transfer the upper aqueous phase (containing lipid species) into a new tube. Discard the protein-rich interphase and pool the lower lipid-rich organic phase with the aqueous fraction. Vacuum dry

- Reconstitute dried samples in 100 μl of standard solution (65% acetonitrile: 30% isopropanol: 5% water: 5% standards).

- Pipette 80 μl into HPLC tubes.

- Pool 25 μl from each sample to create a quality control (QC) sample, analyzed in serial runs.

Internal standards: Dinoseb (1 mg/ml), MCPA (1 mg/ml), Dimetrazole (1 mg/ml).

External standards: Cholesterol (0.1 mg/ml), Colchicine (4 mg/ml), Imipramine (2 mg/ml), Roxithromycin (2 mg/ml), Amiloride (1 mg/ml), Atropine (2 mg/ml).

(b) Mass spectrometry analysis: Lipidomics

Fifteen microliters of sample were subjected to reverse-phase chromatography on a C18 column (Thermo Scientific, 3 μm, 2.1 mm × 100 mm) with tandem MS/MS. Mobile phase A: 0.1% formic acid; Mobile phase B: 100% acetonitrile.

Samples were analyzed on a Q-Exactive mass spectrometer (Thermo Scientific, San Jose, CA) under both positive and negative ionization modes. Spray voltage: +3.7 kV / −3.1 kV; capillary temperature: 360 °C; sheath/auxiliary gas flow: 15/10 (a.u.). MS/MS isolation width: m/z 1.5; normalized collision energy: 32%; resolution: 17,500 FWHM at m/z 200.

Lipid features were identified with LipidSearch 4.0 (Thermo), using the following parameters: product ion search, LC-MS mode, precursor tolerance 5–7 ppm, product tolerance 7–10 ppm, intensity threshold 1%, height-score threshold 8, quantitation on, m/z tolerance ±5 ppm, retention time ±0.5 min, rank filter enabled, main isomer peak filter, m-score ≥5, c-score ≥2, fatty acid priority enabled. Lipid classes were unrestricted. Positive adducts: +H, +NH₄, +2H. Negative adducts: −H, +HCOO, −2H.

4.2.6 Metabolomics

(a) Sample preparation for metabolomics

Metabolites were isolated from 100 μl redox albumin fractions using organic phase extraction. Samples were prepared at 4:1 (methanol:sample), incubated overnight at −20 °C.

- Centrifuge at 13,000 rpm for 10 minutes.

- Discard protein pellet; dry supernatant under vacuum.

- Reconstitute dried extracts in 100 μl of standard solution (90% water: 5% acetonitrile: 5% standards).

- Transfer 80 μl into HPLC tubes.

- Pool 25 μl from each sample for QC, analyzed in dilution series (1:1, 1:2, 1:4, 1:8) for reproducibility.

Internal standards: Dinoseb (1 mg/ml), MCPA (1 mg/ml), Dimetrazole (1 mg/ml).

External standards: Cholesterol (0.1 mg/ml), Colchicine (4 mg/ml), Imipramine (2 mg/ml), Roxithromycin (2 mg/ml), Amiloride (1 mg/ml), Atropine (2 mg/ml).

(b) Mass spectrometry analysis: Metabolomics

Fifteen microliters were analyzed via reverse-phase chromatography on a C18 column (Thermo Scientific, 3 μm, 2.1 mm × 100 mm) with UHPLC. Mobile phase A: 0.1% formic acid; Mobile phase B: 100% acetonitrile.

Samples were analyzed on a Q-Exactive mass spectrometer (Thermo Scientific, San Jose, CA). Conditions: spray voltage +3.7 kV / −3.1 kV, capillary temperature 360 °C, sheath/auxiliary gas 15/10 (a.u.).

Features were identified using Compound Discoverer 3.0 (Thermo Scientific USA), annotated against Mass List, ChemSpider, mzVault, Metabolika, and mzCloud. Data were , Pareto-scaled (MetaboAnalyst 5.0), and subjected to PCA, PLS-DA, heatmaps, and random forest analyses. Pathway enrichment was performed with MetaboAnalyst 5.0. Multivariate, correlation, and univariate regression analyses were performed using IBM SPSS v2.0.

Correlation Network Analysis

Correlation clustering of albumin-bound proteins, metaproteins, lipids, and metabolites was performed in MetaboAnalyst 5.0. Cytoscape-MetaScape 3.9.1 was used to generate correlation network maps, identifying four distinct clusters with bacterial- and protein-centric groupings. Additional correlation analyses incorporated clinical parameters, albumin functionality, mortality probability, and differentially expressed molecules in non-survivors using the R package.