Feasibility study of dose calculation based on contrast-enhanced computed tomography for stereotactic body radiation therapy of lung metastases treated with MR-Linac

Guoqiang Zhao1, ‡, Min Liu1, 3, ‡, Yaxin Liu1, Junxiang Wu1, Hao Guo1, Jie Li1, Shun Lu1, Jinyi Lang1, Tiziana Malatesta2, Lintao Li1*, Xianliang Wang1*

1Department of Radiation Oncology, Radiation Oncology Key Laboratory of Sichuan Province, Sichuan Clinical Research Center for Cancer, Sichuan Cancer Hospital &Institute, Sichuan Cancer Center, University of Electronic Science and Technology of China, Chengdu, China

2Medical Physics Unit, Department of Radiotherapy and Medical Oncology and Radiology, Isola Tiberina–Gemelli Isola Hospital, Rome, Italy

3College of Computer Science and Cyber Security, Chengdu University of Technology, Chengdu, China

Table S1 Comparison of dosimetric parameters for TPcsCT, TPpCT and TPpsCT

| ROIs | No. of patients | Parameter | TPcsCT (Mean) | TPpCT (Mean) | TPpsCT (Mean) | Diff (%) (TPcsCT VS TPpCT) | P (TPcsCT VS TPpCT) | Diff (%) (TPpsCT VS TPpCT) | P (TPpsCT VS TPpCT) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PTV | 30.00 | VDpre (%) | 96.80 | 95.69 | 96.89 | 2.21 | 0.0133 | 2.31 | 0.0329 |
|  |  | Dmax (Gy) | 66.47 | 67.47 | 66.18 | 2.06 | 0.0353 | 1.97 | 0.0439 |
|  |  | D2% (Gy) | 66.19 | 65.83 | 65.63 | 2.40 | 0.0008 | 2.03 | 0.0003 |
|  |  | D95% (Gy) | 51.56 | 50.38 | 51.47 | 2.76 | 0.0423 | 2.58 | 0.0004 |
|  |  | D98% (Gy) | 49.59 | 48.88 | 49.68 | 2.95 | 0.0024 | 2.89 | 0.0107 |
|  |  | Dmean (Gy) | 58.88 | 58.96 | 58.86 | 2.49 | 0.0104 | 2.41 | 0.0094 |
|  |  | CI | 0.83 | 0.82 | 0.83 | 2.05 | 0.0460 | 1.91 | 0.0440 |
|  |  | GI | 4.98 | 5.48 | 5.13 | 1.58 | 0.1110 | 1.44 | 0.1060 |
| Spinalcord | 30.00 | Dmax (Gy) | 10.32 | 10.31 | 10.30 | 1.23 | 0.0012 | 1.28 | 0.0021 |
|  |  | D0.35cc (Gy) | 8.68 | 8.70 | 8.71 | 1.06 | 0.3713 | 1.20 | 0.0860 |
|  |  | D1cc (Gy) | 8.20 | 8.28 | 8.25 | 1.49 | 0.0873 | 1.19 | 0.0567 |
| Heart | 30.00 | Dmax (Gy) | 10.25 | 10.70 | 10.41 | 1.52 | 0.0197 | 1.38 | 0.0461 |
|  |  | D0.5cc (Gy) | 9.44 | 9.71 | 9.62 | 1.12 | 0.0010 | 1.05 | 0.0457 |
|  |  | D15cc (Gy) | 6.89 | 6.98 | 6.90 | 0.88 | 0.3561 | 0.80 | 0.0688 |
| Rib | 30.00 | Dmax (Gy) | 30.61 | 30.51 | 31.15 | 1.06 | 0.0969 | 0.89 | 0.1018 |
|  |  | D1cc (Gy) | 24.30 | 24.40 | 24.50 | 1.26 | 0.2580 | 1.00 | 0.0541 |
| Lung_L | 30.00 | V5Gy (%) | 13.13 | 13.33 | 13.45 | 2.12 | 0.0442 | 2.02 | 0.0322 |
|  |  | V20Gy (%) | 2.92 | 2.77 | 2.91 | 1.56 | 0.0080 | 1.23 | 0.0086 |
|  |  | Dmean (Gy) | 2.72 | 2.71 | 2.73 | 0.38 | 0.0048 | 0.49 | 0.0158 |
| Lung_R | 30.00 | V5Gy (%) | 16.31 | 16.42 | 16.23 | 1.25 | 0.0094 | 1.17 | 0.0320 |
|  |  | V20Gy (%) | 3.28 | 3.24 | 3.39 | 0.96 | 0.0376 | 0.92 | 0.0196 |
|  |  | Dmean (Gy) | 3.19 | 3.17 | 3.18 | 0.90 | 0.0327 | 0.99 | 0.0348 |
| Lung-GTV | 30.00 | V5Gy (%) | 14.97 | 15.07 | 15.00 | 0.68 | 0.0176 | 0.76 | 0.0472 |
|  |  | V20Gy (%) | 3.11 | 3.00 | 3.15 | 0.82 | 0.0420 | 0.79 | 0.0362 |
|  |  | Dmean (Gy) | 2.96 | 2.95 | 2.95 | 0.76 | 0.0242 | 0.83 | 0.0372 |
| Esophagus | 30.00 | Dmax (Gy) | 11.65 | 12.06 | 11.97 | 0.44 | 0.0799 | 0.31 | 0.09602 |
|  |  | D5cc (Gy) | 4.66 | 4.56 | 4.68 | 0.36 | 0.28482 | 0.29 | 0.06956 |