Table 1 Sensitivity (Se) and Specificity (Sp) of WST at different cut-off values based on ROC analysis.                                                                                               
	Criterion
	Interpretation
	Sensitivity
	Specificity

	≥0
	≥No colour/Negative
	100
	0.00

	>0
	>No colour/Negative
	74.47
	70.00

	>1
	>light yellow/Mild
	48.94
	90.00

	>2
	>Yellow/Moderate
	17.02
	100.00

	>3
	>Dark yellow/Severe
	0.00
	100.00






                                                        



Table 2   Sensitivity (Se) and Specificity (Sp) of LEST at different cut-off values based on ROC analysis.

	Criterion
	Interpretation
	Sensitivity
	Specificity

	≥0
	≥Negative (-)/  No leucocytes
	100
	0.00

	>0
	≥Negative (-)/  No leucocytes
	95.74
	50

	>1
	≥15 Leu/μl (±)/ Trace leucocytes
	78.72
	90

	>2
	≥70 Leu/μl (+)/  Small  leucocytes
	42.55
	100

	>3
	≥125 Leu/μl (++)/ Moderate leucocytes
	4.26
	100

	>4
	≥500 Leu/μl (+++)/ Large leucocytes
	0.00
	100










Table 3   Sensitivity (Se) and Specificity (Sp) of pH strip test at different cut-off values  based on ROC analysis
	Criterion
	Sensitivity
	Specificity

	≥6
	100
	0

	>6.5
	93.62
	20

	>7.0
	85.11
	80

	>7.5
	61.7
	80

	>8
	40.43
	90

	>8.5
	17.02
	100

	>9.0
	0.00
	100











Table 4   Sensitivity (Se) and Specificity (Sp) of Protein strip test at different cut-off values based on ROC 
Analysis

	Criterion
	Interpretation
	Sensitivity
	Specificity

	≥0
	≥Negative(-)
	100
	0.00

	>0
	>Negative(-)
	59.57
	80

	>1
	>15mg/dl(±)
	14.89
	100

	>2
	>30 mg/dl(+)
	0.00
	100











Table 5 Sensitivity (Se) and Specificity (Sp) of Nitrate strip test at different cut-off values based on ROC analysis
	Criterion
	Sensitivity
	Specificity

	≥0
	100
	0

	>0
	34.04
	70

	>1
	0
	100








Table 6   Sensitivity (Se) and Specificity (Sp) of combination of strip tests at different cut-off values.

	Multi-reagent strip combination
	Criterion
	AUC
	Sensitivity
	Specificity
	Accuracy

	LE and pH
	>1(±) & >7
	0.851
	70.21%
	100%
	75.44%

	LE and Protein
	>1(±) & >0(-)
	0.727
	55.32
	90
	61.40

	LE, pH and protein
	>1(±) & >7 & >0
	0.745
	48.94
	100
	57.90



Table 7  Sensitivity (Se) and Specificity (Sp) of WST, LE, pH, Protein, Nitrate and  combination of LE and pH, LE and protein & LE, pH and protein strip tests in comparison to EC (n=57).
	Parameter (cutoff)
	TP
	FP
	FN
	TN
	AUC
	Accuracy        (%)
	PPV (%)
	NPV (%)
	P Value
	Se and Sp
	%
	95% CI

	WST(>0)
	35
	3
	12
	7
	0.767
	73.6
	92.11
	36.84
	0.001
	Se
	74.5
	59.6 to 86.0

	
	
	
	
	
	
	
	
	
	
	Sp
	70.00
	34.7 to 93.3

	LE(>1)
	37
	1
	10
	9
	0.899
	80.70
	97.37
	47.37
	0.001
	Se
	78.72
	64.3 to 89.3

	
	
	
	
	
	
	
	
	
	
	Sp
	90.00
	55.5 to 99.7

	PH(>7)
	40
	2
	7
	8
	0.810
	84.21
	95.24
	53.33
	0.001
	Se
	85.11
	71.7 to 93.8

	
	
	
	
	
	
	
	
	
	
	Sp
	80
	44.4 to 97.5

	Protein(>0)
	28
	2
	19
	8
	0.713
	63.16
	93.33
	29.63
	0.002
	Se
	59.6
	44.3 to 73.6

	
	
	
	
	
	
	
	
	
	
	Sp
	80.00
	44.4 to 97.5

	Nitrate(>0)
	16
	3
	31
	7
	0.520
	40.35
	84.21
	18.42
	0.810
	Se
	34.04
	20.9 to 49.3

	
	
	
	
	
	
	
	
	
	
	Sp
	70
	34.8 to 93.3

	LE and PH
	33
	0
	14
	10
	0.851
	75.44
	100
	41.67
	0.001
	Se
	70.21
	55.1 to 82.6

	
	
	
	
	
	
	
	
	
	
	Sp
	100
	69.1 to 100

	LE and Protein
	26
	1
	21
	9
	0.727
	61.40
	96.30
	30.00
	0.001
	Se
	55.32
	40.1 to 69.8

	
	
	
	
	
	
	
	
	
	
	Sp
	90
	55.5 to 99.7

	LE, pH and Protein
	23
	0
	24
	10
	0.745
	57.90
	100
	29.41
	0.001
	Se
	48.94
	30.0 to 63.9

	
	
	
	
	
	
	
	
	
	
	Sp
	100
	69.1to 100.0


TP-True positive, TN-True negative, FP- False positive and FN-False negative. EC-Endometrial cytology : Positive=47, Negative=10, PPV-Positive Predictive Value, NPV- Negative Predictive Value, CI- Confidence Interval



