Table 1 Sensitivity (Se) and Specificity (Sp) of WST at different cut-off values based on ROC analysis.

| Criterion | Interpretation | Sensitivity | Specificity |
| --- | --- | --- | --- |
| ≥0 | ≥No colour/Negative | 100 | 0.00 |
| >0 | >No colour/Negative | 74.47 | 70.00 |
| >1 | >light yellow/Mild | 48.94 | 90.00 |
| >2 | >Yellow/Moderate | 17.02 | 100.00 |
| >3 | >Dark yellow/Severe | 0.00 | 100.00 |

Table 2   Sensitivity (Se) and Specificity (Sp) of LEST at different cut-off values based on ROC analysis.

| Criterion | Interpretation | Sensitivity | Specificity |
| --- | --- | --- | --- |
| ≥0 | ≥Negative (-)/ No leucocytes | 100 | 0.00 |
| >0 | ≥Negative (-)/ No leucocytes | 95.74 | 50 |
| >1 | ≥15 Leu/μl (±)/ Trace leucocytes | 78.72 | 90 |
| >2 | ≥70 Leu/μl (+)/ Small leucocytes | 42.55 | 100 |
| >3 | ≥125 Leu/μl (++)/ Moderate leucocytes | 4.26 | 100 |
| >4 | ≥500 Leu/μl (+++)/ Large leucocytes | 0.00 | 100 |

Table 3   Sensitivity (Se) and Specificity (Sp) of pH strip test at different cut-off values  based on ROC analysis

| Criterion | Sensitivity | Specificity |
| --- | --- | --- |
| ≥6 | 100 | 0 |
| >6.5 | 93.62 | 20 |
| >7.0 | 85.11 | 80 |
| >7.5 | 61.7 | 80 |
| >8 | 40.43 | 90 |
| >8.5 | 17.02 | 100 |
| >9.0 | 0.00 | 100 |

Table 4   Sensitivity (Se) and Specificity (Sp) of Protein strip test at different cut-off values based on ROC

Analysis

| Criterion | Interpretation | Sensitivity | Specificity |
| --- | --- | --- | --- |
| ≥0 | ≥Negative(-) | 100 | 0.00 |
| >0 | >Negative(-) | 59.57 | 80 |
| >1 | >15mg/dl(±) | 14.89 | 100 |
| >2 | >30 mg/dl(+) | 0.00 | 100 |

Table 5 Sensitivity (Se) and Specificity (Sp) of Nitrate strip test at different cut-off values based on ROC analysis

| Criterion | Sensitivity | Specificity |
| --- | --- | --- |
| ≥0 | 100 | 0 |
| >0 | 34.04 | 70 |
| >1 | 0 | 100 |

Table 6   Sensitivity (Se) and Specificity (Sp) of combination of strip tests at different cut-off values.

| Multi-reagent strip combination | Criterion | AUC | Sensitivity | Specificity | Accuracy |
| --- | --- | --- | --- | --- | --- |
| LE and pH | >1(±) & >7 | 0.851 | 70.21% | 100% | 75.44% |
| LE and Protein | >1(±) & >0(-) | 0.727 | 55.32 | 90 | 61.40 |
| LE, pH and protein | >1(±) & >7 & >0 | 0.745 | 48.94 | 100 | 57.90 |

Table 7  Sensitivity (Se) and Specificity (Sp) of WST, LE, pH, Protein, Nitrate and  combination of LE and pH, LE and protein & LE, pH and protein strip tests in comparison to EC (n=57).

| Parameter (cutoff) | TP | FP | FN | TN | AUC | Accuracy (%) | PPV (%) | NPV (%) | P Value | Se and Sp | % | 95% CI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WST(>0) | 35 | 3 | 12 | 7 | 0.767 | 73.6 | 92.11 | 36.84 | 0.001 | Se | 74.5 | 59.6 to 86.0 |
|  |  |  |  |  |  |  |  |  |  | Sp | 70.00 | 34.7 to 93.3 |
| LE(>1) | 37 | 1 | 10 | 9 | 0.899 | 80.70 | 97.37 | 47.37 | 0.001 | Se | 78.72 | 64.3 to 89.3 |
|  |  |  |  |  |  |  |  |  |  | Sp | 90.00 | 55.5 to 99.7 |
| PH(>7) | 40 | 2 | 7 | 8 | 0.810 | 84.21 | 95.24 | 53.33 | 0.001 | Se | 85.11 | 71.7 to 93.8 |
|  |  |  |  |  |  |  |  |  |  | Sp | 80 | 44.4 to 97.5 |
| Protein(>0) | 28 | 2 | 19 | 8 | 0.713 | 63.16 | 93.33 | 29.63 | 0.002 | Se | 59.6 | 44.3 to 73.6 |
|  |  |  |  |  |  |  |  |  |  | Sp | 80.00 | 44.4 to 97.5 |
| Nitrate(>0) | 16 | 3 | 31 | 7 | 0.520 | 40.35 | 84.21 | 18.42 | 0.810 | Se | 34.04 | 20.9 to 49.3 |
|  |  |  |  |  |  |  |  |  |  | Sp | 70 | 34.8 to 93.3 |
| LE and PH | 33 | 0 | 14 | 10 | 0.851 | 75.44 | 100 | 41.67 | 0.001 | Se | 70.21 | 55.1 to 82.6 |
|  |  |  |  |  |  |  |  |  |  | Sp | 100 | 69.1 to 100 |
| LE and Protein | 26 | 1 | 21 | 9 | 0.727 | 61.40 | 96.30 | 30.00 | 0.001 | Se | 55.32 | 40.1 to 69.8 |
|  |  |  |  |  |  |  |  |  |  | Sp | 90 | 55.5 to 99.7 |
| LE, pH and Protein | 23 | 0 | 24 | 10 | 0.745 | 57.90 | 100 | 29.41 | 0.001 | Se | 48.94 | 30.0 to 63.9 |
|  |  |  |  |  |  |  |  |  |  | Sp | 100 | 69.1to 100.0 |

TP-True positive, TN-True negative, FP- False positive and FN-False negative. EC-Endometrial cytology : Positive=47, Negative=10, PPV-Positive Predictive Value, NPV- Negative Predictive Value, CI- Confidence Interval