Assessment of cation levels in drinking water and wastewater: implications for water quality and regulatory compliance

Ryan G.M.F. da Silva, Micherlane M. da Silva, Krissia V.N. Moraes, Elvis J. De França, Mario T. Kato, Maria J.F. Gomes, Iago J.S. da Silva*

Supplementary Material

Figure S1 - Plots of the residues generated by calibration models of the low concentration curve: a) Li+; b) Na+; c) NH4+; d) K+; e) Mg2+; and f) Ca2+.

Figure S2 - Plots of the residues generated by the calibration models of the high concentration curve: a) Li+; b) Na+; c) NH4+; d) K+; e) Mg2+; and f) Ca2+.

Figure S3 - Plots of PCA scores (top) and loadings (bottom) based on the multicationic composition of all water samples analyzed: tap water (royal blue), artesian well water (red), natural mineral water (green), carbonated mineral water (pool blue), and drinking fountain water (brown). PC – Principal Component.

Figure S4 – Plots of scores (top) and loadings (bottom) of PCA based on the multicationic composition of all analyzed wastewater samples: Mangueira WWTP (royal blue), Peixinhos WWTP (red), and Cabanga WWTP (green). PC – Principal Component.

Table S1 – Analysis of variance for fitting the linear model of the six cations to the low concentration curve.

| Cation | Source of variation | Quadratic sum | Degrees of freedom | Quadratic mean |  |  | Fcalculated | Ftabelated |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Li+ | Regression | 0.37 | 1 | 0.37 |  |  | 3175.00 | 4.32 |
|  | Residuals | 0.0024 | 21 | 0.00012 |  |  |  |  |
|  | Lack of fit | 0.0022 | 4 | 0.00054 |  |  | 33.59 | 2.96 |
|  | Pure error | 0.00027 | 17 | 0.000016 |  |  |  |  |
|  | Total | 0.37 | 22 |  |  |  |  |  |
| Na+ | Regression | 5.05 | 1 |  | 5.05 | 12762.00 |  | 4.32 |
|  | Residuals | 0.0083 | 21 |  | 0.00040 |  |  |  |
|  | Lack of fit | 0.0033 | 4 |  | 0.00082 | 2.80 |  | 2.96 |
|  | Pure error | 0.0050 | 17 |  | 0.00029 |  |  |  |
|  | Total | 5.05 | 22 |  |  |  |  |  |
| NH4+ | Regression | 2.36 | 2 |  | 1.18 | 30956.63 |  | 3.49 |
|  | Residuals | 0.0010 | 20 |  | 0.000050 |  |  |  |
|  | Lack of fit | 0.00035 | 3 |  | 0.00011 | 3.09 |  | 2.30 |
|  | Pure error | 0.00065 | 17 |  | 0.000038 |  |  |  |
|  | Total | 2.54 | 22 |  |  |  |  |  |
| K+ | Regression | 2.72 | 1 |  | 2.72 | 52277.43 |  | 4.32 |
|  | Residuals | 0.00109 | 21 |  | 0.0011 |  |  |  |
|  | Lack of fit | 0.00020 | 4 |  | 0.00020 | 0.93 |  | 2.96 |
|  | Pure error | 0.00090 | 17 |  | 0.00090 |  |  |  |
|  | Total | 2.73 | 22 |  |  |  |  |  |
| Mg2+ | Regression | 25.97 | 1 |  | 25.97 | 38161.84 |  | 4.30 |
|  | Residuals | 0.015 | 22 |  | 0.00068 |  |  |  |
|  | Lack of fit | 0.0019 | 4 |  | 0.00048 | 0.66 |  | 2.77 |
|  | Pure error | 0.0131 | 18 |  | 0.00073 |  |  |  |
|  | Total | 25.98 | 23 |  |  |  |  |  |
| Ca2+ | Regression | 6.71 | 1 |  | 6.71 | 10412.92 |  | 4.38 |
|  | Residuals | 0.012 | 19 |  | 0.00064 |  |  |  |
|  | Lack of fit | 0.0034 | 4 |  | 0.00084 | 1.42 |  | 3.06 |
|  | Pure error | 0.0089 | 15 |  | 0.00059 |  |  |  |
|  | Total | 6.73 | 20 |  |  |  |  |  |

Table S2 – Analysis of variance for fitting the linear model of the six cations to the high concentration curve.

| Cation | Source of variation | Quadratic sum | Degrees of freedom | Quadratic mean |  |  | Fcalculated | Ftabelated |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Li+ | Regression | 30.72 | 1 | 30.72 |  |  | 42792.47 | 4.35 |
|  | Residuals | 0.014 | 20 | 0.00070 |  |  |  |  |
|  | Lack of fit | 0.0019 | 4 | 0.00050 |  |  | 0.60 | 3.01 |
|  | Pure error | 0.013 | 16 | 0.00080 |  |  |  |  |
|  | Total | 30.73 | 21 |  |  |  |  |  |
| Na+ | Regression | 530.43 | 1 |  | 530.43 | 37439.96 |  | 4.35 |
|  | Residuals | 0.28 | 20 |  | 0.014 |  |  |  |
|  | Lack of fit | 0.057 | 4 |  | 0.014 | 1.02 |  | 3.01 |
|  | Pure error | 0.23 | 16 |  | 0.014 |  |  |  |
|  | Total | 530.71 | 21 |  |  |  |  |  |
| NH4+ | Regression | 30.44 | 2 |  | 15.22 | 3763.28 |  | 3.52 |
|  | Residuals | 0.077 | 19 |  | 0.0040 |  |  |  |
|  | Lack of fit | 0.051 | 3 |  | 0.0169 | 10.41 |  | 3.24 |
|  | Pure error | 0.026 | 16 |  | 0.0016 |  |  |  |
|  | Total | 30.52 | 21 |  |  |  |  |  |
| K+ | Regression | 56.74 | 1 |  | 56.74 | 30172.74 |  | 4.35 |
|  | Residuals | 0.038 | 20 |  | 0.0019 |  |  |  |
|  | Lack of fit | 0.0048 | 4 |  | 0.0012 | 0.58 |  | 3.01 |
|  | Pure error | 0.033 | 16 |  | 0.0021 |  |  |  |
|  | Total | 56.78 | 21 |  |  |  |  |  |
| Mg2+ | Regression | 525.35 | 1 |  | 525.35 | 45963.68 |  | 4.35 |
|  | Residuals | 0.23 | 20 |  | 0.011 |  |  |  |
|  | Lack of fit | 0.047 | 4 |  | 0.012 | 1.02 |  | 3.01 |
|  | Pure error | 0.18 | 16 |  | 0.011 |  |  |  |
|  | Total | 525.58 | 21 |  |  |  |  |  |
| Ca2+ | Regression | 816.723 | 1 |  | 816.72 | 46574.81 |  | 4.32 |
|  | Residuals | 0.368 | 21 |  | 0.018 |  |  |  |
|  | Lack of fit | 0.042 | 4 |  | 0.011 | 0.55 |  | 2.96 |
|  | Pure error | 0.33 | 17 |  | 0.019 |  |  |  |
|  | Total | 817.09 | 22 |  |  |  |  |  |

Table S3 – Literature review on detection types and LOD/LOQ values for cation determination by ion chromatography in aqueous samples.

| Sample | Detection | Determined ions |  | Reference |
| --- | --- | --- | --- | --- |
|  |  | LOD (mg L-1) | LOQ (mg L-1) |  |
| Rain waters | Non-suppressed conductivity | Na+ (0.05), NH4+ (0.03), K+ (0.04), Mg2+ (0.02), and Ca2+ (0.05) | NI | Schumann and Ernst (1993) |
| Mineral waters | Suppressed conductivity | Na+ (10.0), K+ (0.30), Mg2+ (0.30), and Ca2+ (0.30) | NI | Gros and Gorenc (1997) |
| Oil field water | Non-suppressed conductivity | Na+ (2.00), K+ (3.00), Mg2+ (0.10), and Ca2+ (0.20) | NI | Liu et al. (1997) |
| Drinking water and acid rain water | Non-suppressed conductivity | Li+ (0.17), Na+ (0.28), NH4+ (0.24), K+ (0.61), Mg2+ (0.34), and Ca2+ (0.57) | NI | Ohta et al. (1999) |
| Brine | Suppressed conductivity | Li+, Na+, K+, Mg2+, Ca2+ (0.02 – 0.20), and NH4+ (0.10) | NI | Hodge et al. (2000) |
| River, lake, and tap waters | Suppressed conductivity | Na+ (0.10), NH4+ (0.09), K+ (0.20), Mg2+ (0.10), and Ca2+ (0.30) | NI | Karim et al. (2003) |
|  | UV + suppressed conductivity | Na+ (0.92), NH4+ (0.59), K+ (0.14), Mg2+ (0.14), and Ca2+ (0.40) | NI |  |
| River waters | Suppressed conductivity | Na+ (0.91), NH4+ (1.19), K+ (1.29), Mg2+ (0.81), and Ca2+ (1.13) | NI | Amin et al. (2006) |
| Eutrophic sea and fish otoliths | Suppressed conductivity | Li+ (0.0001), Na+ (0.05), NH4+ (0.04), K+ (0.02), Mg2+ (0.01), and Ca2+ (2.56) | NI | Marini et al. (2006) |
| River waters | Non-suppressed conductivity | Na+ (0.06), NH4+ (0.05), K+ (0.13), Mg2+ (0.15), and Ca2+ (0.38). | NI | Amin et al. (2008) |
| Sea and estuary water | Suppressed conductivity | Na+ (26.4), K+ (0.96), Mg2+ (3.15), and Ca2+ (1.00) | NI | Gros et al. (2008) |

Tabela S3 (Continued)

NI - not informed.

| Sample | Detection | Determined ions |  | Referência |
| --- | --- | --- | --- | --- |
|  |  | LOD (mg L-1) | LOQ (mg L-1) |  |
| Natural waters | Non-suppressed conductivity | Li+ (0.003), Na+ (0.02), NH4+ (0.01), K+ (0.01), Mg2+ (0.02), and Ca2+ (0.01) | Li+ (0.01), Na+ (0.06), NH4+ (0.03), K+ (0.03), Mg2+ (0.07), and Ca2+ (0.03) | Zachariadis et al. (2011) |
| Drinking water | Suppressed conductivity | Na+ (0.001), NH4+ (0.0004), K+ (0.002), Mg2+ (0.005), and Ca2+ (0.004) | NI | Dawood and Sanad (2014) |
| Pharmaceutical formula (lithium citrate) | Non-suppressed conductivity | Li+ (0.0012) | Li+ (0.004) | Patil and Rohrer (2015) |
| Sea water | Suppressed conductivity | Li+ (0.001), Na+ (0.004), NH4+ (0.005), K+ (0.01), Mg2+ (0.005), and Ca2+ (0.005) | NI | Basumallick and Rohrer (2016) |
| Chitooligosaccharides | Suppressed conductivity | Na+ (0.01), NH4+ (0.02), K+ (0.04), Mg2+ (0.05), and Ca2+ (0.02) | Na+ (0.03), NH4+ (0.06), K+ (0.14), Mg2+ (0.15), and Ca2+ (0.14) | Cao et al. (2017) |
| Parental nutrition solution | Suppressed conductivity | Na+ (0.001), K+ (0.01), Mg2+ (0.02), and Ca2+ (0.02) | Na+ (0.003), K+ (0.03), Mg2+ (0.06), and Ca2+ (0.06) | Wen et al. (2022) |
|  | Non-suppressed conductivity | Na+ (0.10), K+ (0.30), Mg2+ (0.20), and Ca2+ (0.30) | Na+ (0.20), K+ (1.00), Mg2+ (0.50), and Ca2+ (1.00) |  |
| Tap water, mineral water, drinking fountain water, well water, and wastewater | Suppressed conductivity | Li+ (0.01), Na+ (0.26), NH4+ (0.01), K+ (0.14), Mg2+ (0.08), and Ca2+ (1.44) | Li+ (0.04), Na+ (0.85), NH4+ (0.01), K+ (0.48), Mg2+ (0.27), and Ca2+ (4.73) | This work |

Table S4 – Literature review on cation determination by ion chromatography in aqueous samples, including analytes, chromatographic characteristics, and method performance.

| Sample | Determined parameter | Chromatographic parameters | Analysis time (min) | r2 | LOD (mg L-1) | LOQ (mg L-1) | RSD (%) | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Airborne particles and rain water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 3.0 mmol L-1 HNO3 and 0.1 mmol L-1 EDTA; Flow-rate: 1.0 mL min-1. | 14 | NI | 0.02 – 0.05 | NI | NI | Schumann and Ernst (1993) |
| Rain and river water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 2 mmol L-1 HNO3 and 2 mmol L-1 15-crown-5. Flow-rate: 1 mL min-1; Volume: 20 μL. | 20 | > 0.99 | 0.17 – 0.61 | NI | NI | Ohta et al. (1999) |
| Drinking and domestic Waters | Ca2+, K+, Li+, Mg2+, Na+, and NH4+ | Eluent: 26 mmol L-1 MSA; Flow-rate: 1.5 mL min-1; Volume: 25 μL. | 30 | 0.9993 – 0.9999 | 0.19 – 2.64 | NI | 0.09 – 0.99 | Thomas et al. (2002) |
| From river, pond, and tap water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 1.0 mmol L-1 H2SO4 with aminoacid as the aditive. Flow-rate: 1 mL min-1; Volume: 20 μL. | 20 | NI | 0.09 – 0.3 | NI | 0.5 – 12.9 | Karim et al. (2003) |
| River water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 2.4 mmol L-1 5-sulfosalicylic acid. Flow-rate: 0.5 mL min-1; Volume: 20 μL. | 10 | 0.9913 - 0.9982 | 0.91 – 1.29 | NI | 1.13 – 2.91 | Amin et al. (2006) |
| River water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 0.5 mmol L-1 trimellitic acid; Flow-rate: 0.7 mL min-1; Volume: 20 μL. | 30 | 0.9992 - 0.9998 | 0.05 – 0.38 | NI | 1.29 - 2.01 | Amin et al. (2008) |

Table S4 (Continued)

| Sample | Determined parameter | Chromatographic parameters | Analysis time (min) | r2 | LOD (mg L-1) | LOQ (mg L-1) | RSD (%) | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Natural waters | Ca2+, K+, Li+, Mg2+, Na+, and NH4+ | Eluent: 5 mmol L-1 tartaric acid, 1 mmol L-1 DPA and 24 mmol L-1 boric acid; Flow-rate: 1.2 mL min-1; Volume: 20 μL. | 18 | 0.983 - 0.999 | 0.003 – 0.02 | 0.01 – 0.07 | 1.1 – 5.4 | Zachariadis et al. (2011) |
| Drinking water | Ca2+, K+, Mg2+, Na+, and NH4+ | Eluent: 42 mmol L-1 MSA; Flow-rate: 1.0 mL min-1; Volume: 25 µL. | 20 | 0.9941 - 0.9982 | 0.0004 – 0.005 | NI | 1.10 – 2.82 | Dawood and Sanad (2014) |
| Lithium citrate | Li+ | Eluent: 8 - 67 mmol L-1 MSA; Flow-rate: 0.4 mL min-1; Volume: 10 µL. | 20 | 0.9999 | 0.001 | 0,004 | 0.01 – 0.35 | Patil and Rohrer (2015) |
| Sea water | Ca2+, K+, Li+, Mg2+, Na+, and NH4+ | Eluent: 20 mmol L-1 MSA; Flow-rate: 0.5 mL min-1; Volume: 10 10 µL. | 15 | 0.9997 - 0.9999 | 0.001 – 0.01 | NI | 0.01 - 0.97 | Basumallick and Rohrer (2016) |
| Chitooligosaccharides | Ca2+, K+, Na+, Mg2+, and NH4+ | Eluent: 20 mmol L-1 MSA; Flow-rate: 1.0 mL min-1; Volume: 25 µL. | 15 | 0.9960 - 0.9999 | 0.01 – 0.05 | 0.03 – 0.15 | 0.06 - 6.40 | Cao et al. (2017) |
| Parenteral nutrition solution | Ca2+, K+, Mg2+, and Na+ | Eluent: 30 mmol L-1 MSA; Flow-rate: 0.36 mL min-1. | 25 | 0.9997 - 0.9999 | 0.001 – 0.02 | 0.003 – 0.06 | 0.2 – 0.9 | Wen et al. (2022) |

Table S4 (Continued)

| Sample | Determined parameter | Chromatographic parameters | Analysis time (min) | r2 | LOD (mg L-1) | LOQ (mg L-1) | RSD (%) | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Oral pharmaceutical dosage forms | K+, Mg2+, and Na+ | Eluent: 20 mmol L-1 MSA; Flow-rate: 1.2 mL min-1; Volume: 20 µL. | 15 | 0.9990 | NI | NI | 0.10 – 0.21 | Yelampalli et al. (2023) |
| Saline water | Ca2+, K+, Mg2+, and Na+ | Eluent: 1.7 mmol L−1 HNO3 and 1.7 mmol L−1 PDA; Flow-rate: 0.9 mL min−1. | 38 | > 0.995 | NI | 0.08 – 0.15 | 0.02 – 0.51 | Tran et al. (2024) |
| Bottled water | Ca2+, K+, Mg2+, and Na+ | Eluent: 30 mmol L−1 MSA; Flow-rate: 1.0 mL min−1; Volume: 5000 μL. | 30 | 0.999 | NI | NI | 0.16 – 3.38 | Tudjarova et al. (2025) |
| Tap water, mineral water, drinking fountain water, well water, and wastewater | Ca2+, K+, Li+, Na+, Mg2+, and NH4+ | Eluent: 11 mmol L-1 H2SO4; Flow rate: 0.375 mL min-1; Volume: 5 μL. | 11 | 0.9975 – 0.9995 | 0.01 – 1.44 | 0.01 – 4.73 | 1.1 – 9.9 | This work |

MSA - Methanesulfonic acid; DPA - Dipicolinic acid; LOD - Limit of Detection; LOQ - Limit of Quantitation; NI - not informed; RSD - Relative Standard Deviation.

References used only in Supplementary Material

Basumallick, L., & Rohrer, J. (2016). Monitoring inorganic anions and cations during desalination (Application Note 260). Thermo Fisher Scientific.

Gros, N., & Gorenc, B. (1997). Performance of ion chromatography in the determination of anions and cations in various natural waters with elevated mineralization. Journal of Chromatography A, 770, 119–124. https://doi.org/10.1016/S0021-9673(97)00060-5

Hodge, E. M., Martinez, P., & Sweetin, D. (2000). Determination of inorganic cations in brine solutions by ion chromatography. Journal of Chromatography A, 884, 223–227. https://doi.org/10.1016/S0021-9673(00)00203-X

Liu, X., Jiang, S. X., Chen, L. R., Xu, Y. Q., & Ma, P. (1997). Determination of inorganic ions in oil field waters by single-column ion chromatography. Journal of Chromatography A, 789, 569–573. https://doi.org/10.1016/S0021-9673(97)00788-7

Marini, M., Campanelli, A., & Abballe, F. (2006). Measurement of alkaline and earthy ions in fish otolith and sea water using high-performance ion chromatography. Marine Chemistry, 99, 24–30. https://doi.org/10.1016/j.marchem.2005.01.009

Patil, S. S., & Rohrer, J. (2015). Ion chromatography assay for lithium in lithium citrate (Application Note 1121). Thermo Fisher Scientific.

Tran, Q. N., Phan, P. T., Nguyen, H. D., Vo, N. N. T., Le, H. G. V., & Truong-Lam, H. S. (2024). Simultaneous determination of inorganic ions in saline water from the Mekong Delta using ion chromatography. Water Science, 39, 73–82. https://doi.org/10.1080/23570008.2024.2447975

Yelampalli, S. R., Gandla, K., Reddy, K. T. K., Ibrahim, A. E., & El Deeb, S. (2023). Determination of sodium, potassium, and magnesium as sulfate salts in oral preparations using ion chromatography and conductivity detection. Separations, 10, 99. https://doi.org/10.3390/separations10020099