Practical demonstration checklist for EAI use

1. The device is held correctly: blue safety cap on top, orange tip pointing down.
☐ Yes ☐ No 
2. Blue safety cap is removed.
☐ Yes ☐ No 
3. Device is positioned for injection (~10 cm above outer thigh, orange tip against thigh).
☐ Yes ☐ No 
4. A firm push is applied to the thigh (device at ~90° angle, click sound heard).
☐ Yes ☐ No 
5. Autoinjector remains in place for ≥3 seconds, then removed.
☐ Yes ☐ No 
6. Injection site is massaged for 10 seconds.
☐ Yes ☐ No 
7. Participant states they will contact emergency medical services.
☐ Yes ☐ No 
8. Participant states correct patient positioning: supine with legs elevated if conscious, semi-recumbent if breathing is difficult.
☐ Yes ☐ No
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