| Table S1. The children with ASD and their corresponding healthy control in this study. |  |  |  |
| --- | --- | --- | --- |
| The children with ASD (gene name_month ages) | The healthy control (C_month ages) | Sex | Age(years) |
| ASH1L_23 | C_22 | male | 2 |
| SCN2A_28 | C_29 | male | 2 |
| GIGYF2_48 | C_48 | male | 4 |
| NAA15_74 | C_75 | male | 6 |
| DDX3X_72F* | C_72F | female | 6 |
| * F: female. |  |  |  |

| Table S2. iTRAQ labeling information for plasma and peripheral blood mononuclear cells samples. |  |  |
| --- | --- | --- |
| Set 1 | Label | Sample |
|  | 113 | Mix* |
|  | 114 | C_22 |
|  | 115 | C_29 |
|  | 116 | SCN2A_28 |
|  | 117 | ASH1L_23 |
| Set 2 | 113 | Mix* |
|  | 114 | C_75 |
|  | 115 | C_72 F |
|  | 116 | GIGYF2_48 |
|  | 117 | NAA15_74 |
|  | 118 | DDX3X_72F |
|  | 119 | C_48 |
| *All cases and controls in set1 and set2 are mixed in equal amounts. |  |  |

| Table S3. Chromatographic elution concentration gradient in metabolomics analysis. |  |  |
| --- | --- | --- |
| Time/min | A% | B% |
| 0 | 99 | 1 |
| 1 | 95 | 5 |
| 2 | 70 | 30 |
| 3.5 | 40 | 60 |
| 7.5 | 10 | 90 |
| 9.5 | 0 | 100 |
| 12.5 | 0 | 100 |
| 12.7 | 99 | 1 |
| 16 | 99 | 1 |

| Table S4. Mass spectrometric analysis parameters for metabolomics. |  |
| --- | --- |
| Parameters | Positive/negative ions |
| Capillary voltages, kV | +3，-2 |
| Sampling cone, V | 40 |
| Source offset, V | 80 |
| Source temperature, ℃ | 120 |
| Desolvation temperature, ℃ | 450 |
| Desolvation gas flow, L/h | 800 |
| Cone gas flow, L/h | 50 |
| Mass range, amu | 50-1000 |
| Scan time, s | 0.1 |
| Collision energy (low energy) | 6 |
| Ramp collision energy (high energy) | 20-35 |
| Scan type | MSE centroid |