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Table S1 Comparison of baseline characteristics between groups before and after PSM
	Variable
	Before PSM

	
	NPC(n=122)
	Non-NPC(n=185)
	Statistic
	P value
	SMD

	Sex, n (%)
	
	
	χ2=5.3228
	0.0210
	0.2724

	Male
	77 (63.11)
	92 (49.73)
	
	
	

	Female
	45 (36.89)
	93 (50.27)
	
	
	

	Age, M (Q1, Q3)
	47.00 (39.00, 56.75)
	40.00 (32.00, 53.00)
	Z=3.7111
	0.0002
	0.4233

	
	After PSM

	
	NPC(n=122)
	Non-NPC(n=122)
	Statistic
	P value
	SMD

	Sex, n (%)
	
	
	χ2=0.0177
	0.8942
	0.0170

	Male
	77 (63.118)
	78 (63.939)
	
	
	

	Female
	45 (36.89)
	44 (36.07)
	
	
	

	Age, M (Q1, Q3)
	47.92±12.56
	47.38±14.33
	Z=-0.7033
	0.4819
	0.0403


Note: Pearson χ2 test; Mann Whitney U test; NPC, Nasopharyngeal Carcinoma; Non-NPC, Non-Nasopharyngeal Carcinoma; PSM, Propensity Score Matching
Table S2. The performance of EBV antibody biomarkers before Propensity Score Matching
	Biomarker
	AUC

(95%CI)
	P value
	Sensitivity%

(95%CI)
	P value
	Specificity%

(95%CI)
	P value

	Wantai_P85_Ab
	0.989(0.969-0.997)
	/
	94.26(88.63-97.19)
	/
	97.84(94.57-99.16)
	/

	Wantai_EBNA1_IgA
	0.945(0.913-0.968)
	0.0007*
	81.15(73.30-87.10)
	0.0015*
	94.59(90.34-97.04)
	0.146

	Wantai_VCA_IgA
	0.878(0.836-0.912)
	< 0.0001*
	77.87(69.72-84.32)
	0.0003*
	83.78 (77.79-88.40)
	< 0.0001*

	Wantai_Zta_IgA
	0.853(0.808-0.891)
	< 0.0001*
	62.30(53.44-70.40)
	< 0.0001*
	84.86 (79.00-89.32)
	< 0.0001*

	Tarcine_Rta_IgG
	0.764(0.713-0.811)
	< 0.0001*
	53.28(44.46-61.90)
	< 0.0001*
	88.65 (83.27-92.45)
	0.0005*

	Snibe_VCA_IgA
	0.606(0.549-0.661)
	< 0.0001*
	50.00(41.26-58.74)
	< 0.0001*
	67.03 (59.97-73.39)
	< 0.0001*


Note: The 95% confidence interval of AUC was calculated using the Binomial exact method. The DeLong test was used for comparing AUCs of different markers. The 95% confidence intervals of sensitivity and specificity were calculated using the Wilson score method. The McNemar exact test (exact binomial test) was used to compare the diagnostic performance of paired markers. *P value < 0.05 was considered statistically significant.
