## Metabolite reporting checklist
Supplemental Table 1. Metabolite Reporting Checklist:
Level | Aspect | Information | Polyphenolic analysis | Anthocyanins analysis
general aspect | Type of metabolome analysis | targeted metabolite analysis | TRUE | TRUE
|  | non-targeted metabolite class scale profiling | FALSE | FALSE
|  | non-targeted metabolome scale profiling | FALSE | FALSE
|  | non-targeted finger printing of mass features | FALSE | FALSE
| Type of quantification | absolute or quantification | quantification | quantification
| Type of reference samples | chemcially defined | purity higher than 97% | purity higher than 97%
|  | biologically defined | isolated from plant extracts and chemical synthesis | isolated from plant extracts and chemical synthesis
| Type of technology | reference publication | Vrhovsek et al., 2012 | Arapitsas et al., 2012; Zoratti et al. 2014
| Sample preparation | method of sample preparation | V. vinifera cv. Sangiovese grape berries (2009 harvest, Tuscany, Italy), Malus domestica cv. Golden Delicious apples, Fragaria × ananassa cv. Elsanta strawberries, Rubus idaeus cv. Tulameen raspberries, and Prunus avium cv. Kordia cherries, all purchased from a local market and grown in the Trentino region (Italy), were ground under liquid nitrogen using an IKA analytical mill (Staufen, Germany) to obtain a frozen powder. Briefly, 2 g of powder from each sample was extracted in sealed glass vials using 5 mL of a mixture of water/methanol/chloroform (20:40:40). After vortexing for 1 min, the samples were put in an orbital shaker for 15 min at room temperature. Samples were centrifuged at 1000g and 4 °C for 10 min, and the upper phases constituted of aqueous methanol extract were collected. Extraction was repeated by adding another 3 mL of water/ methanol (1:2) to the pellet and chloroform fractions and shaking for 15 min. After centrifugation, the upper phases from the two extractions were combined, brought to 10 mL, and filtered through a 0.2 μm PTFE filter prior to analysis. Ground dry green tea leaves (Camellia sinensis, Vivi Verde COOP, organic farming) purchased from a local store were extracted with aqueous 80% methanol in a ratio of 1 g to 10 mL of solvent (w/v) using a sonicator for 30 min.38 After centrifugation at 1000g and 4 °C for 10 min, the supernatant was collected and filtered through a 0.2 μm PTFE filter prior to analysis. Sangiovese wine (red table wine, Tavernello, traceability code LB0097WO, Caviro, Italy) was analyzed after filtration on 0.2 μm PTFE filters. | Arapitsas et al., 2012: Briefly, 25 mL of wine diluted 4 times with H2O was applied to a C18-SPE cartridge (1 g, Waters), previously activated with MeOH (5 mL) and H2O (10 mL). The cartridge was washed with 6 mL of 0.3% aqueous HClO4 and then eluted with 10 mL of MeOH into a 100 mL flask. The elute was evaporated under reduced pressure at 30 °C, econstituted in 1 mL of MeOH/H2O (1:1), filtered through 0.22 μm PTFE filters into a 2 mL autosampler amber LCMS certified vial (Waters), and injected. Zoratti et al. 2014: The ground material (100 mg out of 3 g) of each sample was extracted with 1.5 mL of 80% methanol on shaking for 1 h. Samples were centrifuged at 12000 g for 2 min (Sigma 3-30 k, Osterode, Germany) and the supernatants were collected. The extraction was repeated and the supernatants were combined and brought to a volume of 5 mL. After filtering (0.22 μm PVDF filters) and transferring to glass vials, the samples were randomized and analyzed for anthocyanins
|  | method of chromatography/separation | Separation of the phenolic compounds was achieved on a Waters Acquity HSS T3 column 1.8 μm, 100 mm × 2.1 mm (Milford, MA, USA), kept at 40 °C. Mobile phase A was water containing 0.1% formic acid; mobile phase B was acetonitrile containing 0.1% formic acid. The flow was 0.4 mL/min, and the gradient profile was 0 min, 5% B; from 0 to 3 min, linear gradient to 20% B; from 3 to 4.3 min, isocratic 20% B; from 4.3 to 9 min, linear gradient to 45% B; from 9 to 11 min, linear gradient to 100% B; from 11 to 13 min, wash at 100% B; from 13.01 to 15 min, back to the initial conditions of 5% B. The injection volume of both the standard solutions and the samples was 2 μL. | All samples were analyzed on a reverse phase (RP) Acquity UPLC BEH C18, 1.7 μm, 2.1 × 150 mm column (Waters), protected with an Acquity UPLC BEH C18, 1.7 μm, 2.1 × 5 mm precolumn (Waters), at 40 °C and under a mobile phase flow rate of 0.4 mL/min. Water was used as weak eluting solvent (A) and methanol as strong elution solvent (B); formic acid 5% v/v was used as additive in both eluents. The multistep linear gradient used was as follows: from 95 to 60% of A for the first 4 min, from 60 to 45% A from 4 to 9 min, from 45 to 5% A from 9 to 11 min, and an isocratic hold for 3 min to clean the column. The equilibration time was 4 min, and the injection volume was 2 μL.The column eluent was directed to the mass spectrometer, and analyte detection was performed by multiple reaction monitoring (MRM) using the MS/MS transitions
|  | method of ionization | Capillary voltage was 3.5 kV in positive mode and −2.5 kV in negative mode; the source was kept at 150 °C; desolvation temperature was 500 °C; cone gas flow, 50 L/h; and desolvation gas flow, 800 L/h. Unit resolution was applied to each quadrupole. Flow injections of each individual metabolite were used to optimize the MRM conditions. For the majority of the metabolites, this was done automatically by the Waters Intellistart software, whereas for some compounds the optimal cone voltages and collision energies were identified during collision-induced dissociation (CID) experiments and manually set. A dwell time of at least 25 ms was applied to each MRM transition. | Electrospray positive ionization mode (ESI) was applied for all compounds with the parameters in the source set as follows: capillary voltage at 0.5 kV and block and desolvation temperatures at 150 and 500 °C, respectively. Desolvation gas flow was 1000 L/h and cone gas flow 20 L/h. LM resolutions were 2.55 and 2.80 for analyzers 1 and 2, respectively, whereas HM resolutions were 14.90 and 15.00 LM for analyzers 1 and 2, respectively. Ion energy for analyzer 2 was 1.0. The MRM conditions were optimized for the standards by direct infusion into the ES ionization source. For compounds for which standards were not available, the MRM transitions found in the literature were used and optimized through multiple injections of the same sample under various ion source parameters. Pigments have very similar structural characteristics to one another and are already charged, so their detection using a mass spectrometer occurs under very similar conditions. The chromatographic data reported in the literature were also used for identification.
|  | method of detection | Mass spectrometry detection was performed on a Waters Xevo TQMS (Milford, MA, USA) instrument equipped with an electrospray (ESI) source. | Analysis of the samples studied was performed with an Acquity ultraperformance liquid chromatographic system (Waters, MA, USA) coupled to a Xevo TQ MS System (Waters, UK) operating under MassLynx XS software
metabolite/mass feature | Identification | identification process | specify procedure (manually supervized¦automated)
|  | by authentic reference compound previously mapped to the analytical system | TRUE | TRUE
|  | detection was performed by multiple reaction monitoring (MRM) using the MS/MS transitions | TRUE | TRUE
| Quantification | type of quantification | absolute | absolute
|  | Test for linear range | Method validation was performed by studying the linear dynamic range, precision of the analysis, and limit of quantification (LOQ) for the standard compounds. The linear dynamic range was evaluated using standard solutions, prepared as described above, in a concentration range spanning >5 orders of magnitude for most of the compounds. The intraday (n = 5) and interday (n = 5) precision of the analyses was evaluated at two intermediate dilutions (100- and 1000-fold dilutions of the starting mixture). The limit of quantification (LOQ) for each compound was evaluated as the concentration at which the quantifier transition presented a signal-to-noise (S/N) ratio of >10. | The precision/ injection repeatability test (expressed as relative standard deviation, RSD, in %) was performed using a standard mix, made up of the pcoumaroyl derivatives of delphinidin, cyanidin, petunidin, and malvidin, which are more stable than simple glucosides. The standard mix was injected during batch analysis at least three to five times a day. These tests showed good precision in the peak area (RSD < 10%) for both intraday and interday. When the whole sample preparation (including sampling, dilutions, SPE, concentrations, and LC-MS analysis) was repeated in triplicate for two different wines, the coefficient of variation (CV) for the retention times was in a range of 0.2−0.4% and that for the concentration in a range between 0.4 and 13.0% (average = 3.25%).
|  | Limit of quantification (LOQ) | pg given in the Table S2 of Vrhovsek et al., 2012 (varying according to each polyphenolic compound)

## UPLC-QTOF-MS metabolites
Supplemental Table 2. Recommendations For GC- and LC-MS.
UPLC-QTOF-MS metabolites
| A | B | C | D | E | F |  | H | L | M | S
1
2 | Experiment title: Quantitative results of skin secondary metabolite analysis.
3 | Organism/Plant species: Prunus avium L.
4 | Organ/tissue: fruit skin of sweet cherry
5 | Analytical tool: Targeted UHPLC-MS/MS (MRM)
7 | Peak no.- number referenced back to the main text
8 | Ret . Time- Retention time, in minutes
9 | Putative Name- putative identification of the metabolite
10 | Mol. Formula- molecular formula of the metabolite
ES mode (positive: + or negative: -)
12 | MRM parameters (transitions found in this method)
15 | MS/MS CE (eV)- collision energy
18 | (S)- identification confirmed by a standard compound
20 | Identification level (A; B; C; D)- (A) standard or NMR; (B) MS/MS; (C) MSE; (D) MS only
21 | [6 empty] | MRM parameters
22 | Peak no. | Ret. Time | Putative metabolite name | Coresponding Metabolite in Literature | Metabolite Class | Mol formula | ES | Q1 (m/z) | Q2: quantifier ion Q2:qualifier ion (m/z) | MS/MS ES CE (eV) | Identification level (A-D)
| 1 | 4.07 | Vanillin (S) | Vanillin | benzoic acid derivatives | C8H8O3 | + | 153 | 93 125 | 16 10 | A
| 2 | 3.23 | Vanillic acid (S) | Vanillic acid | benzoic acid derivatives | C8H8O4 | + | 169 | 93 110 | 14 18 | A
| 3 | 2.10 | 3,5-diOH-Benzoic acid (S) | 3,5-diOH-Benzoic acid | benzoic acid derivatives | C7H6O4 | + | 153 | 109 65 | 14 14 | A
| 4 | 2.24 | Protocatechuic acid (S) | Protocatechuic acid | benzoic acid derivatives | C7H6O4 | - | 153 | 81 91 | 20 22 | A
| 5 | 4.38 | Ellagic acid (S) | Ellagic acid | benzoic acid derivatives | C14H6O8 | - | 301 | 145 185 | 34 30 | A
| 6 | 4.04 | p-Coumaric acid (S) | p-Coumaric acid | phenylpropanoids | C9H8O3 | + | 165 | 91 119 | 24 26 | A
| 7 | 3.19 | Caffeic acid (S) | Caffeic acid | phenylpropanoids | C9H8O4 | + | 181 | 145 117 | 16 22 | A
| 8 | 4.52 | Ferulic acid (S) | Ferulic acid | phenylpropanoids | C10H10O4 | + | 192 | 145 117 | 17 24 | A
| 9 | 2.18 | Neochlorogenic acid (S) | Neochlorogenic acid | phenylpropanoids | ‎C16H18O9 | - | 353 | 191 179 | 18 18 | A
| 10 | 2.87 | Cryptochlorogenic acid (S) | Cryptochlorogenic acid | phenylpropanoids | C16H18O9 | - | 353 | 173 179 | 14 16 | A
| 11 | 2.76 | Chlorogenic acid (S) | Chlorogenic acid | phenylpropanoids | C16H18O9 | - | 353 | 191 | 20 | A
| 12 | 6.22 | Phloridzin (S) | Phlorizin | dihydrochalcones | C21H24O10 | - | 435 | 273 167 | 16 30 | A
| 13 | 8.19 | Naringenin (S) | Naringenin | flavanones | C15H12O5 | - | 271 | 151 119 | 18 24 | A
| 14 | 2.80 | Catechin (S) | Catechin | flavan-3-ols | C15H14O6 | - | 289 | 203 123 | 20 32 | A
| 15 | 3.32 | Epicatechin (S) | Epicatechin | flavan-3-ols | C15H14O6 | - | 289 | 203 123 | 20 30 | A
| 16 | 2.40 | Procyanidin B1 (S) | Procyanidin B1 | flavan-3-ols | C30H26O11 | - | 577 | 289 425 | 26 16 | A
| 17 | 3.01 | Procyanidin B2 + B4 (S) | Procyanidin (B2 and B4 as seperate) | flavan-3-ols | C30H26O12 | - | 577 | 289 425 | 24 16 | A
| 18 | 8.40 | Quercetin (S) | Quercetin | flavonols | C15H10O7 | + | 303 | 153 229 | 34 28 | A
| 19 | 4.72 | Taxifolin (S) | Taxifolin | flavonols | C15H12O7 | + | 305 | 259 153 | 14 14 | A
| 20 | 5.45 | Kaempferol-3-Glucoside (S) | Kaempferol-3-Glucoside | flavonols | C21H20O11 | + | 449 | 289 153 | 14 48 | A
| 21 | 4.37 | Quercetin-3-Galactoside (S) | Quercetin-3-Galactoside | flavonols | C21H20O12 | + | 465 | 303 229 | 12 44 | A
| 22 | 5.00 | Kaempferol-3-Rutinoside (S) | Kaempferol-3-Rutinoside | flavonols | C27H30O15 | + | 595 | 287 449 | 20 12 | A
| 23 | 4.18 | Rutin (S) | Rutin | flavonols | C27H30O16 | + | 611 | 303 462 | 22 12 | A
| 24 | 5.30 | Isorhamnetin-3-Rutinoside (S) | Isorhamnetin-3-Rutinoside | flavonols | C28H32O16 | + | 625 | 317 479 | 20 12 | A
| 25 | 3.57 | Quercetin-3,4-diGlucoside (S) | Quercetin-3,4-diGlucoside | flavonols | C27H30O17 | + | 627 | 303 465 | 32 16 | A
| 26 | 6.07 | dihydroKaempferol (S) | dihydroKaempferol | flavonols | C15H12O6 | + | 289 | 153 243 | 18 16 | A
| 27 | 1.17 | Arbutin (S) | Arbutin | glycosylated hydroquinone | C12H16O7 | - | 271 | 108 161 | 22 8 | A
| 28 | 3.19 | Cyanidin-3-O-Glucoside (S) | Cyanidin-3-Glucoside | Anthocyanins | C21H21ClO11 | + | 449 | 136 287 | 48 30 | A
| 29 | 3.00 | Cyanidin-3-O-Galactoside (S) | Cyanidin-3-Galactoside | Anthocyanins | C21H21O11 | + | 449 | 136 287 | 48 30 | A
| 30 | 3.36 | Cyanidin-3-O-arabinoside (S) | Cyanidin-3-arabinoside | Anthocyanins | C20H19ClO10 | + | 419 | 137 287 | 52 24 | A
| 31 | 3.47 | Cyanidin-3-O-Rutinoside | Cyanidin-3-O-Rutinoside | Anthocyanins | C27H31O15 | + | 595 | 287 | 34 | A
| 32 | 3.15 | Cyanidin-3-O-Sambinoside | Cyanidin 3-sambubioside | Anthocyanins | C26H29O15 | + | 581 | 137 287 | 66 28 | A
| 33 | 3.59 | Peonidin-3-O-Galactoside (S) | Peonidin 3-galactoside | Anthocyanins | C22H23ClO11 | + | 463 | 286 301 | 42 28 | A

## Quantitative results
Supplementary Table S4. Quantitative results of skin secondary metabolite analysis.
Primary metabolites | Early Bigi |  | Early Star |  | Sweet Early |  | Carmen |  | Grace Star |  | Krupnoplodnaja |  | Blaze Star |  | Aida |  | Ferrovia |  | Skeena |  | Lapins |  | Bakirtzeika |  | Samba |  | Tsolakeika |  | Tragana Edesis |  | Stella |  | Regina
| Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | LSD
Vanillin | 2.39 | 0.18 | 0.65 | 0.07 | 0.95 | 0.04 | 0.56 | 0.04 | 0.88 | 0.19 | 0.39 | 0.03 | 0.6 | 0.13 | 0.18 | 0.09 | 0.49 | 0.07 | 0.75 | 0.05 | 0.92 | 0.08 | 0.28 | 0.02 | 0.58 | 0.04 | 0.59 | 0.07 | 0.57 | 0.04 | 1.19 | 0.16 | 0.63 | 0.07 | 0.16
Vanillic acid | 0.07 | 0.01 | 0.02 | 0.02 | 0.05 | 0.02 | 0.01 | 0 | ND |  | 0.07 | 0 | 0.07 | 0.01 | 0.02 | 0.01 | 0.04 | 0.01 | 0.02 | 0 | 0.03 | 0.02 | 0.02 | 0.01 | 0.03 | 0.01 | 0.02 | 0.01 | 0.04 | 0.02 | 0.06 | 0.02 | 0.05 | 0.02 | 0.02
3,5-diOH-Benzoic acid | 0.58 | 0.04 | 0.23 | 0.07 | 0.52 | 0.05 | 0.16 | 0.02 | 0.19 | 0.04 | 0.25 | 0.06 | 0.52 | 0.06 | 0.29 | 0.04 | 0.3 | 0.03 | 0.8 | 0.04 | 1.21 | 0.05 | 0.88 | 0.04 | 0.39 | 0.03 | 0.28 | 0.02 | 0.66 | 0.06 | 0.17 | 0.02 | 1.49 | 0.05 | 0.07
Protocatechuic acid | 0.62 | 0.07 | 1.03 | 0.35 | 1.49 | 0.35 | 0.29 | 0.08 | 0.53 | 0.13 | 0.68 | 0.21 | 1.3 | 0.31 | 1.04 | 0.29 | 0.63 | 0.26 | 0.61 | 0.25 | 0.91 | 0.22 | 0.48 | 0.04 | 1.14 | 0.25 | 0.56 | 0.31 | 1.09 | 0.59 | 0.82 | 0.12 | 1.3 | 0.37 | 0.46
Ellagic acid | 1.66 | 0.21 | 1.72 | 0.34 | 1.29 | 0.54 | 1.22 | 0.35 | 0.88 | 0.3 | 0.99 | 0.32 | 1.28 | 0.35 | 0.66 | 0.15 | 1.36 | 0.74 | 1.17 | 0.3 | 1.42 | 0.08 | 1 | 0.27 | 1.61 | 0.64 | 1.08 | 0.18 | 1.34 | 0.21 | 1.09 | 0.31 | 1.19 | 0.6 | 0.64
p-Coumaric acid | 0.47 | 0.16 | 1.52 | 0.4 | 0.97 | 0.35 | 0.7 | 0.29 | 0.94 | 0.39 | 3.01 | 0.88 | 1.73 | 0.41 | 1.02 | 0.14 | 1.63 | 0.48 | ND |  | 0.32 | 0.08 | 0.24 | 0.17 | 0.47 | 0.09 | 0.8 | 0.25 | 0.23 | 0.04 | 0.33 | 0.14 | 0.98 | 0.25 | 0.55
Caffeic acid | 0.76 | 0.19 | 0.72 | 0.45 | 0.96 | 0.31 | 0.41 | 0.42 | 0.66 | 0.21 | 1.69 | 0.08 | 1.28 | 0.32 | 0.87 | 0.06 | 0.61 | 0.23 | 0.46 | 0.04 | 0.29 | 0.15 | 0.38 | 0.27 | 0.22 | 0.06 | 1.23 | 0.15 | 0.47 | 0.4 | 0.96 | 0.2 | 0.63 | 0.24 | 0.42
Ferulic acid | ND |  | 0.21 | 0.07 | 0.12 | 0.03 | ND |  | 0.25 | 0.18 | 0.31 | 0.08 | 0.21 | 0.02 | 0.13 | 0.03 | 0.1 | 0.05 | ND |  | ND |  | 0.05 | 0.06 | 0.06 | 0.07 | 0.09 | 0.05 | 0.03 | 0.02 | 0.1 | 0.03 | 0.03 | 0 | 0.1
Neochlorogenic acid | 163.71 | 0.16 | 124.62 | 6.91 | 118.66 | 9.23 | 104.33 | 10.95 | 123.73 | 11.6 | 72.76 | 4.94 | 93.13 | 1.2 | 81.67 | 2.39 | 82.65 | 3.35 | 137.67 | 4.02 | 139.99 | 11.1 | 199.79 | 19.5 | 122.98 | 7.97 | 216.21 | 3.26 | 156.72 | 23.11 | 152.71 | 23.63 | 108.84 | 7.4 | 18.75
Cryptochlorogenic acid | 5.9 | 0.41 | 7.07 | 0.26 | 5.85 | 0.55 | 5.33 | 0.64 | 6.92 | 0.28 | 7.31 | 0.83 | 6.2 | 0.56 | 7.73 | 0.18 | 6.84 | 0.35 | 6.01 | 0.73 | 3.51 | 0.75 | 8.45 | 2.87 | 3.91 | 0.53 | 15.15 | 0.92 | 5.43 | 2.23 | 8.16 | 1.01 | 6.56 | 0.33 | 1.74
Chlorogenic acid | 22.43 | 1.1 | 14.12 | 1.17 | 13.36 | 1.87 | 11.21 | 2.51 | 17.91 | 1.45 | 13.73 | 1.53 | 11.9 | 0.61 | 9.49 | 0.76 | 10.55 | 0.5 | 12.81 | 0.21 | 9.4 | 1.12 | 9.54 | 0.14 | 10.07 | 1.16 | 25.78 | 2.18 | 5.1 | 0.84 | 8.02 | 1.57 | 9.82 | 0.45 | 2.15
Phlorizin | 0.6 | 0.17 | 0.3 | 0.06 | 0.5 | 0.13 | 0.34 | 0.07 | 0.25 | 0.04 | 0.23 | 0.03 | 0.3 | 0.05 | 0.13 | 0.04 | 0.34 | 0.04 | 0.45 | 0.06 | 0.4 | 0.08 | 0.54 | 0.13 | 0.38 | 0.12 | 0.57 | 0.02 | 0.49 | 0.15 | 0.37 | 0.12 | 0.78 | 0.01 | 0.14
Naringenin | 0.16 | 0.01 | 0.15 | 0.01 | 0.14 | 0 | 0.16 | 0.01 | 0.13 | 0 | 0.15 | 0.01 | 0.14 | 0.02 | 0.15 | 0.01 | 0.15 | 0.01 | 0.13 | 0.01 | 0.12 | 0.03 | 0.15 | 0 | 0.15 | 0.01 | 0.14 | 0 | 0.15 | 0.02 | 0.15 | 0.01 | 0.13 | 0.01 | 0.01
Catechin | 22.74 | 1.4 | 2.3 | 2.21 | 11.38 | 2.89 | 1.77 | 0.4 | ND |  | ND |  | 2.18 | 1.71 | ND |  | 4.17 | 3.12 | ND |  | 1.48 | 0.78 | 5.05 | 0.05 | 3.93 | 2.99 | 21.26 | 2.03 | ND |  | 17.62 | 6.04 | 11.7 | 3.42 | 3.81
Epicatechin | 4.61 | 1.21 | 1.13 | 0.22 | 2.37 | 1.18 | 0.63 | 0.21 | 0.96 | 0.66 | 1.65 | 0.81 | 1.29 | 0.5 | 0.25 | 0.04 | 0.63 | 0.36 | 4.42 | 0.45 | 2.11 | 0.21 | 3.84 | 2.15 | 1.22 | 0.25 | 9.86 | 1.4 | 3.9 | 3.88 | 3.02 | 1.42 | 9.54 | 2.1 | 2.3
Procyanidin B1 | 4.34 | 1.04 | 1.13 | 0.16 | 2.55 | 0.73 | 0.84 | 0.26 | 0.71 | 0.07 | 0.7 | 0.26 | 0.85 | 0.08 | ND |  | 0.7 | 0.01 | 0.78 | 0.15 | 1.43 | 0.16 | 2.58 | 1.28 | 1.19 | 0.72 | 2.63 | 0.47 | 1.29 | 0.48 | 3.03 | 0.99 | 4.31 | 0.89 | 1
Procyanidin B2 + B4 | 4.94 | 0.77 | 2.24 | 0.44 | 3.5 | 1.11 | 1.65 | 0.16 | 1.56 | 0.52 | 3.56 | 0.53 | 2.36 | 0.19 | 0.81 | 0.16 | 1.31 | 0.29 | 7.43 | 0.43 | 3.26 | 0.89 | 6.88 | 3.55 | 2.26 | 0.11 | 11.96 | 1.25 | 7.21 | 4.43 | 5.39 | 1.22 | 13.98 | 3.27 | 2.83
Quercetin | 0.23 | 0.03 | 0.42 | 0.06 | 0.6 | 0.04 | 0.12 | 0.01 | 0.21 | 0.01 | 0.29 | 0.05 | 0.38 | 0.04 | 0.35 | 0.05 | 0.33 | 0.04 | 0.22 | 0.03 | 0.22 | 0.02 | 0.31 | 0.07 | 0.35 | 0.05 | 0.26 | 0.04 | 0.47 | 0.25 | 0.31 | 0.02 | 0.47 | 0.04 | 0.12
Taxifolin | 0.52 | 0.07 | 0.36 | 0.05 | 0.48 | 0.08 | 0.29 | 0.09 | 0.36 | 0.05 | 0.35 | 0.04 | 0.41 | 0.12 | 0.41 | 0.03 | 0.38 | 0.04 | 0.23 | 0.04 | 0.27 | 0.06 | 0.24 | 0.05 | 0.37 | 0.04 | 0.33 | 0.01 | 0.32 | 0.07 | 0.3 | 0.02 | 0.2 | 0.02 | 0.09
Kaempferol-3-Glucoside | 1.08 | 0.06 | 0.45 | 0.05 | 0.57 | 0.09 | 0.29 | 0.03 | 0.22 | 0.03 | 0.26 | 0.03 | 0.23 | 0.02 | 0.1 | 0.01 | 0.29 | 0.08 | 0.26 | 0.04 | 0.39 | 0.05 | 0.38 | 0.05 | 0.34 | 0.01 | 0.56 | 0.07 | ND |  | 0.31 | 0.05 | 0.76 | 0.04 | 0.07
Quercetin-3-Galactoside | 48.64 | 1.45 | 32.14 | 2.12 | 47.72 | 3.11 | 24.61 | 1.44 | 22.25 | 0.84 | 17.21 | 1.58 | 27.78 | 1.33 | 20.56 | 0.61 | 23.37 | 0.71 | 26.8 | 0.94 | 29.99 | 0.57 | 26.52 | 0.19 | 32.42 | 2.35 | 31.29 | 1.71 | 32.47 | 1.26 | 22.16 | 0.19 | 39.45 | 3.48 | 2.77
Kaempferol-3-Rutinoside | 18.38 | 0.46 | 7.09 | 0.6 | 10.33 | 0.86 | 14.37 | 0.52 | 7.05 | 0.11 | 4.86 | 0.25 | 4.92 | 0.06 | 3.41 | 0.33 | 7.77 | 0.49 | 7.85 | 0.26 | 9 | 0.2 | 10.88 | 0.45 | 8.67 | 0.17 | 21.16 | 0.9 | 2.94 | 0.32 | 6.03 | 0.39 | 19.84 | 1 | 0.84
Rutin | 79.83 | 1.31 | 51.17 | 2.06 | 79.22 | 4.86 | 40.16 | 0.73 | 34.89 | 3.51 | 27.51 | 2.33 | 45.11 | 0.25 | 32.26 | 0.84 | 38.16 | 0.63 | 44.9 | 1.07 | 50.04 | 1.72 | 44.83 | 1.35 | 53.5 | 2.21 | 50.7 | 0.54 | 54.96 | 3.81 | 37.62 | 1.62 | 69.55 | 2.13 | 3.64
Isorhamnetin-3-Rutinoside | 0.78 | 0.08 | 0.54 | 0.17 | 0.75 | 0.14 | 0.6 | 0.16 | 0.71 | 0.06 | 0.49 | 0.19 | 0.55 | 0.03 | 0.85 | 0.01 | 0.51 | 0.14 | 1.16 | 0.25 | 0.86 | 0.03 | 0.69 | 0.07 | 0.77 | 0.15 | 1.21 | 0.14 | 0.76 | 0.04 | 0.66 | 0.11 | 0.74 | 0.03 | 0.21
Quercetin-3,4-diGlucoside | 1.84 | 0.11 | 1.24 | 0.06 | 1.7 | 0.03 | 0.62 | 0.02 | 0.91 | 0.08 | 0.51 | 0.05 | 1.26 | 0.09 | 0.35 | 0.06 | 1.06 | 0.03 | 0.88 | 0.07 | 1.31 | 0.09 | 0.84 | 0.13 | 1.61 | 0.14 | 1.13 | 0.02 | 0.93 | 0.09 | 2.47 | 0.11 | 1.92 | 0.21 | 0.15
dihydroKaempferol | ND |  | 0.48 | 0.09 | 0.27 | 0.04 | 0.35 | 0.03 | 0.23 | 0.16 | 0.36 | 0.1 | 0.31 | 0.07 | 0.27 | 0.07 | 0.3 | 0.19 | ND |  | 0.45 | 0.08 | 0.43 | 0.03 | 0.51 | 0.34 | 0.43 | 0.07 | 0.33 | 0.06 | 0.42 | 0.22 | 0.3 | 0.12 | 0.21
Arbutin | 0.14 | 0.02 | 0.07 | 0.03 | 0.05 | 0 | 0.1 | 0.06 | 0.09 | 0.03 | 0.08 | 0 | 0.07 | 0.01 | 0.07 | 0.01 | 0.08 | 0.02 | 0.13 | 0.03 | 0.1 | 0.01 | 0.14 | 0.02 | 0.25 | 0.3 | 0.08 | 0.01 | 0.25 | 0.31 | 0.08 | 0.02 | 0.15 | 0.03 | 0.17
Cyanidin-3-O-Glucoside | 9.76 | 0.91 | 8.33 | 1.11 | 10.89 | 1.7 | 2.35 | 0.29 | 2.94 | 0.8 | 3.15 | 0.94 | 5.86 | 0.02 | 5.23 | 0.33 | 4.93 | 0.27 | 8.67 | 0.18 | 8.42 | 0.37 | 7.75 | 1.78 | 6.15 | 0.43 | 3.77 | 0.17 | 10.54 | 2.03 | 2.35 | 0.91 | 6.42 | 1.13 | 1.63
Cyanidin-3-O-Galactoside | 2506.36 | 274.28 | 1939.86 | 197.93 | 2931.15 | 431.23 | 142.2 | 27.34 | 134.97 | 60.79 | 264.75 | 96.52 | 503.82 | 15.46 | 624.34 | 38.49 | 341.73 | 23.09 | 1483.94 | 12.97 | 865.3 | 42.75 | 785.92 | 254.34 | 997.88 | 26.95 | 362.91 | 7.73 | 1334.25 | 576.27 | 164.35 | 68.87 | 501.58 | 140.67 | 346.31
Cyanidin-3-O-arabinoside | 0.66 | 0.11 | 0.43 | 0.04 | 0.76 | 0.06 | 0.09 | 0.02 | 0.07 | 0.01 | 0.09 | 0.04 | 0.24 | 0.02 | 0.21 | 0.02 | 0.17 | 0.01 | 0.53 | 0.03 | 0.44 | 0.04 | 0.53 | 0.22 | 0.22 | 0.01 | 0.1 | 0.01 | 0.73 | 0.33 | 0.07 | 0.03 | 0.38 | 0.14 | 0.18
Cyanidin-3-O-Rutinoside | 841.93 | 43.78 | 727.44 | 48.92 | 861.71 | 72.77 | 249.35 | 35.26 | 266.4 | 67.05 | 278.55 | 71.37 | 555.84 | 21.31 | 411.46 | 22.47 | 428.44 | 41.78 | 837.28 | 47.4 | 839.04 | 46.97 | 843.38 | 147.86 | 663.48 | 22.65 | 434.76 | 25.85 | 1097.15 | 192.03 | 293.12 | 83.18 | 824.1 | 100.7 | 130.14
Cyanidin-3-O-Sambinoside | 0.39 | 0.04 | 0.25 | 0.06 | 0.43 | 0.09 | 0.05 | 0.01 | 0.04 | 0.02 | 0.05 | 0.04 | 0.11 | 0.03 | 0.08 | 0 | 0.07 | 0.01 | 0.28 | 0.03 | 0.3 | 0.03 | 0.24 | 0.07 | 0.12 | 0 | 0.07 | 0 | 0.34 | 0.19 | 0.04 | 0.02 | 0.16 | 0.04 | 0.09
Peonidin-3-O-Galactoside | 0.26 | 0.11 | 1.23 | 0.11 | 0.75 | 0.03 | 0.01 | 0.01 | 0.03 | 0.02 | 0.06 | 0.02 | 0.04 | 0.02 | 0.15 | 0.03 | 0.05 | 0.02 | 0.49 | 0.05 | 0.07 | 0.01 | 0.04 | 0.01 | 0.1 | 0.04 | 0.1 | 0.05 | 0.07 | 0.05 | 0 | 0 | 0.02 | 0 | 0.07
Total phenols | 387.45 | 2.01 | 253.1 | 15.49 | 306.35 | 23.9 | 211.12 | 16.13 | 223.42 | 18.49 | 159.38 | 10.8 | 206.37 | 5.5 | 163.06 | 3.72 | 184.77 | 7.19 | 255.92 | 6.1 | 259.45 | 15.94 | 325.41 | 22.19 | 249.36 | 15.92 | 415.34 | 2.03 | 278.13 | 35.04 | 273.51 | 37.34 | 305.32 | 18.56 | 30.22
Total anthocyanins | 3359.35 | 318.66 | 2677.53 | 244.38 | 3805.69 | 501.36 | 394.05 | 62.85 | 404.44 | 128.6 | 546.64 | 168.71 | 1065.9 | 24.82 | 1041.47 | 60.21 | 775.37 | 65.15 | 2331.2 | 50.29 | 1713.57 | 88.41 | 1637.84 | 404.27 | 1667.94 | 49.06 | 801.69 | 31.16 | 2443.07 | 769.74 | 459.92 | 152.63 | 1332.65 | 242.67 | 462.71
All values represent mg 100g-1
ND = no detected

## MANOVA
Tests of Between-Subjects Effects
Source | Dependent Variable | Type III Sum of Squares | df | Mean Square | F | Sig.
Cultivars | Vanillin | 11.612 | 16 | 0.726 | 79.941 | 0
| Vanillic acid | 0.024 | 16 | 0.001 | 8.042 | 0
| 3,5-diOH-benzoic acid | 7.006 | 16 | 0.438 | 212.94 | 0
| Protocatechuic acid | 5.552 | 16 | 0.347 | 4.421 | 0
| Ellagic acid | 3.722 | 16 | 0.233 | 1.536 | 0.143
| p-Coumaric acid | 26.679 | 16 | 1.667 | 14.787 | 0
| Caffeic acid | 7.338 | 16 | 0.459 | 7.102 | 0
| Ferulic acid | 0.427 | 16 | 0.027 | 7.506 | 0
| Neochlorogenic acid | 76161.488 | 16 | 4760.093 | 37.268 | 0
| Cryptochlorogenic acid | 304.164 | 16 | 19.01 | 17.244 | 0
| Chlorogenic acid | 1289.797 | 16 | 80.612 | 47.658 | 0
| Phlorizin | 1.2 | 16 | 0.075 | 9.022 | 0
| Naringenin | 0.005 | 16 | 0 | 2.367 | 0.017
| Catechin | 2891.936 | 16 | 180.746 | 34.164 | 0
| Epicatechin | 394.247 | 16 | 24.64 | 12.778 | 0
| Procyanidin B1 | 80.924 | 16 | 5.058 | 13.872 | 0
| Procyanidin B2 + B4 | 678.001 | 16 | 42.375 | 14.475 | 0
| Quercetin | 0.657 | 16 | 0.041 | 7.726 | 0
| Taxifolin | 0.356 | 16 | 0.022 | 6.731 | 0
| Kaempferol-3-Glc | 3.107 | 16 | 0.194 | 83.511 | 0
| Quercetin-3-Gal | 3726.904 | 16 | 232.931 | 83.104 | 0
| Kaempferol-3-rutinoside | 1502.719 | 16 | 93.92 | 363.693 | 0
| Rutin | 10999.189 | 16 | 687.449 | 142.912 | 0
| Isorhamnetin-3-rutinoside | 1.943 | 16 | 0.121 | 7.797 | 0
| Quercetin-3,4-diglucoside | 14.814 | 16 | 0.926 | 104.105 | 0
| Dihydrokaempferol | 1.002 | 16 | 0.063 | 3.741 | 0.001
| Arbutin | 0.164 | 16 | 0.01 | 0.899 | 0.576
| Cyanidin 3-O-glucoside | 388.354 | 16 | 24.272 | 24.998 | 0
| Cynidin 3-O-galactoside | 34249670.376 | 16 | 2140604.399 | 49.144 | 0
| Cynidin 3-O-arabinoside | 2.769 | 16 | 0.173 | 14.799 | 0
| Cynidin 3-O-rutinoside | 3418673.961 | 16 | 213667.123 | 34.734 | 0
| Cynidin 3-O-sambinoside | 0.857 | 16 | 0.054 | 15.317 | 0
| Peonidin 3-O-galactoside | 5.235 | 16 | 0.327 | 151.602 | 0
| Total polyphenols | 243729.734 | 16 | 15233.108 | 45.902 | 0
| Total anthocyanins | 52897440.932 | 16 | 3306090.058 | 42.516 | 0
Error | Vanillin | 0.309 | 34 | 0.009
| Vanillic acid | 0.006 | 34 | 0
| 3,5-diOH-benzoic acid | 0.07 | 34 | 0.002
| Protocatechuic acid | 2.668 | 34 | 0.078
| Ellagic acid | 5.149 | 34 | 0.151
| p-Coumaric acid | 3.834 | 34 | 0.113
| Caffeic acid | 2.196 | 34 | 0.065
| Ferulic acid | 0.121 | 34 | 0.004
| Neochlorogenic acid | 4342.651 | 34 | 127.725
| Cryptochlorogenic acid | 37.483 | 34 | 1.102
| Chlorogenic acid | 57.51 | 34 | 1.691
| Phlorizin | 0.283 | 34 | 0.008
| Naringenin | 0.005 | 34 | 0
| Catechin | 179.878 | 34 | 5.291
| Epicatechin | 65.565 | 34 | 1.928
| Procyanidin B1 | 12.397 | 34 | 0.365
| Procyanidin B2 + B4 | 99.537 | 34 | 2.928
| Quercetin | 0.181 | 34 | 0.005
| Taxifolin | 0.112 | 34 | 0.003
| Kaempferol-3-Glc | 0.079 | 34 | 0.002
| Quercetin-3-Gal | 95.298 | 34 | 2.803
| Kaempferol-3-rutinoside | 8.78 | 34 | 0.258
| Rutin | 163.55 | 34 | 4.81
| Isorhamnetin-3-rutinoside | 0.53 | 34 | 0.016
| Quercetin-3,4-diglucoside | 0.302 | 34 | 0.009
| Dihydrokaempferol | 0.569 | 34 | 0.017
| Arbutin | 0.388 | 34 | 0.011
| Cyanidin 3-O-glucoside | 33.013 | 34 | 0.971
| Cynidin 3-O-galactoside | 1480957.794 | 34 | 43557.582
| Cynidin 3-O-arabinoside | 0.398 | 34 | 0.012
| Cynidin 3-O-rutinoside | 209154.217 | 34 | 6151.595
| Cynidin 3-O-sambinoside | 0.119 | 34 | 0.003
| Peonidin 3-O-galactoside | 0.073 | 34 | 0.002
| Total polyphenols | 11283.355 | 34 | 331.863
| Total anthocyanins | 2643897.496 | 34 | 77761.691
Total | Vanillin | 11.921 | 50
| Vanillic acid | 0.03 | 50
| 3,5-diOH-benzoic acid | 7.075 | 50
| Protocatechuic acid | 8.22 | 50
| Ellagic acid | 8.871 | 50
| p-Coumaric acid | 30.513 | 50
| Caffeic acid | 9.534 | 50
| Ferulic acid | 0.548 | 50
| Neochlorogenic acid | 80504.139 | 50
| Cryptochlorogenic acid | 341.647 | 50
| Chlorogenic acid | 1347.307 | 50
| Phlorizin | 1.482 | 50
| Naringenin | 0.01 | 50
| Catechin | 3071.814 | 50
| Epicatechin | 459.812 | 50
| Procyanidin B1 | 93.321 | 50
| Procyanidin B2 + B4 | 777.538 | 50
| Quercetin | 0.838 | 50
| Taxifolin | 0.469 | 50
| Kaempferol-3-Glc | 3.186 | 50
| Quercetin-3-Gal | 3822.202 | 50
| Kaempferol-3-rutinoside | 1511.499 | 50
| Rutin | 11162.738 | 50
| Isorhamnetin-3-rutinoside | 2.472 | 50
| Quercetin-3,4-diglucoside | 15.116 | 50
| Dihydrokaempferol | 1.572 | 50
| Arbutin | 0.553 | 50
| Cyanidin 3-O-glucoside | 421.367 | 50
| Cynidin 3-O-galactoside | 35730628.17 | 50
| Cynidin 3-O-arabinoside | 3.167 | 50
| Cynidin 3-O-rutinoside | 3627828.178 | 50
| Cynidin 3-O-sambinoside | 0.976 | 50
| Peonidin 3-O-galactoside | 5.308 | 50
| Total polyphenols | 255013.089 | 50
| Total anthocyanins | 55541338.428 | 50