Supplemental Figures

Supplemental Figure 1: Combinatorial treatment of progesterone and olaparib does not alter proliferation of MOE PTENshRNA. A. Cell proliferation was assessed using the sulforhodamine B (SRB) assay. MOE PTENshRNA were treated with DMSO, 200nM progesterone (P4), or 10mM Olaparib for 72 h. Following treatment, cells were fixed with 20% TCA, stained with SRB, and absorbance was measured at 505 nm. Data are normalized to day 0 and presented as mean ± SEM from 3 independent experiments. Statistical significance was determined using One-way Anova, with p < 0.05 considered significant.

Supplemental Methods

LC-MS RT validation on MOE PTENshRNA+ ovary extract

Prior to LC-MS analysis, ovaries from 35-day-old mice were placed in individual Eppendorf tubes, appropriately labeled, and stored at –80 °C for three hours. Samples were then lyophilized overnight (~12 hours). The dried ovarian tissue was pulverized into a fine powder using a metal spatula and extracted with 1 mL of ethyl acetate:methanol (1:1, v/v). Samples were sonicated for one hour in an ice-cold water bath maintained at 0 °C. Following extraction, samples were centrifuged at 13,500 rpm for 10 minutes. The resulting supernatant was carefully transferred to pre-weighed 4 mL scintillation vials, ensuring that the pellet remained undisturbed. Extracts were air-dried and reweighed to determine the final yield. Crude extracts were resuspended to a concentration of 1 mg/mL in acetonitrile:water (1:1, v/v) and subjected to an additional 10-minute centrifugation at 13,500 rpm to remove residual particulates.

Ovary extracts data acquisition was done using a Bruker timsTOF flex mass spectrometer coupled to a Bruker Elute UHPLC HPG 1300 system under reverse-phase conditions in timControl v 5.1.1.4. A volume of 5 μL of (1) ovary extract, (2) co-injected sample, or (3) 3 μM progesterone standard was injected onto a Kinetix C18 column (1.7 μm, 50 × 2.1 mm, 100 Å; P/N: 00B-4475-AN). Mobile phase A1 consisted of water with 0.1% formic acid (FA), and mobile phase B1 consisted of acetonitrile with 0.1% FA. Chromatographic separation was achieved using a 15-minute gradient at a constant flow rate of 0.5 mL/min. The gradient profile was as follows: 0.0–0.5 minutes, 95% A1 (isocratic hold); 0.5–9.5 minutes, linear gradient to 100% B1; 9.5–11.5 minutes, column wash at 100% B1; 11.5–13.0 minutes, return to 95% A1; 13.0–15.0 minutes, re-equilibration at 95% A1.

Table S1: Elute systems gradient table and acquisition time.

| Time (min) | Flow (mL/min) | Pump A1 | Pump B1 |
| --- | --- | --- | --- |
| 0.00 | 0.5 | 95.00 | 5 |
| 0.5 | 0.5 | 95.00 | 5 |
| 9.50 | 0.5 | 0 | 100 |
| 11.50 | 0.5 | 0 | 100 |
| 13.00 | 0.5 | 95.00 | 5 |
| 15.00 | 0.5 | 95.00 | 5 |

Table S2: LC- MS ion optic parameters.

| Application Name | Bruker timsControl | isCID Energy | 0.0eV |
| --- | --- | --- | --- |
| Device Type | timsTOF flex | Ion Energy | 5.0eV |
| Application Version | 5.1.1.4 | Collision Energy | 7.0eV |
| Organization | Bruker Daltonics GmbH & Co. KG | High Sensitivity Detection | Off |
| Ion Polarity | Positive | Mode | Basic |
| Calibration | Tuning Mix ES-TOF (ESI) | Collision RF to | 700.0Vpp |
| Mass Range | 100-2000 m/z | Transfer time (μs) | 80.0 |
| Spectra rate | 6Hz | Timing to | 50% |
| TIMS enabled | off | Collision Energy to | 250% |
| Rolling Average No | 3 | Timing to: | 50% |
| Save spectra | Line & profile | Funnel 2 RF | 200.0Vpp |
| Abs. Threshold (per 1000 sum) | 25cts | PrePulse Storage(μs) | 5.0us |
| Source | ESI | Stepping | On |
| Endplate offset | 500V | Multipole RF | 300.0Vpp |
| Nebulizer | 2.8 bar | Low mass | 20 m/z |
| Dry Temp | 230 °C | Collision RF from | 200.0Vpp |
| Capillary | 4500V | Transfer Time from (μs) | 20.0us |
| Dry gas | 10.0l/min | Timing from | 50 |
| Deflection 1 Delta | 60.0V | Collision Energy from: | 100 |
| Funnel 1 RF | 200.0 Vpp | Timing From | 50 |

MALDI- dry droplet MS/MS validation

Tandem mass spectrometry (MS/MS) analysis was performed on ovaries collected from 17-day-old mice. Whole ovaries were stored at –80 °C for three hours prior to lyophilization, which was carried out overnight (~12 hours). Lyophilized tissue was pulverized into a fine powder using a metal spatula and extracted with 1 mL of ethyl acetate:methanol (1:1, v/v). Samples were sonicated for one hour in an ice-cold water bath maintained at 0 °C. Following extraction, samples were centrifuged at 13,500 rpm for 10 minutes. The supernatant was carefully transferred into pre-weighed 4 mL scintillation vials, avoiding disturbance of the pellet. Extracts were air-dried and reweighed to determine yield. Crude extracts were then resuspended to a final concentration of 2.5 mg/mL in ethyl acetate:methanol (1:1, v/v).

For MALDI-MS/MS analysis, 1 μL of the resuspended extract was spotted onto an MTP AnchorChip 384 BC MALDI target plate. A matrix solution consisting of 2,5-dihydroxybenzoic acid (DHB) at 30 mg/mL in acetonitrile:water (90:10, v/v) with 0.1% trifluoroacetic acid (TFA) was mixed with the extract in a 1:1 ratio allowing for cocrystallization of analyte and matrix. Data acquisition was carried out using timsControl v5.1.1.4 on a Bruker timsTOF flex mass spectrometer. MS/MS data was collected using positive ion mode with a mass range of 50–1000 Da. A laser power of 70% was applied using an M5 defocus laser setting, at a frequency of 5 kHz(2 bursts, 1000 shots total). Due to the low abundance of progesterone in the crude extract, high sensitivity detection mode was enabled. Targeted MS/MS was performed on a precursor ion at m/z 315.2320 with an isolation width of 3.18 m/z with a collisional energy 25eV. The instrument was manually calibrated using a red phosphorus standard.

Table S3: MALDI- dry drop MS/MS parameters.

| Burst | 2 | TIMS enabled | Off |
| --- | --- | --- | --- |
| Shots | 1000 | Precursor Peak | 315.2320 |
| Frequency (Hz) | 5000 | timsControl app Version | 5.1.1.4 |
| Laser Power (%) | 70% | Mass range (m/z) | 50-1000 Da |
| Ion mode | Positive | Scan mode | MS2 |
| Mode | Custom | Detection | High Sensitivity Detection- Low sample amount |
| Collisional Cross Section(eV) | 25 eV | Isolation width (m/z) | 3.18 |
| TIMS enabled | Off | Precursor Peak | 315.2320 |
| Scan mode | MS/MS | Mass range (m/z) | 50-1000 Da |
| Ion Energy (eV) | 6.0 | Transfer Time (μs) | 80.00 |
| Low mass (m/z) | 50.00 | Pre Pulse Storage (μs) | 6.0 |
| M5 Dried Droplet | M5 defocus | Scan Range (x-y axis)(μm) | 25 |
| Resulting field size (x-y axis)(μm) | 104.0 | Mode | Random |
| Limit diameter(μm) | 2000.00 |  |  |

| MS2 | Type | Mass (m/z) | Width(m/z) | Collision Energy (eV) |
| --- | --- | --- | --- | --- |
| 1 | Base | 50.0 | 2.00 | 20.00 |
| 2 | Base | 1000.0 | 6.00 | 20.00 |
| 3 | Base | 500.0 | 4.00 | 20.00 |
| 4 | Base | 1300.00 | 8.00 | 30.00 |

MALDI-TIMS-dry droplet

Figure S2 : Three ovaries from 17-day-old mice were processed following the same extraction protocol described in the MALDI-MS/MS analysis. Data acquisition was performed using timsControl v6.0.0.3 on a Bruker timsTOF flex instrument, which was manually calibrated using the [ESI] Tuning Mix ES-TOF CCS (In-Batch). Analyses were conducted in positive ion mode with trapped ion mobility

spectrometry (TIMS) enabled. Mobility separation was achieved using a 1/K₀ range from 0.80 to 0.90 V·s/cm², with a mass range of 20–1000 Da and a ramp cycle frequency of 9.40 Hz.

A defocused M5 laser was used at 60% power with a 10 kHz frequency (5 bursts, 1000 shots total). TIMS-MS/MS was conducted on a precursor ion at m/z 315.2325, with a collision energy of 7.0 eV. The experimental ion mobilogram (EIM) and collision cross section (CCS) were measured for both the progesterone standard 18.6Å2 and  in the crude extract 18.2Å2, providing further support for the identification of progesterone in the ovarian tissue.

Table S4: TIMS tunnel on parameters.

| Burst | 5 | TIMS enabled | On |
| --- | --- | --- | --- |
| Shots | 1000 | Precursor Peak Mobilogram (EIM) | 315.2325 |
| Frequncy (Hz) | 10,000 | timsControl app Version | 6.0.0.3 |
| Laser Power (%) | 60% | Mass range (m/z) | 20-1000 Da |
| Ion mode | Positive | Scan mode | MS |
| Mode | Custom | MALDI Plate Offset (V) | 30.0 |
| 1/K0 start(V.s/cm2) | 0.80 | Deflection 1 Delta (V) | 60.0 |
| 1/K0 end (V.s/cm2) | 0.90 | Funnel 1RF (Vpp) | 200.0 |
| Ramp Time | 100 | isCID Energy (eV) | 0.0 |
| Accu time (%) | 100.1 | Funnel 2RF (Vpp) | 200.0 |
| Ramp Cycle (Hz) | 9.40 | Multiple RF (Vpp) | 200.0 |
| Collision Energy (eV) | 7.0 | Detection | High Sensitivity Detection- Low sample amount |
| Collsion RF (Vpp) | 700.0 | Absolute threshold | 100 |
| Ion Energy (eV) | 6.0 | Absolute threshold (per 100ms Accu Time) | 100 |
| Low mass (m/z) | 20.00 | Mobility Spectra Peak Detection-Absolute threshold | 100000 |
| Transfer Time (μs) | 80.00 | Δt1 (deflection transfer-> Capillary exit) (V) | -20 |
| Pre Pulse Storage (μs) | 6.0 | Δt2 (deflection transfer-> Deflection discard) (V) | -120.0 |
| M5 Dried Droplet | M5 defocus | Δt3 (funnel 1 In -> Deflection transfer) (V) | 60.0 |
| Scan Range (x-y axis)(μm) | 25 | Δt4 (Accumulation trap-> Funnel 1 In) (V) | 100.00 |
| Resulting field size (x-y axis)(μm) | 104.0 | Δt5 (Accumulation Exit -> Accumulation transfer) (V) | 0.0 |
| Mode | Random | Δt6 (Ramp start -> exit) (V) | 100.0 |
| Limit diameter(μm) | 2000.00 | Collision Cell In | 140.0 |
|  |  | Lock accumulation to mobility range (V.s/cm2) | 1.80 |