Tables

Table 1. Cross-reactivity of the high-sensitivity BDNF ELISA with related neurotrophins.

Recombinant neurotrophins including NGFβ, NT-3, NT-4, and proBDNF from both human and mouse were tested under identical assay conditions. Relative reactivity was calculated as a percentage of the signal obtained for mature BDNF. Values below the limit of detection (0.116 pg/mL) are indicated as <0.116. NGFβ, NT-3, and NT-4 showed no detectable signals, indicating negligible cross-reactivity. In contrast, proBDNF exhibited minimal reactivity (<2%), demonstrating that the assay preferentially detects mature BDNF. All recombinant proteins were tested at comparable concentrations under identical assay conditions.