Nontargeted LC-MS/MS

A (25 mM ammonium acetate and 25 mM ammonium hydroxide in water) and B (acetonitrile) were contained in the mobile phase in both the ESI-positive and ESI-negative modes. In the ESI-positive mode, the mobile phase contained A (water with 0.1% formic acid) and B (acetonitrile with 0.1% formic acid), and in ESI-negative mode, the mobile phase contained A=0.5 mM ammonium fluoride in water and B (acetonitrile). The gradient was 1% B for 1.5 min and was linearly increased to 99% in 11.5 min and maintained for 3.5 min. Then, the gradients were at a flow rate of 0.3 mL/min, and the column temperatures were kept constant at 25℃. The ESI source conditions were set as follows: Ion Source Gas1 (Gas1) at 60, Ion Source Gas2 (Gas2) at 60, curtain gas (CUR) at 30, source temperature: 600℃, and IonSpray Voltage Floating (ISVF) ± 5500 V. For MS-only acquisition, the instrument was set to acquire over the m/z range 60-1000 Da, and the accumulation time for TOF MS scans was set to 0.20 s/spectra. The instrument was set to acquire over the m/z range of 25-1000 Da, and the accumulation time for the product ion scan was set to 0.05 s/spectra for auto MS/MS acquisition. The collision energy (CE) was fixed at 35 V with ± 15 eV, and the declustering potential (DP) was 60 V (+) and -60 V (−); excluding isotopes within 4 Da, the candidate ions to monitor per cycle were 10.

Fecal sample DNA extraction and Illumina MiSeq sequencing

The following PCR conditions were used: 30 s at 95℃, 30 s at 55℃, and 45 s at 72℃ for 37 cycles. Bacterial 16S rRNA PCR was performed with 4 μL 5×FastPfu Buffer, 2 μL 2.5 mM deoxynucleoside triphosphates (dNTPs), 0.8 μL of forward primer (5 μM), 0.8 μL reverse primer (5 μM), 0.4 μL FastPfu Polymerase, 0.2 μL BSA, and 10 ng template DNA, and the volume was brought to 20 μL with ddH2O. Fungal ITS PCR was performed with 2 μL 10× buffer, 2 μL 2.5 mM deoxynucleoside triphosphates (dNTPs), 0.8 μL of forward primer (5 μM), 0.8 μL reverse primer (5 μM), 0.2 μL rTaq Polymerase, 0.2 μL BSA, and 10 ng template DNA, and the final volume as brought to 20 μL using ddH2O. Agarose gel electrophoresis was performed to verify the size of amplicons. Amplicons were subjected to paired-end sequencing on an Illumina MiSeq sequencing platform using a PE250 kit.