| DUROTOMYREPAIR TECHNIQUE |  | SURGICAL SIMULATION MODEL |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | OPEN NO CONSTRAINTS |  | MIS WITH CONSTRAINTS |  |  |  |  |  |  |  | MIS SPINE |  |  |
|  |  |  |  | Approach Angle |  |  |  | Access Portal Diameter |  |  |  | LAMINOTOMY |  |
|  |  |  |  | 0 degree |  | 30 degree |  | 14mm |  | 22mm |  |  |  |
|  |  | Failure | Burst | Failure | Burst | Failure | Burst | Failure | Burst | Failure | Burst | Failure | Burst |
| Suture+fibrin |  | 10 | 20 | ~ | ~ | ~ | ~ | ~ | ~ | ~ | ~ | ~ | ~ |
| Inlay+fibrin |  | 20 | 95+ | 15 | 25 | 17.5 | 51.5 | 10 | 24 | 15 | 20 | 5 | 14 |
| Patchclamp |  | 90* | 100 | 99* | >100* | 100* | >100* | 100* | >100* | 100* | >100* | 100* | 100* |
| Pressure in cm H20 |  |  |  |  |  |  |  |  |  |  |  |  |

~Suture repair not accomplished	 *p<0.001(vs. inlay or suture repair)		+p<0.01(vs. suture repair)

Table1: Comparison of cumulative median failure and burst pressures for durotomy repair techniques, stratified by surgical simulation model, approach angle and access portal diameter. Data for each condition are expressed as chamber pressures in cmH2O at which failure and burst of the dural repair was observed.