## TableS1まとめ
Table S1 Analytical setting for zircon U-Pb dating.
Laser ablation system
Model | Analyte G2 excimer laser (Photon Machines, USA)
Wave length | 193 nm
Energy | 4.0 J/cm2 | 2.0 J/cm2
Pulse rate | 15 Hz | 7 Hz
Shot count | 300 shots | 240 shots
Spot size | 25 µm diameter | 15 µm diameter
Herium gas flow rate | MFC1: 0.5 L/min, MFC2: 0.1 L/min | MFC1: 0.8 L/min, MFC2: 0.2 L/min
Mutiple collector inductively coupled plasma mass spectrometry system
Model | Neptune Plus (Thermo Fisher Scientific, Germany)
RF power | 1200 W
Guard electrode | ON
Skimmer-sampling cones | H-Normal cone | X-Jet cone
Argon gas flow rate | 1.02 L/min | 1.12 L/min
Data processing
Primary standard | 91500 zircon (Wiedenbeck et al., 1995)
Secondary standard | OD-3 zircon (Iwano et al., 2013)
Quality control | OD-3 zircon: 32.9 ± 2.1 Ma and 32.0 ± 2.0 Ma (2sigma) | OD-3 zircon: 33.4 ± 2.8 Ma and 33.1 ± 1.8 Ma (2 sigma)
Common lead correction | Not made
References
Iwano et al.(2013) Island Arc, 22(3): 382-394.
Wiedenbeck et al. (1995) Geostandards Newsletter, 19(1): 1-23.
Note on A12: S. KAGAMI: Guard electrode Sampling cone Skimmer cone なども書いた方がいいかもです。