Appendix 2  The additional Questionnaire with 36 questions and answers

| Question | Answers |  |
| --- | --- | --- |
| - Confident handling? | Yes No | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Reason for implantation of wSCS? | Open question with free text | - Flexibility, minimal-invasive - No sequence surgery - Recommendation, minimal-invasive - Recommendation - No answer - No answer |
| - Person making the decision for the wSCS System? | Patient Doctor Family Nurse | Absolute/relative number 3 (50.0 %) 3 (50.0 %) 0 0 |
| - Number of instructions given? | 1 instruction >1 instruction | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Sufficiently prepared after last instruction? | Yes No | Absolute/relative number 6 (100 %) 0 |
| - Number of stimulators? | 2 3 More than 3 | Absolute/relative number 4 (66.7 %) 2 (33.3 %) 0 |
| - Knowledge of the stimulation program? | Yes No | Absolute/relative number 4 (66.7 %) 2 (33.3 %) |
| - Stimulation per day? | Open question with free text | - 24 hours - 24 hours - 10 hours - 16 hours - 16 hours - 12 hours |
| - Overnight use? | Yes No | Absolute/relative number 2 (33.3 %) 4 (67.7 %) |
| - Checking charge status? | 15-30 min 1-3 hours 3-6 hours 6-12 hours | Absolute/relative number 1 (16.7 %) 1 (16.7 %) 1 (16.7 %) 3 (50.0 %) |
| - Change of stimulator per day? | Open question with free text | - 3 times - 6 times - 0 - 3 times - 1 time - 0 |
| - Charging at what battery level? | <25 % 25-50 % 50-75% >75 % warning signal | Absolute/relative number 1 (16.7 %) 0 1 (16.7 %) 0 4 (67.7 %) |
| - Duration of charging per stimulator? | Open question with free text | - 4 hours - 2 hours - 1,5 hours - 2 hours - 1 hours - 3 hours |
| - Pleased with time required for charging? | Yes No | Absolute/relative number 6 (100.0 %) 0 |
| - Checking charging status of stimulator? | Patient Family Nurse Other | Absolute/relative number 6 (100.0 %) 0 0 0 |
| - Charging of stimulator? | Patient Family Nurse Other | Absolute/relative number 6 (100.0 %) 0 0 0 |
| - Travel during therapy? | Yes No | Absolute/relative number 2 (33.3 %) 4 (67.7 %) |
| - Working? | Yes No | Absolute/relative number 1 (16.7 %) 5 (83.3 %) |
| - Driving? | Yes No | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Use of electronic devices? | Yes No | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Use of opiat pain relivers? | Yes No | Absolute/relative number 2 (33.3 %) 4 (66.7 %) |
| - Depression? | Yes No | Absolute/relative number 1 (16.7 %) 5 (83.3 %) |
| - Anxiety disorder? | Yes No | Absolute/relative number 0 6 (100.0 %) |
| - Event of disconnection between stimulator and transmitter? | Yes No | Absolute/relative number 1 (16.7 %) 5 (83.3 %) |
| - Evaluation of various aspects of the neurostimulator? | Very difficult, difficult, neutral, easy, very easy | Checking of the charging state: Very difficult: 1 Difficult: 0 Neutral: 2 Easy: 2 Very easy: 1 Taking on/off the stimulator: Very difficult: 0 Difficult: 1 Neutral: 0 Easy: 3 Very easy: 2 Charging of the stimulator: Very difficult: 0 Difficult: 0 Neutral: 0 Easy: 1 Very easy: 5 Holding connection between transmitter and stimulator: Very difficult: 1 Difficult: 0 Neutral: 0 Easy: 3 Very easy: 2 |
| - Evaluation of the overall handling? | Very difficult, difficult, neutral, easy, very easy | Very difficult: 0 Difficult: 0 Neutral: 1 Easy: 5 Very easy: 0 |
| - Evaluation of the overall effort? | Very high, high, neutral, low, very low | Very high: 0 High: 0 Neutral: 3 Low: 3 Very low: 0 |
| - Evaluation of the size of the stimulator? | Very big, big, neutral, small, very small | Very big: 0 Big: 1 Neutral: 3 Small: 2 Very small: 0 |
| - Wearing of the stimulator as a reminder of the disease? | Completely agree, agree, neutral, disagree, completely disagree | Completely agree: 0 Agree: 2 Neutral: 2 Disagree: 0 Completely disagree: 2 |
| - Wearing the stimulator as active participation in therapy? | Completely agree, agree, neutral, disagree, completely disagree | Completely agree: 1 Agree: 4 Neutral: 1 Disagree: 0 Completely disagree: 0 |
| - Fear of forgetting to charge? | Completely agree, agree, neutral, disagree, completely disagree | Completely agree: 0 Agree: 0 Neutral: 0 Disagree: 1 Completely disagree: 5 |
| - Need to replace components of the system after surgery? | Yes No | Absolute/relative number 2 (33.3 %) 4 (66.7 %) |
| - Recommendation of the stimulator? | Yes No | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Intracorporal stimulator versus wSCS? | Intracorporal wSCS | Absolute/relative number 1 (16.7 %) 5 (83.3 %) |
| - Would choose wSCS again over conventional system? | Yes No | Absolute/relative number 5 (83.3 %) 1 (16.7 %) |
| - Less surgery versus less charging? | Less surgery Less charging | Absolute/relative number 6 (100.0 %) 0 |