Additional file 1: On the vertical eigenfrequency and related parameters of CT #036

From equation (48) of the main text, the eigenfrequency fV of CT #036 at Ishigakijima in the vertical component is given by

| fV=ωV2π=0.1305±0.0007 s-1 | (A1) |
| --- | --- |

This value is significantly higher than 0.112 s-1, the value which Imanishi et al. (2018) theoretically predicted based on the eigenfrequency measured at Tsukuba and the ratio of magnetic gradients at the two sites. Also, from equation (50), the dissipation parameter η turned out to be higher than the assumption (η=4.833 s-1) in Imanishi et al. (2018) taken from the measured value at Tsukuba. We regard the values obtained in the present study as more precise, because they are the results of in situ measurements for CT #036 at Ishigkijima. Based on these revised values, equations (44) through (48) in Imanishi et al. (2018) must be corrected as follows:

| αH’=3.03 × 102 s-2 | (A2) |
| --- | --- |
| βH’=1.77 × 104 m-1s-2 | (A3) |
| ωH=αH’=17.4 s-1 | (A4) |
| fH=ωH2π=2.77 s-1 | (A5) |
| hH=0.378 | (A6) |

The main conclusions of Imanishi et al. (2018) are not affected by this revision. For example, the estimate of the horizontal eigenfrequency fH changes only slightly from 2.70 s-1 to 2.77 s-1.

The precise reason for the disagreement in the eigenfrequency fV between the theoretical prediction of Imanishi et al. (2018) and the measurement in this study is unknown. For the present, we are aware of at least two possible factors that may be responsible for the disagreement. For one thing, the magnetic gradient quoted in Ikeda et al. (2013), 1.613 V / 10 mA, was wrong. The correct value is 1.799 V / 10 mA. Following the discussion of Imanishi et al. (2018), a revised value of the predicted eigenfrequency would be 0.119 s-1, closer to the one experimentally determined in this study. For another, the result of measurements at Tsukuba may have been biased. Indeed, a significant degree of nonlinearity was observed in gravimeter’s response to injected signals, probably due to the fact that the vertical position of the sphere was far off the center (Gravity Balance ~ –8 V).