Supplementary Material

Table S1. Instrumentation details and available manufacturer specifications.

| Instrument | Model | Manufacturer | Parameter | Accuracy/Resolution |
| --- | --- | --- | --- | --- |
| Mass flow controller | EL-FLOW | Bronkhorst, The Netherlands | Gas inlet flow | ± 0.5% reading ±0.1% full scale |
| Gas flow meter | µFlow | BPC Instruments, Sweden | Outlet gas volume | Resolution 10 mL, repeatability 1% |
| Gas chromatograph | Clarus 500 | PerkinElmer, USA | CO, H2, CH4, CO2 | TCD detector, Carbonex ™ 1000 column (6′ × 1.8″ OD, 60/80 mesh), N2 carrier, 175 °C |
| Gas chromatograph | Clarus 590 | PerkinElmer, USA | Volatile fatty acids | FID detector, Elite-WAX ETR column (30 m 0.32 mm 1.00 µm), N2 carrier, 250 °C for injection and 300 °C for detection |
| pH controller | Module 8807221 | B. Braun Biotech, Germany | pH and temperature | − |
| Dosing pumps | Module 8807353 | B. Braun Biotech, Germany | Acid/ base dosing | − |
| pH probe | EasyFerm Plus PHI K8 200 | Hamilton, Germany | pH | 57-59 mV/pH at 25 °C, within the accepted range of ≥95% |

Fig S1. Principal Coordinates Analysis (PCoA) using the Weighted UniFrac distance between samples for (FW – I & II) inoculum after the centrifugation step used in phase I and phase II; (FW – III) inoculum after the washing step used in phase III; (P – I & II) microbial community after the end of phase II; (P – III) microbial community after the end of phase III.