## Supplementary

Table 1. CT Imaging Protocol Parameters

| 项目 | 参数 |
| --- | --- |
| Tube Voltage (kVp) | 140(96%); 120 (4%); |
| Tube Current (mA) | 203 (55.4%); 154 (37.5%); Unknown (7.1%); |
| Slice Thickness (mm) | 3 |
| CT Manufacturer | Philips (60.2%); SIEMENS (39.8%); |
| Model Name | Brilliance Big Bore; SOMATOM Definition AS; |

Table 2. MR Imaging Protocol Parameters

| Sequence | PS (mm) | TE (ms) | FOV (mm) | FA (o) | ST (mm) |
| --- | --- | --- | --- | --- | --- |
| T1 | 0.50±0.08 | 7-14 | 200×220-280×280 | 80-150 | 4.5-6.5 |
| T1C | 0.52±0.08 | 2-22 | 200×200-280×280 | 75-150 | 4.5-6.5 |
| T2 | 0.51±0.10 | 80-125 | 200×220-280×280 | 90-150 | 4.5-6.5 |

PS, pixel spacing; TE, echo time; FOV, field of view; FA, flip angle; ST, slice thickness; T1, T1-weighted sequence; T2, T2-weighted sequence; T1C, T1-weighted contrast-enhanced sequence. T1C: Approximately 40 seconds after intravenous injection of 0.1 mmol/kg Gd-DTPA, enhanced T1-weighted images in the transverse and sagittal axes were obtained.

Table3.  Radiomics feature extractor setting

Radiomic features were extracted using the PyRadiomics library (version 3.1.0). The extraction was performed on the gross tumor volume (GTV) regions for each imaging modality (T1WI, T2WI, T1WI+C, and CT). The following feature classes were extracted:

| imageType | featureClass | setting |
| --- | --- | --- |
| Original: LoG:sigma: [3.0,5.0] Wavelet: {} Gradient: {} SquareRoot: {} Logarithm: {} Exponential: {} Square: {} | shape firstorder glcm glrlm glszm gldm ngtdm | interpolator: 'sitkBSpline' resampledPixelSpacing: [1, 1, 1] binWidth: 25 voxelArrayShift: 300 label: 1 additionalInfo: false |

Table 4. Features Selected from Multimodal Data

| Modal | Features |
| --- | --- |
| CT | wavelet-LHL_ngtdm_Busyness,wavelet-HHL_glszm_LargeAreaHighGrayLevelEmphasis,square_firstorder_RootMeanSquared,log-sigma-3-0-mm-3D_gldm_GrayLevelNonUniformity,square_firstorder_Kurtosis,log-sigma-3-0-mm-3D_glrlm_RunVariance,wavelet-LLL_glcm_Imc1,logarithm_firstorder_90Percentile,wavelet-HHH_glrlm_HighGrayLevelRunEmphasis,wavelet-LLL_firstorder_Variance,wavelet-HHH_glrlm_GrayLevelVariance,log-sigma-5-0-mm-3D_glszm_SizeZoneNonUniformity,logarithm_firstorder_Kurtosis,log-sigma-3-0-mm-3D_glcm_ClusterProminence,wavelet-LHL_glrlm_RunEntropy,gradient_firstorder_RobustMeanAbsoluteDeviation,wavelet-LHL_glrlm_LongRunHighGrayLevelEmphasis,original_firstorder_Variance,wavelet-LLH_firstorder_Maximum,wavelet-LHH_glcm_SumAverage,wavelet-HLL_glszm_SmallAreaEmphasis,wavelet-LHL_firstorder_Kurtosis,log-sigma-5-0-mm-3D_glcm_JointEnergy,log-sigma-5-0-mm-3D_glszm_LargeAreaLowGrayLevelEmphasis,log-sigma-3-0-mm-3D_glszm_ZoneEntropy,log-sigma-5-0-mm-3D_firstorder_Variance,wavelet-LLL_glszm_LargeAreaLowGrayLevelEmphasis,wavelet-HHL_glcm_JointAverage,squareroot_firstorder_MeanAbsoluteDeviation,wavelet-LHH_firstorder_Mean |
| MR | log-sigma-3-0-mm-3D_glszm_ZonePercentage_T1,log-sigma-5-0-mm-3D_glcm_ClusterTendency_T1,wavelet-HHH_firstorder_InterquartileRange_T1,log-sigma-3-0-mm-3D_glcm_ClusterTendency_T1,squareroot_firstorder_Kurtosis_T1,wavelet-LLL_glrlm_ShortRunHighGrayLevelEmphasis_T1,original_firstorder_Minimum_T1,wavelet-LHL_glcm_Autocorrelation_T1,wavelet-LHL_glszm_ZoneEntropy_T1,wavelet-HHH_glcm_DifferenceVariance_T1,wavelet-HHL_glrlm_ShortRunHighGrayLevelEmphasis_T1,gradient_firstorder_MeanAbsoluteDeviation_T1,wavelet-LHH_gldm_SmallDependenceHighGrayLevelEmphasis_T1,wavelet-LHL_glcm_Imc1_T1,log-sigma-5-0-mm-3D_firstorder_Median_T1,wavelet-LHL_firstorder_Skewness_T1,wavelet-LHH_glcm_SumSquares_T1,log-sigma-3-0-mm-3D_glcm_MaximumProbability_T1,wavelet-LHL_glszm_SmallAreaLowGrayLevelEmphasis_T1,wavelet-LLH_firstorder_MeanAbsoluteDeviation_T1,log-sigma-5-0-mm-3D_gldm_DependenceVariance_T1,gradient_firstorder_Minimum_T1,wavelet-HHL_glszm_SmallAreaEmphasis_T1,log-sigma-5-0-mm-3D_glszm_GrayLevelVariance_T1,wavelet-HLL_glszm_ZonePercentage_T1,original_shape_Flatness_T1,wavelet-HLH_glcm_JointEntropy_T1,wavelet-LHL_firstorder_RootMeanSquared_T1,wavelet-HLL_glcm_Autocorrelation_T1,logarithm_firstorder_MeanAbsoluteDeviation_T1,squareroot_firstorder_Skewness_T1C,wavelet-LHL_firstorder_Minimum_T1C,gradient_firstorder_RobustMeanAbsoluteDeviation_T1C,log-sigma-3-0-mm-3D_glcm_ClusterProminence_T1C,wavelet-LHH_gldm_LargeDependenceEmphasis_T1C,squareroot_firstorder_Kurtosis_T1C,wavelet-HLL_glszm_SizeZoneNonUniformityNormalized_T1C,wavelet-HHL_glrlm_LongRunEmphasis_T1C,logarithm_firstorder_Skewness_T1C,wavelet-HLH_glszm_GrayLevelNonUniformity_T1C,gradient_firstorder_MeanAbsoluteDeviation_T1C,wavelet-LHH_glcm_Idmn_T1C,log-sigma-3-0-mm-3D_glrlm_GrayLevelVariance_T1C,wavelet-HHH_firstorder_Variance_T1C,wavelet-LHL_glszm_ZoneEntropy_T1C,wavelet-LHH_firstorder_10Percentile_T1C,squareroot_firstorder_Minimum_T1C,wavelet-HHH_firstorder_InterquartileRange_T1C,wavelet-LHL_firstorder_Skewness_T1C,wavelet-HLH_glszm_GrayLevelVariance_T1C,log-sigma-5-0-mm-3D_glrlm_RunLengthNonUniformity_T1C,wavelet-LLL_glszm_GrayLevelNonUniformityNormalized_T1C,wavelet-LHL_glcm_Autocorrelation_T1C,wavelet-LHL_glcm_ClusterProminence_T1C,wavelet-HLH_glcm_MCC_T1C,log-sigma-3-0-mm-3D_glszm_SmallAreaEmphasis_T1C,wavelet-LLL_glrlm_ShortRunEmphasis_T1C,log-sigma-3-0-mm-3D_glszm_LargeAreaLowGrayLevelEmphasis_T1C,wavelet-HHL_gldm_LargeDependenceEmphasis_T1C,wavelet-LHL_glszm_SizeZoneNonUniformityNormalized_T1C,squareroot_glrlm_ShortRunHighGrayLevelEmphasis_T2,log-sigma-3-0-mm-3D_glcm_JointEntropy_T2,wavelet-HHH_glrlm_LongRunEmphasis_T2,wavelet-HLL_ngtdm_Complexity_T2,wavelet-LLH_glcm_ClusterTendency_T2,wavelet-LLL_glrlm_ShortRunEmphasis_T2,wavelet-LHL_glszm_SizeZoneNonUniformityNormalized_T2,wavelet-LHL_gldm_SmallDependenceHighGrayLevelEmphasis_T2,wavelet-HHL_firstorder_Kurtosis_T2,wavelet-LHH_firstorder_RootMeanSquared_T2,wavelet-HHL_firstorder_Variance_T2,wavelet-LHH_glszm_SmallAreaLowGrayLevelEmphasis_T2,wavelet-HLH_glrlm_ShortRunHighGrayLevelEmphasis_T2,log-sigma-5-0-mm-3D_glrlm_RunPercentage_T2,log-sigma-3-0-mm-3D_firstorder_10Percentile_T2,log-sigma-3-0-mm-3D_glcm_SumSquares_T2,wavelet-LHH_glszm_GrayLevelVariance_T2,wavelet-HLL_firstorder_Skewness_T2,squareroot_firstorder_Minimum_T2,log-sigma-3-0-mm-3D_firstorder_90Percentile_T2,wavelet-LLH_ngtdm_Contrast_T2,log-sigma-5-0-mm-3D_glrlm_ShortRunLowGrayLevelEmphasis_T2,wavelet-HHL_glszm_SizeZoneNonUniformityNormalized_T2,wavelet-LHH_firstorder_RobustMeanAbsoluteDeviation_T2,wavelet-HHL_glcm_SumSquares_T2,wavelet-HLL_glcm_Imc2_T2,log-sigma-5-0-mm-3D_glrlm_RunVariance_T2,wavelet-LHL_firstorder_Range_T2,gradient_gldm_LargeDependenceEmphasis_T2,log-sigma-5-0-mm-3D_glszm_SizeZoneNonUniformityNormalized_T2 |
| Dose | axial_172,coronal_307,sagittal_161,axial_373,sagittal_104,coronal_447,axial_94,axial_468,axial_129,coronal_55,axial_80,axial_37,sagittal_48,sagittal_17,sagittal_46,axial_19,axial_220,sagittal_320,axial_142,sagittal_15,axial_484,axial_25,axial_354,coronal_394,axial_448,axial_48,axial_478,sagittal_213,axial_161,axial_134 |

Supplementary A: Dose Feature Extractor

Let p∈P denote a patient，and the corresponding multi-view dose distribution maps be defined as

Xp={Xpaxial,Xpsagittal,Xpcoronal}

where Xpv∈RNv×C×H×W, represents the slice sequence from view v∈{axial,sagittal,coronal}

Here, Nv denotes the number of slices, C is the number of channels, and H,W are the spatial dimensions. Since the dose distribution maps are single-channel grayscale images, each slice was replicated across three channels to match the input requirements of the ResNet-18 backbone (C=3).

Step 1. Feature extraction

Each slice is processed by a pre-trained ResNet-18 feature extractor (with the average pooling and fully connected layers removed), yielding

fp,iv=ϕ(Xp,iv)∈R512,i=1,…,Nv

where Xp,iv denotes the i-th slice of patient p in view v∈{axial,sagittal,coronal} , ϕ(·) represents the CNN backbone mapping, and the output is a 512-dimensional deep feature vector.

Step 2. Slice-level pooling (Global Average Pooling across slices).

The slice-level features for each view are averaged along the slice dimension:

fpv=1Nvi=1Nvfp,iv=GAP(fp,1v,fp,2v,…,fp,Nvv),v∈{axial,sagittal,coronal}

where Nv​ denotes the number of slices in view v, and the overline f denotes the mean feature vector obtained by averaging across slices. This yields one global representation fp,iv∈R512 for each view.

Step 3. Multi-view feature fusion 
The patient-level representation is obtained by concatenating the three view-specific features:

Fp=[fpaxial∥fpsagittal∥fpcoronal]∈R1536

where ∥ denotes vector concatenation.

Step 4. Feature matrix construction

The feature set for all patients is constructed as

F={(Fp,labelp,pidp)∣p∈P}

where labelp denotes the ground-truth label and，pidp is the unique patient identifier。The final patient-level feature matrix is thus

F∈R|P|×1536