Supplementary Table 1. Inference efficiency assessment (detailed)

| Metric | Value |
| --- | --- |
| Number of measurements | 20 |
| Mean inference time | 5.62 ± 2.00 seconds/image |
| Median inference time | 4.97 seconds/image |
| Minimum inference time | 3.20 seconds/image |
| Maximum inference time | 10.90 seconds/image |
| Throughput | 10.7 images/minute |

*Hardware configuration: Intel Core i7-12700H CPU, NVIDIA RTX 3060 6GB GPU, 16GB DDR4 RAM, NVMe SSD storage.*

Supplementary Table 2. Comparative analysis of core system architectures and performance

| Dimension | Proposed System | Thorough Insights | PathOrchestra | Representative Commercial Products |
| --- | --- | --- | --- | --- |
| Core architecture | YOLOv8 (lightweight, real-time) | Deep CNN (not disclosed) | DINOv2 large model | Proprietary deep models |
| Deployment model | Complete local deployment | Cloud/hybrid deployment | Cloud/integrated platform | Cloud-based/SaaS |
| Sample size | 250 | Not disclosed | >5,000 | Not disclosed |
| Detection rate | 98.00% | - | - | - |
| Kappa coefficient | 0.831 | - | - | - |
| AUC | 0.816 | - | - | - |
| Inference speed | 5.62 sec/image | - | - | - |
| Key features | Real-time inference, data privacy, open-source | "Warning island," "Sky eye" teaching functions | Integrated diagnosis and quality control | FDA clearance, workflow integration |
| Cost | Free, open-source | Project-based collaboration | Project-based collaboration | High cost/subscription-based |
| Customization capability | Fully open | Closed | Closed | Closed |