## Info
Supplementary Material ‑ Tab. S1: Measurement details
Vegetative growth, biomass allocation, and chlorophyll fluorescence of vanilla (Vanilla planifolia) as affected by light intensity and nitrogen supply
Marvin Vahl*, Jannis von Salzen, Antonia Jeismann, Finn Petersen, Andreas Ulbrich
Osnabrück University of Applied Sciences, Faculty of Agricultural Sciences and Landscape Architecture, Am Krümpel 31, 49082 Osnabrück, Germany
*Corresponding author: Marvin Vahl, Faculty of Agricultural Sciences and Landscape Architecture, Osnabrück University of Applied Sciences, Am Krümpel 31, 49082 Osnabrück, Germany. Email: m.vahl@hs-osnabrueck.de ¦ Phone: +49 541 969-5352
Submitted to Discover Plants

## Fluorescence_Protocol
Setting / Parameter | Value | Notes
INSTRUMENT
Instrument | MINI-PAM II | Heinz Walz GmbH, Effeltrich, Germany
Serial number | PYAD0212A
Software | WinControl-3 (v3.32 or later) | Walz software for MINI-PAM II control and data logging
INSTRUMENT SETTINGS
Measuring light intensity | 5 (instrument setting) | Approx. 0.04 µmol m⁻² s⁻¹; non-actinic
Measuring light frequency | 3 (instrument setting) | 0.6 kHz (dark-adapted); auto-switches to 20 kHz during measurements
Damping | 2 | Signal averaging level
Gain | 1 | Detector amplification
ETR factor (leaf absorptance) | 0.84 | Default; species-specific absorptance not determined for V. planifolia
PSII/PSI partitioning factor | 0.5 | Default assumption: equal excitation distribution
F-Offset | 25 | Background fluorescence offset correction
SATURATING PULSE
Saturating pulse intensity | 8 (instrument setting) | Approx. >6000 µmol m⁻² s⁻¹
Saturating pulse width | 1.0 s | Duration of saturating flash
ACTINIC LIGHT
Actinic light intensity | 5 (instrument setting)
Actinic light PAR | ambient light conditions / treatments | Measured at leaf clip position
Actinic light factor | 1.20 | Correction factor for external PAR sensor
FAR-RED LIGHT
Far-red light intensity | 9 (instrument setting) | Used for rapid PSI re-oxidation
Far-red light width | 5 s | Duration of far-red illumination
ACT.+YIELD ROUTINE
Act.+Yield width | 1:05 (min:s) | Duration of actinic illumination before yield measurement
With initial pulse | No | No F₀/Fₘ pulse before actinic illumination
MEASUREMENT PROTOCOL
Dark adaptation period | 60 min | all light sources off
Dark-adapted parameters | F₀, Fₘ, Fᵥ/Fₘ | Maximum quantum yield of PSII
Light-adapted parameters | Fₛ, Fm′, ΦPSII (Y(II)), NPQ, Y(NPQ), Y(NO), ETR | Under respective growth PPFD
ETR calculation | ETR = ΦPSII × PPFD × 0.84 × 0.5 [µmol e⁻ m⁻² s⁻¹]
LEAF SELECTION
Measurement timing | 150 DAT (4 days before harvest) | Single measurement campaign
Target leaf | 3rd fully expanded leaf from apex | Standardised across all plants
Leaf surface | Adaxial (upper)
Position on leaf | Mid-lamina, avoiding midrib | Clip centred on lamina
Replicates per plant | 4–5 measurements | Mean per plant used
Time of day (dark-adapted) | 6 h after light-adapted measurement
Time of day (light-adapted) | During photoperiod (6 h after light onset) | Steady-state photosynthesis

## Porometer_Protocol
Setting / Parameter | Value | Notes
Instrument | SC-1 leaf porometer | METER GROUP Pullman, WA, USA
Parameter measured | Stomatal conductance to water vapour (gₛw) mmol H₂O m⁻² s⁻¹
Measurement principle | Steady-state diffusion porometry
Conditions | Dark-adapted and light-adapted | Both measured sequentially on same plants/ same leaf
Target leaf | 4th fully expanded leaf from apex
Leaf surface | Abaxial (lower) | V. planifolia is hypostomatic; stomata predominantly abaxial
Equilibration time | 30–60 s | Time for reading stabilisation before recording
Replicates per plant | 2 | Depending on data plausibility; mean per plant used
Measurement timing | 150 DAT | Same campaign as fluorescence and SPAD
Calibration | Factory calibration; desiccant check before each session

## SPAD_Protocol
Setting / Parameter | Value | Notes
Instrument | SPAD-502Plus | Konica Minolta Inc., Osaka, Japan
Parameter | Relative chlorophyll content (SPAD)
Wavelengths | 650 nm (red) and 940 nm (NIR) | Factory-set; ratio yields SPAD index
Measurement area | 2 × 3 mm | Standard aperture
Target leaf — young (primary) | Youngest fully expanded leaf (4th fully expanded leaf from apex)
Leaf surface | Adaxial (upper)
Position on leaf | Mid-lamina, midway between midrib and leaf margin | Avoiding midrib and leaf edges
Readings per leaf | 2 | Averaged to one value per leaf
Measurement timing | 150 DAT | Same campaign as fluorescence

## Morphometrics_Protocol
Parameter | Method / Instrument | Details
BIOMASS
Dry mass (DM) | Oven drying → analytical balance | Dried at 60 °C to constant mass (approx. 72 h)
SHOOT MORPHOMETRICS
Shoot length (SL) | Digital photography + ImageJ v1.54p | Total length of shoot axis from base to apex
Internode length (IL) | Digital photography + ImageJ v1.54p | Mean of all internodes per section
LEAF MORPHOMETRICS
Individual leaf area | Digital photography + ImageJ v1.54p | Leaves photographed flat on white background with ruler scale
Leaf area (TLA) | Calculated | Sum of all individual leaf areas per plant
Specific leaf area (SLA) | Calculated | SLA = leaf area / total leaf DM
Leaf area ratio (LAR) | Calculated | LAR = leaf area / total dry mass
ROOT MORPHOMETRICS
Root length | Digital photography + ImageJ v1.54p | Total cumulative length of all terrestrial roots per plant (roots substrate-bound in perlite)
Root-to-shoot ratio (R:S) | Calculated | Root DM / shoot DM (shoot = shoot + leaves) excluding initial base mass of the cutting
DERIVED EFFICIENCY PARAMETERS
Light use efficiency (LUE) | Calculated | Total DM gain / supplied photons (mol m⁻²) over 140 d
Biomass per N supply | Calculated | Total DM / applied NO₃⁻-N concentration
IMAGE ACQUISITION & ANALYSIS
Software | ImageJ / Fiji v1.54p
Camera | Smartphone / digital camera (≥12 MP) | Fixed distance, perpendicular to specimen
Scale calibration | Ruler placed in frame; px-to-cm ratio set per image | ImageJ "Set Scale" function
Background | White background | For leaf area: high contrast thresholding
Area measurement | Colour threshold → particle analysis in ImageJ | Green channel isolation for leaf area

## Leachate_Instruments
Parameter | Instrument | Manufacturer | Method | Range / Accuracy | Calibration
pH (drain & inflow) | PH603+K | Eutech Instruments, Singapore | Glass electrode potentiometry | pH 0–14; ±0.01 pH | 2-point buffer calibration (pH 4.01 and 7.01) before each session
EC (drain & inflow) | COND 6+ | Eutech Instruments, Singapore | Conductivity cell | 0–20 mS cm⁻¹; ±1% FS | KCl standard solution calibration
NO₃⁻ (drain) | RQflex® 20 Reflectometer | Supelco / Merck, Germany | Reflectometric test strips (diazo coupling) | 5–225; 3-90 mg L⁻¹ NO₃⁻ (1.1–50.8 mg L⁻¹ NO₃⁻-N) | Internal calibration via barcode on test strip packaging
NO₃⁻ test strip | Reflectoquant® Nitrate test (cat. no. 1.16971) | Merck, Germany | Enzymatic reduction + diazo coupling

## Environment_Monitoring
Parameter | Instrument | Model / Type | Position | Logging interval | Accuracy | Measured values
Air temp. (ground-level) | Data logger | LOG32TH (Dostmann Electronic, Germany) | Inside empty pot per block (radiation-shielded) | 1 h | ±0.5 °C | Block means: 25.5, 25.9, 26.1, 26.9 °C
Air temp. (substrate surface) | Data logger | Thermofox (Scanntronik Mugrauer GmbH) | On substrate surface level per block | 1 h | ±1°C | Block means: 26.0, 26.2, 25.8, 26.8 °C
RH (block-level) | Data logger | LOG32TH (Dostmann Electronic, Germany) | Same as block temp. logger | 1 h | ±5% RH | Block means: 86.1, 83.8, 83.4, 80.8 % RH
Air temp. (room) | Multi-function logger | AirCO2ntrol 5000 (Dostmann Electronic, Germany) | Room west wall, near air conditioning unit | 1 h | ±0.5 °C | 27.2 ± 1.3 °C
CO₂ (room) | Same as room logger |  |  |  | ±50 ppm | 533 ± 81 ppm
Spray water pH | Bluelab Guardian Monitor | Bluelab, New Zealand | Humidity spray water reservoir | 1 h | ±0.1 pH | 6.37 ± 0.27
Spray water EC | Bluelab Guardian Monitor | Bluelab, New Zealand | Humidity spray water reservoir | 1 h | ±0.1 mS cm⁻¹ | 0.10 ± 0.04 mS cm⁻¹
Spray water temp. | Bluelab Guardian Monitor | Bluelab, New Zealand | Humidity spray water reservoir | 1 h | ±1 °C | 24.4 ± 0.7 °C

## Tissue_Analysis_Methods
Analyte | Method | Standard / Norm | Lab | Sample preparation | Reporting unit | n
Dry matter | Gravimetric | VO (EG) 152/2009, III, A | Osnabrück University of Applied Sciences | Oven drying at 60 °C | % OS | 42
Total N | Dumas combustion | DIN EN ISO 16634-1:2009-07 | SGS Analytics Germany, Jena | Ground dried leaf tissue (42 composite samples) | % DM | 42
Ca | ICP-MS | DIN EN ISO 17294-2:2024-12 | SGS Analytics Germany, Jena | HNO₃ pressure digestion | g kg⁻¹ DM | 16
Fe | ICP-MS | DIN EN ISO 17294-2:2024-12 | SGS Analytics Germany, Jena | HNO₃ pressure digestion | mg kg⁻¹ DM | 16
K | ICP-MS | DIN EN ISO 17294-2:2024-12 | SGS Analytics Germany, Jena | HNO₃ pressure digestion | g kg⁻¹ DM | 16
Mg | ICP-MS | DIN EN ISO 17294-2:2024-12 | SGS Analytics Germany, Jena | HNO₃ pressure digestion | mg kg⁻¹ DM | 16
P | ICP-MS | DIN EN ISO 17294-2:2024-12 | SGS Analytics Germany, Jena | HNO₃ pressure digestion | mg kg⁻¹ DM | 16

## NutrientSolution_QC
Analyte(s) | Method | Standard / Norm | Instrument | Lab | Unit
NO₃⁻-N | Water analysis (photometric / IC) | LUFA Nord-West AA 1/1-522 (DAkkS-accredited) | — | LUFA Nord-West, Oldenburg, Germany | mg L⁻¹
B, Ca, Cu, Fe, K, Mg, Mn, Mo, Na, P, S, Zn | ICP-OES | EN ISO 11885:2009 (ISO 11885:2007) | — | Osnabrück University of Applied Sciences | mg L⁻¹