Supporting Information

Ultrasensitive dynamic light scattering immunosensing platform for NT-proBNP detection using boronate affinity amplification

Jiaqi Hua,c#, Lu Dingb#, Jing Chen a,c, Kang Zhua,c, Qian Guoa,c, Xiaolin Huang*a,c, and Yonghua Xionga,c

a State Key Laboratory of Food Science and Technology, School of Food Science and Technology, Nanchang University, Nanchang 330047, P.R. China;

b Hypertension Research Institute of Jiangxi Province, Department of Cardiology, The First Affiliated Hospital of Nanchang University, Nanchang, Jiangxi 330006, P. R. China;

c Jiangxi-OAI Joint Research Institute, Nanchang University, Nanchang 330047, P.R. China

# These authors contributed equally to this work.

*Correspondence to:

Dr. and Prof. Xiaolin Huang

School of Food Science and Technology, Nanchang University, Nanchang 330047, PRC

E-mail: hxl19880503@163.com and xiaolin.huang@ncu.edu.cn

Figure S1. SEM images of (A) SiO2 and (B) SiO2@PBA.

Figure S2. DLS analysis of MNP@mAb, MNP@mAb + NT-proBNP, MNP@mAb + SiO2@PBA, MNP@mAb + NT-proBNP + SiO2@PBA.

Figure S3. A correlation analysis between the detection results obtained from the developed DLS immunosensor and the TRFIA in detecting 30 NT-proBNP-positive serum samples.

Table S1. Accuracy and precision of the developed DLS immunosensor in serum samples.

| NT-proBNP concentration （pg mL-1） | Inter-assay precision |  |  | Intra-assay precision |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Meana | Recovery (%) | CV (%) | Meanb | Recovery (%) | CV (%) |
| 0.025 | 0.0225 | 89.51 | 6.78 | 0.0225 | 90.19 | 7.87 |
| 0.1 | 0.0974 | 97.37 | 10.77 | 0.0995 | 99.53 | 3.91 |
| 0.5 | 0.5964 | 89.29 | 0.32 | 0.5737 | 104.11 | 5.6 |
| 5 | 4.7817 | 95.67 | 3.23 | 4.0404 | 80.81 | 4.63 |
| 50 | 50.5625 | 101.13 | 8.64 | 52.6177 | 95.21 | 6.25 |

a Mean value of four replicates at each diluted concentration.

b Assay was completed every day for three days continuously.

Table S2. A correlation analysis for AFP detection in 36 clinical serum samples between the DLS immunosensor and the TRFIA method.

| Sample | TRFIA (pg mL-1) | Our method (pg mL-1) | Sample | TRFIA (pg mL-1) | Our method (pg mL-1) |
| --- | --- | --- | --- | --- | --- |
| 1 | 75.8 | 88.1 | 19 | 8114.1 | 7411.9 |
| 2 | 185.1 | 168.7 | 20 | 4695.4 | 5240.1 |
| 3 | － | 15.9 | 21 | 97.8 | 123.5 |
| 4 | 87.1 | 98.4 | 22 | － | － |
| 5 | 1160 | 1246.8 | 23 | 1680.1 | 2018.4 |
| 6 | 893.8 | 1036.4 | 24 | 85.4 | 90.8 |
| 7 | 745.9 | 870.9 | 25 | 102.4 | 99.1 |
| 8 | － | － | 26 | 205.9 | 194.2 |
| 9 | 216.2 | 198.6 | 27 | － | 35.1 |
| 10 | 526.1 | 474.2 | 28 | 214.7 | 200.7 |
| 11 | 8114.5 | 7412.3 | 29 | 5740.6 | 7103.8 |
| 12 | － | 24.8 | 30 | 86.5 | 92.6 |
| 13 | 3250.8 | 2904.1 | 31 | 514.9 | 547.9 |
| 14 | 1980.1 | 2248.3 | 32 | 208.4 | 189.7 |
| 15 | 738.8 | 700.4 | 33 | 16784.1 | 17950.4 |
| 16 | - | 50.1 | 34 | 12480.7 | 14889.1 |
| 17 | 3907.8 | 4354.8 | 35 | 7152.4 | 8512.1 |
| 18 | 6200.2 | 5969.5 | 36 | 3578.1 | 4550.1 |