Unclassified / Non classifié

Unclassified / Non classifié

Unclassified / Non classifié

Supporting Information

[image: ]















Fig. S1: GC chromatogram for blank preconditioned  TD-tubes along with glass wool plugs










	Standard Mix-1
	Correlation Coefficient
	

	C12
	0.999
	

	C13
	0.9986
	

	C14
	0.9985
	

	C15
	0.9728
	

	C16
	0.9537
	

	C17
	0.9826
	

	C18
	0.9971
	

	C19
	0.9969
	

	C20 Eicosane
	0.9948
	

	C21 Heneicosane
	0.9955
	

	C22 Docosane
	0.9969
	

	C23 Tricosane
	0.9965
	

	C24 Tetracosane
	0.9958
	

	Naphthalene (NP)
	0.9991
	

	Methyl naphthalene (MN)
	0.9996
	

	Dimethyl naphthalene (DMN)
	0.9258
	

	Pyrene (PY)
	0.9981
	

	Fluoranthene (FT)
	0.9923
	

	Phenanthrene (PNT)
	0.9966
	

	Acenaphthene (ACNP)
	0.9899
	

	2,2,4,4,6,8,8-Heptamethyl nonane (HMN)
	0.9987
	

	Standard Mix-2
	
	

	Dimethyl phthalate (DMPh)
	0.9525
	

	Diethyl phthalate (DEPh)
	0.9831
	

	Diisobutyl adipate (DIBA)
	0.9972
	

	Dibutyl adipate (DBA)
	0.9954
	

	Di-n-butyl phthalate (DnBPh)
	0.9856
	

	Di-n-pentyl phthalate (DnPPh) 
(Synonym: Diamyl phthalate)
	0.9947
	

	Di-n-hexyl phthalate (DnHPh)
	0.9951
	

	Butyl benzyl phthalate (BBPh)
	0.9765
	

	Bis(2-ethylhexyl) adipate (BEHA)
	0.9919
	

	Di-(2-ethylhexyl) phthalate (DEHPh)
	0.9763
	

	Di-n-octyl phthalate (DnOPh)
	0.9962
	

	Diisononyl cyclohexane-1,2 dicaroxylate (DINCH)
	0.9915
	

	*Tributyl Phosphate (TBP)
	0.9931
	

	
	
	



Table S1: Correlation Coefficients of analytes in two standard mixtures analyzed by TD-GC/MS. Concentration ranges for Standard Mix-1: 2.5 to 50 ng;  Standard Mix-2: 5 to 100 ng (*except for TBP, which was between 10 to 100 ng)
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