Supporting Information

Fig. S1: GC chromatogram for blank preconditioned  TD-tubes along with glass wool plugs

| Standard Mix-1 | Correlation Coefficient |  |
| --- | --- | --- |
| C12 | 0.999 |  |
| C13 | 0.9986 |  |
| C14 | 0.9985 |  |
| C15 | 0.9728 |  |
| C16 | 0.9537 |  |
| C17 | 0.9826 |  |
| C18 | 0.9971 |  |
| C19 | 0.9969 |  |
| C20 Eicosane | 0.9948 |  |
| C21 Heneicosane | 0.9955 |  |
| C22 Docosane | 0.9969 |  |
| C23 Tricosane | 0.9965 |  |
| C24 Tetracosane | 0.9958 |  |
| Naphthalene (NP) | 0.9991 |  |
| Methyl naphthalene (MN) | 0.9996 |  |
| Dimethyl naphthalene (DMN) | 0.9258 |  |
| Pyrene (PY) | 0.9981 |  |
| Fluoranthene (FT) | 0.9923 |  |
| Phenanthrene (PNT) | 0.9966 |  |
| Acenaphthene (ACNP) | 0.9899 |  |
| 2,2,4,4,6,8,8-Heptamethyl nonane (HMN) | 0.9987 |  |
| Standard Mix-2 |  |  |
| Dimethyl phthalate (DMPh) | 0.9525 |  |
| Diethyl phthalate (DEPh) | 0.9831 |  |
| Diisobutyl adipate (DIBA) | 0.9972 |  |
| Dibutyl adipate (DBA) | 0.9954 |  |
| Di-n-butyl phthalate (DnBPh) | 0.9856 |  |
| Di-n-pentyl phthalate (DnPPh) (Synonym: Diamyl phthalate) | 0.9947 |  |
| Di-n-hexyl phthalate (DnHPh) | 0.9951 |  |
| Butyl benzyl phthalate (BBPh) | 0.9765 |  |
| Bis(2-ethylhexyl) adipate (BEHA) | 0.9919 |  |
| Di-(2-ethylhexyl) phthalate (DEHPh) | 0.9763 |  |
| Di-n-octyl phthalate (DnOPh) | 0.9962 |  |
| Diisononyl cyclohexane-1,2 dicaroxylate (DINCH) | 0.9915 |  |
| *Tributyl Phosphate (TBP) | 0.9931 |  |

Table S1: Correlation Coefficients of analytes in two standard mixtures analyzed by TD-GC/MS. Concentration ranges for Standard Mix-1: 2.5 to 50 ng;  Standard Mix-2: 5 to 100 ng (*except for TBP, which was between 10 to 100 ng)