Table 3. Mechanical failures and revision surgery within the first postoperative year.

| Complication | DHS (n=42) | FNS (n=88) | p-value |
| --- | --- | --- | --- |
| Primary mechanical failures requiring revision surgery |  |  |  |
| Total revisions, n (%) | 3 (7.1%) | 8 (9.1%) | 0.25 |
| Femoral neck shortening + medialization | 2 (4.8%) | 3 (3.4%) | — |
| Peg cut-out | 1 (2.4%) | 3 (3.4%) | — |
| Peri-implant fracture | 0 (0%) | 2 (2.3%) | — |
| Secondary non-mechanical procedures (not classified as primary failures) |  |  |  |
| Secondary total hip arthroplasty | 1 (osteonecrosis) | 5 (2 OA, 3 osteonecrosis) | — |
| Implant removal for pain | 2 | 0 | — |
| Septic non-union | 0 | 1 | — |

OA, osteoarthritis. '—' indicates individual breakdown not statistically tested due to small numbers.