Table 1 This table summarize the parameters used in each irradiation condition

| Irradiation modality | Dose per pulse [Gy] | Average dose rate | Average dose within a pulse | Pulse duration [µs] |
| --- | --- | --- | --- | --- |
| FLASH | 1 | 240 Gy/s | 2.5∙105 Gy/s | 4 |
| CONV | 0.02 | 6 Gy/min | 5000 Gy/s | 4 |