## BD FACS Aria Fusion
Laser Order | Laser | Wavelength | Laser Power | Notes
1 | OBIS | 488 | 100mW | S/N: R65828200128
2 | OBIS | 640 | 100mW | SOFTWARE VERSION: BD FACSDiva 8.0.3
3 | OBIS | 405 | 100mW | CONFIGURATION: 2-Blue 3-Red 6-Violet 4-YG 3-UV
4 | OBIS | 561 | 100mW
5 | OBIS | 355 | 15mw
LASER DETECTOR
Laser | Detector | Longpass Mirror | Bandpass Filter | FLUOROCHROME AND ALTERNATIVES | FL NO.
488-BLUE | FSC |  | 488/10 | FSC
488-BLUE | C |  | 488/10 | SSC
488-BLUE | B | 505LP | 530/30 | FITC, BB515, GFP, AF488, Venus, CFSE, Thiazole Orange, YFP | 1
488-BLUE | A | 690LP | 710/50 | PerCP Cy 5.5, PerCP-eFluor 710, BB700, 7AAD | 2
561-YG | D |  | 586/15 | PE, Orange, Alexa-594 | 3
561-YG | C | 600LP | 610/20 | PE-Texas Red, ECD, PE CF594, mCherry, PI/Dead Cell | 4
561-YG | B | 635LP | 670/30 | PE Cy5, mPlum | 5
561-YG | A | 750LP | 780/60 | PE Cy7 | 6
640-RED | C |  | 670/30 | APC, AF647, Live/Dead-Far Red | 7
640-RED | B | 690LP | 710/50 | Alexa700, APC-R700 | 8
640-RED | A | 750LP | 780/60 | APC Cy7, APC-H7, APC-e780, APC-Alexa750, APC-vio770 | 9
405-VIO | F |  | 450/50 | DAPI, BV421, Pacific Blue, V450, Cascade Blue, Live/Dead-Vio, Hoechst | 10
405-VIO | E | 505LP | 525/50 | BV510, V500, Pacific Orange, Live/Dead -Aqua, mAmetrine | 11
405-VIO | D | 600LP | 610/20 | BV605, eFluor 605, Qdot 605, Evolve 605, eFluor 605 | 12
405-VIO | C | 635LP | 670/30 | BV650 | 13
405-VIO | B | 690LP | 710/50 | BV711 | 14
405-VIO | A | 750LP | 780/60 | BV786 | 15
355-UV | C |  | 379/29 | BUV396 | 16
355-UV | B | 410LP | 515/30 | BUV496 | 17
355-UV | A | 690LP | 740/35 | BUV737 | 18

## BD FACSymphony S6
Laser Order | Laser | Wavelength | Laser Power | BD Symphony S6
1 | Blue | 488 | 100mW | S/N: R66293700088
2 | Red | 637 | 140mW | SOFTWARE VERSION: BD FACSDiva 9.1
3 | Violet | 405 | 100mW | Configuration: 4B-3R-6V-6UV-4YG
4 | UV | 355 | 60mW
5 | Yellow-Green | 561 | 100mW
PARAMETER ASSIGNMENT
LASER | DETECTOR | Longpass Mirror | Bandpass Filter | FLUOROCHROME AND ALTERNATIVES | FL NO.
488-BLUE | FSC |  | 488/10 | FSE
| E |  | 488/10 | SSC | 1
| D | 505LP | 515/20 | AF488, BB515, FITC, GFP, YFP,LIVE/DEAD Green, Venus, ZsGreen, Mitotracker-FM, Calcein, Thiazole Orange, CFSE, Sytox-Green, Rhodamine-123 | 2
| C | 600LP | 610/20 | BB630 | 3
| B | 690LP | 710/50 | PerCp-Cy5.5, BB700, PI, PE-Cy5.5, PE-A700, 7AAD | 4
| A | 770LP | 780/60 | BB790 | 5
638-RED | C | 650LP | 670/30 | APC, AF647, Live/Dead Far Red | 6
| B | 690LP | 710/50 | Alexa700, APC-R700 | 7
| A | 750LP | 780/60 | APC Cy7, APC eFluor780, LIVE/DEAD Near-IR | 8
405-VIO | F | 410LP | 431/28 | DAPI, Pacific Blue, BV421, BV450, V450, Alexa Fluor 406, LIVE/DEAD-Violet, Cascade Blue, Hoechst, BFP | 9
| E | 505LP | 525/50 | BV510, mAmetrine, V500, Pacific Orange, AmCyan, Cascade Yellow | 10
| D | 600LP | 610/20 | BV605, eFluor-605, Qdot-605, Evolve-605, eFluor-605 | 11
| C | 635LP | 670/30 | BV650 | 12
| B | 690LP | 710/50 | BV711 | 13
| A | 750LP | 780/60 | BV786 | 14
561-YG | D | 570LP | 586/15 | PE, tdTomato, kOrange | 21
| C | 600LP | 610/20 | PE CF594, mCherry, Texas Red, LIVE/DEAD-Orange, LIVE/DEAD-Red, DsRed, ECD, PE-Texas Red, Alexa-594, PI/DNA Content, PI/Dead Cell | 22
| B | 650LP | 670/30 | PE Cy5, mPlum, 7-AAD | 23
| A | 750LP | 780/60 | PE Cy7 | 24
355-UV | F |  | 379/28 | BUV396 | 15
| E | 450 | 515/30 | BUV496, Live/Dead Aqua | 16
| D | 550LP | 586/15 | BUV563 | 17
| C | 635LP | 670/30 | BUV661 | 18
| B | 690LP | 740/35 | BUV737 | 19
| A | 770LP | 820/60 | BUV805 | 20