Table 1: Comparison of the general properties of image analysis using Cellpose models, Incucyte analyses, and endpoint staining analysis

|  | Cellpose models | Incucyte analyses | Endpoint staining |
| --- | --- | --- | --- |
| Continuous imaging | Yes | Yes | No |
| Staining required | No | No | Yes |
| Application range | All imaging modalities | Incucyte only | Specific imaging modality |
| Direct image analysis after acquisition | Yes* | Yes | Yes/No** |
| Time efficiency | ++ | +++ | + |

*automation possible	**depending on imaging device and methodology

Table  2: Comparison of the quantification of cell proliferation using the Cellpose model, Incucyte analyses, and endpoint staining analysis

|  | Cellpose model | Incucyte analyses | Endpoint staining |
| --- | --- | --- | --- |
| Quantified objects | Cells | Cells | Nuclei |
| Accuracy Confluency (<80% confluence) | +++ | +++ | - |
| Accuracy Confluence (>80% confluence) | + | +++ | - |
| Accuracy Cell Count (<80% confluence) | ++ | ++ | +++ |
| Accuracy Cell Count (>80% confluence) | + | ++ | +++ |

Table 3: Comparison of the quantification of adipogenic differentiation using Cellpose models, Incucyte analyses, and endpoint staining analysis

|  | Cellpose models | Incucyte analyses | Endpoint staining |
| --- | --- | --- | --- |
| Quantified objects | Adipocytes | Adipocytes | Lipid droplets |
| Accuracy | ++ | ++ | +++ |
| False negatives | Few | Few | Almost none |
| False positives | Almost none | Almost none | Almost none |
| Quantification of adipocyte numbers | Yes | No | No |