SUPPLEMENTARY MATERIALS

Figure S1. Precision studies using the automated, high-throughput SARS-CoV-2 NGS workflow. (A) Intra-assay precision of 1,272 variants from 175 specimens repeated 3 times. The mean of the detected variant frequencies (blue dot) and coefficients of variations (orange dot) are shown. (B) Inter-assay precision of 946 variants from 160 specimens replicated 3 times. The mean of the detected variant frequencies (blue dot) and coefficients of variations (orange dot) are shown.

Figure S2. Weekly SARS-CoV-2 variant proportions. A. Variant proportions were calculated against total cases sequenced each week. B. Total number of cases sequenced for each week is indicated with scale bar.

Table S1. Primer pools for the automated, high-throughput SARS-CoV-2 NGS workflow

| Primer Name (nCoV-2019_) | Sequence (5' to 3') | Pool | Ratio1 |
| --- | --- | --- | --- |
| 1_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACCAACCAACTTTCGATCTCTTGT | 1A | 1X |
| 1_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AAGTGCCATCTTTAAGATGTTGACG | 1A | 1X |
| 2_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CTGTTTTACAGGTTCGCGACGT | 2A | 1X |
| 2_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAAGGATCAGTGCCAAGCTCGT | 2A | 1X |
| 3_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CGGTAATAAAGGAGCTGGTGGC | 1B | 1X |
| 3_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AAGGTGTCTGCAATTCATAGCTCT | 1B | 1X |
| 4_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGTGTATACTGCTGCCGTGAAC | 2B | 1X |
| 4_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CACAAGTAGTGGCACCTTCTTTAGT | 2B | 1X |
| 5_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGTGAAACTTCATGGCAGACG | 1A | 1X |
| 5_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ATTGATGTTGACTTTCTCTTTTTGGAGT | 1A | 1X |
| 6_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGTGTTGTTGGAGAAGGTTCCG | 2A | 1X |
| 6_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAGCGGCCTTCTGTAAAACACG | 2A | 1X |
| 7_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ATCAGAGGCTGCTCGTGTTGTA | 1B | 1X |
| 7_LEFT_alt0 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CATTTGCATCAGAGGCTGCTCG | 1A | 1X |
| 7_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGCACAGGTGACAATTTGTCCA | 1B | 1X |
| 7_RIGHT_alt5 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGGTGACAATTTGTCCACCGAC | 1A | 1X |
| 8_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGAGTTTCTTAGAGACGGTTGGGA | 2B | 1X |
| 8_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GCTTCAACAGCTTCACTAGTAGGT | 2B | 1X |
| 9_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCCCACAGAAGTGTTAACAGAGGA | 1B | 1X |
| 9_LEFT_alt4 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TTCCCACAGAAGTGTTAACAGAGG | 1A | 1X |
| 9_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTTATGACAGCATCTGCCACAA | 1B | 1X |
| 9_RIGHT_alt2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GACAGCATCTGCCACAACACAG | 1A | 1X |
| 10_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGAGAAGTGCTCTGCCTATACAGT | 2A | 1X |
| 10_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCATCTAACCAATCTTCTTCTTGCTCT | 2A | 1X |
| 11_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGAATTTGGTGCCACTTCTGCT | 1B | 1X |
| 11_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCATCAGATTCAACTTGCATGGCA | 1B | 1X |
| 12_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AAACATGGAGGAGGTGTTGCAG | 2B | 1X |
| 12_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTCACTCTTCATTTCCAAAAAGCTTGA | 2B | 1X |
| 13_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCGCACAAATGTCTACTTAGCTGT | 1A | 1X |
| 13_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ATAACCACAGCAGTTAAAACAC | 1A | 1X |
| 14_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CATCCAGATTCTGCCACTCTTGT | 2A | 1X |
| 14_LEFT_alt4 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGCAATCTTCATCCAGATTCTGC | 2B | 1X |
| 14_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGTTTCCACACAGACAGGCATT | 2A | 1X |
| 14_RIGHT_alt2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGCGTGTTTCTTCTGCATGTGC | 2B | 1X |
| 15_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAGTGCTTAAAAAGTGTAAAAGTGCC | 1B | 1X |
| 15_LEFT_alt1 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGTGCTTAAAAAGTGTAAAAGTGCCT | 1A | 1X |
| 15_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGAAACAGAAACTGTAGCTGGC | 1B | 1X |
| 15_RIGHT_alt3 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACTGTAGCTGGCACTTTGAGAGA | 1A | 1X |
| 16_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AATTTGGAAGAAGCTGCTCGGT | 2A | 1X |
| 16_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CACAACTTGCGTGTGGAGGTTA | 2A | 1X |
| 17_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CTTCTTTCTTTGAGAGAAGTGAGGACT | 1B | 1X |
| 17_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTTGTTGGAGTGTTAACAATGCAGT | 1B | 1X |
| 18_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGAAATACCCACAAGTTAATGGTTTAAC | 2B | 1X |
| 18_LEFT_alt2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTTCTATTAAATGGGCAGATAACAACTGT | 2A | 1X |
| 18_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGCTTGTTTACCACACGTACAAGG | 2B | 1X |
| 18_RIGHT_alt1 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GCTTGTTTACCACACGTACAAGG | 2A | 1X |
| 19_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCTGTTATGTACATGGGCACACT | 1A | 1X |
| 19_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGTCCAACTTAGGGTCAATTTCTGT | 1A | 1X |
| 20_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAAAGAAAACAGTTACACAACAACCA | 2B | 1X |
| 20_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACGTGGCTTTATTAGTTGCATTGTT | 2B | 1X |
| 21_LEFTv2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGTGGCTATTGATTATAAACACTACACA | 1B | 1X |
| 21_LEFT_alt2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGCTATTGATTATAAACACTACACACCCT | 1A | 1X |
| 21_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAGATCTGTGTGGCCAACCTCT | 1B | 1X |
| 21_RIGHT_alt0 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GATCTGTGTGGCCAACCTCTTC | 1A | 1X |
| 22_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTACCGAAGTTGTAGGAGACATTATACT | 2A | 1X |
| 22_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACAGTATTCTTTGCTATAGTAGTCGGC | 2A | 1X |
| 23_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAACTACTAACATAGTTACACGGTGT | 1B | 1X |
| 23_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACCAGTACAGTAGGTTGCAATAGTG | 1B | 1X |
| 24_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGGCATGCCTTCTTACTGTACTG | 2B | 1X |
| 24_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACATTCTAACCATAGCTGAAATCGGG | 2B | 1X |
| 25_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCAATTGTTTTTCAGCTATTTTGCAGT | 1A | 1X |
| 25_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACTGTAGTGACAAGTCTCTCGCA | 1A | 1X |
| 26_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TTGTGATACATTCTGTGCTGGTAGT | 2A, 2B | 1X |
| 26_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCCGCACTATCACCAACATCAG | 2A, 2B | 1X |
| 27_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTACAGTCAGCTTATGTGTCAACC | 1B | 1X |
| 27_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AATACAAGCACCAAGGTCACGG | 1B | 1X |
| 28_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACATAGAAGTTACTGGCGATAGTTGT | 2B | 1X |
| 28_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGTTTAGACATGACATGAACAGGTGT | 2B | 1X |
| 29_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTTGTGTTCCTTTTTGTTGCTGC | 1A, 1B | 1X |
| 29_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGTGTACTCTATAAGTTTTGATGGTGTGT | 1A, 1B | 1X |
| 30_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCACAACTAATGGTGACTTTTTGCA | 2A | 1X |
| 30_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACCACTAGTAGATACACAAACACCAG | 2A | 1X |
| 31_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TTCTGAGTACTGTAGGCACGGC | 1B | 1X |
| 31_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACAGAATAAACACCAGGTAAGAATGAGT | 1B | 1X |
| 32_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGTGAATACAGTCATGTAGTTGCC | 2B | 1X |
| 32_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GGTAATAGCACATCACTACGCAAC | 2B | 1X |
| 33_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTTTTGAAGAAGCTGCGCTGT | 1A | 1X |
| 33_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGGACAGTAAACTACGTCATCAAGC | 1A | 1X |
| 34_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCCCATCTGGTAAAGTTGAGGGT | 2A | 1X |
| 34_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGTGAAATTGGGCCTCATAGCA | 2A | 1X |
| 35_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTTCGCATTCAACCAGGACAG | 1B | 1X |
| 35_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACTTCATAGCCACAAGGTTAAAGTCA | 1B | 1X |
| 36_LEFTv2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ATTACAGTTAATGTTTTAGCTTGGTTGTA | 2B | 1X |
| 36_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GAACAAAGACCATTGAGTACTCTGGA | 2B | 1X |
| 37_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACACACCACTGGTTGTTACTCAC | 1A | 1X |
| 37_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GTCCACACTCTCCTAGCACCAT | 1A | 1X |
| 38_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTGTGTTATGTATGCATCAGCTGT | 2A | 1X |
| 38_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ATCATAAACACCAAGAGTCAGTCTAAA | 2A | 1X |
| 39_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGTATTGCCCTATTTTCTTCATAACTGGT | 1B | 1X |
| 39_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGTAACTGGACACATTGAGCCC | 1B | 1X |
| 40_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGCACATCAGTAGTCTTACTCTCAGT | 2B | 1X |
| 40_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CATGGCTGCATCACGGTCAAAT | 2B | 1X |
| 41_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GTTCCCTTCCATCATATGCAGCT | 1A | 1X |
| 41_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGGTATGACAACCATTAGTTTGGCT | 1A | 1X |
| 42_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGCAAGAGATGGTTGTGTTCCC | 2A | 1X |
| 42_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CCTACCTCCCTTTGTTGTGTTGT | 2A | 1X |
| 43_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TACGACAGATGTCTTGTGCTGC | 1B | 1X |
| 43_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGCAGCATCTACAGCAAAAGCA | 1B | 1X |
| 44_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGCCACAGTACGTCTACAAGCT | 2B | 1X |
| 44_LEFT_alt3 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CCACAGTACGTCTACAAGCTGG | 2A | 1X |
| 44_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AACCTTTCCACATACCGCAGAC | 2B | 1X |
| 44_RIGHT_alt0 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CGCAGACGGTACAGACTGTGTT | 2A | 1X |
| 45_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TACCTACAACTTGTGCTAATGACCC | 1A | 1X |
| 45_LEFT_alt2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGTATGTACAAATACCTACAACTTGTGCT | 1B | 1X |
| 45_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AAATTGTTTCTTCATGTTGGTAGTTAGAGA | 1A | 1X |
| 45_RIGHT_alt7 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTCATGTTGGTAGTTAGAGAAAGTGTGTC | 1B | 1X |
| 46_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTCGCTTCCAAGAAAAGGACG | 2B | 1X |
| 46_LEFT_alt1 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CGCTTCCAAGAAAAGGACGAAGA | 2A | 1X |
| 46_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CACGTTCACCTAAGTTGGCGTA | 2B | 1X |
| 46_RIGHT_alt2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CACGTTCACCTAAGTTGGCGTAT | 2A | 1X |
| 47_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGGACTGGTATGATTTTGTAGAAAACCC | 1A | 1X |
| 47_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AATAACGGTCAAAGAGTTTTAACCTCTC | 1A | 1X |
| 48_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTTGACACTGACTTAACAAAGCCT | 2B | 1X |
| 48_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAGATTACCAGAAGCAGCGTGC | 2B | 1X |
| 49_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGGAATTACTTGTGTATGCTGCTGA | 1B | 1X |
| 49_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGACGATGACTTGGTTAGCATTAATACA | 1B | 1X |
| 50_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GTTGATAAGTACTTTGATTGTTACGATGGT | 2A | 1X |
| 50_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAACATGTTGTGCCAACCACCA | 2A | 1X |
| 51_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCAATAGCCGCCACTAGAGGAG | 1A | 1X |
| 51_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGTGCATTAACATTGGCCGTGA | 1A | 1X |
| 52_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CATCAGGAGATGCCACAACTGC | 2B | 1X |
| 52_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GTTGAGAGCAAAATTCATGAGGTCC | 2B | 1X |
| 53_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGCAAAATGTTGGACTGAGACTGA | 1B | 1X |
| 53_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGCCTCATAAAACTCAGGTTCCC | 1B | 1X |
| 54_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGAGTTAACAGGACACATGTTAGACA | 2A | 1X |
| 54_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AACCAAAAACTTGTCCATTAGCACA | 2A | 1X |
| 55_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTCAACTTTACTTAGGAGGTATGAGCT | 1A | 1X |
| 55_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GGTGTACTCTCCTATTTGTACTTTACTGT | 1A | 1X |
| 56_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACCTAGACCACCACTTAACCGA | 2B | 1X |
| 56_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACACTATGCGAGCAGAAGGGTA | 2B | 1X |
| 57_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ATTCTACACTCCAGGGACCACC | 1B | 1X |
| 57_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GTAATTGAGCAGGGTCGCCAAT | 1B | 1X |
| 58_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGATTTGAGTGTTGTCAATGCCAGA | 2A | 1X |
| 58_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CTTTTCTCCAAGCAGGGTTACGT | 2A | 1X |
| 59_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCACGCATGATGTTTCATCTGCA | 1A | 1X |
| 59_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AAGAGTCCTGTTACATTTTCAGCTTG | 1A | 1X |
| 60_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGATAGAGACCTTTATGACAAGTTGCA | 2B | 1X |
| 60_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GGTACCAACAGCTTCTCTAGTAGC | 2B | 1X |
| 61_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTTTATCACCCGCGAAGAAGC | 1B | 1X |
| 61_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ATCACATAGACAACAGGTGCGC | 1B | 1X |
| 62_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGCACATGGCTTTGAGTTGACA | 2A | 1X |
| 62_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GTTGAACCTTTCTACAAGCCGC | 2A | 1X |
| 63_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTTAAGCGTGTTGACTGGACT | 1A | 1X |
| 63_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACAAACTGCCACCATCACAACC | 1A | 1X |
| 64_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCGATAGATATCCTGCTAATTCCATTGT | 2B | 1X |
| 64_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGTCTTGTAAAAGTGTTCCAGAGGT | 2B | 1X |
| 65_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCTGGCTTTAGCTTGTGGGTTT | 1B | 1X |
| 65_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGTCAGTCATAGAACAAACACCAATAGT | 1B | 1X |
| 66_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGGTGTGGACATTGCTGCTAAT | 2A | 1X |
| 66_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCAATTTCCATTTGACTCCTGGGT | 2A | 1X |
| 67_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GTTGTCCAACAATTACCTGAAACTTACT | 1A, 1B | 1X |
| 67_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CAACCTTAGAAACTACAGATAAATCTTGGG | 1A, 1B | 1X |
| 68_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAGGTTCATCTAAGTGTGTGTGT | 2A, 2B | 1X |
| 68_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CTCCTTTATCAGAACCAGCACCA | 2A, 2B | 1X |
| 69_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGTCGCAAAATATACTCAACTGTGTCA | 1B | 1X |
| 69_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCTTTATAGCCACGGAACCTCCA | 1B | 1X |
| 70_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAAAAGAAAATGACTCTAAAGAGGGTTT | 2B | 1X |
| 70_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGACCTTCTTTTAAAGACATAACAGCAG | 2B | 1X |
| 71_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACAAATCCAATTCAGTTGTCTTCCTATTC | 1A | 1X |
| 71_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGGAAAAGAAAGGTAAGAACAAGTCCT | 1A | 1X |
| 72_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACACGTGGTGTTTATTACCCTGAC | 2B | 1X |
| 72_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACTCTGAACTCACTTTCCATCCAAC | 2B | 1X |
| 73_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CAATTTTGTAATGATCCATTTTTGGGTGT | 1B | 1X |
| 73_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CACCAGCTGTCCAACCTGAAGA | 1B | 1X |
| 74_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACATCACTAGGTTTCAAACTTTACTTGC | 2A, 2B | 2X |
| 74_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GCAACACAGTTGCTGATTCTCTTC | 2A, 2B | 2X |
| 75_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGAGTCCAACCAACAGAATCTATTGT | 1A, 1B | 1X |
| 75_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACCACCAACCTTAGAATCAAGATTGT | 1A, 1B | 1X |
| 76_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AGGGCAAACTGGAAAGATTGCT | 2B | 1X |
| 76_LEFT_alt3 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGGCAAACTGGAAAGATTGCTGA | 2A | 1X |
| 76_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TCTCTGCCAAATTGTTGGAAAGGCA | 2B | 1X |
| 76_RIGHT_alt0 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACCTGTGCCTGTTAAACCATTGA | 2A | 1X |
| 77_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CCAGCAACTGTTTGTGGACCTA | 1B | 1X |
| 77_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CAGCCCCTATTAAACAGCCTGC | 1B | 1X |
| 78_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CAACTTACTCCTACTTGGCGTGT | 2B | 1X |
| 78_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGTGTACAAAAACTGCCATATTGCA | 2B | 1X |
| 79_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GTGGTGATTCAACTGAATGCAGC | 1A, 1B | 1X |
| 79_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CATTTCATCTGTGAGCAAAGGTGG | 1A, 1B | 1X |
| 80_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TTGCCTTGGTGATATTGCTGCT | 2A | 1X |
| 80_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGGAGCTAAGTTGTTTAACAAGCG | 2A | 1X |
| 81_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCACTTGGAAAACTTCAAGATGTGG | 1B | 1X |
| 81_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT GTGAAGTTCTTTTCTTGTGCAGGG | 1B | 1X |
| 82_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGGCTATCATCTTATGTCCTTCCCT | 2B | 1X |
| 82_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGCCAGAGATGTCACCTAAATCAA | 2B | 1X |
| 83_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCCTTTGCAACCTGAATTAGACTCA | 1A | 1X |
| 83_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTTGACTCCTTTGAGCACTGGC | 1A | 1X |
| 84_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGCTGTAGTTGTCTCAAGGGCT | 2A | 1X |
| 84_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGGTGTGAGTAAACTGTTACAAACAAC | 2A | 1X |
| 85_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACTAGCACTCTCCAAGGGTGTT | 1B | 1X |
| 85_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACACAGTCTTTTACTCCAGATTCCC | 1B | 1X |
| 86_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCAGGTGATGGCACAACAAGTC | 2B | 1X |
| 86_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACGAAAGCAAGAAAAAGAAGTACGC | 2B | 1X |
| 87_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CGACTACTAGCGTGCCTTTGTA | 1A | 1X |
| 87_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACTAGGTTCCATTGTTCAAGGAGC | 1A | 1X |
| 88_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CCATGGCAGATTCCAACGGTAC | 2A | 1X |
| 88_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGGTCAGAATAGTGCCATGGAGT | 2A | 1X |
| 89_LEFTv2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CGCGTACGCGTTCCATGTGGTC | 1B | 1X |
| 89_LEFT_alt2 | ACACTCTTTCCCTACACGACGCTCTTCCGATCT CGCGTTCCATGTGGTCATTCAA | 1A | 1X |
| 89_RIGHTv2 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ATAGTAACCTGAAAGTCAACGAGAT | 1B | 1X |
| 89_RIGHT_alt4 | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACGAGATGAAACATCTGTTGTCACT | 1A | 1X |
| 90_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT ACACAGACCATTCCAGTAGCAGT | 2B | 1X |
| 90_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TGAAATGGTGAATTGCCCTCGT | 2B | 1X |
| 91_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TCACTACCAAGAGTGTGTTAGAGGT | 1B | 1X |
| 91_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTCAAGTGAGAACCAAAAGATAATAAGCA | 1B | 1X |
| 92_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TTTGTGCTTTTTAGCCTTTCTGCT | 2A | 1X |
| 92_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGGTTCCTGGCAATTAATTGTAAAAGG | 2A | 1X |
| 93_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGAGGCTGGTTCTAAATCACCCA | 1A | 1X |
| 93_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT AGGTCTTCCTTGCCATGTTGAG | 1A | 1X |
| 94_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GGCCCCAAGGTTTACCCAATAA | 2B | 1X |
| 94_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTTGGCAATGTTGTTCCTTGAGG | 2B | 1X |
| 95_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGAGGGAGCCTTGAATACACCA | 1B | 1X |
| 95_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT CAGTACGTTTTTGCCGAGGCTT | 1B | 1X |
| 96_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT GCCAACAACAACAAGGCCAAAC | 2A | 1X |
| 96_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TAGGCTCTGTTGGTGGGAATGT | 2A | 1X |
| 97_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT TGGATGACAAAGATCCAAATTTCAAAGA | 1A | 1X |
| 97_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT ACACACTGATTAAAGATTGCTATGTGAG | 1A | 1X |
| 98_LEFT | ACACTCTTTCCCTACACGACGCTCTTCCGATCT AACAATTGCAACAATCCATGAGCA | 2B | 1X |
| 98_RIGHT | GTGACTGGAGTTCAGACGTGTGCTCTTCCGATCT TTCTCCTAAGAAGCTATTAAAATCACATGG | 2B | 1X |

1 Relative primer concentration in each pool is indicated under Ratio.

SARS-CoV-2 specific sequences are from the ARTICv3 primer set (Quick 2020).

Primers from Itokawa et al (2020) are marked in bold.

Quick J, Loman NJ. hCoV-2019/nCoV-2019 Version 3 Amplicon Set. March 24, 2020. Available: https://artic.network/resources/ncov/ncov-amplicon-v3.pdf.

Itokawa K, Sekizuka T, Hashino M, Tanaka R, Kuroda M (2020) Disentangling primer interactions improves SARS-CoV-2 genome sequencing by multiplex tiling PCR. PLoS ONE 15(9): e0239403.

Table S2. Modified primer concentration for each pool for a standard ARTIC v3 workflow

| Primer Name (nCoV-2019_) | Sequence (5' to 3') | Pool | Ratio1 |
| --- | --- | --- | --- |
| 1_LEFT | ACCAACCAACTTTCGATCTCTTGT | 1 | 1X |
| 1_RIGHT | CATCTTTAAGATGTTGACGTGCCTC | 1 | 1X |
| 2_LEFT | CTGTTTTACAGGTTCGCGACGT | 2 | 1X |
| 2_RIGHT | TAAGGATCAGTGCCAAGCTCGT | 2 | 1X |
| 3_LEFT | CGGTAATAAAGGAGCTGGTGGC | 1 | 1X |
| 3_RIGHT | AAGGTGTCTGCAATTCATAGCTCT | 1 | 1X |
| 4_LEFT | GGTGTATACTGCTGCCGTGAAC | 2 | 1X |
| 4_RIGHT | CACAAGTAGTGGCACCTTCTTTAGT | 2 | 1X |
| 5_LEFT | TGGTGAAACTTCATGGCAGACG | 1 | 7X |
| 5_RIGHT | ATTGATGTTGACTTTCTCTTTTTGGAGT | 1 | 7X |
| 6_LEFT | GGTGTTGTTGGAGAAGGTTCCG | 2 | 2.5X |
| 6_RIGHT | TAGCGGCCTTCTGTAAAACACG | 2 | 2.5X |
| 7_LEFT | ATCAGAGGCTGCTCGTGTTGTA | 1 | 1X |
| 7_LEFT_alt0 | CATTTGCATCAGAGGCTGCTCG | 1 | 1X |
| 7_RIGHT | TGCACAGGTGACAATTTGTCCA | 1 | 1X |
| 7_RIGHT_alt5 | AGGTGACAATTTGTCCACCGAC | 1 | 1X |
| 8_LEFT | AGAGTTTCTTAGAGACGGTTGGGA | 2 | 1X |
| 8_RIGHT | GCTTCAACAGCTTCACTAGTAGGT | 2 | 1X |
| 9_LEFT | TCCCACAGAAGTGTTAACAGAGGA | 1 | 1X |
| 9_LEFT_alt4 | TTCCCACAGAAGTGTTAACAGAGG | 1 | 1X |
| 9_RIGHT | ATGACAGCATCTGCCACAACAC | 1 | 1X |
| 9_RIGHT_alt2 | GACAGCATCTGCCACAACACAG | 1 | 1X |
| 10_LEFT | TGAGAAGTGCTCTGCCTATACAGT | 2 | 1X |
| 10_RIGHT | TCATCTAACCAATCTTCTTCTTGCTCT | 2 | 1X |
| 11_LEFT | GGAATTTGGTGCCACTTCTGCT | 1 | 1X |
| 11_RIGHT | TCATCAGATTCAACTTGCATGGCA | 1 | 1X |
| 12_LEFT | AAACATGGAGGAGGTGTTGCAG | 2 | 7X |
| 12_RIGHT | TTCACTCTTCATTTCCAAAAAGCTTGA | 2 | 7X |
| 13_LEFT | TCGCACAAATGTCTACTTAGCTGT | 1 | 7X |
| 13_RIGHT | ACCACAGCAGTTAAAACACCCT | 1 | 7X |
| 14_LEFT | CATCCAGATTCTGCCACTCTTGT | 2 | 1X |
| 14_LEFT_alt4 | TGGCAATCTTCATCCAGATTCTGC | 2 | 1X |
| 14_RIGHT | AGTTTCCACACAGACAGGCATT | 2 | 1X |
| 14_RIGHT_alt2 | TGCGTGTTTCTTCTGCATGTGC | 2 | 1X |
| 15_LEFT | ACAGTGCTTAAAAAGTGTAAAAGTGCC | 1 | 1X |
| 15_LEFT_alt1 | AGTGCTTAAAAAGTGTAAAAGTGCCT | 1 | 1X |
| 15_RIGHT | AACAGAAACTGTAGCTGGCACT | 1 | 1X |
| 15_RIGHT_alt3 | ACTGTAGCTGGCACTTTGAGAGA | 1 | 1X |
| 16_LEFT | AATTTGGAAGAAGCTGCTCGGT | 2 | 1X |
| 16_RIGHT | CACAACTTGCGTGTGGAGGTTA | 2 | 1X |
| 17_LEFT | CTTCTTTCTTTGAGAGAAGTGAGGACT | 1 | 7X |
| 17_RIGHT | TTTGTTGGAGTGTTAACAATGCAGT | 1 | 7X |
| 18_LEFT | TGGAAATACCCACAAGTTAATGGTTTAAC | 2 | 1X |
| 18_LEFT_alt2 | ACTTCTATTAAATGGGCAGATAACAACTGT | 2 | 1X |
| 18_RIGHT | AGCTTGTTTACCACACGTACAAGG | 2 | 1X |
| 18_RIGHT_alt1 | GCTTGTTTACCACACGTACAAGG | 2 | 1X |
| 19_LEFT | GCTGTTATGTACATGGGCACACT | 1 | 2.5X |
| 19_RIGHT | TGTCCAACTTAGGGTCAATTTCTGT | 1 | 2.5X |
| 20_LEFT | ACAAAGAAAACAGTTACACAACAACCA | 2 | 1X |
| 20_RIGHT | ACGTGGCTTTATTAGTTGCATTGTT | 2 | 1X |
| 21_LEFT | TGGCTATTGATTATAAACACTACACACCC | 1 | 7X |
| 21_LEFT_alt2 | GGCTATTGATTATAAACACTACACACCCT | 1 | 7X |
| 21_RIGHT | TAGATCTGTGTGGCCAACCTCT | 1 | 7X |
| 21_RIGHT_alt0 | GATCTGTGTGGCCAACCTCTTC | 1 | 7X |
| 22_LEFT | ACTACCGAAGTTGTAGGAGACATTATACT | 2 | 1X |
| 22_RIGHT | ACAGTATTCTTTGCTATAGTAGTCGGC | 2 | 1X |
| 23_LEFT | ACAACTACTAACATAGTTACACGGTGT | 1 | 7X |
| 23_RIGHT | ACCAGTACAGTAGGTTGCAATAGTG | 1 | 7X |
| 24_LEFT | AGGCATGCCTTCTTACTGTACTG | 2 | 1X |
| 24_RIGHT | ACATTCTAACCATAGCTGAAATCGGG | 2 | 1X |
| 25_LEFT | GCAATTGTTTTTCAGCTATTTTGCAGT | 1 | 1X |
| 25_RIGHT | ACTGTAGTGACAAGTCTCTCGCA | 1 | 1X |
| 26_LEFT | TTGTGATACATTCTGTGCTGGTAGT | 2 | 7X |
| 26_RIGHT | TCCGCACTATCACCAACATCAG | 2 | 7X |
| 27_LEFT | ACTACAGTCAGCTTATGTGTCAACC | 1 | 1X |
| 27_RIGHT | AATACAAGCACCAAGGTCACGG | 1 | 1X |
| 28_LEFT | ACATAGAAGTTACTGGCGATAGTTGT | 2 | 2.5X |
| 28_RIGHT | TGTTTAGACATGACATGAACAGGTGT | 2 | 2.5X |
| 29_LEFT | ACTTGTGTTCCTTTTTGTTGCTGC | 1 | 2.5X |
| 29_RIGHT | AGTGTACTCTATAAGTTTTGATGGTGTGT | 1 | 2.5X |
| 30_LEFT | GCACAACTAATGGTGACTTTTTGCA | 2 | 1X |
| 30_RIGHT | ACCACTAGTAGATACACAAACACCAG | 2 | 1X |
| 31_LEFT | TTCTGAGTACTGTAGGCACGGC | 1 | 1X |
| 31_RIGHT | ACAGAATAAACACCAGGTAAGAATGAGT | 1 | 1X |
| 32_LEFT | TGGTGAATACAGTCATGTAGTTGCC | 2 | 1X |
| 32_RIGHT | AGCACATCACTACGCAACTTTAGA | 2 | 1X |
| 33_LEFT | ACTTTTGAAGAAGCTGCGCTGT | 1 | 1X |
| 33_RIGHT | TGGACAGTAAACTACGTCATCAAGC | 1 | 1X |
| 34_LEFT | TCCCATCTGGTAAAGTTGAGGGT | 2 | 1X |
| 34_RIGHT | AGTGAAATTGGGCCTCATAGCA | 2 | 1X |
| 35_LEFT | TGTTCGCATTCAACCAGGACAG | 1 | 1X |
| 35_RIGHT | ACTTCATAGCCACAAGGTTAAAGTCA | 1 | 1X |
| 36_LEFT | TTAGCTTGGTTGTACGCTGCTG | 2 | 2.5X |
| 36_RIGHT | GAACAAAGACCATTGAGTACTCTGGA | 2 | 2.5X |
| 37_LEFT | ACACACCACTGGTTGTTACTCAC | 1 | 1X |
| 37_RIGHT | GTCCACACTCTCCTAGCACCAT | 1 | 1X |
| 38_LEFT | ACTGTGTTATGTATGCATCAGCTGT | 2 | 2.5X |
| 38_RIGHT | CACCAAGAGTCAGTCTAAAGTAGCG | 2 | 2.5X |
| 39_LEFT | AGTATTGCCCTATTTTCTTCATAACTGGT | 1 | 1X |
| 39_RIGHT | TGTAACTGGACACATTGAGCCC | 1 | 1X |
| 40_LEFT | TGCACATCAGTAGTCTTACTCTCAGT | 2 | 1X |
| 40_RIGHT | CATGGCTGCATCACGGTCAAAT | 2 | 1X |
| 41_LEFT | GTTCCCTTCCATCATATGCAGCT | 1 | 1X |
| 41_RIGHT | TGGTATGACAACCATTAGTTTGGCT | 1 | 1X |
| 42_LEFT | TGCAAGAGATGGTTGTGTTCCC | 2 | 1X |
| 42_RIGHT | CCTACCTCCCTTTGTTGTGTTGT | 2 | 1X |
| 43_LEFT | TACGACAGATGTCTTGTGCTGC | 1 | 1X |
| 43_RIGHT | AGCAGCATCTACAGCAAAAGCA | 1 | 1X |
| 44_LEFT | TGCCACAGTACGTCTACAAGCT | 2 | 1X |
| 44_LEFT_alt3 | CCACAGTACGTCTACAAGCTGG | 2 | 1X |
| 44_RIGHT | AACCTTTCCACATACCGCAGAC | 2 | 1X |
| 44_RIGHT_alt0 | CGCAGACGGTACAGACTGTGTT | 2 | 1X |
| 45_LEFT | TACCTACAACTTGTGCTAATGACCC | 1 | 1X |
| 45_LEFT_alt2 | AGTATGTACAAATACCTACAACTTGTGCT | 1 | 1X |
| 45_RIGHT | AAATTGTTTCTTCATGTTGGTAGTTAGAGA | 1 | 1X |
| 45_RIGHT_alt7 | TTCATGTTGGTAGTTAGAGAAAGTGTGTC | 1 | 1X |
| 46_LEFT | TGTCGCTTCCAAGAAAAGGACG | 2 | 1X |
| 46_LEFT_alt1 | CGCTTCCAAGAAAAGGACGAAGA | 2 | 1X |
| 46_RIGHT | CACGTTCACCTAAGTTGGCGTA | 2 | 1X |
| 46_RIGHT_alt2 | CACGTTCACCTAAGTTGGCGTAT | 2 | 1X |
| 47_LEFT | AGGACTGGTATGATTTTGTAGAAAACCC | 1 | 1X |
| 47_RIGHT | AATAACGGTCAAAGAGTTTTAACCTCTC | 1 | 1X |
| 48_LEFT | TGTTGACACTGACTTAACAAAGCCT | 2 | 1X |
| 48_RIGHT | TAGATTACCAGAAGCAGCGTGC | 2 | 1X |
| 49_LEFT | AGGAATTACTTGTGTATGCTGCTGA | 1 | 1X |
| 49_RIGHT | TGACGATGACTTGGTTAGCATTAATACA | 1 | 1X |
| 50_LEFT | GTTGATAAGTACTTTGATTGTTACGATGGT | 2 | 1X |
| 50_RIGHT | TAACATGTTGTGCCAACCACCA | 2 | 1X |
| 51_LEFT | TCAATAGCCGCCACTAGAGGAG | 1 | 1X |
| 51_RIGHT | AGTGCATTAACATTGGCCGTGA | 1 | 1X |
| 52_LEFT | CATCAGGAGATGCCACAACTGC | 2 | 1X |
| 52_RIGHT | GTTGAGAGCAAAATTCATGAGGTCC | 2 | 1X |
| 53_LEFT | AGCAAAATGTTGGACTGAGACTGA | 1 | 1X |
| 53_RIGHT | AGCCTCATAAAACTCAGGTTCCC | 1 | 1X |
| 54_LEFT | TGAGTTAACAGGACACATGTTAGACA | 2 | 1X |
| 54_RIGHT | AACCAAAAACTTGTCCATTAGCACA | 2 | 1X |
| 55_LEFT | ACTCAACTTTACTTAGGAGGTATGAGCT | 1 | 1X |
| 55_RIGHT | GGTGTACTCTCCTATTTGTACTTTACTGT | 1 | 1X |
| 56_LEFT | ACCTAGACCACCACTTAACCGA | 2 | 1X |
| 56_RIGHT | ACACTATGCGAGCAGAAGGGTA | 2 | 1X |
| 57_LEFT | ATTCTACACTCCAGGGACCACC | 1 | 1X |
| 57_RIGHT | GTAATTGAGCAGGGTCGCCAAT | 1 | 1X |
| 58_LEFT | TGATTTGAGTGTTGTCAATGCCAGA | 2 | 1X |
| 58_RIGHT | CTTTTCTCCAAGCAGGGTTACGT | 2 | 1X |
| 59_LEFT | TCACGCATGATGTTTCATCTGCA | 1 | 1X |
| 59_RIGHT | AAGAGTCCTGTTACATTTTCAGCTTG | 1 | 1X |
| 60_LEFT | TGATAGAGACCTTTATGACAAGTTGCA | 2 | 1X |
| 60_RIGHT | GGTACCAACAGCTTCTCTAGTAGC | 2 | 1X |
| 61_LEFT | TGTTTATCACCCGCGAAGAAGC | 1 | 1X |
| 61_RIGHT | ATCACATAGACAACAGGTGCGC | 1 | 1X |
| 62_LEFT | GGCACATGGCTTTGAGTTGACA | 2 | 1X |
| 62_RIGHT | GTTGAACCTTTCTACAAGCCGC | 2 | 1X |
| 63_LEFT | TGTTAAGCGTGTTGACTGGACT | 1 | 1X |
| 63_RIGHT | ACAAACTGCCACCATCACAACC | 1 | 1X |
| 64_LEFT | TCGATAGATATCCTGCTAATTCCATTGT | 2 | 7X |
| 64_RIGHT | AGTCTTGTAAAAGTGTTCCAGAGGT | 2 | 7X |
| 65_LEFT | GCTGGCTTTAGCTTGTGGGTTT | 1 | 1X |
| 65_RIGHT | TGTCAGTCATAGAACAAACACCAATAGT | 1 | 1X |
| 66_LEFT | GGGTGTGGACATTGCTGCTAAT | 2 | 7X |
| 66_RIGHT | TCAATTTCCATTTGACTCCTGGGT | 2 | 7X |
| 67_LEFT | GTTGTCCAACAATTACCTGAAACTTACT | 1 | 1X |
| 67_RIGHT | CAACCTTAGAAACTACAGATAAATCTTGGG | 1 | 1X |
| 68_LEFT | ACAGGTTCATCTAAGTGTGTGTGT | 2 | 1X |
| 68_RIGHT | CTCCTTTATCAGAACCAGCACCA | 2 | 1X |
| 69_LEFT | TGTCGCAAAATATACTCAACTGTGTCA | 1 | 1X |
| 69_RIGHT | TCTTTATAGCCACGGAACCTCCA | 1 | 1X |
| 70_LEFT | ACAAAAGAAAATGACTCTAAAGAGGGTTT | 2 | 7X |
| 70_RIGHT | TGACCTTCTTTTAAAGACATAACAGCAG | 2 | 7X |
| 71_LEFT | ACAAATCCAATTCAGTTGTCTTCCTATTC | 1 | 7X |
| 71_RIGHT | TGGAAAAGAAAGGTAAGAACAAGTCCT | 1 | 7X |
| 72_LEFT | ACACGTGGTGTTTATTACCCTGAC | 2 | 1X |
| 72_RIGHT | ACTCTGAACTCACTTTCCATCCAAC | 2 | 1X |
| 73_LEFT | CAATTTTGTAATGATCCATTTTTGGGTGT | 1 | 2.5X |
| 73_RIGHT | CACCAGCTGTCCAACCTGAAGA | 1 | 2.5X |
| 74_LEFT | ACATCACTAGGTTTCAAACTTTACTTGC | 2 | 7X |
| 74_RIGHT | GCAACACAGTTGCTGATTCTCTTC | 2 | 7X |
| 75_LEFT | AGAGTCCAACCAACAGAATCTATTGT | 1 | 7X |
| 75_RIGHT | ACCACCAACCTTAGAATCAAGATTGT | 1 | 7X |
| 76_LEFT | AGGGCAAACTGGAAAGATTGCT | 2 | 2.5X |
| 76_LEFT_alt3 | GGGCAAACTGGAAAGATTGCTGA | 2 | 2.5X |
| 76_RIGHT | ACACCTGTGCCTGTTAAACCAT | 2 | 2.5X |
| 76_RIGHT_alt0 | ACCTGTGCCTGTTAAACCATTGA | 2 | 2.5X |
| 77_LEFT | CCAGCAACTGTTTGTGGACCTA | 1 | 1X |
| 77_RIGHT | CAGCCCCTATTAAACAGCCTGC | 1 | 1X |
| 78_LEFT | CAACTTACTCCTACTTGGCGTGT | 2 | 1X |
| 78_RIGHT | TGTGTACAAAAACTGCCATATTGCA | 2 | 1X |
| 79_LEFT | GTGGTGATTCAACTGAATGCAGC | 1 | 1X |
| 79_RIGHT | CATTTCATCTGTGAGCAAAGGTGG | 1 | 1X |
| 80_LEFT | TTGCCTTGGTGATATTGCTGCT | 2 | 1X |
| 80_RIGHT | TGGAGCTAAGTTGTTTAACAAGCG | 2 | 1X |
| 81_LEFT | GCACTTGGAAAACTTCAAGATGTGG | 1 | 2.5X |
| 81_RIGHT | GTGAAGTTCTTTTCTTGTGCAGGG | 1 | 2.5X |
| 82_LEFT | GGGCTATCATCTTATGTCCTTCCCT | 2 | 1X |
| 82_RIGHT | TGCCAGAGATGTCACCTAAATCAA | 2 | 1X |
| 83_LEFT | TCCTTTGCAACCTGAATTAGACTCA | 1 | 2.5X |
| 83_RIGHT | TTTGACTCCTTTGAGCACTGGC | 1 | 2.5X |
| 84_LEFT | TGCTGTAGTTGTCTCAAGGGCT | 2 | 1X |
| 84_RIGHT | AGGTGTGAGTAAACTGTTACAAACAAC | 2 | 1X |
| 85_LEFT | ACTAGCACTCTCCAAGGGTGTT | 1 | 2.5X |
| 85_RIGHT | ACACAGTCTTTTACTCCAGATTCCC | 1 | 2.5X |
| 86_LEFT | TCAGGTGATGGCACAACAAGTC | 2 | 2.5X |
| 86_RIGHT | ACGAAAGCAAGAAAAAGAAGTACGC | 2 | 2.5X |
| 87_LEFT | CGACTACTAGCGTGCCTTTGTA | 1 | 1X |
| 87_RIGHT | ACTAGGTTCCATTGTTCAAGGAGC | 1 | 1X |
| 88_LEFT | CCATGGCAGATTCCAACGGTAC | 2 | 1X |
| 88_RIGHT | TGGTCAGAATAGTGCCATGGAGT | 2 | 1X |
| 89_LEFT | GTACGCGTTCCATGTGGTCATT | 1 | 2.5X |
| 89_LEFT_alt2 | CGCGTTCCATGTGGTCATTCAA | 1 | 2.5X |
| 89_RIGHT | ACCTGAAAGTCAACGAGATGAAACA | 1 | 2.5X |
| 89_RIGHT_alt4 | ACGAGATGAAACATCTGTTGTCACT | 1 | 2.5X |
| 90_LEFT | ACACAGACCATTCCAGTAGCAGT | 2 | 1X |
| 90_RIGHT | TGAAATGGTGAATTGCCCTCGT | 2 | 1X |
| 91_LEFT | TCACTACCAAGAGTGTGTTAGAGGT | 1 | 7X |
| 91_RIGHT | TTCAAGTGAGAACCAAAAGATAATAAGCA | 1 | 7X |
| 92_LEFT | TTTGTGCTTTTTAGCCTTTCTGCT | 2 | 1X |
| 92_RIGHT | AGGTTCCTGGCAATTAATTGTAAAAGG | 2 | 1X |
| 93_LEFT | TGAGGCTGGTTCTAAATCACCCA | 1 | 1X |
| 93_RIGHT | AGGTCTTCCTTGCCATGTTGAG | 1 | 1X |
| 94_LEFT | GGCCCCAAGGTTTACCCAATAA | 2 | 1X |
| 94_RIGHT | TTTGGCAATGTTGTTCCTTGAGG | 2 | 1X |
| 95_LEFT | TGAGGGAGCCTTGAATACACCA | 1 | 7X |
| 95_RIGHT | CAGTACGTTTTTGCCGAGGCTT | 1 | 7X |
| 96_LEFT | GCCAACAACAACAAGGCCAAAC | 2 | 1X |
| 96_RIGHT | TAGGCTCTGTTGGTGGGAATGT | 2 | 1X |
| 97_LEFT | TGGATGACAAAGATCCAAATTTCAAAGA | 1 | 7X |
| 97_RIGHT | ACACACTGATTAAAGATTGCTATGTGAG | 1 | 7X |
| 98_LEFT | AACAATTGCAACAATCCATGAGCA | 2 | 2.5X |
| 98_RIGHT | TTCTCCTAAGAAGCTATTAAAATCACATGG | 2 | 2.5X |

Primer sequences are from the ARTICv3 primer set (Quick 2020).

1 Relative primer concentration in each pool is indicated under Ratio.

Quick J, Loman NJ. hCoV-2019/nCoV-2019 Version 3 Amplicon Set. March 24, 2020. Available: https://artic.network/resources/ncov/ncov-amplicon-v3.pdf.

Table S3. SARS-CoV-2 primer binding site mutations found in samples (n=3,506) collected between January and February of 2021

| Position1 | Reference >Variant | Prevalence in the study cohort, %2 | ARTICv3 Primer Name | Primer binding site mutation3 (5' to 3') |
| --- | --- | --- | --- | --- |
| 1,578 | T>C | 1.3 | nCoV-2019_6_LEFT | GGTGcTGTTGGAGAAGGTTCCG |
| 2,258 | G>A | 2.7 | nCoV-2019_7_RIGHT | TGCACAGGTGAtAATTTGTCCA |
| 2,258 | G>A | 2.7 | nCoV-2019_7_RIGHT_alt5 | AGGTGAtAATTTGTCCACCGAC |
| 4,683 | C>T | 1.0 | nCoV-2019_15_RIGHT_alt3 | ACTGTAaCTGGCACTTTGAGAGA |
| 5,011 | A>C | 1.7 | nCoV-2019_16_RIGHT | CACAACgTGCGTGTGGAGGTTA |
| 5,869 | C>T | 2.5 | nCoV-2019_20_LEFT | AtAAAGAAAACAGTTACACAACAACCA |
| 6,730 | C>T | 1.0 | nCoV-2019_23_LEFT | ACAACTACTAAtATAGTTACACGGTGT |
| 8,264 | G>T | 1.7 | nCoV-2019_28_LEFT | ACATAGAAGTTACTtGCGATAGTTGT |
| 9,204 | A>G | 2.7 | nCoV-2019_31_LEFT | TTCTGAGTACTGTAGGCACGGC |
| 10,369 | C>T | 1.3 | nCoV-2019_35_LEFT | TGTTCGtATTCAACCAGGACAG |
| 10,741 | C>T | 2.3 | nCoV-2019_35_RIGHT | ACTTCATAGCCACAAGGTTAAAaTCA |
| 12,484 | C>T | 1.4 | nCoV-2019_41_RIGHT | TGGTATaACAACCATTAGTTTGGCT |
| 12,789 | C>T | 4.2 | nCoV-2019_42_RIGHT | CCTACCTCCCTTTaTTGTGTTGT |
| 13,019 | C>T | 2.3 | nCoV-2019_44_LEFT | TGCCACAGTACGTtTACAAGCT |
| 13,019 | C>T | 2.3 | nCoV-2019_44_LEFT_alt3 | CCACAGTACGTtTACAAGCTGG |
| 16,500 | A>C | 1.3 | nCoV-2019_54_RIGHT | AACCAAAAACgTGTCCATTAGCACA |
| 21,364 | C>T | 1.9 | nCoV-2019_71_LEFT | ACAAATtCAATTCAGTTGTCTTCCTATTC |
| 22,018 | G>T | 17.7 | nCoV-2019_72_RIGHT | ACTCTGAACTCACTTTCCATaCAAC |
| 22,335 | G>T | 1.9 | nCoV-2019_73_RIGHT | CACCAGCTGTCaAACCTGAAGA |
| 23,191 | C>T | 1.4 | nCoV-2019_76_RIGHT | ACACCTGTGCCTGTTAAACCAT |
| 25,907 | G>T | 41.6 | nCoV-2019_86_LEFT | TCAGtTGATGGCACAACAAGTC |
| 26,305 | C>G | 1.3 | nCoV-2019_86_RIGHT | ACGAAAGCAAcAAAAAGAAGTACGC |
| 28,087 | C>T | 2.7 | nCoV-2019_93_LEFT | TGAGGtTGGTTCTAAATCACCCA |
| 29,362 | C>T | 17.9 | nCoV-2019_96_RIGHT | TAGGCTCTGTTGGTGGaAATGT |
| 29,377 | T>A | 1.5 | nCoV-2019_96_RIGHT | TtGGCTCTGTTGGTGGGAATGT |

1 Variant position is shown against a SARS-CoV-2 reference genome 0MN908947.3.

2 Shown only prevalence >1%

3 Red lower case indicates mutation in the primer binding site.

Table S4. SARS-CoV-2 clade comparison between the high-throughput 2-step PCR workflow and a standard ARTIC v3 workflow

|  |  |  | Clade by ARTIC v3 method |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Clade1 | 19B |  | 20A | 20B | 20C | 20G | 20H (Beta, V2) | 20I (Alpha, V1) | 20J (Gamma, V3) | 21A (Delta) | 21C (Epsilon) | 21D (Eta) | 21F (Iota) | 21G (Lambda) | 21H |  | Total |  |  |  |
| Clade by 2-step PCR method | 19B |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  |  |  |
|  | 20A |  |  | 53 |  |  |  |  |  |  |  |  |  |  |  |  |  | 53 |  |  |  |
|  | 20B |  |  |  | 105 |  |  |  | 1 |  |  |  |  |  |  |  |  | 106 |  |  |  |
|  | 20C |  |  |  |  | 98 |  |  |  |  |  |  |  |  |  |  |  | 98 |  |  |  |
|  | 20G |  |  |  |  |  | 175 |  |  |  |  |  |  |  |  |  |  | 175 |  |  |  |
|  | 20H (Beta, V2) |  |  |  |  |  |  | 7 |  |  |  |  |  |  |  |  |  | 7 |  |  |  |
|  | 20I (Alpha, V1) |  |  |  |  |  |  |  | 713 |  |  |  |  |  |  |  |  | 713 |  |  |  |
|  | 20J (Gamma, V3) |  |  |  |  |  |  |  |  | 44 |  |  |  |  |  |  |  | 44 |  |  |  |
|  | 21A (Delta) |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |
|  | 21C (Epsilon) |  |  |  |  |  |  |  |  |  |  | 101 |  |  |  |  |  | 101 |  |  |  |
|  | 21D (Eta) |  |  |  |  |  |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  |
|  | 21F (Iota) |  |  |  |  |  |  |  |  |  |  |  |  | 131 |  |  |  | 131 |  |  |  |
|  | 21G (Lambda) |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  | 1 |  |  |  |
|  | 21H |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  | 3 |  |  |  |
|  | Total |  | 3 | 53 | 105 | 98 | 175 | 7 | 714 | 44 |  | 101 | 10 | 131 | 1 | 3 |  | 1446 |  |  |  |

1 SARS-CoV-2 clades were assigned with Nextclade (https://clades.nextstrain.org/).

Table S5. SARS-CoV-2 lineage comparison between the high-throughput 2-step PCR workflow and a standard ARTIC v3 workflow

Table S6. SARS-CoV-2 primer binding site mutations causing amplicon dropout by a standard ARTIC v3 workflow

| Clade | Number Sample | Failed Amplicon | Affected Primer | Primer Sequence1 (5' to 3') | Position2 | Reference | Variant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 20H (Beta, V2) | 7 | ARTICv3-74 | nCoV-2019_74_LEFT | ACATCACTAGGTTTCAAAC(tttacttgc) | 22281 | C | -TTTACTTGC |
| 21A (Delta) | 1 | ARTICv3-72 | nCoV-2019_72_RIGHT | ACTC(tgaact)CACTTTCCATCCAAC | 22028 | G | -AGTTCA |
| 21C (Epsilon) | 113 | ARTICv3-72 | nCoV-2019_72_RIGHT | ACTCTGAACTCACTTTCCATaCAAC | 22018 | G | T |
| 21G (Lambda) | 1 | ARTICv3-97 | nCoV-2019_97_LEFT | TGGATGACAAAGATCCAAATTTtAAAGA | 29311 | C | T |
|  |  |  | nCoV-2019_97_RIGHT | ACACACTGATTAAAGATTaCTATGTGAG | 29675 | C | T |

1 Red lower case indicates mutation in the primer binding site; deleted nucleotides are shown in parentheses.

2 Variant position is shown against a SARS-CoV-2 reference genome 0MN908947.3.

Table S7. Proportion of samples generating complete SARS-CoV-2 consensus sequence by the high-throughput workflow and a standard ARTIC v3 workflow

|  | High-throughput workflow |  |  |  |  | ARTIC v3 workflow |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clade | Number complete | Number incomplete | Total assessed | Percent complete |  | Number complete | Number incomplete | Total assessed | Percent complete |
| 20H (Beta, V2) | 4 | 1 | 5 | 80.0 |  | 16 | 69 | 85 | 18.8 |
| 21A (Delta) | 855 | 42 | 897 | 95.3 |  | 4 | 515 | 519 | 0.8 |
| 21C (Epsilon) | 7 | 0 | 7 | 100.0 |  | 5 | 256 | 261 | 1.9 |
| 21G (Lambda) | 15 | 3 | 18 | 83.3 |  | 1 | 29 | 30 | 3.3 |
| Total | 881 | 46 | 927 | 95.0 |  | 26 | 869 | 895 | 2.9 |

Different sample set was used between the two workflows.

Percent genome coverage was determined by counting the number of nucleotides meeting minimum coverage requirement divided by the total SARS-CoV-2 genome length excluding the 5’ (1-54nt) and 3’ (29,836–29,903nt) ends not covered by the amplicon panel.