|  | Most significant |  | → | → | → | → | → | → | Least significant |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Value | Vision | Central retina | Inner Temporal | Inner Superior | Inner Nasal | Inner Inferior | Outer Temporal | Outer Superior | Outer Nasal | Outer Inferior |
| State number | Normal or Reduced | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin | Normal or Thick or Thin |
| Response number | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse | Same or Better or Worse |

(Table 1- stacked values for weighted sum of response and state number)

|  | Response number |  |  |
| --- | --- | --- | --- |
|  | Worse | Same | Better |
| State number |  |  |  |
| Thickened | Treat and reduce interval towards minimum. If at minimum interval already, consider treating with different agent | Treat and keep interval the same | Treat and extend treatment interval |
| Normal | Treat and reduce interval towards minimum | Treat and extend treatment interval | Treat and extend treatment interval |
| Thinned | Treat and reduce interval towards minimum | Treat and extend treatment interval | Treat and extend treatment interval Give warning notice to user |

(Table 2 – management recommendation based on state and response number)

(Figure 1. state and response of individual patient over time)

(figure 2. Graphical representation of algorithm output describing recommended interval change)

(Figure 3 Changing the macular thickness thresholds)

(Figure 4 showing total comparison of intervals by clinician and software)

(Figure 5. Scatter graph to show the consensus between clinician and software in AMD patients)

(Figure 6. Histograms of intervals in weeks suggested by the software compared to the clinician gold standard.

(Figure 7. Histogram of comparison between software to clinician over 3 visits)

2   4   6   8   10    12

2       0   0   1   0   0   0

4       0   2   2   2   4   1

6       0   1   3   2   5   0

8       0   0   3   4   5   3

10      0   0   3   2   4   0

12      0   1   1   0   4   9

(Figure 8. Matrix of confusion for DMO consensus between clinician and software)

(Figure 9. Histogram for non-Caucasians)

Accuracy EKHUFT 86%     			Accuracy GSTT: 85%

(Figure 10. Histogram of difference to compare results from two different Trusts)

(Figure 11. Histogram of difference comparing NICE to clinician and software)

Clinician Accuracy: 94%, kappa: 0.8, skew 0.84, kurtosis: 3.41

Macusoft Accuracy:81%  kappa:.0.9 Skew 0.95, Kurtosis: 3.42

(Figure 12. Bald-Altman plot he bald-Alman plot confirming no overall bias)