Supplementary materials

Fractionation of the Peptide signal into 10 peptide classes of calibrated MW

Table 1 Characteristics of the 10 custom peptides classes defined specifying their MW ranges, expected number of peptidic AAs in the peptide chain, and elution time ranges

| Classes | Class 1 | Class 2 | Class 3 | Class 4 | Class 5 | Class 6 | Class 7 | Class 8 | Class 9 | Class 10 | - |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MW (g/mol) | 8270 | 5789 | 4054 | 2834 | 1985 | 1388 | 972 | 680 | 476 | 333 | 233 |
| nbaa | 67.9 | 46.4 | 32.4 | 22.6 | 15.8 | 11.0 | 7.7 | 5.3 | 3.7 | 2.5 | 1.8 |
| Elution time (min) | 13,0 | 15,5 | 18,0 | 20,5 | 23,0 | 25,5 | 28,0 | 30,5 | 33,0 | 35,5 | 38,0 |

MW distribution of keratin hydrolysates

Fig. 1 Peptides MW distribution of hydrolysates from experiment E12 as determined by the proposed SE-HPLC methodology

Results of the calibration of the Superdex Increase column – Peptides

Table 2 The retention times, MWs and sequences of all 26 peptide standards

| Peptide standards | Molecular weights MWs (g/mol) | Retention times (min) |
| --- | --- | --- |
| CHIIITTPPS | 1081.30 | 24.113 |
| CEHPTTGPQPPS | 1364.46 | 24.499 |
| CGHHHNP | 800.85 | 25.561 |
| HPPTWYHWGHSGHS | 1685.76 | 26.702 |
| LLLNQTVGHS | 1081.25 | 27.992 |
| HHLPPTV | 799.94 | 28.481 |
| RAERKAKE | 987.12 | 28.663 |
| NHMMMGHS | 1082.24 | 28.875 |
| FFFGPWGPQ | 1082.24 | 29.347 |
| FGGHPTWGHS | 1082.15 | 29.790 |
| KRTLR | 627.83 | 30.410 |
| FGPPPTW | 800.92 | 31.204 |
| AAGHMQW | 799.42 | 31.634 |
| RIY | 450.54 | 33.802 |
| RIY | 450.53 | 34.063 |
| EHNT | 499.48 | 34.265 |
| IF | 278.35 | 34.742 |
| TL | 232.28 | 35.115 |
| LY | 294.35 | 35.949 |
| AM | 220.29 | 36.127 |
| DF | 280.28 | 36.769 |
| KW | 332.40 | 36.845 |
| GGG | 189.17 | 37.556 |
| DY | 296.28 | 38.325 |
| SY | 268.27 | 38.394 |
| GG | 132.12 | 38.591 |

Fig. 2 Calibration of the Superdex Increase column with peptide standards

Results of the calibration of the Superdex Increase column – Free Amino Acids

Table 3 The retention times and MWs of all 18 free AAs standards

| Free AAs standards | Molecular weights MWs (g/mol) | Retention times (min) |
| --- | --- | --- |
| Leucine (Leu) | 131.18 | 36.367 |
| Isoleucine (Ile) | 131.18 | 36.565 |
| Proline (Pro) | 115.13 | 36.727 |
| Valine (Val) | 117.15 | 36.941 |
| Lysine (Lys) | 146.19 | 37.510 |
| Methionine (Met) | 149.21 | 37.582 |
| Glutamic acid (Glu) | 147.13 | 38.174 |
| Phenylalanine (Phe) | 165.19 | 38.262 |
| Alanine (Ala) | 89.10 | 38.339 |
| Arginine (Arg) | 174.20 | 38.421 |
| Histidine (His) | 155.16 | 38.640 |
| Threonine (Thr) | 119.12 | 38.655 |
| Aspartic acid (Asp) | 133.11 | 39.389 |
| Serine (Ser) | 105.09 | 39.821 |
| Glycine (Gly) | 75.07 | 40.030 |
| Tyrosine (Tyr) | 181.19 | 40.297 |
| Cysteine (C) | 121.16 | 40.807 |
| Cystine (Cys) | 240.30 | 41.991 |
| Tryptophan (W) | 204.23 | 47.087 |

The boundary retention time between Peptides and FAA (tdelim), and the lower (tlower) and upper (tupper) retention time boundaries delimiting the elution range of the two main fractions of all the 28 investigated keratin protein hydrolysates

Table 4 Hydrolysates from experiments E11 - Elution range of their constitutive Peptide and FAA fractions

Table 5 Hydrolysates from experiments E12 - Elution range of their constitutive Peptide and FAA fractions

Table 6 Hydrolysates from experiments E31 - Elution range of their constitutive Peptide and FAA fractions

Table 7 Hydrolysates from experiments E32 - Elution range of their constitutive Peptide and FAA fractions

Aminograms of hydrolysates produced in experiments E31 and E32 showing the total concentrations of free AA, total AA and Peptides, and the key parameter Maadeduced from these compositions

Table 8 Aminograms of hydrolysates produced in experiments E31 and E32 showing the total concentrations of free AA, total AA and Peptides, and the key parameter Maa deduced from these compositions using Eq. (4)

|  | E31 - Concentrations (g/L) |  |  |  |  |  |  |  |  |  |  |  |  |  | E32 - Concentrations (g/L) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | H05 |  | H15 |  | H25 |  | H35 |  | H45 |  | H55 |  | H60 |  | H05 |  | H15 |  | H25 |  | H35 |  | H45 |  | H55 |  | H60 |  |
|  | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA | Free AA | Total AA |
| Aspartic acid | 7.7 | 13.0 | 10.6 | 13.2 | 11.9 | 13.1 | 12.6 | 12.9 | 12.8 | 12.9 | 12.9 | 12.9 | 13.1 | 13.1 | 4.6 | 13.6 | 6.9 | 13.0 | 9.2 | 14.3 | 9.2 | 13.3 | 9.9 | 13.3 | 11.3 | 13.7 | 11.4 | 11.4 |
| Threonine | 1.7 | 7.7 | 3.5 | 7.9 | 4.8 | 7.8 | 5.7 | 7.7 | 6.2 | 7.7 | 6.5 | 7.4 | 6.7 | 7.3 | 0.8 | 7.9 | 1.5 | 7.7 | 2.4 | 8.4 | 2.9 | 7.9 | 2.8 | 7.8 | 3.8 | 8.5 | 4.2 | 8.1 |
| Serine | 12.1 | 21.4 | 17.1 | 21.6 | 19.4 | 21.4 | 20.7 | 20.8 | 20.9 | 21.0 | 20.6 | 20.6 | 20.5 | 20.5 | 7.6 | 21.6 | 11.0 | 21.0 | 14.7 | 22.9 | 14.7 | 21.3 | 15.6 | 18.4 | 17.8 | 22.3 | 18.3 | 21.4 |
| Glutamic acid | 7.5 | 17.1 | 11.3 | 17.1 | 13.4 | 16.7 | 14.6 | 16.5 | 15.2 | 16.5 | 15.5 | 15.5 | 15.7 | 15.8 | 3.9 | 17.7 | 6.4 | 16.9 | 9.0 | 18.4 | 9.6 | 17.0 | 10.1 | 12.4 | 12.0 | 17.9 | 12.7 | 16.7 |
| Glycine | 13.0 | 20.1 | 16.3 | 20.4 | 17.7 | 20.3 | 17.7 | 19.1 | 18.0 | 19.2 | 17.9 | 18.9 | 18.3 | 19.0 | 8.6 | 20.0 | 11.9 | 19.5 | 14.9 | 21.5 | 13.7 | 19.9 | 14.9 | 18.5 | 16.0 | 18.5 | 16.6 | 19.4 |
| Alanine | 5.5 | 10.9 | 7.9 | 11.0 | 9.2 | 10.7 | 9.7 | 10.4 | 9.9 | 10.3 | 10.3 | 10.6 | 10.4 | 10.7 | 2.6 | 11.0 | 4.8 | 10.5 | 6.7 | 11.4 | 6.7 | 10.8 | 7.1 | 12.3 | 7.7 | 11.0 | 8.4 | 10.7 |
| Valine | 2.6 | 13.5 | 3.7 | 13.5 | 4.8 | 13.5 | 5.8 | 13.2 | 6.7 | 13.1 | 7.2 | 13.0 | 7.5 | 13.0 | 2.2 | 13.8 | 2.6 | 13.5 | 3.1 | 14.9 | 3.0 | 13.8 | 3.1 | 13.5 | 4.0 | 13.6 | 4.2 | 13.3 |
| Cystine | 2.0 | 21.4 | 5.0 | 21.2 | 7.5 | 21.1 | 9.2 | 20.3 | 10.1 | 20.2 | 11.4 | 20.6 | 11.7 | 21.3 | 0.0 | 23.6 | 1.7 | 22.5 | 2.7 | 24.2 | 3.9 | 21.4 | 3.8 | 26.0 | 5.7 | 24.6 | 6.3 | 21.2 |
| Methionine | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0.7 | 0.7 | 0.8 | 0.8 | 1.1 | 1.1 | 1.1 | 1.1 | 1.0 | 1.0 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.9 | 0.9 |
| Isoleucine | 1.1 | 8.0 | 2.3 | 8.1 | 2.9 | 8.1 | 3.6 | 7.8 | 4.0 | 7.7 | 4.3 | 7.2 | 4.6 | 7.3 | 0.3 | 8.1 | 0.8 | 7.9 | 1.2 | 8.7 | 1.8 | 8.2 | 1.8 | 8.1 | 2.2 | 8.1 | 2.2 | 8.0 |
| Leucine | 4.6 | 16.5 | 7.9 | 16.5 | 10.1 | 16.4 | 11.3 | 15.7 | 12.2 | 15.5 | 13.1 | 15.1 | 13.3 | 15.2 | 2.4 | 16.8 | 3.9 | 16.2 | 5.8 | 17.7 | 6.5 | 16.4 | 6.6 | 16.5 | 8.7 | 16.4 | 9.2 | 16.3 |
| Tyrosine | 3.8 | 10.0 | 5.8 | 10.2 | 6.9 | 10.2 | 7.8 | 10.2 | 8.2 | 10.0 | 4.6 | 11.6 | 4.5 | 10.6 | 2.5 | 9.9 | 3.7 | 10.0 | 4.9 | 10.9 | 5.0 | 10.0 | 5.1 | 10.1 | 6.1 | 10.4 | 6.5 | 10.5 |
| Phenylalanine | 3.8 | 10.0 | 5.4 | 10.1 | 6.7 | 9.8 | 7.5 | 9.6 | 8.2 | 9.6 | 8.2 | 9.6 | 8.5 | 9.2 | 2.9 | 10.2 | 3.7 | 9.9 | 4.8 | 10.7 | 5.0 | 10.0 | 5.0 | 10.1 | 5.9 | 10.2 | 6.5 | 9.9 |
| Lysine | 1.0 | 3.1 | 1.5 | 3.0 | 2.0 | 2.9 | 2.1 | 2.8 | 2.3 | 2.9 | 2.2 | 2.5 | 2.4 | 2.6 | 0.6 | 3.2 | 0.9 | 3.2 | 1.3 | 3.4 | 1.4 | 3.1 | 1.5 | 2.5 | 1.7 | 2.4 | 1.7 | 2.8 |
| Histidine | 0.5 | 1.5 | 0.8 | 1.4 | 1.0 | 1.3 | 1.1 | 1.2 | 1.2 | 1.2 | 1.0 | 1.0 | 1.0 | 1.0 | 0.0 | 1.8 | 0.7 | 1.8 | 0.8 | 1.8 | 0.7 | 1.5 | 0.7 | 1.4 | 0.9 | 1.6 | 1.1 | 1.5 |
| Arginine | 3.0 | 10.9 | 5.4 | 11.1 | 6.7 | 10.8 | 7.9 | 10.5 | 8.4 | 10.3 | 8.8 | 9.8 | 8.4 | 10.0 | 1.8 | 11.6 | 2.9 | 11.1 | 4.2 | 12.1 | 4.3 | 10.8 | 4.4 | 10.8 | 5.9 | 11.5 | 5.9 | 10.9 |
| Proline | 6.4 | 17.4 | 10.1 | 18.4 | 14.9 | 18.3 | 13.4 | 15.9 | 15.0 | 16.3 | 17.0 | 18.1 | 17.7 | 18.3 | 3.6 | 19.5 | 6.1 | 18.7 | 9.2 | 20.1 | 10.3 | 18.1 | 10.1 | 19.2 | 10.9 | 19.1 | 10.8 | 19.1 |
| Total (g/L) | 77 | 203 | 115 | 205 | 140 | 203 | 151 | 195 | 160 | 195 | 162 | 195 | 165 | 196 | 46 | 211 | 71 | 204 | 96 | 222 | 100 | 204 | 103 | 202 | 122 | 211 | 127 | 202 |
| Peptides (g/L) | 126 |  | 90 |  | 63 |  | 44 |  | 35 |  | 33 |  | 31 |  | 166 |  | 134 |  | 127 |  | 105 |  | 99 |  | 89 |  | 75 |  |
| Maa (g.mol-1) | 123 | 138 | 127 | 137 | 129 | 137 | 131 | 138 | 132 | 138 | 131 | 138 | 131 | 138 | 120 | 139 | 124 | 139 | 125 | 138 | 127 | 138 | 126 | 140 | 129 | 140 | 129 | 138 |