## Summary
Summary | Value
Total Reports | 38437
Patient Demographics | Value | Frequency | Percentage
Age (years) median (range) | 64 (0-32485)
Weight median (range) | 84.0 (10.0-224.0)
Sex | Male | 22464 | 63.6%
| Female | 9380 | 26.6%
| Unknown | 3463 | 9.8%
| Prefer Not To Disclose | 1 | 0.0%
Ethnicity | Non Hispanic | 23105 | 89.9%
| Hispanic | 2601 | 10.1%
Race | White | 19868 | 73.1%
| Black Or African American | 3647 | 13.4%
| Asian | 3418 | 12.6%
| Native Hawaiian Or Other Pacific Islander | 135 | 0.5%
| American Indian Or Alaskan Native | 117 | 0.4%
| American Indian Or Alaskan Native, White | 1 | 0.0%
| Asian, White | 1 | 0.0%
Event Type | Frequency | Percentage
Injury | 19047 | 49.6%
Malfunction | 14763 | 38.4%
Death | 4620 | 12.0%
Other | 2 | 0.0%
Report Source Code | Frequency | Percentage
Manufacturer report | 38112 | 99.2%
User Facility report | 210 | 0.5%
Voluntary report | 115 | 0.3%
Source Type | Frequency | Percentage
User facility | 36296 | 30.4%
Company representation | 36206 | 30.4%
Health Professional | 36125 | 30.3%
Foreign | 6592 | 5.5%
COMPANY REPRESENTATIVE | 1294 | 1.1%
Study | 713 | 0.6%
HEALTH | 536 | 0.4%
FOREIG | 474 | 0.4%
CONSUM | 251 | 0.2%
Literature | 216 | 0.2%
Consumer | 141 | 0.1%
Distributor | 108 | 0.1%
DISTRIBUTOR | 107 | 0.1%
FOREIGN | 47 | 0.0%
Other | 37 | 0.0%
HEALTH PROFESSION | 27 | 0.0%
HEALTH PROFESSIONAL | 25 | 0.0%
USER F | 14 | 0.0%
DISTRI | 11 | 0.0%
CONSUMER | 9 | 0.0%
LITERATURE | 6 | 0.0%
OTHER | 6 | 0.0%
HEALTH PR | 5 | 0.0%
LITERA | 4 | 0.0%
USER FACI | 4 | 0.0%
Unknown | 3 | 0.0%
HEALTH PROFE | 3 | 0.0%
USER FACILITY | 3 | 0.0%
U | 2 | 0.0%
L | 1 | 0.0%
STUDY | 1 | 0.0%
Reporter Occupation Code | Frequency | Percentage
PHYSICIAN | 34248 | 93.2%
BIOMEDICAL ENGINEER | 1217 | 3.3%
OTHER HEALTH CARE PROFESSIONAL | 870 | 2.4%
003 | 179 | 0.5%
OTHER | 103 | 0.3%
RISK MANAGER | 67 | 0.2%
NURSE | 43 | 0.1%
PHYSICIAN ASSISTANT | 11 | 0.0%
PHARMACIST | 8 | 0.0%
PATIENT FAMILY MEMBER OR FRIEND | 6 | 0.0%
UNKNOWN | 5 | 0.0%
PATIENT | 2 | 0.0%
505 | 2 | 0.0%
117 | 1 | 0.0%
Product Code | Frequency | Percentage
OZD | 36226 | 94.2%
PYX | 1798 | 4.7%
DYB | 158 | 0.4%
KFM | 130 | 0.3%
PBL | 67 | 0.2%
OJE | 24 | 0.1%
DQX | 14 | 0.0%
OXD | 7 | 0.0%
DWA | 6 | 0.0%
QOC | 4 | 0.0%
PXY | 3 | 0.0%
DSQ | 3 | 0.0%
OVD | 1 | 0.0%
UNK | 1 | 0.0%
- | 1 | 0.0%
OXY | 1 | 0.0%
DXY | 1 | 0.0%
LWS | 1 | 0.0%
DWB | 1 | 0.0%
DSP | 1 | 0.0%
Model Number | Frequency | Percentage
IMPELLA CP | 19024 | 50.9%
IMPELLA 5.5 | 6878 | 18.4%
AUTOMATED IMPELLA CONTROLLER | 3478 | 9.3%
IMPELLA RP | 995 | 2.7%
IMPELLA RP FLEX | 548 | 1.5%
IMPELLA 5.0 | 533 | 1.4%
IMPELLA CP SMARTASSIST JP | 377 | 1.0%
PUMP 371 14F LT CMR SET | 374 | 1.0%
PUMP 380 14F LT CMR SET (US) | 363 | 1.0%
IMPELLA CP PUMP SET, JAPAN | 332 | 0.9%
IMPELLA 5.5 WITH SMARTASSIST S2 SET, US | 329 | 0.9%
IMPELLA 5.5 WITH SMARTASSIST SET, US | 295 | 0.8%
IMPELLA 2.5 | 270 | 0.7%
IMPELLA CONTROLLER, PACKAGED, US | 251 | 0.7%
IMPELLA CP EU | 224 | 0.6%
AUTOMATED IMPELLA CONTROLLER (AIC) | 217 | 0.6%
PUMP 550 S2 PUMP SET | 209 | 0.6%
IMPELLA CP PUMP 371 SET, US | 155 | 0.4%
IMPELLA 2.5 PUMP SET, JAPAN | 129 | 0.3%
IMPELLA CONTROLLER | 104 | 0.3%
IMPELLA CP-JP | 94 | 0.3%
IMPELLA 5.0 PUMP SET, JAPAN | 94 | 0.3%
PUMP 550 S2 PUMP SET ¿ (LMR) | 81 | 0.2%
IMPELLA RP US PUMP SET | 74 | 0.2%
PUMP SET, PUMP 381 (US) | 66 | 0.2%
OPTICAL, AIC, IMPELLA CONNECT, PKGD, US | 60 | 0.2%
TESTED OPTICAL AIC W/IMPELLA CONNECT | 60 | 0.2%
IMPELLA LD | 58 | 0.2%
IMPELLA CP-EU | 58 | 0.2%
IMPELLA CP - JP | 55 | 0.1%
IMPELLA 5.5 EU | 51 | 0.1%
IMPELLA CP PUMP | 49 | 0.1%
IMPELLA CP C7 W V3 GWRU SET, US | 45 | 0.1%
IMPELLA CP PUMP SET EU | 45 | 0.1%
IMPELLA CP - EU | 44 | 0.1%
IMPELLA 5.0 EU | 43 | 0.1%
IMPELLA CP JP | 41 | 0.1%
IMPELLA | 40 | 0.1%
0052-3025 | 40 | 0.1%
0048-0003 | 39 | 0.1%
IMPELLA 5.0 AIC PUMP SET US | 39 | 0.1%
0052-3021 | 37 | 0.1%
IMPELLA CP PUMP 380 SMART ASSIST SET, EU | 37 | 0.1%
UNKNOWN | 36 | 0.1%
IMPELLA LP2.5 | 34 | 0.1%
0052-3000 | 32 | 0.1%
IMPELLA RP EU | 28 | 0.1%
IMPELLA 5.5 WITH SMART ASSIST SET, EU | 27 | 0.1%
IMPELLA 5.5 SMARTASSIST SET, JP | 27 | 0.1%
0052-3006 | 27 | 0.1%
RP FLEX W SMART ASSIST SET, US | 26 | 0.1%
RP W SMART ASSIST SET, US | 25 | 0.1%
IMPELLA OPTICAL CONTROLLER, PACKAGED, US | 24 | 0.1%
IMPELLA CONTROLLER, PACKAGED, JP | 23 | 0.1%
IMPELLA 2.5 EU | 21 | 0.1%
IMPELLA CONTROLLER, PACKAGED, EU | 21 | 0.1%
* | 20 | 0.1%
IMPELLA 2.5 AIC PUMP SET US | 19 | 0.1%
IMPELLA OPTICAL CONTROLLER, PACKAGED, EU | 18 | 0.0%
PUMP 550 | 17 | 0.0%
IMPELLA CP EU | 16 | 0.0%
IMPELLA 5.5 PUMP | 16 | 0.0%
IMPELLA LP5.0 | 16 | 0.0%
IMPELLA 5.5 JP | 15 | 0.0%
IMPELLA 5.5 - JP | 15 | 0.0%
AUTOMATED IMPELLA CONTROLLER EU | 13 | 0.0%
IMPELLA CP PUMP SET, US | 12 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST S2 SET, EU | 11 | 0.0%
1000100 | 11 | 0.0%
IMPELLA 5.5-JP | 11 | 0.0%
IMPELLA 5.5 PUMP SET JP | 11 | 0.0%
IMPELLA CP JP | 10 | 0.0%
IMPELLA LD AIC PUMP SET US | 10 | 0.0%
OPTICAL AIC W/IMPELLA CONNECT | 9 | 0.0%
IMPELLA 5.5 - EU | 9 | 0.0%
IMEPLLA CP | 8 | 0.0%
LP2.5 | 8 | 0.0%
IMPELLA CP SMART ASSIST SET APAC | 8 | 0.0%
IMPELLA CPSA C9+ SET, OUS | 8 | 0.0%
IMPELLA 5.5-EU | 8 | 0.0%
PUMP SET, PUMP 380 (US) | 8 | 0.0%
IMPELLA LP 2.5 PUMP | 8 | 0.0%
IMPELLA LP 5.0 PUMP | 7 | 0.0%
IMPELLA 2.5-EU | 7 | 0.0%
RP FLEX | 7 | 0.0%
IMPELLA OPTICAL CONTROLLER | 7 | 0.0%
IMPELLA CP PUMP SET | 7 | 0.0%
IMPELLA CP SMARTASSIST | 7 | 0.0%
0550-0008 | 7 | 0.0%
GUIDE WIRE 0.018"PTFE COATED | 7 | 0.0%
005062 | 6 | 0.0%
LP 5.0 | 6 | 0.0%
IMPELLA CP SMART ASSIST SET, EU | 6 | 0.0%
IMPELLA CP SMART ASSIST SET, JP | 6 | 0.0%
AUTOMATED IMPELLA CONTROLLER JP | 6 | 0.0%
004334 | 6 | 0.0%
LP 2.5 | 6 | 0.0%
0042-0000-US | 6 | 0.0%
ABIOMED, INC. | 5 | 0.0%
IMPELLA CP -JP | 5 | 0.0%
2000154 | 5 | 0.0%
OPTICAL AIC W/IMPELLA CONNECT, PKGD, JP | 4 | 0.0%
IMPELLA RP US | 4 | 0.0%
CP C-7 NO ACCESS PUMP SET, US | 4 | 0.0%
IMPELLA 5.5 PUMP 550 SET, EU | 4 | 0.0%
0052-3001 | 4 | 0.0%
.018 IN (0.47MM) | 4 | 0.0%
IMPELLA CP SMART ASSIST SET, CANADA | 4 | 0.0%
0042-0010-US | 4 | 0.0%
GUIDE WIRE 0.018" PTFE COATED | 4 | 0.0%
IMPELLA CP- JP | 4 | 0.0%
IMPELLA CP APAC | 4 | 0.0%
0052-3014 | 4 | 0.0%
IMPELLA CP - JP | 4 | 0.0%
PUMP 380 | 4 | 0.0%
IMPELLA CP | 3 | 0.0%
0043-0002 | 3 | 0.0%
0048-003 | 3 | 0.0%
2.5 | 3 | 0.0%
PUMP 381 PUMP SET (US) | 3 | 0.0%
IMPELLA CP OPTICAL | 3 | 0.0%
IMPELLA 5.5 JP | 3 | 0.0%
IMPELLA CP- EU | 3 | 0.0%
IMPELLA CP SMART ASSIST | 3 | 0.0%
IMPELLA 2.5-JP | 3 | 0.0%
0042-0000 | 3 | 0.0%
IMPELLA 5.0-EU | 3 | 0.0%
OPTICAL AIC W/IMPELLA CONNECT,PACK'D, EU | 3 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET, EU | 3 | 0.0%
IMPELLA RP FLEX WITH SMART ASSIST | 2 | 0.0%
IMPELLA 5.0 JP | 2 | 0.0%
IMPELLA CP CANADA | 2 | 0.0%
AUTOMATIC IMPELLA CONTROLLER | 2 | 0.0%
IMPELLA CP - APAC | 2 | 0.0%
IMPELLA CONTROLLER, US | 2 | 0.0%
0042-0040 | 2 | 0.0%
CANADA 5.0 | 2 | 0.0%
IMPELLA CP PUMP SET, CANADA | 2 | 0.0%
0042-0040-US | 2 | 0.0%
IMPELLA 2.5 PUMP | 2 | 0.0%
IMPELLA 5.5 -EU | 2 | 0.0%
IMPELLA 55 | 2 | 0.0%
IMPELLA 5.5 SET AU | 2 | 0.0%
IMPELLA CONTROLLER, PACKAGED, CA | 2 | 0.0%
IMPELLA 5.0 IMC PUMPEN SET EU | 2 | 0.0%
CP C-7 14FR PUMP SET, US | 2 | 0.0%
CANADA 5.0 AIC | 2 | 0.0%
0048-0045 | 2 | 0.0%
IMPELLA RP PUMP | 2 | 0.0%
IMPELLA PUMP, RP-IJ, STERILE | 2 | 0.0%
0052-3025-JP | 2 | 0.0%
IMPELLA 5.5 SMARTASSIST | 2 | 0.0%
PURGE CASSETTES | 2 | 0.0%
IMEPELLA CP | 2 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET | 2 | 0.0%
IMPELLA 5.0-JP | 2 | 0.0%
IMPELLA CP OPTICAL PUMP | 1 | 0.0%
IMPELLA AIC CONTROLLER | 1 | 0.0%
+1(978)739-0590 | 1 | 0.0%
DVFB1D4 | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER S | 1 | 0.0%
P140003 | 1 | 0.0%
IMPELLA CP, APAC | 1 | 0.0%
42413 | 1 | 0.0%
5.0 CATHETER | 1 | 0.0%
GUIDE WIRE, 0.018", PTFE COATED | 1 | 0.0%
IMPELLA AUTOMATED CONTROLLER *(AIC) | 1 | 0.0%
V8.2 | 1 | 0.0%
IMPELLA LR 0.018¿ PTFE GUIDEWIRE | 1 | 0.0%
IMPELLA 5.0 IMC PUMP SET CANADA | 1 | 0.0%
LOG1508821329 | 1 | 0.0%
0048-0024 | 1 | 0.0%
IMPELLA 5.0 PUMP SET APAC | 1 | 0.0%
01-00813502010879101357925 | 1 | 0.0%
138129 | 1 | 0.0%
004603 | 1 | 0.0%
0042-0020 | 1 | 0.0%
IMPELLA RP US HDE PUMP SET | 1 | 0.0%
5.0 | 1 | 0.0%
0052-0001 | 1 | 0.0%
004680 | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER-EU | 1 | 0.0%
2.5 LITERS | 1 | 0.0%
LP2 | 1 | 0.0%
IMPELLA RP PUMP SET, EU | 1 | 0.0%
AUTOMATEDIMPELLA CONTROLLER | 1 | 0.0%
NO NUMBER | 1 | 0.0%
R9G0042400 | 1 | 0.0%
005042 | 1 | 0.0%
.018" (0.47MM) | 1 | 0.0%
.018 IN (0.47 MM) | 1 | 0.0%
0043-0001 | 1 | 0.0%
52277 - ONLY NUMBER LOCATED DUE TO HEAVY BIOBURDEN | 1 | 0.0%
0046-3061 | 1 | 0.0%
14F | 1 | 0.0%
IMP;ELLA CP | 1 | 0.0%
IMPLELLA CP | 1 | 0.0%
CP 00480003 | 1 | 0.0%
IMPLELLA LP5.0 | 1 | 0.0%
NOT KNOWN | 1 | 0.0%
IMPELLLA CP | 1 | 0.0%
05500008 | 1 | 0.0%
IMPELLA CP0048-0003 | 1 | 0.0%
0048-0003.0814 | 1 | 0.0%
00813502010879 IMPELLA CP | 1 | 0.0%
IMPELLA CP , JP | 1 | 0.0%
IMPELLA AUTOMATED CONTROLLER | 1 | 0.0%
IMPELLA 2.5 AIC PUMP SET | 1 | 0.0%
129265 | 1 | 0.0%
IMPEALL 5.0 | 1 | 0.0%
0048-0002 | 1 | 0.0%
0048-000 | 1 | 0.0%
UNK | 1 | 0.0%
0500-0008 | 1 | 0.0%
363274 | 1 | 0.0%
IMPELLA 5.5 WITH SMART ASSIST EU | 1 | 0.0%
AUTOMATED IMPELLA CONTROOLLER | 1 | 0.0%
IMPELLA CP SMART - JP | 1 | 0.0%
0052-3005 | 1 | 0.0%
UNKNOWN IMPELLA | 1 | 0.0%
0042-000-US | 1 | 0.0%
1000323 | 1 | 0.0%
IMPELL CP | 1 | 0.0%
IMPELLA PUMP 450 | 1 | 0.0%
0052-3046 | 1 | 0.0%
IMPELLA 550 | 1 | 0.0%
AUTOMATED INPELLA CONTROLLER | 1 | 0.0%
0048-3092 | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER (AIC | 1 | 0.0%
IMPELLA CP-CANADA | 1 | 0.0%
LOG1517941891 | 1 | 0.0%
IMPELLA CP SMART ASSIST SET | 1 | 0.0%
IMPELLA CP-AU | 1 | 0.0%
IMPELLA CP -EU | 1 | 0.0%
PUMP 5.5 | 1 | 0.0%
0048-0014 | 1 | 0.0%
IMPELLA CP P | 1 | 0.0%
IMPELLA R | 1 | 0.0%
IMPELLA RP SMART ASSIST | 1 | 0.0%
IMPELLA 5.5 WITH | 1 | 0.0%
IMPELLA CP - JAPAN | 1 | 0.0%
IMAUTOMATED IMPELLA CONTROLLER | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER EU | 1 | 0.0%
IMPELLA CP - CANADA | 1 | 0.0%
IMPELLA CONTROLLER US | 1 | 0.0%
IMPELLA OPTICAL CONTROLLER, UK | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER, JP | 1 | 0.0%
PUMP 371 14F LT CMR SET (US) | 1 | 0.0%
IMPELLA OPTICAL CONTROLLER, PACKAGED, UK | 1 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST | 1 | 0.0%
IMPELLA 2.5 JAPAN | 1 | 0.0%
AIC CONTROLLER | 1 | 0.0%
IMPELLA CONTROLLER EU | 1 | 0.0%
LMPELLA DEVICE | 1 | 0.0%
IMPELLA 5.5 EU | 1 | 0.0%
IMPELLA CONNECT | 1 | 0.0%
IMPELLA CP - EU | 1 | 0.0%
IMPELLA PURGE CASSETTE | 1 | 0.0%
IMPELLA CP) | 1 | 0.0%
23-13676 | 1 | 0.0%
IMPELLA CP SET WITH SMARTASSIST | 1 | 0.0%
IMPELLA CP WITH SMARTASSIST | 1 | 0.0%
IMPELLA CP -CANADA | 1 | 0.0%
GUIDE WIRE 0.018" | 1 | 0.0%
IMEPLLA 5.5 | 1 | 0.0%
IMPELLA 5.5 -JP | 1 | 0.0%
IMPELLA 5.5 -CA | 1 | 0.0%
IPX1 | 1 | 0.0%
08-NOV-2023 | 1 | 0.0%
IMPELLA 5.5, - EU | 1 | 0.0%
IMPELLA 5.5, EU | 1 | 0.0%
REF 0048-0003 | 1 | 0.0%
IMPELLA PUMP 5.5 | 1 | 0.0%
IMPELLA 2.5 AIC PUMP SET (CHINA, INDIA) | 1 | 0.0%
0042-0000-UK | 1 | 0.0%
IMEPLLA CP PUMP | 1 | 0.0%
1000080 | 1 | 0.0%
IMPELLA 5,5 | 1 | 0.0%
OPTICAL, AIC, IMPELLA CONNECT, PKGD, UK | 1 | 0.0%
IMPELLA 5.5 SMARTASSIST S2 SET, JP | 1 | 0.0%
IMPELLA 5.0 - JAPAN | 1 | 0.0%
CP IMPELLA | 1 | 0.0%
49845A | 1 | 0.0%
Manufacturer | Frequency | Percentage
ABIOMED, INC. | 33730 | 87.9%
ABIOMED, INC. - 1220648 | 1800 | 4.7%
ABIOMED, INC | 1136 | 3.0%
ABIOMED INC. | 590 | 1.5%
ABIOMED | 340 | 0.9%
ABIOMED EUROPE GMBH | 291 | 0.8%
ABIOMED. INC. | 171 | 0.4%
OSCOR INC. | 132 | 0.3%
ABIOMED EUROPE, GMBH (GERMANY) | 33 | 0.1%
ABIOMED EUROPE GMBH (GERMANY) | 21 | 0.1%
OSCOR INC | 17 | 0.0%
ABIOMED INC | 14 | 0.0%
ABIOMED EUROPE | 13 | 0.0%
IMPELLA CP | 11 | 0.0%
ABIOMED, INC. - | 10 | 0.0%
ABIOMED,INC | 6 | 0.0%
ABIOMED EUROPE GMBH - 3007904765 | 6 | 0.0%
ABIOMED, INC, | 5 | 0.0%
AACHEN, GERMANY | 5 | 0.0%
DANVERS, MA | 4 | 0.0%
ABOIMED, INC. | 3 | 0.0%
ABIOMED. INC | 3 | 0.0%
ABOIMED, INC | 3 | 0.0%
ABIOMED,INC. | 3 | 0.0%
UNKNOWN | 2 | 0.0%
AUTOMATED IMPELLA CONTROLLER | 2 | 0.0%
ABIOMED IN. | 2 | 0.0%
IMPELLA 5.5 | 2 | 0.0%
INTEGER | 2 | 0.0%
ABIOMED EUROPE, GMBH | 2 | 0.0%
ABIOMED, IN. | 2 | 0.0%
OSCOR.INC | 2 | 0.0%
JOHNSON & JOHNSON / ABIOMED, INC. | 2 | 0.0%
ABIOMED, IN.C | 2 | 0.0%
AIOMED, INC. | 1 | 0.0%
UNK | 1 | 0.0%
MEDTRONIC INC. | 1 | 0.0%
22 CHERRY HILL DR | 1 | 0.0%
ABIOMED UNKNOWN | 1 | 0.0%
ABIOMED EU | 1 | 0.0%
ABIOMED, INC.V | 1 | 0.0%
INTEGER HOLDINGS CORPORATION | 1 | 0.0%
ABIOMED , INC. | 1 | 0.0%
ABIOMED, INC. US HEADQUARTERS | 1 | 0.0%
ABIOMED.INC. | 1 | 0.0%
ABIOMED INC, | 1 | 0.0%
ABIOMD, INC. | 1 | 0.0%
ABOIOMED, INC | 1 | 0.0%
ABIONED, INC | 1 | 0.0%
ABIOMEND, INC. | 1 | 0.0%
ABIMED, INC | 1 | 0.0%
ABIOMED, INC., | 1 | 0.0%
ABIOMED, IND. | 1 | 0.0%
ABIOMED, IINC. | 1 | 0.0%
ABIMED, INC. | 1 | 0.0%
ABIOMED, INC.. | 1 | 0.0%
ABIOMED, INC.ABIOMED, INC.ABIOMED, INC.ABIOMED, IN | 1 | 0.0%
ABIOMED ,INC | 1 | 0.0%
ABIOMED.INC | 1 | 0.0%
ANGIOMED, INC. | 1 | 0.0%
BIOMED, INC | 1 | 0.0%
Manufacturer Country | Frequency | Percentage
US | 37859 | 98.9%
GM | 407 | 1.1%
AF | 1 | 0.0%
AO | 1 | 0.0%
GT | 1 | 0.0%
Brand Name | Frequency | Percentage
IMPELLA CP | 20673 | 53.8%
IMPELLA 5.5 | 7633 | 19.9%
AUTOMATED IMPELLA CONTROLLER | 3939 | 10.2%
IMPELLA RP | 1140 | 3.0%
IMPELLA 5.5 WITH SMARTASSIST S2 SET, US | 728 | 1.9%
IMPELLA 5.0 | 631 | 1.6%
IMPELLA RP FLEX | 561 | 1.5%
IMPELLA 2.5 | 332 | 0.9%
IMPELLA CP OPTICAL | 250 | 0.7%
AUTOMATED IMPELLA CONTROLLER (AIC) | 227 | 0.6%
IMPELLA | 214 | 0.6%
IMPELLA CP PUMP | 183 | 0.5%
IMPELLA CP PUMP SET | 166 | 0.4%
IMPELLA CONTROLLER, PACKAGED, US | 151 | 0.4%
IMPELLA CP EU | 140 | 0.4%
OPTICAL, AIC, IMPELLA CONNECT, PKGD, US | 119 | 0.3%
IMPELLA 2.5 PUMP | 87 | 0.2%
IMPELLA LD | 64 | 0.2%
IMPELLA CP OPTICAL PUMP | 58 | 0.2%
INTRODUCER KIT FOR IMPELLA® | 53 | 0.1%
IMPELLA 5.5 PUMP | 53 | 0.1%
IMPELLA CPSA C9+ SET, OUS | 52 | 0.1%
ABIOMED 14F INTRODUCER KIT FOR IMPELLA | 48 | 0.1%
IMPELLA CP-JP | 48 | 0.1%
IMPELLA 5.0 PUMP | 46 | 0.1%
IMPELLA 5.5 WITH SMARTASSIST S2 SET, EU | 41 | 0.1%
IMPELLA LP2.5 | 40 | 0.1%
IMPELLA CP SMARTASSIST JP | 38 | 0.1%
IMPELLA 5.5 EU | 38 | 0.1%
IMPELLA CP SMART ASSIST SET, JP | 33 | 0.1%
IMPELLA 5.0 PUMP SET | 29 | 0.1%
IMPELLA CP JP | 28 | 0.1%
IMPELLA CP SMART ASSIST SET, EU | 26 | 0.1%
IMPELLA CONTROLLER, PACKAGED, EU | 23 | 0.1%
IMPELLA 2.5 PUMP SET | 22 | 0.1%
IMPELLA OPTICAL CONTROLLER, PACKAGED, US | 21 | 0.1%
IMPELLA LP5.0 | 19 | 0.0%
IMPELLA CP-EU | 15 | 0.0%
IMPELLA 5.5 SMARTASSIST S2 SET, JP | 15 | 0.0%
AUTOMATED IMPELLA CONTROLLER EU | 13 | 0.0%
INTRODUCER KIT FOR IMPELLA | 13 | 0.0%
IMPELLA RP PUMP | 12 | 0.0%
OPTICAL AIC W/IMPELLA CONNECT,PACK'D, EU | 12 | 0.0%
ABIOMED INTRODUCER KIT FOR IMPELLA® | 11 | 0.0%
ABIOMED INTRODUCER KIT FOR IMPELLA | 10 | 0.0%
IMPELLA PURGE CASSETTE | 10 | 0.0%
IMPELLA OPTICAL CONTROLLER, PACKAGED, EU | 10 | 0.0%
IMPELLA RECOVER LP 2.5 PERCUTANEOUS CS | 10 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST | 9 | 0.0%
IMPELLA CP PUMP SET, US | 9 | 0.0%
IMPELLA 5.5 JP | 8 | 0.0%
ABIOMED IMPELLA CP | 8 | 0.0%
IMPELLA CP SMART ASSIST PUMP | 8 | 0.0%
IMPELLA LP 5.0 PUMP | 8 | 0.0%
IMPELLA 5.0-EU | 8 | 0.0%
ABIOMED 23F INTRODUCER KIT FOR IMPELLA | 7 | 0.0%
IMPELLA 2.5-EU | 7 | 0.0%
IMPELLA RECOVER LP 2.5 PERC CARDIAC SUPPORT | 7 | 0.0%
IMPELLA LP 2.5 PUMP | 7 | 0.0%
IMPELLA CONTROLLER, PACKAGED, JP | 7 | 0.0%
IMPELLA CP SMARTASSIST | 6 | 0.0%
IMPELLA CP SET | 6 | 0.0%
IMPELLA CP SMART ASSIST | 6 | 0.0%
IMPELLA RP EU | 6 | 0.0%
ABIOMED IMPELLA | 6 | 0.0%
IMPELLA 5.0 EU | 5 | 0.0%
IMPELLA CONTROLLER | 5 | 0.0%
IMPELLA LP5.0 PUMP | 5 | 0.0%
ABIOMED IMPELLA 5.5 | 5 | 0.0%
IMPELLA RECOVER LP 2.5, .018 GUIDEWIRE | 5 | 0.0%
OPTICAL AIC W/IMPELLA CONNECT, PKGD, JP | 5 | 0.0%
IMPELLA PUMP, RP-IJ, STERILE | 5 | 0.0%
AUTOMATED IMPELLA CONTROLLER JP | 4 | 0.0%
IMPELLA LP 2.5 | 4 | 0.0%
IMPELLA 5.5 SMARTASSIST | 4 | 0.0%
IMPELLA 5.5 WITH SMART ASSIST | 4 | 0.0%
IMPELLA 5.5 SMART ASSIST PUMP | 3 | 0.0%
IMPELLA 5.5 SMARTASSIST SET, JP | 3 | 0.0%
IMPELLA CP PUMP SET, EU | 3 | 0.0%
IMPELLA CP - EU | 3 | 0.0%
IMPELLA CP SMART ASSIST SET APAC | 3 | 0.0%
AUTOMATIC IMPELLA CONTROLLER | 3 | 0.0%
ABIOMED 14F INTRODUCER KIT FOR IMPELLA, | 3 | 0.0%
IMPELLA PUMP | 3 | 0.0%
SYSTEM, IMPELLA 2.5 | 3 | 0.0%
IMPELLA 5.5-EU | 3 | 0.0%
IMPELLA CP | 3 | 0.0%
IMPELLA 2.5-JP | 3 | 0.0%
IMPELLA RECOVER LP2.5 PERC CARDIAC SUPPORT | 3 | 0.0%
IMPELLA HEART PUMP | 3 | 0.0%
IMPELLA RP PUMP SET, EU | 3 | 0.0%
IMPELLA CONTROLLER, PACKAGED, CA | 2 | 0.0%
IMPELLA RECOVER LP 2.5 CARDIAC SUPPORT SYSTEM | 2 | 0.0%
IMPELLA CP WITH SMARTASSIST | 2 | 0.0%
ABIOMED IMPELLA 5.0 | 2 | 0.0%
IMPELLA 5 | 2 | 0.0%
ABIOMED 14 F INTRODUCER KIT FOR IMPELLA | 2 | 0.0%
ABIOMED INTRODUCER KIT FOR IMPELLA 23F | 2 | 0.0%
IMPELLA LP2.5 AIC PUMP SET, US | 2 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET, US | 2 | 0.0%
IMPELLA CP SET WITH SMARTASSIST | 2 | 0.0%
IMPELLA CP - JP | 2 | 0.0%
IMPELLA 5.5. | 2 | 0.0%
IMPELLA CP PUMP SET, | 2 | 0.0%
IMPELLA 5.5 | 2 | 0.0%
IMPELLA 2.5 EU | 2 | 0.0%
IMPELLA 5.0-JP | 2 | 0.0%
IMPELLA 5.5 PUP | 1 | 0.0%
IMPELLA CP SET HOSPITAL ITEM # 83682 | 1 | 0.0%
IMPELLA 2.5 OR IMPELLA CP | 1 | 0.0%
AICD VISIA AF MRI SURESCAN DEFIBRILLATOR | 1 | 0.0%
PACEMAKER | 1 | 0.0%
PURGE CASSETTE; Y CONNECTOR; IMPELLA | 1 | 0.0%
IMPELLA VAD MOBILE CONSOLE | 1 | 0.0%
ABIOMED 14F INTRODUCER KIT FOR IMPELLA. | 1 | 0.0%
IMPELLA CP OPTICAL WITH SMART ASSIST | 1 | 0.0%
IMPELLA TEMPORARY LVAD | 1 | 0.0%
IMPELLA :LP5.0 | 1 | 0.0%
IMPELLA LP 5.0 | 1 | 0.0%
IMPELLA AIC 2.5 PUMP SET, 13FR INTRODUCER | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER/PURGE CASSETTE | 1 | 0.0%
CONTROLLER, ABIOMED IMPELLA | 1 | 0.0%
CONTROLLER, AUTOMATED IMPELLA | 1 | 0.0%
SET, IMPELLA 5.0 | 1 | 0.0%
SET, IMPELLA 2.5 | 1 | 0.0%
IMPELLA RECOVER LP 2.5, .018" GUIDEWIRE | 1 | 0.0%
IMPELLA RECOVERY LP2.5 PERC CARDIAC SUPPORT | 1 | 0.0%
SYSTEM, CIRCULATORY, SUPPORT, IMPELLA 2.5 | 1 | 0.0%
CATHETER, IMPELLA 2.5 | 1 | 0.0%
IMPELLA PUMP KIT 2.5 | 1 | 0.0%
CONSOLE FOR IMPELLA 2.5 | 1 | 0.0%
IMPELLA RECOVER LP2.5 CARDIAC SUPPORT SYSTEM | 1 | 0.0%
IMPELLA 2.5 VAD | 1 | 0.0%
IMPELLA PUMP 14FR 65CM | 1 | 0.0%
IMPELLA 2.5 DEVICE | 1 | 0.0%
IMPELLA CP CATHETER | 1 | 0.0%
IMPELLA 5.0 AIC PUMP SET US | 1 | 0.0%
IMPELLA R. P. DEVICE | 1 | 0.0%
ABIOMED INTRODUCER 14F INTRODUCER KIT FOR IMPELLA | 1 | 0.0%
ABIOMED IMPELLA HEART PUMP | 1 | 0.0%
IMPELLA RP SET | 1 | 0.0%
ABIOMED IMPELLA CP PERCUTANIOUS LVAD | 1 | 0.0%
IMPELLA CP, PERCUTANEOUS HEART PUMP | 1 | 0.0%
IMPELLA CP LMR | 1 | 0.0%
IMPELLA INTRODUCER KIT | 1 | 0.0%
ABIOMED 23 F INTRODUCER KIT FOR IMPELLA | 1 | 0.0%
IMPELLA 5.0 IMC PUMP SET EU | 1 | 0.0%
IMPELLA RP US HDE PUMP SET | 1 | 0.0%
IMPELLA RP US HDE PUMP SET US | 1 | 0.0%
IMPELLA CP PUMP SET | 1 | 0.0%
CATHETER IMPELLA AIC 5.0 VENTRICULAR ASSIST DEVICE | 1 | 0.0%
IMPELLA 5.5. PUMP | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER, | 1 | 0.0%
TESTED OPTICAL AIC W/IMPELLA CONNECT | 1 | 0.0%
ABIOMED 23F INTRODUCER KIT FOR IMPELLA® | 1 | 0.0%
AUTOMATED IMPELLA CONTROOLLER | 1 | 0.0%
IMPELLA, SMART ASSIST 5.5 | 1 | 0.0%
IMPELLA 5.5 VENTRICULAR ASSIST DEVICE | 1 | 0.0%
ABIOMED INC KIT VENTRICULAR ASSIST DEVICE PUMP IMPELLA 5.5 SMARTASSIST | 1 | 0.0%
IMPELLA CP 14 FR | 1 | 0.0%
IMPELLA CP HEART PUMP | 1 | 0.0%
PUMP HEART IMPELLA 5.5 W/SMART ASSIST S2 | 1 | 0.0%
IMPELLA RP SMART- ASSIST CATHETER | 1 | 0.0%
IMPELLA CONSOLE | 1 | 0.0%
IMPELLA SMART ASSIST.5 | 1 | 0.0%
IMPELLA CATH DEVICE | 1 | 0.0%
IMPELLA 5.5-CA | 1 | 0.0%
IMPELLA 5.5-JP | 1 | 0.0%
IMPELLA CP-CA | 1 | 0.0%
IMPELLA CP AND IMPELLA AUTOMATED IMPELLA CONSOLE (AIC) | 1 | 0.0%
IMPELLA CP PUMP. | 1 | 0.0%
P9 IMPELLA SWAN CL | 1 | 0.0%
IMPELLA OPTICAL CONTROLLER | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER U | 1 | 0.0%
AUTMATED IMPELLA CONTROLLER | 1 | 0.0%
IMPELLA PURGE TUBING | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER | 1 | 0.0%
PUMP 371 14F IMPELLA CPLT CMR SET | 1 | 0.0%
IMPELLA CP , JP | 1 | 0.0%
IMPELLA CP-CANADA | 1 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET, EU | 1 | 0.0%
CATHETER HEART PUMP IMPELLA | 1 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET, CA | 1 | 0.0%
IMPELLA CP SMART ASSIST SET, CANADA | 1 | 0.0%
IMPELLA CP PUMP 371 SET, US | 1 | 0.0%
UNKNOWN IMPELLA | 1 | 0.0%
AUTOMATEC IMPELLA CONTROLLER | 1 | 0.0%
IMPELLA CP PERCUTANEOUS HEART PUMP | 1 | 0.0%
ABIOMED IMPELLA CONTROLLER | 1 | 0.0%
IMPELLA PURGE LINE | 1 | 0.0%
IMPELLA LR 0.018 PTFE GUIDEWIRE | 1 | 0.0%
ABIOMED IMPELLA CP WITH SMARTASSIST | 1 | 0.0%
IMPELLA 5.0 PUMP SET, | 1 | 0.0%
IMPELLA 2.5 PUMP SET, | 1 | 0.0%
ABIOMED IMPELLA RP | 1 | 0.0%
IMPELLA LD PUMP | 1 | 0.0%
IMPELLA 5.5 WITH SMARTASSIST SET | 1 | 0.0%
IMPELLA CP SMART ASSIST | 1 | 0.0%
ABIOMED 14FR IMPELLA CP | 1 | 0.0%
IMPELLA 5.5 21 FR | 1 | 0.0%
IMPELLA CP FILTER | 1 | 0.0%
CATH CP IMPELLA 14F | 1 | 0.0%
IMPELLA AIC CONTROLLER | 1 | 0.0%
IMPELLA CPOPTICAL | 1 | 0.0%
IMPELLA CP OPTICA | 1 | 0.0%
BIOMED INTRODUCER KIT FOR IMPELLA® | 1 | 0.0%
UNSPECIFIED IMPELLA PUMP | 1 | 0.0%
IMPELLA 5.5 SMART ASSIST | 1 | 0.0%
IMPELLA CONNECT | 1 | 0.0%
IMPELLA CONTROLLER EU | 1 | 0.0%
IMPELLA IMPELLAR CATHETER | 1 | 0.0%
IMPELLA LEFT DIRECT | 1 | 0.0%
IMPELLA 5.0 JP | 1 | 0.0%
IMPELLA CP- JP | 1 | 0.0%
IMPELLA AUTOMATED CONTROLLER (AIC) | 1 | 0.0%
ABIOMED IMPELLA DEVICE | 1 | 0.0%
CP IMPELLA | 1 | 0.0%
IMPELLA 5.5 HEART PUMP | 1 | 0.0%
IMPELLA RECOVER LP 2.5 PECUTANEOUS CARDIAC S | 1 | 0.0%
Product Class | Frequency | Percentage
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 32910 | 85.7%
CONTROL, PUMP SPEED, CARDIOPULMONARY BYPASS | 1809 | 4.7%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 1733 | 4.5%
AUTOMATED IMPELLA CONTROLLER (AIC) | 509 | 1.3%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP, | 312 | 0.8%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 182 | 0.5%
INTRODUCER, CATHETER | 149 | 0.4%
TEMPORARY NONROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 137 | 0.4%
TEMPORARY CARDIAC SUPPORT BLOOD PUMP | 104 | 0.3%
CONTROL,, PUMP SPEED, CARDIOPULMONARY BYPASS | 93 | 0.2%
IMPELLA CP | 36 | 0.1%
PUMP, BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYPE | 28 | 0.1%
AUTOMATED IMPELLA CONTROLLER | 26 | 0.1%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 25 | 0.1%
TEMPORARY NON-ROLLER TYPE CARDIAC SUPPORT BLOOD PUMP | 19 | 0.0%
RIGHT VENTRICULAR BYPASS (ASSIST) DEVICE | 19 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFTHEART SUPPORT BLOOD PUMP | 19 | 0.0%
WIRE, GUIDE, CATHETER | 15 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 13 | 0.0%
: TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 12 | 0.0%
TEMPORARY NON ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 8 | 0.0%
IMPELLA | 6 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP, OZD | 6 | 0.0%
HEART PUMP | 5 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP, PRODUCT | 4 | 0.0%
IMPELLA 5.0 | 4 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMPTEMPORARY NON-ROLLER TYPE | 4 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP, | 4 | 0.0%
TEMPORARY NONROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 4 | 0.0%
IMPELLA 5.0 AIC PUMP SET | 4 | 0.0%
TEMPORARY CARDIAC SUPPORT BLOOD PUMP, | 4 | 0.0%
TEMPORARY CARDIAC SUPPORT BLOOD PUMP, PRODUCT CODE: OZD | 4 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 4 | 0.0%
INTRODUCER, CATHETER, PRODUCT CODE: DYB | 4 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP. | 4 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD | 3 | 0.0%
PUMP, BLOOD, CARDIOPULMONARY BYPASS | 3 | 0.0%
IMPELLA 2.5 AIC PUMP SET | 3 | 0.0%
UNKNOWN | 3 | 0.0%
IMPELLA 5.5 | 3 | 0.0%
IMPELLA RP | 3 | 0.0%
PUMP, BLOOD | 3 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP, OZD | 2 | 0.0%
CATHETER, CARDIAC ASSIST PUMP | 2 | 0.0%
IMPELLA 2.5 | 2 | 0.0%
: TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP, | 2 | 0.0%
2)TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 2 | 0.0%
TEMPORARY CARDIAC SUPPORT | 2 | 0.0%
TEMPORARY CARDIAC SUPPORT BLOOD PUMP,, | 2 | 0.0%
RIGHT VENTRICULAR BYPASS ASSIST DEVICE | 2 | 0.0%
IMPELLA 5.0 AIC PUMP SET US | 2 | 0.0%
IMPELLA CONTROLLER | 2 | 0.0%
CATHETER, INTRAVASCULAR, DIAGNOSTIC | 2 | 0.0%
VENTRICULAR ASSIST DEVICE | 2 | 0.0%
IABP | 2 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPOR BLOOD PUMP | 2 | 0.0%
IMPELLA CATHETER | 2 | 0.0%
RP FLEX W SMART ASSIST SET, US | 2 | 0.0%
EMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 2 | 0.0%
3)TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 2 | 0.0%
OZD TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 2 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUM | 2 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP CP | 2 | 0.0%
P140003 | 2 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUM | 2 | 0.0%
PUMP, BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYPE, CATHETER | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT EART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY CARDIA SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
PUMP, BLOOD CARDIOPULMONARY BYPASS NON-ROLLER TYPE | 1 | 0.0%
ABIOMED IMPELLA CP PERCUTANIOUS LVAD | 1 | 0.0%
IMPELLA TEMPORARY LVAD | 1 | 0.0%
PUMP, BLOOD, CARDIOPLMONARY BYPASS, NON-ROLLER TYPE | 1 | 0.0%
PUMP, BLOOD, CARDIOPULMONARY, BYPASS, NON-ROLLER TYPE | 1 | 0.0%
TEMPORARY CARDIAC SUPPORT BLOOD PUMP, PRODUCT CODE: PBL | 1 | 0.0%
IMPELLA CP, PERCUTANEOUS HEART PUMP | 1 | 0.0%
TEMPORARY NON-ROLLERT TYPE LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
PC-001938978 | 1 | 0.0%
IMPELLA CP PUMP SET, US | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP O | 1 | 0.0%
CARDIOPULMONARY BYPASS SYSTEM | 1 | 0.0%
CP SET | 1 | 0.0%
LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
PUMP, BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYPE, | 1 | 0.0%
IMPELLA CP PUMP SET | 1 | 0.0%
CONTROL,,PUMP SPEED, CARDIOPULMONARY BYPASS | 1 | 0.0%
NAME: TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
IMPELLA RPPYXTEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY CARDIAC BLOOD SUPPORT PUMP | 1 | 0.0%
CATHETER | 1 | 0.0%
IMPELLA LP2.5 | 1 | 0.0%
PUMP, CATHETER BASED | 1 | 0.0%
PUMP, BLOOD, CARDIOPULMONARY BYPASS NON-ROLLER TYPE | 1 | 0.0%
CONSOLE, PUMP, BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYP | 1 | 0.0%
CATHETER,PUMP, BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYP | 1 | 0.0%
LEFT VENTRICULAR ASSIST DEVICE - TEMPORARY | 1 | 0.0%
MEDICAL DEVICE (IABP) | 1 | 0.0%
IMPELLA ASSIST DEVICE | 1 | 0.0%
CATHETER TO INTRAVASCULAR BLOOD PUMP | 1 | 0.0%
ABIOMED IMPELLA PURGE CASSETTE | 1 | 0.0%
IMPELLA MOBILE CONSOLE AND POWER SUPPLY | 1 | 0.0%
IMPELLA CATHETER 2.5 | 1 | 0.0%
INTRACARDIAC LV PUMP KIT | 1 | 0.0%
INTRACARDIAC LV PUMP | 1 | 0.0%
CONTROL INTERFACE FOR IMPELLA | 1 | 0.0%
HEART PUMP/PURGE CASSETTE | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP: | 1 | 0.0%
IMPELLA CPSA | 1 | 0.0%
OZDTEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
LP2.5 | 1 | 0.0%
AUTOMATED INTERNAL CONTROLLER (AIC) | 1 | 0.0%
+1(978)739-0590 | 1 | 0.0%
BYPASS BLOOD PUMP | 1 | 0.0%
IMPELLA, CP PRODUCT CODE: PBL | 1 | 0.0%
IMPELLA CP, PRODUCT CODE: PBL | 1 | 0.0%
LEFT VENTRICULAR ASSIST DEVICE | 1 | 0.0%
ABIOMED IMPELLA CP | 1 | 0.0%
TEMPORARY CARDIAC SUPPORT PUMP | 1 | 0.0%
IMPELLA LP5.0 | 1 | 0.0%
BLOOD PUMP, TEMPORARY CARDIAC SUPPORT | 1 | 0.0%
PUMP, BLOOD,CARDIOPULMONARY BYPASS NON-ROLLER TYPE | 1 | 0.0%
LEFT VENTRICLE ASSIST DEVICE | 1 | 0.0%
DSAMMARCO@ABIOMED.COM | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE RIGHT SIDED HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART ASSIST BLOOD PUMP | 1 | 0.0%
TEMPORARY NONROLLER TYPE LEFT HEART SUPPORT PUMP | 1 | 0.0%
TEMPORARY NON ROLLER LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORAY NONROLLER TYPE RIGHT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NONROLLER TYPE LEFT SIDE HEART SUPPORT PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT SIDED HEART PUMP | 1 | 0.0%
TEMPORARY NON ROLLER TYPE LEFT HEART SUPPOR BLOOD PUMP | 1 | 0.0%
TEMPORARY RIGHT SIDED HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NONROLLER TYPE LEFT HEART SUPPOR BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMPVVVVVVVVVV | 1 | 0.0%
IMPELLA CONTROLLER, PACKAGED, EU | 1 | 0.0%
TEMPORARY NON-ROLLER TYPELEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
CORONARY ARTERY DISEASE AND DIABETES MELLITUS | 1 | 0.0%
IMPELLA LEFT VENTRICULAR ASSIST DEVICE | 1 | 0.0%
AUTOMATIC IMPELLA CONTROLLER | 1 | 0.0%
IMPELLA AUTOMATED CONTROLLER (AIC) | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMPPPPP | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER¿(AIC) | 1 | 0.0%
AUTOMATED IMPELLA CONTROLLER¿ (AIC) | 1 | 0.0%
(01)813502011609(10)2022151471(21)359082(17)231130 | 1 | 0.0%
TEMPORARY NON-ROLLER TYPED LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT BLOO PUMP | 1 | 0.0%
IMPELLA CONTROLLER WITH FLOW CONTROL | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LERFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
PUMP 371 14F LT CMR SET | 1 | 0.0%
(01)813502011876(10)2023208255(21)380726(17)240331 | 1 | 0.0%
TEMPRORAY NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT & BLOOD PUMP | 1 | 0.0%
CONTROL,PUMP SPEED, CARDIOPULMONARY BYPASS | 1 | 0.0%
TEMPORARY NONROLLER TYPED LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
PUMP,BLOOD, CARDIOPULMONARY BYPASS, NON-ROLLER TYPE | 1 | 0.0%
PUMP, BLOOD, CARDIOPLULMONARY BYPASS, NON-ROLLER TYPE | 1 | 0.0%
TEMPORARY LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
RIGHT VENTRICLULAR BYPASS ASSIST DEVICE | 1 | 0.0%
IMPELLA 5.0 HEART PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT | 1 | 0.0%
IMPELLA HEART PUMP | 1 | 0.0%
IMPELLA CP EU | 1 | 0.0%
TEMPORARY RIGHT HEART SUPPOR BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY, NON-ROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART SUPPORT HEART PUMP | 1 | 0.0%
IMPELLA PURGE CASSETTE/TUBING | 1 | 0.0%
TEMPORARY NON ROLLER RIGHT HEART SUPPORT BLOOD PUMP | 1 | 0.0%
TEMPORARY NON ROLLER RIGHT HEART SUPPORT BLOOD PUMP, | 1 | 0.0%
PARTIAL CIRCULATORY SUPPORT | 1 | 0.0%
INTRODUCER, CATHETER, | 1 | 0.0%
P170011 | 1 | 0.0%
TEMPORARY NONROLLER TYPE LEFT HEART SUPPORT BLOOD PUMP, PRODUCT | 1 | 0.0%
TEMPORARY NON-ROLLER TYPE LEFT HEART BLOOD PUMP | 1 | 0.0%
MECHANICAL CIRCULATORY SUPPORT DEVICE | 1 | 0.0%
IMPLANTABLE, CARDIOVERTER, DEFIBRILLATOR (NON-CRT) | 1 | 0.0%
IMPLANTABLE PACEMAKER PULSE-GENERATOR | 1 | 0.0%
INTROUDCER, CATHETER | 1 | 0.0%
AUTOMATED IMPELLA CONTROOLLER | 1 | 0.0%
NTRODUCER, CATHETER | 1 | 0.0%
Device Problem | Frequency | Percentage
Adverse Event Without Identified Device or Use Problem | 17610 | 38.8%
Restricted Flow rate | 2842 | 6.3%
Device Sensing Problem | 2554 | 5.6%
Patient-Device Incompatibility | 2196 | 4.8%
Pumping Stopped | 1681 | 3.7%
Positioning Failure | 1537 | 3.4%
Failure to Advance | 1376 | 3.0%
Application Program Problem | 1310 | 2.9%
Increase in Pressure | 1243 | 2.7%
Malposition of Device | 939 | 2.1%
Fluid/Blood Leak | 891 | 2.0%
Deformation Due to Compressive Stress | 782 | 1.7%
Battery Problem | 630 | 1.4%
Activation, Positioning or Separation Problem | 620 | 1.4%
Failure to Read Input Signal | 585 | 1.3%
Patient Device Interaction Problem | 562 | 1.2%
Improper Flow or Infusion | 532 | 1.2%
Positioning Problem | 510 | 1.1%
Material Twisted/Bent | 307 | 0.7%
Difficult to Insert | 304 | 0.7%
Difficult to Advance | 300 | 0.7%
Infusion or Flow Problem | 300 | 0.7%
Material Split, Cut or Torn | 273 | 0.6%
Break | 271 | 0.6%
Defective Device | 249 | 0.5%
No Pressure | 241 | 0.5%
Difficult to Remove | 217 | 0.5%
Computer Operating System Problem | 206 | 0.5%
Crack | 196 | 0.4%
Failure to Pump | 180 | 0.4%
Decrease in Pressure | 171 | 0.4%
Detachment of Device or Device Component | 170 | 0.4%
Failure to Sense | 161 | 0.4%
Fracture | 157 | 0.3%
Failure to Deliver | 149 | 0.3%
Connection Problem | 147 | 0.3%
Priming Problem | 137 | 0.3%
Pressure Problem | 130 | 0.3%
Display or Visual Feedback Problem | 124 | 0.3%
False Alarm | 116 | 0.3%
Unintended Application Program Shut Down | 113 | 0.2%
Use of Device Problem | 97 | 0.2%
Difficult or Delayed Positioning | 92 | 0.2%
Insufficient Information | 86 | 0.2%
Inaccurate Flow Rate | 82 | 0.2%
Insufficient Flow or Under Infusion | 78 | 0.2%
Failure to Prime | 66 | 0.1%
Key or Button Unresponsive/not Working | 66 | 0.1%
Material Deformation | 59 | 0.1%
Material Separation | 56 | 0.1%
Activation Failure | 47 | 0.1%
Material Puncture/Hole | 46 | 0.1%
Device Handling Problem | 45 | 0.1%
Leak/Splash | 42 | 0.1%
Migration or Expulsion of Device | 38 | 0.1%
Backflow | 38 | 0.1%
Device Alarm System | 36 | 0.1%
Power Problem | 35 | 0.1%
Device-Device Incompatibility | 33 | 0.1%
No Apparent Adverse Event | 33 | 0.1%
Optical Problem | 32 | 0.1%
Device Damaged by Another Device | 32 | 0.1%
Separation Problem | 31 | 0.1%
Migration | 28 | 0.1%
Material Integrity Problem | 28 | 0.1%
Device Operates Differently Than Expected | 28 | 0.1%
Human-Device Interface Problem | 28 | 0.1%
Failure to Power Up | 28 | 0.1%
Appropriate Term/Code Not Available | 27 | 0.1%
No Audible Alarm | 26 | 0.1%
Activation Problem | 25 | 0.1%
Pumping Problem | 25 | 0.1%
Kinked | 24 | 0.1%
Device Dislodged or Dislocated | 23 | 0.1%
Obstruction of Flow | 23 | 0.1%
Material Fragmentation | 23 | 0.1%
Unexpected Shutdown | 23 | 0.1%
Difficult to Open or Close | 20 | 0.0%
Suction Problem | 20 | 0.0%
Unintended Movement | 20 | 0.0%
Defective Component | 20 | 0.0%
Delivered as Unsterile Product | 20 | 0.0%
Contamination | 19 | 0.0%
Therapeutic or Diagnostic Output Failure | 18 | 0.0%
Device Damaged Prior to Use | 18 | 0.0%
Improper or Incorrect Procedure or Method | 18 | 0.0%
Defective Alarm | 15 | 0.0%
Device Displays Incorrect Message | 15 | 0.0%
Device Fell | 15 | 0.0%
Failure of Device to Self-Test | 14 | 0.0%
Air/Gas in Device | 14 | 0.0%
Mechanical Problem | 14 | 0.0%
Difficult To Position | 13 | 0.0%
Material Frayed | 13 | 0.0%
Physical Resistance/Sticking | 12 | 0.0%
Communication or Transmission Problem | 12 | 0.0%
Inaccurate Delivery | 12 | 0.0%
Device Issue | 11 | 0.0%
Application Network Problem | 11 | 0.0%
Component Missing | 11 | 0.0%
Protective Measures Problem | 10 | 0.0%
Component Incompatible | 10 | 0.0%
Operating System Becomes Nonfunctional | 10 | 0.0%
Incomplete or Inadequate Priming | 10 | 0.0%
No Display/Image | 10 | 0.0%
Noise, Audible | 9 | 0.0%
Failure to Charge | 8 | 0.0%
Degraded | 8 | 0.0%
Entrapment of Device | 8 | 0.0%
Peeled/Delaminated | 7 | 0.0%
Alarm Not Visible | 7 | 0.0%
Output Problem | 7 | 0.0%
Failure to Run on Battery | 6 | 0.0%
Shipping Damage or Problem | 6 | 0.0%
Product Quality Problem | 6 | 0.0%
Unable to Obtain Readings | 6 | 0.0%
Missing Value Reason | 6 | 0.0%
Failure to Analyze Signal | 6 | 0.0%
Device Difficult to Setup or Prepare | 6 | 0.0%
Packaging Problem | 6 | 0.0%
Overheating of Device | 6 | 0.0%
Tear, Rip or Hole in Device Packaging | 6 | 0.0%
No Flow | 6 | 0.0%
Failure to Select Signal | 6 | 0.0%
Torn Material | 5 | 0.0%
Application Program Freezes, Becomes Nonfunctional | 5 | 0.0%
Physical Resistance | 5 | 0.0%
Device Operational Issue | 5 | 0.0%
Disconnection | 5 | 0.0%
Detachment Of Device Component | 5 | 0.0%
Compatibility Problem | 5 | 0.0%
Loss of Power | 5 | 0.0%
Off-Label Use | 4 | 0.0%
Poor Visibility | 4 | 0.0%
Inaccurate Information | 4 | 0.0%
Inadequate User Interface | 4 | 0.0%
Wrong Label | 3 | 0.0%
Failure to Eject | 3 | 0.0%
Moisture Damage | 3 | 0.0%
Failure to Shut Off | 3 | 0.0%
Device Contamination with Chemical or Other Material | 3 | 0.0%
Mechanical Jam | 3 | 0.0%
Ejection Problem | 3 | 0.0%
Device Emits Odor | 3 | 0.0%
Unraveled Material | 3 | 0.0%
Loss of Data | 3 | 0.0%
Charging Problem | 3 | 0.0%
Material Too Rigid or Stiff | 3 | 0.0%
Electrical /Electronic Property Problem | 3 | 0.0%
Operating System Version or Upgrade Problem | 3 | 0.0%
Device Inoperable | 3 | 0.0%
Erratic or Intermittent Display | 3 | 0.0%
Difficult or Delayed Activation | 3 | 0.0%
Material Perforation | 3 | 0.0%
Component or Accessory Incompatibility | 3 | 0.0%
Device Contaminated at the User Facility | 3 | 0.0%
Unintended Collision | 3 | 0.0%
Material Rupture | 3 | 0.0%
Inadequacy of Device Shape and/or Size | 3 | 0.0%
Electrical Power Problem | 3 | 0.0%
Structural Problem | 2 | 0.0%
High Readings | 2 | 0.0%
No Device Output | 2 | 0.0%
Separation Failure | 2 | 0.0%
Failure to Unfold or Unwrap | 2 | 0.0%
Loose or Intermittent Connection | 2 | 0.0%
Failure to Calibrate | 2 | 0.0%
Sensing Intermittently | 2 | 0.0%
Collapse | 2 | 0.0%
Difficult to Fold, Unfold or Collapse | 2 | 0.0%
Labelling, Instructions for Use or Training Problem | 2 | 0.0%
Incomplete or Inadequate Connection | 2 | 0.0%
Device Stops Intermittently | 2 | 0.0%
Temperature Problem | 2 | 0.0%
Device Difficult to Maintain | 2 | 0.0%
Inappropriate Waveform | 2 | 0.0%
Misassembled | 2 | 0.0%
Bent | 2 | 0.0%
Increased Pump Speed | 2 | 0.0%
Smoking | 2 | 0.0%
Computer Software Problem | 2 | 0.0%
Retraction Problem | 2 | 0.0%
Electromagnetic Interference | 2 | 0.0%
Self-Activation or Keying | 2 | 0.0%
Physical Property Issue | 2 | 0.0%
Material Too Soft/Flexible | 2 | 0.0%
Biocompatibility | 2 | 0.0%
Decreased Pump Speed | 1 | 0.0%
Improper Device Output | 1 | 0.0%
Material Erosion | 1 | 0.0%
Loss of or Failure to Bond | 1 | 0.0%
Inadequate Instructions for Healthcare Professional | 1 | 0.0%
Failure to Infuse | 1 | 0.0%
Unintended Power Up | 1 | 0.0%
Unexpected Therapeutic Results | 1 | 0.0%
Fail-Safe Design Failure | 1 | 0.0%
Energy Output Problem | 1 | 0.0%
Loosening of Implant Not Related to Bone-Ingrowth | 1 | 0.0%
Occlusion Within Device | 1 | 0.0%
High impedance | 1 | 0.0%
Human Factors Issue | 1 | 0.0%
Failure to Reset | 1 | 0.0%
High Sensing Threshold | 1 | 0.0%
Incorrect Or Inadequate Test Results | 1 | 0.0%
Coagulation in Device or Device Ingredient | 1 | 0.0%
Dent in Material | 1 | 0.0%
Difficult or Delayed Separation | 1 | 0.0%
Sticking | 1 | 0.0%
Inadequate or Insufficient Training | 1 | 0.0%
Gas/Air Leak | 1 | 0.0%
Dull, Blunt | 1 | 0.0%
Contamination /Decontamination Problem | 1 | 0.0%
Split | 1 | 0.0%
Coiled | 1 | 0.0%
Circuit Failure | 1 | 0.0%
Incorrect, Inadequate or Imprecise Result or Readings | 1 | 0.0%
Overcorrection | 1 | 0.0%
Manufacturing, Packaging or Shipping Problem | 1 | 0.0%
Expiration Date Error | 1 | 0.0%
Device Difficult to Program or Calibrate | 1 | 0.0%
Premature Separation | 1 | 0.0%
Misassembly by Users | 1 | 0.0%
Date/Time-Related Software Problem | 1 | 0.0%
Blocked Connection | 1 | 0.0%
Unclear Information | 1 | 0.0%
Device Tipped Over | 1 | 0.0%
Use of Incorrect Control/Treatment Settings | 1 | 0.0%
No Fail-Safe Mechanism | 1 | 0.0%
Expulsion | 1 | 0.0%
Component Misassembled | 1 | 0.0%
Unsealed Device Packaging | 1 | 0.0%
Extra Components | 1 | 0.0%
Material Invagination | 1 | 0.0%
Intermittent Energy Output | 1 | 0.0%
Electrical Shorting | 1 | 0.0%
Inaudible or Unclear Audible Prompt/Feedback | 1 | 0.0%
Device Contaminated During Manufacture or Shipping | 1 | 0.0%
Difficult to Open or Remove Packaging Material | 1 | 0.0%
Inappropriate or Unexpected Reset | 1 | 0.0%
Volume Accuracy Problem | 1 | 0.0%
Failure to Disconnect | 1 | 0.0%
Premature Discharge of Battery | 1 | 0.0%
Low Audible Alarm | 1 | 0.0%
Microbial Contamination of Device | 1 | 0.0%
Signal Artifact/Noise | 1 | 0.0%
Excess Flow or Over-Infusion | 1 | 0.0%
Difficult to Flush | 1 | 0.0%
Image Display Error/Artifact | 1 | 0.0%
Increase in Suction | 1 | 0.0%
Inappropriate Audible Prompt/Feedback | 1 | 0.0%
Delayed Alarm | 1 | 0.0%
Pacing Inadequately | 1 | 0.0%
Intermittent Loss of Power | 1 | 0.0%
Accessory Incompatible | 1 | 0.0%
Low Readings | 1 | 0.0%
Application Program Problem: Dose Calculation Error | 1 | 0.0%
Calibration Problem | 1 | 0.0%
Inadequate Filtration Process | 1 | 0.0%
Stretched | 1 | 0.0%
No Visual Prompts/Feedback | 1 | 0.0%
Audible Prompt/Feedback Problem | 1 | 0.0%
Complete Loss of Power | 1 | 0.0%
Device Ingredient or Reagent Problem | 1 | 0.0%
Nonstandard Device | 1 | 0.0%
Patient Problem | Frequency | Percentage
No Clinical Signs, Symptoms or Conditions | 15258 | 31.0%
Hemorrhage/Blood Loss/Bleeding | 8029 | 16.3%
Ischemia | 3728 | 7.6%
Hemolysis | 3291 | 6.7%
Hematoma | 2319 | 4.7%
Thrombosis/Thrombus | 2203 | 4.5%
Tachycardia | 1403 | 2.9%
Arrhythmia | 1059 | 2.2%
Stroke/CVA | 940 | 1.9%
Thrombocytopenia | 776 | 1.6%
Ventricular Fibrillation | 676 | 1.4%
Sepsis | 589 | 1.2%
Vascular Dissection | 570 | 1.2%
Cardiovascular Dysfunction/Insufficiency | 537 | 1.1%
Renal Failure | 519 | 1.1%
Hemodynamic instability | 510 | 1.0%
Perforation of Vessels | 422 | 0.9%
Cardiac Arrest | 419 | 0.9%
Hematuria | 404 | 0.8%
Atrial Fibrillation | 366 | 0.7%
Unspecified Infection | 349 | 0.7%
Low Blood Pressure/ Hypotension | 324 | 0.7%
Blood Loss | 321 | 0.7%
Cardiac Perforation | 309 | 0.6%
Insufficient Information | 221 | 0.4%
Ischemia Stroke | 202 | 0.4%
Unspecified Vascular Problem | 183 | 0.4%
Fever | 175 | 0.4%
Anemia | 127 | 0.3%
Gastrointestinal Hemorrhage | 126 | 0.3%
Perforation | 110 | 0.2%
Pericardial Effusion | 107 | 0.2%
Hemorrhagic Stroke | 107 | 0.2%
Cardiogenic Shock | 98 | 0.2%
Renal Impairment | 97 | 0.2%
No Known Impact Or Consequence To Patient | 97 | 0.2%
Cardiac Tamponade | 92 | 0.2%
Bradycardia | 88 | 0.2%
Respiratory Failure | 76 | 0.2%
Embolism/Embolus | 75 | 0.2%
Aortic Valve Insufficiency/ Regurgitation | 72 | 0.1%
Pain | 70 | 0.1%
Great Vessel Perforation | 65 | 0.1%
Multiple Organ Dysfunction Syndrome | 62 | 0.1%
Heart Failure/Congestive Heart Failure | 53 | 0.1%
Ectopic Heartbeat | 53 | 0.1%
Pulmonary Edema | 50 | 0.1%
Asystole | 49 | 0.1%
Death | 49 | 0.1%
Air Embolism | 46 | 0.1%
Heart Block | 46 | 0.1%
Mitral Valve Insufficiency/ Regurgitation | 45 | 0.1%
Inflammation | 43 | 0.1%
Hypovolemia | 41 | 0.1%
Hemostasis | 41 | 0.1%
Thrombus | 35 | 0.1%
Device Embedded In Tissue or Plaque | 34 | 0.1%
Myocardial Infarction | 34 | 0.1%
No Consequences Or Impact To Patient | 29 | 0.1%
Obstruction/Occlusion | 27 | 0.1%
Valvular Insufficiency/ Regurgitation | 27 | 0.1%
Rupture | 26 | 0.1%
Appropriate Term / Code Not Available | 25 | 0.1%
No Code Available | 25 | 0.1%
Mitral Regurgitation | 24 | 0.0%
Nerve Damage | 23 | 0.0%
Bacterial Infection | 23 | 0.0%
High Blood Pressure/ Hypertension | 22 | 0.0%
Patient Problem/Medical Problem | 21 | 0.0%
Swelling/ Edema | 20 | 0.0%
Intraoperative Cardiac Injury | 20 | 0.0%
Intraoperative Cardiac Valve Injury | 19 | 0.0%
Foreign Body In Patient | 18 | 0.0%
Mitral Perforation | 18 | 0.0%
Retroperitoneal Hemorrhage | 18 | 0.0%
Pseudoaneurysm | 17 | 0.0%
Injury | 17 | 0.0%
Atrial Flutter | 16 | 0.0%
Pulmonary Embolism | 15 | 0.0%
Hemoptysis | 14 | 0.0%
Septic Shock | 13 | 0.0%
Aortic Regurgitation | 12 | 0.0%
No Information | 11 | 0.0%
Aneurysm | 11 | 0.0%
Failure of Implant | 11 | 0.0%
Hypoxia | 11 | 0.0%
Unspecified Kidney or Urinary Problem | 10 | 0.0%
Low Cardiac Output | 10 | 0.0%
Thrombosis | 10 | 0.0%
Aortic Insufficiency | 9 | 0.0%
Necrosis | 9 | 0.0%
Shock | 8 | 0.0%
Intracranial Hemorrhage | 8 | 0.0%
Tricuspid Valve Insufficiency/ Regurgitation | 8 | 0.0%
Pleural Effusion | 8 | 0.0%
Unspecified Heart Problem | 8 | 0.0%
Hypovolemic Shock | 7 | 0.0%
Hemothorax | 7 | 0.0%
Limb Pain | 7 | 0.0%
Exsanguination | 7 | 0.0%
Epistaxis | 6 | 0.0%
Aortic Valve Stenosis | 6 | 0.0%
Disseminated Intravascular Coagulation (DIC) | 6 | 0.0%
Aortic Dissection | 6 | 0.0%
Aortic dissection | 6 | 0.0%
Implant Pain | 6 | 0.0%
Thromboembolism | 6 | 0.0%
Infarction, Cerebral | 5 | 0.0%
Diminished Pulse Pressure | 5 | 0.0%
Chest Pain | 5 | 0.0%
Unspecified Tissue Injury | 5 | 0.0%
Cardiomyopathy | 5 | 0.0%
Liver Failure | 5 | 0.0%
Mitral Insufficiency | 5 | 0.0%
Insufficiency, Valvular | 5 | 0.0%
Hemorrhage, Cerebral | 5 | 0.0%
Brain Injury | 5 | 0.0%
Extravasation | 5 | 0.0%
Transient Ischemic Attack | 5 | 0.0%
Fungal Infection | 5 | 0.0%
Liver Damage/Dysfunction | 4 | 0.0%
Coagulation Disorder | 4 | 0.0%
Stenosis | 4 | 0.0%
Syncope/Fainting | 4 | 0.0%
Pneumothorax | 4 | 0.0%
Cardiopulmonary Arrest | 4 | 0.0%
Convulsion/Seizure | 4 | 0.0%
Peripheral Nervous Injury | 4 | 0.0%
Dyspnea | 4 | 0.0%
Abscess | 4 | 0.0%
Not Applicable | 3 | 0.0%
Hemolytic Anemia | 3 | 0.0%
Abdominal Pain | 3 | 0.0%
Tissue Damage | 3 | 0.0%
Nausea | 3 | 0.0%
Wound Dehiscence | 3 | 0.0%
Calcium Deposits/Calcification | 3 | 0.0%
Altered State of Consciousness | 3 | 0.0%
Low Oxygen Saturation | 3 | 0.0%
Ventricular Tachycardia | 3 | 0.0%
Pneumonia | 3 | 0.0%
Respiratory Insufficiency | 3 | 0.0%
Anxiety | 3 | 0.0%
Delirium | 3 | 0.0%
Myocardial Contusion | 2 | 0.0%
Adhesion(s) | 2 | 0.0%
Ventricle, Abnormality Of | 2 | 0.0%
Intermenstrual Bleeding | 2 | 0.0%
Adult Respiratory Distress Syndrome | 2 | 0.0%
Hypervolemia | 2 | 0.0%
Muscle/Tendon Damage | 2 | 0.0%
Numbness | 2 | 0.0%
Paralysis | 2 | 0.0%
Pulmonary Valve Insufficiency/ Regurgitation | 2 | 0.0%
Vomiting | 2 | 0.0%
Tissue Breakdown | 2 | 0.0%
Respiratory Distress | 2 | 0.0%
Myocarditis | 2 | 0.0%
Reduced Blood Flow | 2 | 0.0%
Unspecified Nervous System Problem | 2 | 0.0%
Cusp Tear | 2 | 0.0%
Heart Failure | 2 | 0.0%
Unspecified Hepatic or Biliary Problem | 2 | 0.0%
Foreign Body Embolism | 2 | 0.0%
Respiratory Arrest | 2 | 0.0%
Left Ventricular Failure | 2 | 0.0%
Hernia | 2 | 0.0%
Ulcer | 2 | 0.0%
Unspecified Gastrointestinal Problem | 2 | 0.0%
Scar Tissue | 1 | 0.0%
Fasciitis | 1 | 0.0%
Laceration(s) | 1 | 0.0%
Peripheral Vascular Disease | 1 | 0.0%
Venipuncture | 1 | 0.0%
Occlusion | 1 | 0.0%
Bone Fracture(s) | 1 | 0.0%
Loss Of Pulse | 1 | 0.0%
Seizures | 1 | 0.0%
Swelling | 1 | 0.0%
Vaso-Vagal Response | 1 | 0.0%
Complaint, Ill-Defined | 1 | 0.0%
Irregular Pulse | 1 | 0.0%
Angina | 1 | 0.0%
Vascular System (Circulation), Impaired | 1 | 0.0%
Electric Shock | 1 | 0.0%
Skin Tears | 1 | 0.0%
Regurgitation, Valvular | 1 | 0.0%
Missing Value Reason | 1 | 0.0%
Infiltration into Tissue | 1 | 0.0%
Complete Heart Block | 1 | 0.0%
Dizziness | 1 | 0.0%
Underdose | 1 | 0.0%
Depression | 1 | 0.0%
Impotence | 1 | 0.0%
Fatigue | 1 | 0.0%
Diaphoresis | 1 | 0.0%
Abdominal Distention | 1 | 0.0%
Respiratory Tract Infection | 1 | 0.0%
Ventilator Dependent | 1 | 0.0%
Atrial Perforation | 1 | 0.0%
Lactate Dehydrogenase Increased | 1 | 0.0%
Undesired Nerve Stimulation | 1 | 0.0%
Intracranial Pressure Increased | 1 | 0.0%
Valvular Stenosis | 1 | 0.0%
Unspecified Respiratory Problem | 1 | 0.0%
Fall | 1 | 0.0%
Fistula | 1 | 0.0%
Seroma | 1 | 0.0%
Cytomegalovirus (CMV) Infection | 1 | 0.0%
Cerebral Edema | 1 | 0.0%
Bronchial Hemorrhage | 1 | 0.0%
Failure to Anastomose | 1 | 0.0%
Low Pulmonary Arterial Wedge Pressure | 1 | 0.0%
Bruise/Contusion | 1 | 0.0%
Wound Infection | 1 | 0.0%
Pallor | 1 | 0.0%
Pulmonary Hypertension | 1 | 0.0%
Melena | 1 | 0.0%
Myalgia | 1 | 0.0%
Encephalopathy | 1 | 0.0%
Mitral Valve Stenosis | 1 | 0.0%
Exposure to Body Fluids | 1 | 0.0%
Increased Respiratory Rate | 1 | 0.0%
Reperfusion Injury | 1 | 0.0%
Left Ventricular Dysfunction | 1 | 0.0%
Skin Infection | 1 | 0.0%
Movement Disorder | 1 | 0.0%
Hyperglycemia | 1 | 0.0%
Decreased Respiratory Rate | 1 | 0.0%
Constipation | 1 | 0.0%
Loss of Vision | 1 | 0.0%
Alteration in Body Temperature | 1 | 0.0%
Loss of consciousness | 1 | 0.0%
Unspecified Eye / Vision Problem | 1 | 0.0%
Nervous System Injury | 1 | 0.0%
Skin Discoloration | 1 | 0.0%
Cardiac Enzyme Elevation | 1 | 0.0%
Non specific EKG/ECG Changes | 1 | 0.0%
Neuropathy | 1 | 0.0%
Sudden Cardiac Death | 1 | 0.0%
Summary
Events Missing Patient Data
Event Id | Report Number
33133 | 1220648-2023-04666
33136 | 1220648-2023-04670
33137 | 1220648-2023-04669
36476 | 1220648-2022-01318