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	Parameters
	Mean (range)

	Eyes (patients) [number]
	40 (20)

	Age [years]
	66 ± 6 (54–74)

	Female / Male ratio
	11 / 9

	Axial length [mm]
	23.33 ± 0.73

	Anterior chamber depth [mm]
	3.00 ± 0.40

	White to white [mm]
	12.07 ± 0.37

	Kmean [D]
	43.48 ± 1.0

	K2 – K1 [D]
	0.60 ± 0.36

	Implanted IOL power [D]
	20.9 ± 1.6

	Endothelial cell density [cells/mm²]
	2638 ± 337

	Intraocular pressure (mmHg)
	16.9 ± 3.6


Kmean – mean keratometry; K2–K1 – corneal astigmatism (difference between steepest and flattest meridians); IOL – intraocular lens; D – diopters.
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Table 2. Subjective refraction a monocular visual acuity

	

	Preop
(n = 40)
	1 week
(n = 39)
	1 month
(n = 40)
	3 months
(n = 38)
	6 months
(n = 38)
	3 years
(n = 40)

	MRSE [D]
Mean ± SD 
Range
P-value
	0.76 ± 1.65
(-3.50; 3.25)

	-0.20 ± 0.28
(-0.88; 0.25)

	-0.19 ± 0.35
(-1.50; 0.38)

	-0.21 ± 0.31
(-1.00; 0.13)

	-0.14 ± 0.27
(-1.25; 0.13)

	-0.05 ± 0.19
(-0.75; 0.25)
p = 0.032

	Absolute cylinder [D]
Mean ± SD 
Range
P-value
	0.42 ± 0.51
(0.00; 1.50)

	0.35 ± 0.38
(0.00; 1.00)

	0.29 ± 0.40
(0.00; 1.50)

	0.21 ± 0.33
(0.00; 1.00)

	0.13 ± 0.27
(0.00; 1.00)

	0.08 ± 0.28
(0.00; 1.50)
p = 0.4941

	UDVA [logMAR]
Mean ± SD 
Range
P-value
	0.52 ± 0.33
(0.07; 2.00)

	0.09 ± 0.11
(-0.10; 0.40)

	0.06 ± 0.12
(-0.20; 0.34)

	0.03 ± 0.11
(-0.20; 0.24)

	0.02 ± 0.11
(-0.20; 0.40)

	0.01 ± 0.10
(-0.10; 0.30)
p = 0.8044

	CDVA [logMAR]
Mean ± SD 
Range
P-value
	0.17 ± 0.17
(0.01; 0.90)

	0.02 ± 0.06
(-0.10; 0.20)

	0.0 ± 0.07
(-0.20; 0.15)

	-0.02 ± 0.06
(-0.20; 0.07)

	-0.02 ± 0.07
(-0.20; 0.20)

	-0.01 ± 0.08
(-0.10; 0.30)
p = 0.4978

	UIVA at 66 cm [logMAR]
Mean ± SD 
Range
P-value
	
	0.09 ± 0.14
(-0.10; 0.68)

	0.10 ± 0.10
(-0.10; 0.30)

	0.16 ± 0.11
(0.00; 0.40)

	0.18 ± 0.12
(-0.02; 0.40)

	0.13 ± 0.10
(0.00; 0.34)
p = 0.1170

	DCIVA at 66 cm [logMAR]
Mean ± SD 
Range
P-value
	
	0.11 ± 0.11
(-0.14; 0.32)

	0.13 ± 0.11
(-0.10; 0.38)

	0.20 ± 0.14
(0.00; 0.70)

	0.22 ± 0.13
(0.00; 0.51)

	0.15 ± 0.10
(0.00; 0.40)
p = 0.018

	UIVA at 80 cm [logMAR]
Mean ± SD 
Range
P-value
	
	0.05 ± 0.14
(-0.14; 0.72)

	0.04 ± 0.10
(-0.14; 0.26)

	0.08 ± 0.11
(-0.10; 0.40)

	0.12 ± 0.13
(-0.10; 0.45)

	0.08 ± 0.11
(-0.10; 0.40)
p = 0.2114

	DCIVA at 80 cm [logMAR]
Mean ± SD 
Range
P-value
	
	0.07 ± 0.11
(-0.14; 0.32)

	0.07 ± 0.11
(-0.12; 0.30)

	0.12 ± 0.12
(-0.10; 0.38)

	0.14 ± 0.14
(-0.10; 0.49)

	0.08 ± 0.09
(-0.10; 0.30)
p = 0.049


MRSE – manifest refraction spherical equivalent; UDVA – uncorrected distance visual acuity; CDVA – corrected distance visual acuity; UIVA – uncorrected intermediate visual acuity; DCIVA – distance corrected intermediate visual acuity; D – diopters.
P values show comparisons of the posttreatment differences between 6 months and 3 years. 



Table 3. Binocular intermediate visual acuity
	

	3 months
(n = 19)
	6 months
(n = 19)
	3 years
(n = 20)

	UIVA at 66 cm binocular [logMAR]
Mean ± SD 
Range
P-value
	0.07 ± 0.10
(-0.10; 0.30)

	0.06 ± 0.09
(-0.10; 0.22)

	0.06 ± 0.09
(-0.1; 0.30)
p = 0.6875

	DCIVA at 66 cm binocular [logMAR]
Mean ± SD 
Range
P-value
	0.10 ± 0.10
(-0.10; 0.30)

	0.10 ± 0.10
(-0.02; 0.30)

	0.07 ± 0.09
(-0.1; 0.3)
p = 0.3242

	UIVA at 80 cm binocular [logMAR]
Mean ± SD 
Range
P-value
	0.00 ± 0.09
(-0.14; 0.2)

	0.03 ± 0.10
(-0.14; 0.30)

	0.02 ± 0.06
(-0.10; 0.10)
p = 0.5703

	DCIVA at 80 cm binocular [logMAR]
Mean ± SD 
Range
P-value
	0.03 ± 0.11
(-0.14; 0.34)

	0.05 ± 0.10
(-0.10; 0.34)

	0.02 ± 0.06
(-0.10; 0.10)
p = 0.2656


UIVA – uncorrected intermediate visual acuity; DCIVA – distance corrected intermediate visual acuity; D – diopters.
P values show comparisons of the posttreatment differences between 6 months and 3 years. 

