SUPPLEMENTARY FILES

Figure A1: Description and profile of the soil horizons at the experimental site, (Source: MATE Soil Research Team)

| Lab. Registration Number | Test Parameter | Test Method | Measurement Uncertainty (±R%) |
| --- | --- | --- | --- |
| 254207-254218 | pH(H2O), pH(KCl)* | MSZ-08-0206-2:1978 2.1. section | ±0.2 pH |
|  | Soil plasticity according to Arany | MSZ-08-0205:1978 5.1. section | ± 3 KA |
|  | Organic matter | MSZ-08-0452:1980 2.2. section, 2.3. section, 3.1.2. section | 10 |
|  | CaCO3 | MSZ-08-0206-2:1978 2.2. section | 10 |
|  | All water-soluble salts | MSZ-08-0206-2:1978 2.4. section | 10 |
|  | P2O5 (AL) | MSZ 20135:1999 5.1. section | 10 |
|  | K2O (AL) | MSZ 20135:1999 5.1. section | 10 |
|  | (NO2- + NO3-) - N (KCl) | MSZ 20135:1999 5.4.3. section | 10 |
|  | Na (AL) | MSZ 20135:1999 5.1. section | 10 |
|  | Cu (EDTA) | MSZ 20135:1999 5.1. section | 10 |
|  | Mn (EDTA) | MSZ 20135:1999 5.1. section | 10 |
|  | Zn (EDTA) | MSZ 20135:1999 5.1. section | 10 |
|  | Mg (KCl) | MSZ 20135:1999 5.1. section | 10 |
|  | SO42-(KCl) | MSZ 20135:1999 5.1. section | 10 |

Table A1: Methods of analysis for soil samples, (Source: Provided by the university laboratory)

| Lab. Registration Number | Test Parameter | Test Method |
| --- | --- | --- |
| 254219-254222 | Moisture content | MSZ ISO 6496:2001 |
|  | Phosphorus content | MSZ-08-1783-28:1985 |
|  | Calcium content | MSZ-08-1783-26:1985 |
|  | Potassium content | MSZ-08-1783-29:1985 |
|  | Magnesium content | MSZ-08-1783-27:1985 |
|  | Iron content | MSZ-08-1783-31:1985 |

Table A2: Methods of analysis for lettuce samples, (Source: Provided by the university laboratory)